### C3.2. SCOPE OF WORK

Supply, installation and commissioning of air conditioners in various offices at Rand Water Zwartkopjes.

Removal of old air conditioners – if applicable.

Store them in the area as indicated by our Asset Controller.

Complete installation including pipes, electrical work.

Clearing of office when completed.

## PART C4: SITE INFORMATION

### C4. SITE INFORMATION

The Bidder must refer to Annexure C4: Site Information provided with this bid document.