DEPARTMENT OF PUBLIC WORKS, ROADS AND TRANSPORT

TENDER NO: PWRT (B&F) 08/2023

TENDERS ARE HEREBY INVITED FROM CONTRACTORS WITH THE CIDB GRADING OF 3ME OR 2ME PE OR HIGHER FOR SUPPLY, INSTALLATION, MAINTENANCE AND REPAIRS OF AIR CONDITIONING, AIR COOLING, REFRIGERATION AND MECHANICAL VENTILATION IN MOGALE CITY LOCAL MUNICIPAL OWNED BUILDINGS AND FACILITIES ON AS AND WHEN REQUIRED BASIS FOR A PERIOD OF THREE (3) YEARS.

| Name of Tendering Entity |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Name of Tendering Entity Representative |  |  |  |  |  |  |
| Physical Address of Tendering Entity |  |  |  |  |  |  |
| Postal Address of Tendering Entity |  |  |  |  |  |  |
| Contact Details of Tendering Entity |  |  | Tel:……………………………………………………………... Fax…………………………………………………………….. Cell:…………………………………………………………………………. Email:………………………………………………………………………. |  |  |  |
| Tender Amount carried from Form of Offer (incl VAT) |  |  | R ……………………………………………………………… (incl VAT) |  |  |  |
| CIDB Grading & CRN No |  |  |  |  |  |  |
| Tax Compliance Status & PIN |  |  |  |  |  |  |
| CENTRAL SUPPLIER DATABASE (CSD) |  |  | MAAA |  |  |  |
| Prepared for: Mogale City Local Municipality P O Box 94 Krugersdorp 1740 |  |  | Prepared By: Mogale City Local Municipality, Department of Public Works, Roads and Transport P O Box 94 KRUGERSDORP 1740 Tel: 011 668 0702/3 |  |  |  |
| ## CONTENTS |  |  |  |  |
| NUMBER | HEADING |  | PAGE | COLOUR CODING |
|  | THE TENDER |  |  |  |
|  | Part T1: Tendering Procedures …………………. 3- 35 |  |  |  |
| T1.1 | Tender Notice and Invitation to Tender |  |  | White |
| T1.2 | Tender Data |  |  | Pink |
|  | Part T2: Returnable Documents……………………36 - 91 |  |  |  |
| T2.1 | List of Returnable Documents |  |  | Yellow |
|  | Check List |  |  | Yellow |
| T2.2 | Returnable Schedules |  |  | Yellow |
|  | THE CONTRACT |  |  |  |
|  | Part C1: Agreements and Contract Data …………..92 - 120 |  |  |  |
| C1.1 | Form of Offer and Acceptance |  |  | Yellow |
| C1.2 | Contract Data |  |  | Yellow |
| C1.3 | Forms of Securities |  |  | White |
|  | Part C2: Pricing Data …………………………………121 - 152 |  |  |  |
| C2.1 | Pricing Instructions |  |  | Yellow |
| C2.2 | Bills of Quantities |  |  | Yellow |
|  | Part C3: Scope of Work ………………………….153 - 172 |  |  |  |
| C3.1 C3.2 | Description of the Works Project Specifications Part C4 : Site Information ……………173- 189 Bid Checklist ………………………….190 -191 |  |  | Blue Blue |

Note:  The Tenderer must ensure that the documents he received are complete, as neither the Client nor the Engineer will accept any responsibility for any problem that may occur as a result of incomplete documentation.

MOGALE CITY LOCAL MUNICIPALITY

THE TENDER:

PART T1: TENDERING PROCEDURES

# PART T1: TENDERING PROCEDURES

## T1.1 Tender Notice and Invitation to Tender

MBD1

PART A

INVITATION TO BID

| YOU ARE HEREBY INVITED TO BID FOR REQUIREMENTS OF THE MOGALE CITY LOCAL MUNICIPALITY |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BID NUMBER: | PWRT (B&F) 08/2023 |  | CLOSING DATE: | THURSDSAY 25 AUGUST 2022 |  |  |  |  |  |  |  |  | CLOSING TIME: | 11:00 |
| DESCRIPTION | TENDERS ARE HEREBY INVITED FROM CONTRACTORS WITH THE CIDB GRADING OF 3ME OR 2ME PE OR HIGHER FOR SUPPLY, INSTALLATION, MAINTENANCE AND REPAIRS OF AIR CONDITIONING, AIR COOLING, REFRIGERATION AND MECHANICAL VENTILATION IN MOGALE CITY LOCAL MUNICIPAL OWNED BUILDINGS AND FACILITIES ON AS AND WHEN REQUIRED BASIS FOR A PERIOD OF THREE (3) YEARS. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| THE SUCCESSFUL BIDDER WILL BE REQUIRED TO FILL IN AND SIGN A WRITTEN CONTRACT FORM (MBD7). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BID RESPONSE DOCUMENTS MAY BE DEPOSITED IN THE BID BOX SITUATED AT (STREET ADDRESS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Mogale City Civic Centre |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Corner Commissioner and Market Streets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Mogale City |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Krugersdorp |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1740 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SUPPLIER INFORMATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NAME OF BIDDER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| POSTAL ADDRESS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| STREET ADDRESS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TELEPHONE NUMBER |  | CODE |  |  |  |  |  | NUMBER |  |  |  |  |  |  |
| CELLPHONE NUMBER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FACSIMILE NUMBER |  | CODE |  |  |  |  |  | NUMBER |  |  |  |  |  |  |
| E-MAIL ADDRESS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| VAT REGISTRATION NUMBER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TAX COMPLIANCE STATUS |  | TCS PIN: |  |  |  |  | OR |  | CSD No: |  |  |  |  |  |
| B-BBEE STATUS LEVEL VERIFICATION CERTIFICATE [TICK APPLICABLE BOX] |  | Yes No |  |  |  |  | B-BBEE STATUS LEVEL SWORN AFFIDAVIT |  |  |  |  | Yes No |  |  |
| [A B-BBEE STATUS LEVEL VERIFICATION CERTIFICATE/ SWORN AFFIDAVIT (FOR EMES & QSEs) MUST BE SUBMITTED IN ORDER TO QUALIFY FOR PREFERENCE POINTS FOR B-BBEE] |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| #### ARE YOU THE ACCREDITED REPRESENTATIVE IN SOUTH AFRICA FOR THE GOODS /SERVICES /WORKS OFFERED? |  | Yes No [IF YES ENCLOSE PROOF] |  |  |  | #### ARE YOU A FOREIGN BASED SUPPLIER FOR THE GOODS /SERVICES /WORKS OFFERED? |  |  |  |  | Yes No [IF YES, ANSWER PART B:3 ] |  |  |  |
| #### TOTAL NUMBER OF ITEMS OFFERED |  | NOT APPLICABLE |  |  |  | #### TOTAL BID PRICE |  |  |  |  | R |  |  |  |
| #### SIGNATURE OF BIDDER |  | ……………………………… |  |  |  | #### DATE |  |  |  |  |  |  |  |  |
| #### CAPACITY UNDER WHICH THIS BID IS SIGNED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BIDDING PROCEDURE ENQUIRIES MAY BE DIRECTED TO: |  |  |  |  | TECHNICAL INFORMATION MAY BE DIRECTED TO: |  |  |  |  |  |  |  |  |  |
| DEPARTMENT |  | Supply Chain Management |  |  | DEPARTMENT |  |  |  |  | Public Works, Roads & Transport |  |  |  |  |
| CONTACT PERSON |  | Ofentse Matsose |  |  | CONTACT PERSON |  |  |  |  | 011) Ronald Mangope |  |  |  |  |
| TELEPHONE NUMBER |  | 011 951 2014/2177/2541 |  |  | TELEPHONE NUMBER |  |  |  |  | 011 668 0733/ 071 855 4786 |  |  |  |  |
| FACSIMILE NUMBER |  | N/A |  |  | FACSIMILE NUMBER |  |  |  |  | Ronald. Mangope @mogalecity.gov.za |  |  |  |  |
| E-MAIL ADDRESS |  | Ofentse.matsose@mogalecity.gov.za |  |  | Ronald. mangope @mogalecity.gov.za |  |  |  |  |  |  |  |  |  |

PART B

TERMS AND CONDITIONS FOR BIDDING

- BID SUBMISSION:

- BIDS MUST BE DELIVERED BY THE STIPULATED TIME TO THE CORRECT ADDRESS. LATE BIDS WILL NOT BE ACCEPTED FOR CONSIDERATION. - ALL BIDS MUST BE SUBMITTED ON THE OFFICIAL FORMS PROVIDED–(NOT TO BE RE-TYPED) OR ONLINE - THIS BID IS SUBJECT TO THE PREFERENTIAL PROCUREMENT POLICY FRAMEWORK ACT AND THE PREFERENTIAL PROCUREMENT REGULATIONS, 2017, THE GENERAL CONDITIONS OF CONTRACT (GCC) AND, IF APPLICABLE, ANY OTHER SPECIAL CONDITIONS OF CONTRACT.

- TAX COMPLIANCE REQUIREMENTS

- BIDDERS MUST ENSURE COMPLIANCE WITH THEIR TAX OBLIGATIONS. - BIDDERS ARE REQUIRED TO SUBMIT THEIR UNIQUE PERSONAL IDENTIFICATION NUMBER (PIN) ISSUED BY SARS TO ENABLE THE ORGAN OF STATE TO VIEW THE TAXPAYER’S PROFILE AND TAX STATUS. - APPLICATION FOR THE TAX COMPLIANCE STATUS (TCS) CERTIFICATE OR PIN MAY ALSO BE MADE VIA E-FILING. IN ORDER TO USE THIS PROVISION, TAXPAYERS WILL NEED TO REGISTER WITH SARS AS E-FILERS THROUGH THE WEBSITE WWW.SARS.GOV.ZA. - FOREIGN SUPPLIERS MUST COMPLETE THE PRE-AWARD QUESTIONNAIRE IN PART B:3. - BIDDERS MAY ALSO SUBMIT A PRINTED TCS CERTIFICATE TOGETHER WITH THE BID. - IN BIDS WHERE CONSORTIA / JOINT VENTURES / SUB-CONTRACTORS ARE INVOLVED, EACH PARTY MUST SUBMIT A SEPARATE TCS CERTIFICATE / PIN / CSD NUMBER. - WHERE NO TCS IS AVAILABLE BUT THE BIDDER IS REGISTERED ON THE CENTRAL SUPPLIER DATABASE (CSD), A CSD NUMBER MUST BE PROVIDED.

- QUESTIONNAIRE TO BIDDING FOREIGN SUPPLIERS

- IS THE ENTITY A RESIDENT OF THE REPUBLIC OF SOUTH AFRICA (RSA) YES NO - DOES THE ENTITY HAVE A BRANCH IN THE RSA? YES NO - DOES THE ENTITY HAVE A PERMANENT ESTABLISHMENT IN THE RSA YES NO - DOES THE ENTITY HAVE ANY SOURCE OF INCOME IN THE RSA? YES NO - IS THE ENTITY LIABLE IN THE RSA FOR ANY FORM OF TAXATI YES NO IF THE ANSWER IS “NO” TO ALL OF THE ABOVE, THEN IT IS NOT A REQUIREMENT TO REGISTER FOR A TAX COMPLIANCE STATUS SYSTEM PIN CODE FROM THE SOUTH AFRICAN REVENUE SERVICE (SARS) AND IF NOT REGISTER AS PER 2.3 ABOVE.

NB: FAILURE TO PROVIDE ANY OF THE ABOVE PARTICULARS MAY RENDER THE BID INVALID.

NO BIDS WILL BE CONSIDERED FROM PERSONS IN THE SERVICE OF THE STATE.

SIGNATURE OF BIDDER:					……………………………………………

CAPACITY UNDER WHICH THIS BID IS SIGNED:		……………………………………………

DATE:								…………………………………………...

ADVERTISED IN:      The Star

PUBLISHING DATE:  Friday 22 July 2022

TENDER NO:   PWRT (B&F) 08/2023

MOGALE CITY LOCAL MUNICIPALITY

Tenders are hereby invited for the following Office: Public Works Roads & Transport: Building and Facilities

TENDER NO: PWRT (B&F) 08/2023

TENDERS ARE HEREBY INVITED FROM CONTRACTORS WITH THE CIDB GRADING OF 3ME OR 2ME PE OR HIGHER FOR SUPPLY, INSTALLATION, MAINTENANCE AND REPAIRS OF AIR CONDITIONING, AIR COOLING, REFRIGERATION AND MECHANICAL VENTILATION IN MOGALE CITY LOCAL MUNICIPAL OWNED BUILDINGS AND FACILITIES ON AS AND WHEN REQUIRED BASIS FOR A PERIOD OF THREE (3) YEARS.

Adjudication:  80/20

Tenders will be evaluated using functionality evaluation criteria of 40 points of which the contractor is required to score the minimum of 21 points in order to be considered for further evaluation. Tenders will be evaluated using the 80/20 preference point system which awards 80 points for Price and 20 points for attaining the BBBEE status level of contribution in accordance with the table below:

| B-BBEE Status Level of Contributor | Number of points(80/20 system) |
| --- | --- |
| 1 | 20 |
| 2 | 18 |
| 3 | 14 |
| 4 | 12 |
| 5 | 8 |
| 6 | 6 |
| 7 | 4 |
| 8 | 2 |
| Non-compliant contributor | 0 |

Technical Enquiries: Henk Spamer /                      Tel:  (011) 951 2048 / 067 066 9927/

Ronald Mangope	                    (011) 668 0733 071 855 4786

Tender Documents:  Ofentse Matsose                    Tel: (011) 951 2177/2541/071 884 6958

Documents available: As from Wednesday 27 July 2022 on www.etenders.gov.za or www.mogalecity.gov.za

Closing date: Thursday 25 August 2022             Time: 11:00                 Tender Box

Venue: Tender boxes are situated at the reception desk of the Supply Chain Management Unit, situated on the upper level of the West Wing of the Mogale City Civic Centre, Corner Commissioner and Market Streets in Krugersdorp.

COMPULSORY TENDER DOCUMENTS:

- Tax Clearance Certificate / Tax Compliance Status documents with Pin.

Each company within the Joint Venture / Consortium must submit Tax Clearance Certificate or a copy of Tax Compliance Status document with Pin

- Certified Copies of ID’s of members / directors and shareholders

- The bidding entity as well as all its directors/shareholders must submit Municipal account not more than three (03) months / ninety (90) days plus in arrears at the time of the closing date.

- A valid lease agreement which is in the name of the business and or directors /shareholders, which must stipulate who is responsible for payment of Municipal services; or

- If the Bidding Entity operates from informal settlement and is not responsible for Municipal account, the bidder must submit a Sworn Affidavit with and original stamp from the Commissioner of Oaths.

- If the Bidding Entity operates from parents’ place and is not responsible for Municipal account, the bidder must submit the owner’s Municipal account and a Sworn Affidavit with and original stamp from the Commissioner of Oaths;

- Sign Declaration of Municipality Account

- Central Supplier Database (CSD) registration summary report

- Completed and Signed Schedule of Quantities

- Authority of Signatory must be completed and signed in case of a business not sole proprietor or one-person business or board of director’s resolution authorizing signature to sign off the bid documents.

- MBD 1: Invitation to tender

- MBD 4.  Declaration of Interest.

- MBD 6.1 Preferential Points

- MBD 8:   Declaration of bidders past supply chain management practices

- MBD 9:   Certificate of independent bid determination.

BIDDING TENDER CONDITIONS:

1.  All suppliers of good & services are urged to register in the National Treasury web based Central Suppliers Database with Effect from 1 July 2016 @ www.csd.gov.za

- As per National Treasury Instruction No.4 A of 2016/2017 National Treasury Supplier Database, organs of state must ensure that suppliers awarded business with the State are registered on the CSD prior to award letter/purchase order/signed contract being issued.

- According to the amended Codes of Good Practice, an Exempted Micro Enterprise (EME) is only required to obtain a sworn affidavit or a certificate issued by Companies Intellectual Property Commission (CIPC) confirming their annual turnover of R10 million or less and level of Black ownership to claim BEE points

- According to the amended Codes of Good Practice, Qualifying Small Enterprise (QSE) is only required to obtain a sworn affidavit or a certificate issued by Companies Intellectual Property Commission (CIPC) confirming their annual turnover of R50 million or less and level of Black ownership to claim BEE points.

- A trust, consortium or joint venture will qualify for points for the BBBEE status level as a legal entity, provided that the entity submits their consolidated BBBEE status level certificate. If a bidder does not submit a certificate substantiating the BBBEE status level of contribution/ and Affidavit or is a non-compliant contributor, The bid will be evaluated on an 80/20 principle where 80 points will be price and 20 points is BBBEE component.

- Certified copies of their BEE certificates from an accredited BEE verification agency with their tender submission or sworn Affidavit.

- Tenders by joint ventures are to be accompanied by the Document Formation of the joint venture, duly registered and authenticated by a Notary Public or other official deputized to witness sworn statements. This document must define precisely the conditions under which the joint venture will function, the period for which it will function, the persons authorized to represent and obligate it, the address for correspondence, the participation of several firms forming the joint venture and any information necessary to permit a full appraisal of its functioning, including a clause to the effect that the members of the joint venture are jointly and severely bound.

- No late tender will be accepted.

- Telefax or e-mail tenders will not be accepted.

- Tenders may only be submitted on the bid documents as provided by Mogale City.

- The use of tipp-ex is not allowed on the bid documents.

- Bids completed in pencil will be regarded as invalid bids.

- No page(s) may be removed from the original tender document

- No electronic signature will be accepted the bidder’s signature must always be signed by hand in black ink.

- Requirements for sealing, addressing, delivery, opening and assessment of tenders are stated in the tender document;

- In the event of a mistake having been made on the pricing schedule, it shall be crossed out in ink and be accompanied by a full signature at each and every alteration.

- The Municipality reserves the right to reject the bid if corrections are not made in accordance with the above.

- The lowest or any tender will not necessarily be accepted, and Mogale City reserves the right to accept a tender in whole or in part.

- The validity period for this tender is one hundred and twenty (120) days.

- A Corporate social responsibility contribution of two (2) percent inclusive of 15%VAT will be levied on all companies/ service provides appointed as successful bidders if such companied are not based in the area of jurisdiction of Mogale City.

- The Municipality reserve the right to negotiate a fair market related price with recommended bidders after a competitive bidding process or price quotations

- The Municipality reserves the right to appoint and not to appoint.

- All tender prices must be inclusive of VAT for all registered VAT vendors.

- All bid prices must be in RSA currency and inclusive of VAT.  All prices and details must be legible / readable to ensure the bid will be considered for adjudication.

- In the instance of a term tender (period longer that one year), please indicate the estimated annual price increase and the intervals of such increases.

- All bids must be submitted on the official forms and may not be re-typed, copied or scanned.

- Bids will be opened immediately after the closing date and time in a venue to be indicated.

- This tender may be awarded to more than one (1) bidder.

- No bids will be accepted from persons in the service of the state as it is defined in the Municipal Finance Management Act and Regulations.

- The supply chain management policy of Mogale City Local Municipality allow persons aggrieved by decisions or actions taken by the municipality in the implementation of its supply chain management system, to lodge within fourteen (14) days of the decision or action a written objection or complaint to the municipality against the decision or action.

- Tender documents may be downloaded from e-tender portal at www.etenders.gov.za as well as www.mogalecity.gov.za

MR MAKHOSAZA MSEZANA

MUNICIPAL MANAGER

# PART T1: TENDERING PROCEDURES

## T1.2 Tender Data

### T1.2.1 Conditions of Tender

The conditions of tender are the Standard Conditions of Tender as contained in Annex F of the CIBD Standard for Uniformity in Construction Procurement (July 2015) as published in Government Gazette No 38960 of 10 July 2015, Board Notice 136 of 2015. (See www.cidb.org.za).

The Standard Conditions of Tender make several references to the Tender Data for details that apply specifically to this tender. The Tender Data shall have precedence in the interpretation of any ambiguity or inconsistency between it and the Standard Conditions of Tender.

Each item of data given below is cross-referenced to the clause in the Standard Conditions of Tender to which it mainly applies.

### T1.2.2 Tender Data

The clause numbers in the Tender Data refer to the corresponding clause numbers in the Conditions of Tender which follows this section (see Annex 1).

The additional Conditions of Tender are:

| Clause Number | Tender Data |  |
| --- | --- | --- |
| F.1.1 | The Employer is, Mogale City Local Municipality |  |
| F.1.2 | The tender documents issued by the Employer comprise of: Part T1: Tendering Procedures T1.1 Tender Notice and Invitation to Tender T1.2 Tender Data Part T2: Returnable Documents T2.1 List of Returnable Documents T2.2 Returnable Schedules Part C1: Agreement and Contract Data C1.1 Form of Offer and Acceptance C1.2 Contract Data C1.3 Forms of Securities Part C2: Pricing Data C2.1 Pricing Instructions C2.2 Bill of Quantities Part C3: Scope of Work C3.1 Description of the Works C3.2 Engineering C3.3 Procurement C3.4 Construction C3.5 Management of the Works C3.6 Project Specifications C3.7 Health and Safety Specifications C3.8 Environmental Management During Construction Part C4: Site Information C4.1 Site Information |  |
| Clause Number | Tender Data |  |
| F.1.3.2 | The tender document of the winning tenderer will become the contract document between the Employer and Contractor. |  |
| F.1.4 | The Employer’s agent is: |  |
|  | Contact Person | : Sebaka Ramaremela |
|  | Company Name | : Department of Public Works, Roads and Transport |
|  | Address | : Mogale City Local Municipality, P O Box 94 KRUGERSDORP 1740 |
|  | Telephone | : (011) 668 1702/3 : 0837887034 |
|  | Facsimile | : N/A |
|  | Email Address | : Sebaka.ramaremela@mogalecity.gov.za |
| F.1.5 | The Employer’s right to accept or reject any tender offer: The Employer may accept or reject any variation, deviation, tender offer, or alternative tender offer, and may cancel the tender process and reject all tender offers at any time before the formation of a contract. The Employer shall not accept or incur any liability to a tenderer for such cancellation and rejection, but will give reasons for such action upon written request to do so. |  |
| F.1.6.1 | Data pertaining to targeted procurement This tender will be adjudicated and awarded in terms of the Mogale City Local Municipality Procurement Policy. The complete document can be requested from Mogale City Local Municipality. A list of trained local labour will be provided by the Municipal structure on award of the Tender. |  |
| F.1.6.2 | Corporate Social Responsibility A two (2) percent VAT inclusive contribution will be deducted from all certified payments to the contractor and will be deducted from the amount payable before payment is issued. This is only applicable to service providers outside of the Mogale City jurisdiction. |  |
| F.1.6.3.1 | Tenderers shall submit their proposals. The Employer shall evaluate each responsive submission in terms of the method of evaluation stated in F.3.11.3 in the Tender Data. |  |
| F.2.1 | Eligibility Criteria and Requirements CIDB Registration and Grading: - Only tenderers who are registered with the CIDB or have a sub-contractor registered with the CIDB, or are capable of being so prior to the evaluation of submissions, in a contractor grading designation equal to or higher than a contractor grading designation determined in accordance with the sum tendered for 3ME OR 2ME PE OR HIGHER class of construction work, are eligible to submit tenders. - Only the following tenderers who are registered with the CIDB, or are capable of being so registered prior to the evaluation of submissions, are eligible to submit tenders: contractors who have a contractor grading designation equal to or higher than a contractor grading designation determined in accordance with the sum tendered for a 3ME OR 2ME PE OR HIGHER class of construction work; and - Joint ventures are eligible to submit tenders provided that: - Every member of the joint venture is registered with the CIDB; - The lead partner has a contractor grading designation in the 3ME OR 2ME PE OR HIGHER class of construction work; and - The combined contractor grading designation calculated in accordance with the CIDB Regulation is equal to or higher than a contractor grading designation determined in accordance with the sum tendered for a 3ME OR 2ME PE OR HIGHER class construction work. - Information to be submitted with the tender: The tenderer shall submit CV’s of the management and key staff submitted in this tender document that will be employed to carry out this project, together with satisfactory evidence that such staff members satisfy the eligibility requirements. |  |

| Clause Number | Tender Data |  |
| --- | --- | --- |
| F.2.7 | The arrangements for the compulsory Project Briefing Session are: Date: Refer to Invitation to Tender Venue: Refer to Invitation to Tender Enquiries may be directed to Maropeng Mokhatla Tel: 011 951 2014/2177/2541 / 071 884 6958 Tenderers must sign the attendance list in the name of the tendering entity. Addenda will be issued to and tenders will be received only from those tendering entities appearing on the attendance list. |  |
| F.2.13. | The tenderer must submit one tender offer only in a sealed envelope. The Employer’s address for delivery of tender offers and identification details to be shown on the tenderer’s offer package are: |  |
|  | Location of tender box: Physical Address: Identification Details: | Reception desk of the Supply Chain Management Unit upper level of the West Wing of the Mogale City Civic Centre Corner Commissioner and Market Street in Krugersdorp. Tender reference number, Title of Tender Closing date and time of the tender, Tenderer’s name, his authorised representatives name, Postal address and telephonic contact numbers |
| F.2.13.6 | This tender will be submitted as a 1 envelope tender document |  |
| F.2.13.10 | Additional Clause: All annexures (for the Returnable Schedules) must be submitted in a separately bound document together with the tender document. |  |
| F.2.15.1 | Refer to the Invitation to Tender for the closing time for submissions of the tender offers. No late submissions will be considered. Telephonic, telegraphic, telex, facsimile or emailed submission offers will not be accepted. |  |
| F.2.16 | All Bids shall remain valid for a period of one hundred and twenty (120) days after the time and date set for the opening of Bids, or until the tenderer is relieved of this obligation by the Employer, in writing, at an earlier date. However, the tenderer may be requested in writing, to extend the validity of this tender for a specific period. The written approval of the tenderer must then be received before the lapsing of the original validity period, in order to remain valid. |  |
| F.2.23 | The Tenderer must provide the following with his submitted bid document. T2.2.1 Record of Addenda to Tender Documents T2.2.2 Compulsory Enterprise Questionnaire T2.2.3 Authority of Signatory T2.2.4 MCLM Corporate Social Responsibility T2.2.5 Proposed Amendments and Qualifications T2.2.6 Declaration of Interest T2.2.7T2.2.8 Preference Points Claim Form T2.2.9 Declaration of Tenderer’s Past Supply Chain Management Practices T2.2.10Certificate of Independent Bid Determination T2.2.11Capacity to Execute Work T2.2.12Key Personnel/Project Team T2.2.13Previous Experience T2.2.14Financial Capacity T2.2.15Schedule of Proposed Subcontractors T2.2.16 Rates for Special Materials T2.2.17 Declaration of bidder’s Municipal Account(s) T2.2.18Tax Clearance Certificate T2.2.19 Declaration of Good Standing Regarding Income Tax T2.2.20 B-BBEE Certification T2.2.21 Certificate of Contractors Registration issued by the Construction Industry Development Board T2.2.22 Occupational Health and Safety Questionnaire |  |
| Clause Number | Tender Data |  |
| F.2.23 | Failure to submit the required returnable schedules will deem the bid as non-responsive. Where a tenderer satisfies CIDB contractor grading designation requirements through joint venture formation, such tenderers must submit the Certificates of Contractor Registration in respect of each partner. |  |
| F.3.4 | Opening of tender submissions: Tenders will be opened in public. Tender names and total prices, where practical will be read out. |  |
| F.3.8 | Tenders will be deemed non-responsive if the following conditions are not met: - The contractors fails to comply with the pre-qualification criteria for preferential procurement. - The contractors fails to meet the minimum qualifying score for functionality evaluation criteria for a tender - The contractors fails to submit a valid CIDB certificate |  |
| F.3.11.1 | The procedure for the evaluation of responsive tenders is Method 2: Functionality, price and preference. Although quality does not determine the award, quality will be evaluated first (as outlined below) and if the tenderer does not meet the minimum quality criteria he/she will be eliminated and the tender will not be evaluated further. |  |

FUNCTIONALITY EVALUATION CRITERIA

- The below mentioned criteria regarding Functionality is required for responsiveness and therefore eligibility for the next stage of evaluation. This is done to determine the ability of   each bidder to successfully execute the contract according to specifications.

Bid Criteria:

Failure to comply with the following listed conditions will lead to non-compliance, bidders will be rejected after this phase and will not continue to the price scoring stage:

- Failure to achieve the minimum total score of 21, points out of 40 points

- Failure to score the minimum points in each Criteria section (1, 2 and 3) listed in the table below, If the bidder achieves a total score equal to or above the minimum of 21 points but fails to reach the minimum points stipulated for each criterion (1, 2 and 3) the bid will be deemed as non-compliant and will be rejected.

| Technical Evaluation Criteria |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| - Plant, Equipment and Resources |  |  |  |  |  |
| Vehicles: Proof of ownership will be valid registration documents. Equipment: All proof of ownership must be submitted on a company letterhead stating the equipment to be used on the project are owned by the company. OR if hiring, letter from hiring company stating permission to use vehicle/equipment for this project should be attached.( this letter should not be more than 12 month old) |  |  |  |  |  |
| Item | Equipment |  |  | Maximum | Minimum |
| 1.1 | Minimum of 2x Vehicle (LDV): Submit registrations documents as proof of ownership; (10 points) Or Letter of intent from the hiring company (5 points) |  |  | 10 | 5 |
|  |  | Owed | hired |  |  |
| 1.2 | Leak Detection Equipment | 2 | 1 | 2 | 1 |
| 1.3 | Manifold Set | 2 | 1 | 2 | 1 |
| 1.4 | Digital Cap Tester, Multi-meter and Thermometer | 2 | 1 | 2 | 1 |
| 1.5 | Tube Benders | 2 | 1 | 2 | 1 |
| 1.6 | Assorted Power Tools (Drills, Angle Grinders, Jig Saw, Cutter etc) | 2 | 1 | 2 | 1 |
| Total Section 1 |  |  |  | 20 | 10 |

| Technical Evaluation Criteria |  |  |  |
| --- | --- | --- | --- |
| - Qualified Personnel |  |  |  |
| Detailed CV must be attached for each team member and *Certified Copies of Certificates to be attached. Experience to include the installation, maintenance and repair of air conditioning, air cooling, refrigeration and mechanical ventilation. CVs must be attached of the following personnel: |  |  |  |
| Item | Personal | Weight | Minimum |
| 2.1 | Senior Technician Job Description; Experience; Required Qualifications. Senior Technician; 4 years and more (5 Points); Relevant National Diploma in Mechanical Engineering (5 Points). |  |  |
| 2.2 | Job Description; Experience; Required Qualifications. Assistant Technician; 2 -3 years (3 Points); N3 and above in Mechanical Engineering. (3 Points). | 10 | 06 |
|  |  | 10 | 06 |

| Technical Evaluation Criteria |  |  |  |
| --- | --- | --- | --- |
| - Company experience |  |  |  |
| Tenderer must attach appointment letters and completion certificate/ reference letters stating successful completion of previous projects. Previous experience on the nature of the task at hand and level of experience Track record & relevant experience completed in the past 5 years (proof to be attached) * |  |  |  |
| Item | Experience | Weight | Minimum |
| 3.1 | Minimum of one (1) to four (4) projects completedwith combined value of over R 2 000 000.00.(5 points) OR Five (5) to (9) projects completed with combined value of over R 4 000 000.00. (10 points) | 10 | 5 |
|  |  | 10 | 5 |
| Total |  | 40 | 21 |

- The purpose of the comparison is to ensure a meaningful evaluation; bidders are requested to furnish detailed information of substantiation of compliance to the evaluation criteria. The service provider should at least score the minimum of 21 points out of the 40 points in order to be considered to the next evaluation phase.

- All information and particulars necessary to properly evaluate the tender must be furnished on submission.  Incomplete particulars and documents required substantiating or insufficient

- The purpose of the comparison is to ensure a meaningful evaluation; bidders are requested to furnish detailed information of substantiation of compliance to the evaluation criteria.

- All information and particulars necessary to properly evaluate the tender must be furnished on submission.  Incomplete particulars and documents required substantiating or insufficient

### T1.2.3 Annex 1

Standard Conditions of Tender

(As contained in Annexure F of the CIDB Standard for Uniformity in Construction Procurement)

F.1	General

F.1.1	Actions

F.1.1.1	The employer and each tenderer submitting a tender offer shall comply with these conditions of tender. In their dealings with each other, they shall discharge their duties and obligations as set out in F.2 and F.3, timeously and with integrity, and behave equitably, honestly and transparently, comply with all legal obligations and not engage in anticompetitive practices.

F.1.1.2	The employer and the tenderer and all their agents and employees involved in the tender process shall avoid conflicts of interest and where a conflict of interest is perceived or known, declare any such conflict of interest, indicating the nature of such conflict. Tenderers shall declare any potential conflict of interest in their tender submissions. Employees, agents and advisors of the employer  shall  declare  any  conflict  of  interest  to  whoever  is  responsible  for  overseeing  the procurement process at the start of any deliberations relating to the procurement process or as soon as they become aware of such conflict, and abstain from any decisions where such conflict exists or recuse themselves from the procurement process, as appropriate.

Note

- A conflict of interest may arise due to a conflict of roles which might provide an incentive for improper acts in some circumstances. A conflict of interest can create an appearance of impropriety that can undermine confidence in the ability of that person to act properly in his or her position even if no improper acts result.

2) Conflicts of interest in respect of those engaged in the procurement process include direct, indirect or family interests in the tender or outcome of the procurement process and any personal bias, inclination, obligation, allegiance or loyalty which would in any way affect any decisions taken.

F.1.1.3	The employer shall not seek and a tenderer shall not submit a tender without having a firm intention and the capacity to proceed with the contract.

F.1.2	Tender Documents

The documents issued by the employer for the purpose of a tender offer are listed in the tender data.

F.1.3	Interpretation

F.1.3.1	The tender data and additional requirements contained in the tender schedules that are included in the returnable documents are deemed to be part of these conditions of tender.

F.1.3.2	These conditions of tender, the tender data and tender schedules which are only required for tender evaluation purposes, shall not form part of any contract arising from the invitation to tender.

F.1.3.3 	For the purposes of these conditions of tender, the following definitions apply:

- Conflict of interest means any situation in which:

- someone in a position of trust has competing professional or personal interests which make it difficult to fulfil his or her duties impartially;

- an individual or organisation is in a position to exploit a professional or official capacity in some way for their personal or corporate benefit; or

- incompatibility or contradictory interests exist between an employee and the organisation which employs that employee.

- Comparative offer means the price after the factors of a non-firm price and all unconditional discounts it can be utilised to have been taken into consideration;

- Corrupt practice means the offering, giving, receiving or soliciting of anything of value to influence the action of the employer or his staff or agents in the tender process;

- Fraudulent practice means the misrepresentation of the facts in order to influence the tender process or the award of a contract arising from a tender offer to the detriment of the employer, including collusive practices intended to establish prices at artificial levels;

- Organization means a company, firm, enterprise, association or other legal entity, whether incorporated or not, or a public body;

- Functionality means the totality of features and characteristics of a product or service that bear on its ability to satisfy stated or implied needs.

F.1.4	Communication and Employer’s Agent

Each communication between the employer and a tenderer shall be to or from the employer's agent only, and in a form that can be readily read, copied and recorded. Communications shall be in the English language. The employer shall not take any responsibility for non- receipt of communications from or by a tenderer. The name and contact details of the employer’s agent are stated in the tender data.

F.1.5	Cancellation and Re-Invitation of Tenders

F.1.5.1	An organ of state may, prior to the award of the tender, cancel a tender if-

- due to changed circumstances, there is no longer a need for the services, works or goods requested; or

- funds are no longer available to cover the total envisaged expenditure; or

- no acceptable tenders are received.

F.1.5.2	The decision to cancel a tender must be published in the cidb website and in the government Tender Bulletin for the media in which the original tender invitation was advertised.

F.1.6	Procurement Procedures

F.1.6.1	General

Unless otherwise stated in the tender data, a contract will, subject to F.3.13, be concluded with the tenderer who in terms of F.3.11 is the highest ranked or the tenderer scoring the highest number of tender evaluation points, as relevant, based on the tender submissions that are received at the closing time for tenders.

F.1.6.2	Competitive Negotiation Procedure

F.1.6.2.1	Where the tender data require that the competitive negotiation procedure is to be followed, tenderers shall submit tender offers in response to the proposed contract in the first round of submissions. Notwithstanding the requirements of F.3.4, the employer shall announce only the names of the tenderers who make a submission. The requirements of F.3.8 relating to the material deviations or qualifications which affect the competitive position of tenderers shall not apply.

F.1.6.2.2	All responsive tenderers, or not less than three responsive tenderers that are highest ranked in terms of the evaluation method and evaluation criteria stated in the tender data, shall be invited in each round to enter into competitive negotiations, based on the principle of equal treatment and keeping confidential the proposed solutions and associated information. Notwithstanding the provisions of F.2.17, the employer may request that tenders be clarified, specified and fine-tuned in order to improve a tenderer’s competitive position provided that such clarification, specification, fine-tuning or additional information does not alter any fundamental aspects of the offers or impose substantial new requirements which restrict or distort competition or have a discriminatory effect.

F.1.6.2.3	At the conclusion of each round of negotiations, tenderers shall be invited by the employer to make a fresh tender offer, based on the same evaluation criteria, with or without adjusted weightings. Tenderers shall be advised when they are to submit their best and final offer.

F.1.6.2.4	The contract shall be awarded in accordance with the provisions of F.3.11 and F.3.13 after tenderers have been requested to submit their best and final offer.

F.1.6.3	Proposal Procedure Using the Two Stage-System

F.1.6.3.1	Option 1

Tenderers shall in the first stage submit technical proposals and, if required, cost parameters around which a contract may be negotiated. The employer shall evaluate each responsive submission in terms of the method of evaluation stated in the tender data, and in the second stage negotiate a contract with the tenderer scoring the highest number of evaluation points and award the contract in terms of these conditions of tender.

F.1.6.3.2	Option 2

F.1.6.3.2.1	Tenderers shall submit in the first stage only technical proposals. The employer shall invite all responsive tenderers to submit tender offers in the second stage, following the issuing of procurement documents.

F.1.6.3.2.2	The employer shall evaluate tenders received during the second stage in terms of the method of evaluation stated in the tender data, and award the contract in terms of these conditions of tender.

F.2	Tenderer’s Obligations

F.2.1	Eligibility

F.2.1.1	Submit a tender offer only if the tenderer satisfies the criteria stated in the tender data and the tenderer, or any of his principals, is not under any restriction to do business with employer.

F.1.2	Notify the employer of any proposed material change in the capabilities or formation of the tendering entity (or both) or any other criteria which formed part of the qualifying requirements used by the employer as the basis in a prior process to invite the tenderer to submit a tender offer and obtain the employer’s written approval to do so prior to the closing time for tenders.

F.2.2	Cost of Tendering

F.2.2.1	Accept that, unless otherwise stated in the tender data, the employer will not compensate the tenderer for any costs incurred in the preparation and submission of a tender offer, including the costs of any testing necessary to demonstrate that aspects of the offer complies with requirements.

F.2.2.2	The cost of the tender documents charged by the employer shall be limited to the actual cost incurred by the employer for printing the documents. Employers must attempt to make available the tender documents on its website so as not to incur any costs pertaining to the printing of the tender documents.

F.2.3	Check Documents

Check the tender documents on receipt for completeness and notify the employer of any discrepancy or omission.

F.2.4	Confidentiality and Copyright of Documents

Treat as confidential all matters arising in connection with the tender. Use and copy the documents issued by the employer only for the purpose of preparing and submitting a tender offer in response to the invitation.

F.2.5	Reference Documents

Obtain, as necessary for submitting a tender offer, copies of the latest versions of standards, specifications, conditions of contract and other publications, which are not attached but which are incorporated into the tender documents by reference.

F.2.6	Acknowledge Addenda

Acknowledge receipt of addenda to the tender documents, which the employer may issue, and if necessary apply for an extension to the closing time stated in the tender data, in order to take the addenda into account.

F.2.7	Clarification Meeting

Attend, where required, a clarification meeting at which tenderers may familiarize themselves with aspects of the proposed work, services or supply and raise questions. Details of the meeting(s) are stated in the tender data.

F.2.8	Seek Clarification

Request clarification of the tender documents, if necessary, by notifying the employer at least five working days before the closing time stated in the tender data.

F.2.9	Insurance

Be aware that the extent of insurance to be provided by the employer (if any) might not be for the full cover required in terms of the conditions of contract identified in the contract data. The tenderer is advised to seek qualified advice regarding insurance.

F.2.10	Pricing the Tender Offer

F.2.10.1	Include in the rates, prices, and the tendered total of the prices (if any) all duties, taxes (except Value Added Tax (VAT), and other levies payable by the successful tenderer, such duties, taxes and levies being those applicable 14 days before the closing time stated in the tender data.

F2.10.2	Show VAT payable by the employer separately as an addition to the tendered total of the prices.

F.2.10.3	Provide rates and prices that are fixed for the duration of the contract and not subject to adjustment except as provided for in the conditions of contract identified in the contract data.

F.2.10.4	State the rates and prices in Rand unless instructed otherwise in the tender data. The conditions of contract identified in the contract data may provide for part payment in other currencies.

F.2.11	Alterations to Documents

Do not make any alterations or additions to the tender documents, except to comply with instructions issued by the employer, or necessary to correct errors made by the tenderer.  All signatories to the tender offer shall initial all such alterations.

F.2.12	Alternative Tender Offers

F.2.12.1	Unless otherwise stated in the tender data, submit alternative tender offers only if a main tender offer, strictly in accordance with all the requirements of the tender documents, is also submitted as well as a schedule that compares the requirements of the tender documents with the alternative requirements that are proposed.

F.2.12.2	Accept that an alternative tender offer may be based only on the criteria stated in the tender data or criteria otherwise acceptable to the employer.

F.2.12.3	An alternative tender offer may only be considered in the event that the main tender offer is the winning tender.

F.2.13	Submitting a Tender Offer

F.2.13.1	Submit one tender offer only, either as a single tendering entity or as a member in a joint venture to provide the whole of the works, services or supply identified in the contract data and described in the scope of works, unless stated otherwise in the tender data.

F.2.13.2	Return all returnable documents to the employer after completing them in their entirety, either electronically (if they were issued in electronic format) or by writing legibly in non-erasable ink.

F.2.13.3	Submit the parts of the tender offer communicated on paper as an original plus the number of copies stated in the tender data, with an English translation of any documentation in a language other than English, and the parts communicated electronically in the same format as they were issued by the employer.

F.2.13.4	Sign the original and all copies of the tender offer where required in terms of the tender data. The employer will hold all authorized signatories liable on behalf of the tenderer. Signatories for tenderers proposing to contract as joint ventures shall state which of the signatories is the lead partner whom the employer shall hold liable for the purpose of the tender offer.

F.2.13.5	Seal the original and each copy of the tender offer as separate packages marking the packages as "ORIGINAL" and "COPY". Each package shall state on the outside the employer's address and identification details stated in the tender data, as well as the tenderer's name and contact address.

F.2.13.6	Where a two-envelope system is required in terms of the tender data, place and seal the returnable documents listed in the tender data in an envelope marked ―financial proposal‖ and place the remaining returnable documents in an envelope marked ―technical proposal‖. Each envelope shall state on the outside the employer’s address and identification details stated in the tender data, as well as the tenderer's name and contact address.

F.2.13.7	Seal the original tender offer and copy packages together in an outer package that states on the outside only the employer's address and identification details as stated in the tender data.

F.2.13.8	Accept that the employer will not assume any responsibility for the misplacement or premature opening of the tender offer if the outer package is not sealed and marked as stated.

F.2.13.9	Accept that tender offers submitted by facsimile or e-mail will be rejected by the employer, unless stated otherwise in the tender data.

F.2.14	Information and Data to be Completed in all Respects

Accept that tender offers, which do not provide all the data or information requested completely and in the form required, may be regarded by the employer as non-responsive.

F.2.15	Closing Time

F.2.15.1	Ensure that the employer receives the tender offer at the address specified in the tender data not later than the closing time stated in the tender data. Accept that proof of posting shall not be accepted as proof of delivery.

F.2.15.2	Accept that, if the employer extends the closing time stated in the tender data for any reason, the requirements of these conditions of tender apply equally to the extended deadline.

F.2.16	Tender offer Validity

F.2.16.1	Hold the tender offer(s) valid for acceptance by the employer at any time during the validity period stated in the tender data after the closing time stated in the tender data.

F.2.16.2	If requested by the employer, consider extending the validity period stated in the tender data for an agreed additional period with or without any conditions attached to such extension.

F.2.16.3	Accept that a tender submission that has been submitted to the employer may only be withdrawn or substituted by giving the employer’s agent written notice before the closing time for tenders that a tender is to be withdrawn or substituted.

F.2.16.4	Where a tender submission is to be substituted, submit a substitute tender in accordance  with  the  requirements  of  F.2.13  with  the  packages  clearly  marked  as “SUBSTITUTE”.

F.2.17	Clarification of Tender Offer After Submission

Provide clarification of a tender offer in response to a request to do so from the employer during the evaluation of tender offers. This may include providing a breakdown of rates or prices and correction of arithmetical errors by the adjustment of certain rates or item prices (or both). No change in the competitive position of tenderers or substance of the tender offer is sought, offered, or permitted.

Note: Sub-clause F.2.17 does not preclude the negotiation of the final terms of the contract with a preferred tenderer following a competitive selection process, should the Employer elect to do so.

F.2.18	Provide Other Material

F.2.18.1	Provide, on request by the employer, any other material that has a bearing on the tender   offer,   the   tenderer’s   commercial   position   (including   notarized   joint   venture agreements), referencing arrangements, or samples of materials, considered necessary by the employer for the purpose of a full and fair risk assessment. Should the tenderer not provide the material, or a satisfactory reason as to why it cannot be provided, by the time for submission stated in the employer’s request, the employer may regard the tender offer as non-responsive.

F.2.18.2	Dispose of samples of materials provided for evaluation by the employer, where required.

F.2.19	Inspections, Tests and Analysis

Provide access during working hours to premises for inspections, tests and analysis as provided for in the tender data.

F.2.20	Submit Securities, Bonds and Policies

If requested, submit for the employer’s acceptance before formation of the contract, all securities, bonds, guarantees, policies and certificates of insurance required in terms of the conditions of contract identified in the contract data.

F.2.21	Check Final Draft

Check the final draft of the contract provided by the employer within the time available for the employer to issue the contract.

F.2.22	Return of Other Tender Documents

If so instructed by the employer, return all retained tender documents within 28 days after the expiry of the validity period stated in the tender data.

F.2.23	Certificates

Include in the tender submission or provide the employer with any certificates as stated in the tender data.

F.3	The Employer’s Undertakings

F.3.1	Respond to Requests from the Tenderer

F.3.1.1	Unless otherwise stated in the tender Data, respond to a request for clarification received up to five working days before the tender closing time stated in the Tender Data and notify all tenderers who drew procurement documents.

F.3.1.2	Consider any request to make a material change in the capabilities or formation of the tendering entity (or both) or any other criteria which formed part of the qualifying requirements used to prequalify a tenderer to submit a tender offer in terms of a previous procurement process and deny any such request if as a consequence:

- an individual firm, or a joint venture as a whole, or any individual member of the joint venture fails to meet any of the collective or individual qualifying requirements;

- the new partners to a joint venture were not prequalified in the first instance, either as individual firms or as another joint venture; or

- in the opinion of the Employer, acceptance of the material change would compromise the outcome of the prequalification process.

F.3.2	Issue Addenda

If necessary, issue addenda that may amend or amplify the tender documents to each tenderer during the period from the date that tender documents are available until three days before the tender closing time stated in the Tender Data.  If, as a result a tenderer applies for an extension to the closing time stated in the Tender Data, the Employer may grant such extension and, shall then notify all tenderers who drew documents.

F.3.3	Return Late Tender Offers

Return tender offers received after the closing time stated in the Tender Data, unopened, (unless it is necessary to open a tender submission to obtain a forwarding address), to the tenderer concerned.

F.3.4	Opening of Tender Submissions

F.3.4.1	Unless the two-envelope system is to be followed, open valid tender submissions in the presence of tenderers’ agents who choose to attend at the time and place stated in the tender data. Tender submissions for which acceptable reasons for withdrawal have been submitted will not be opened.

F.3.4.2	Announce at the meeting held immediately after the opening of tender submissions, at a venue indicated in the tender data, the name of each tenderer whose tender offer is opened and, where applicable, the total of his prices, number of points claimed for its BBBEE status level and time for completion for the main tender offer only.

F.3.4.3	Make available the record outlined in F.3.4.2 to all interested persons upon request.

F.3.5	Two-Envelope System

F.3.5.1	Where stated in the tender data that a two-envelope system is to be followed, open only the technical proposal of valid tenders in the presence of tenderers’ agents who choose to attend at the time and place stated in the tender data and announce the name of each tenderer whose technical proposal is opened.

F.3.5.2	Evaluate functionality of the technical proposals offered by tenderers, then advise tenderers who remain in contention for the award of the contract of the time and place when the financial proposals will be opened. Open only the financial proposals of tenderers, who score in the functionality evaluation more than the minimum number of points for functionality stated in the tender data, and announce the score obtained for the technical proposals and the total price and any points claimed on BBBEE status level. Return unopened financial proposals to tenderers whose technical proposals failed to achieve the minimum number of points for functionality.

F.3.6	Non-Disclosure

Not  disclose  to  tenderers,  or  to  any  other  person  not  officially  concerned  with  such processes, information relating to the evaluation and comparison of tender offers, the final evaluation price and recommendations for the award of a contract, until after the award of the contract to the successful tenderer.

F.3.7	Grounds for Rejection and Disqualification

Determine whether there has been any effort by a tenderer to influence the processing of tender offers and instantly disqualify a tenderer (and his tender offer) if it is established that he engaged in corrupt or fraudulent practices.

F.3.8	Test for Responsiveness

F.3.8.1	Determine, after opening and before detailed evaluation, whether each tender offer properly received:

- complies with the requirements of these Conditions of Tender,

- has been properly and fully completed and signed, and

- is responsive to the other requirements of the tender documents.

F.3.8.2	A responsive tender is one that conforms to all the terms, conditions, and specifications of the tender documents without material deviation or qualification. A material deviation or qualification is one which, in the Employer's opinion, would:

- detrimentally affect the scope, quality, or performance of the works, services or supply identified in the Scope of Work,

- significantly change the Employer's or the tenderer's risks and responsibilities under the contract, or

- affect the competitive position of other tenderers presenting responsive tenders, if it were to be rectified.

Reject a non-responsive tender offer, and not allow it to be subsequently made responsive by correction or withdrawal of the non-conforming deviation or reservation.

F.3.9	Arithmetical Errors, Omissions and Discrepancies

F.3.9.1	Check the highest ranked tender or tenderer with the highest number of tender evaluation points after the evaluation of tender offers in accordance with F.3.11 for:

- the gross misplacement of the decimal point in any unit rate;

- omissions made in completing the pricing schedule or bills of quantities; or

- arithmetic errors in:

- line item totals resulting from the product of a unit rate and a quantity in bills of quantities or schedules of prices; or

- the summation of the prices

F3.9.2	The employer must correct the arithmetical errors in the following manner:

- Where there is a discrepancy between the amounts in words and amounts in figures, the amount in words shall govern.

- If bills of quantities or pricing schedules apply and there is an error in the line item total resulting from the product of the unit rate and the quantity, the line item total shall govern and the rate shall be corrected. Where there is an obviously gross misplacement of the decimal point in the unit rate, the line item total as quoted shall govern, and the unit rate shall be corrected.

- Where there is an error in the total of the prices either as a result of other corrections required by this checking process or in the tenderer's addition of prices, the total of the prices shall govern and the tenderer will be asked to revise selected item prices (and their rates if bills of quantities apply) to achieve the tendered total of the prices.

Consider the rejection of a tender offer if the tenderer does not correct or accept the correction of the arithmetical error in the manner described above.

F.3.10	Clarification of a Tender Offer

Obtain clarification from a tenderer on any matter that could give rise to ambiguity in a contract arising from the tender offer.

Data Pertaining to CIDB Registration

Basis for CIDB Rating Requirement – CIDB Table 8

A contractor registered in a specific contractor’s grading designation indicated in column 1 of Table 8, is considered to be capable of undertaking a contract in the range of values indicated in columns 3 and 4 in the class of construction works to which the category of registration relates to:

The tender value range adjustments set out in table 8 of regulation 17 is amended as follows:

| Contractor Grading Designation | Tender Value Range Designation | Less Than or Equal to (R) |
| --- | --- | --- |
| 1 (Class of Construction Works) | 1 | R 500 000 |
| 2 (Class of Construction Works) | 2 | R 1000 000 |
| 3 (Class of Construction Works) | 3 | R 3 000 000 |
| 4 (Class of Construction Works) | 4 | R 6 000 000 |
| 5 (Class of Construction Works) | 5 | R 10 00 000 |
| 6 (Class of Construction Works) | 6 | R20 000 000 |
| 7 (Class of Construction Works) | 7 | R60 000 000 |
| 8 (Class of Construction Works) | 8 | R200 000 000 |
| 9 (Class of Construction Works) | 9 | “No limit” |

Information regarding the CIDB can be obtained from their website: www.cidb.org.za

APPLICATION

2. These Regulations apply to organs of state as envisaged in the definition of

Organ of state in section 1 of the Act.1

IDENTIFICATION OF PREFERENCE POINT SYSTEM, DESIGNATED SECTOR, PRE-QUALIFICATION CRITERIA, OBJECTIVE CRITERIA AND SUBCONTRACTING

- An organ of state must-

- determine and stipulate in the tender documents-

(i) the preference point system applicable to the tender as envisaged in

regulation 6 or 7; or

1 The definition of “organ of state” in section 1 of the Act in paragraph (a) to (e) includes-

• a national or provincial department as defined in the Public Finance Management Act, 1999;

• a municipality as contemplated in the Constitution;

• a constitutional institution as defined in the Public Finance Management Act;

• Parliament;

• a provincial legislature.

Paragraph (f) of the definition of organ of state in section 1 of the Act includes any other institution or category of institutions included in the definition of “organ of state” in section 239 of the Constitution and recognised by the Minister by notice in the Government Gazette as an institution or category of institutions to which the Act applies. Government Notice R. 501 of 8 June 2011 recognises, with effect from 7 December 2011, all public entities listed in Schedules 2 and 3 to the Public Finance

Management Act, 1999, as institutions to which the Act applies. Note should be taken of notices issued from time to time in termsof paragraph (f) of this definition

The application of these Regulations is also subject to applicable exemptions approved in terms of section 3 of the Act.

(ii) if it is unclear which preference point system will be applicable, that either

the 80/20 or 90/10 preference point system will apply and that the lowest

acceptable tender will be used to determine the applicable preference point

system;

(b) determine whether pre-qualification criteria are applicable to the tender as

envisaged in regulation 4;

(c) determine whether the goods or services for which a tender is to be invited, are in a

designated sector for local production and content as envisaged in regulation 8;

(d) determine whether compulsory subcontracting is applicable to the tender as

envisaged in regulation 9; and

(e) determine whether objective criteria are applicable to the tender as envisaged in

regulation 11.

PRE-QUALIFICATION CRITERIA FOR PREFERENTIAL PROCUREMENT

4.(1) If an organ of state decides to apply pre-qualifying criteria to advance certain

designated groups, that organ of state must advertise the tender with a specific tendering

condition that only one or more of the following tenderers may respond-

- a tenderer having a stipulated minimum B-BBEE status level of contributor;

- an EME or QSE;

- a tenderer subcontracting a minimum of 30% to-

- an EME or QSE which is at least 51% owned by black people;

- an EME or QSE which is at least 51% owned by black people who are youth;

- an EME or QSE which is at least 51% owned by black people who are women;

- (iv) an EME or QSE which is at least 51% owned by black people with disabilities;

- (v) an EME or QSE which is 51% owned by black people living in rural or underdeveloped areas or townships;

- a cooperative which is at least 51% owned by black people;

- (vii) an EME or QSE which is at least 51% owned by black people who are military veterans;

- an EME or QSE.

(2) A tender that fails to meet any pre-qualifying criteria stipulated in the tender documents is an

unacceptable tender.

F.3.11	Evaluation of Tender Offers

F.3.11.1	General

Appoint an evaluation panel of not less than three persons. Reduce each responsive tender offer to a comparative offer and evaluate them using the tender evaluation methods and associated evaluation criteria and weightings that are specified in the tender data.

TENDERS TO BE EVALUATED ON FUNCTIONALITY

5.(1) An organ of state must state in the tender documents if the tender will be

evaluated on functionality.

(2) The evaluation criteria for measuring functionality must be objective.

(3) The tender documents must specify-

(a) the evaluation criteria for measuring functionality;

- the points for each criteria and, if any, each sub-criterion; and

- the minimum qualifying score for functionality.

(4) The minimum qualifying score for functionality for a tender to be considered

further-

- must be determined separately for each tender; and

- may not be so-

- low that it may jeopardise the quality of the required goods or services; or

- high that it is unreasonably restrictive.

(5) Points scored for functionality must be rounded off to the nearest two

decimal places.

(6) A tender that fails to obtain the minimum qualifying score for functionality as

indicated in the tender documents is not an acceptable tender.

(7) Each tender that obtained the minimum qualifying score for functionality

must be evaluated further in terms of price and the preference point system and any

objective criteria envisaged in regulation 11.

F.3.11.2	Method 1: Price and Preference

In the case of a price and preference:

- Score tender evaluation points for price

- Score points for BBBEE contribution

- Add the points scored for price and BBBEE.

F.3.11.3	Method 2: Functionality, Price and Preference

In the case of a functionality, price and preference:

- Score functionality, rejecting all tender offers that fail to achieve the minimum number of points for functionality as stated in the Tender Data.

- No tender must be regarded as an acceptable tender if it fails to achieve the minimum qualifying score for functionality as indicated in the tender invitation.

- Tenders that have achieved the minimum qualification score for functionality must be evaluated further in terms of the preference points system prescribed in paragraphs 4 and 4 and 5 below.

80/20 PREFERENCE POINT SYSTEM FOR ACQUISION OF GOODS, SERVICES AND

WORKS SERVICES FOR RAND VALUE EQUAL TO AND ABOVE R30 000 AND UPTO TO 50

MILLION

- (a)(i) The following formula must be used to calculate the points for price in respect of tenders ( including price quotation) with a rand value equal to, or above R 30 000 and up to Rand value of R50 MILLION (inclusive of  all applicable taxes included):

Ps=801-Pt-PminPmin

Where

Ps = Points scored for comparative price of tender or offer under consideration;

Pt = Comparative price of tender or offer under consideration; and

Pmin = Comparative price of lowest acceptable tender or offer.

- The following table must be used to calculate the points out of 10 for B-BBEE:

| B-BBEE status level of contributor | Number of points |
| --- | --- |
| 1 | 20 |
| 2 | 18 |
| 3 | 14 |
| 4 | 12 |
| 5 | 8 |
| 6 | 6 |
| 7 | 4 |
| 8 | 2 |
| Non-compliant contributor | 0 |

(3) A tenderer must submit proof of its B-BBEE status level of contributor.

(4) A tenderer failing to submit proof of B-BBEE status level of contributor or is a

non-compliant contributor to B-BBEE may not be disqualified, but-

(a) may only score points out of 80 for price; and

(b) scores 0 points out of 20 for B-BBEE.

(5) A tenderer may not be awarded points for B-BBEE status level of contributor

if the tender documents indicate that the tenderer intends subcontracting more than 25%

of the value of the contract to any other person not qualifying for at least the points that  the tenderer qualifies for, unless the intended subcontractor is an EME that has the capability to execute the subcontract.

(6) The points scored by a tenderer for B-BBEE in terms of subregulation (2)

must be added to the points scored for price under subregulation (1).

(7) The points scored must be rounded off to the nearest two decimal places.

(8) Subject to subregulation (9) and regulation 11, the contract must be awarded

to the tenderer scoring the highest points.

(9)(a) If the price offered by a tenderer scoring the highest points is not market related,

the organ of state may not award the contract to that tenderer.

- The organs of state may-

(i) negotiate a market-related price with the tenderer scoring the highest points or

cancel the tender;

(ii) if the tenderer does not agree to a market-related price, negotiate a market-related

price with the tenderer scoring the second highest points or cancel the tender;

(iii) if the tenderer scoring the second highest points does not agree to a market-related

price, negotiate a market-related price with the tenderer scoring the third highest

points or cancel the tender.

(c) If a market-related price is not agreed as envisaged in paragraph (b)(iii), the

organ of state must cancel the tender.

90/10 PREFERENCE POINT SYSTEM FOR ACQUISITION OF GOODS, SERVICES AND WORKS WITH RAND VALUE ABOVE R50 MILLION

7.(1) The following formula must be used to calculate the points out of 90 for price

in respect of a tender with a Rand value above R50 million, (inclusive of all applicable

taxes):

Where-

Ps=901-Pt-PminPmin

Where

Ps = Points scored for comparative price of tender or offer under consideration;

Pt = Comparative price of tender or offer under consideration; and

Pmin = Comparative price of lowest acceptable tender or offer.

- The following table must be used to calculate the points out of 10 for B-BBEE:

| B-BBEE status level of contributor | Number of points |
| --- | --- |
| 1 | 10 |
| 2 | 9 |
| 3 | 6 |
| 4 | 5 |
| 5 | 4 |
| 6 | 3 |
| 7 | 2 |
| 8 | 1 |
| Non-compliant contributor | 0 |

(3) A tenderer must submit proof of its B-BBEE status level of contributor.

(4) A tenderer failing to submit proof of B-BBEE status level of contribution or is

a non-compliant contributor to B-BBEE may not be disqualified, but-

- may only score points out of 90 for price; and

- scores 0 points out of 10 for B-BBEE.

(5) A tenderer may not be awarded points for B-BBEE status level of contributor

if the tender documents indicate that the tenderer intends subcontracting more than 25%

of the value of the contract to any other person not qualifying for at least the points that the

tenderer qualifies for, unless the intended subcontractor is an EME that has the capability

to execute the subcontract.

(6) The points scored by a tenderer for B-BBEE contribution in terms of

subregulation (2) must be added to the points scored for price under subregulation (1).

(7) The points scored must be rounded off to the nearest two decimal places.

(8) Subject to subregulation (9) and regulation 11, the contract must be awarded

to the tenderer scoring the highest points.

(9)(a) If the price offered by a tenderer scoring the highest points is not marketrelated,

the organ of state may not award the contract to that tenderer.

(b) The organs of state may-

negotiate a market-related price with the tenderer scoring the highest points or

cancel the tender;

(ii) if the tenderer does not agree to a market-related price, negotiate a market-related

price with the tenderer scoring the second highest points or cancel the tender;

(iii) if the tenderer scoring the second highest points does not agree to a market-related

price, negotiate a market-related price with the tenderer scoring the third highest

points or cancel the tender.

(c) If a market-related price is not agreed as envisaged in paragraph (b)(iii), the

organ of state must cancel the tender.

F.3.11.6	Decimal places

Score price, preference and functionality, as relevant, to two decimal places.

F.3.11.7	Scoring Price

Score price of remaining responsive tender offers using the following formula:

NFO = W1 x A

Where

NFO is the number of tender evaluation points awarded for price.

W1 is the maximum possible number of tender evaluation points awarded for price as stated in the Tender Data.

A is a number calculated using the formula and option described in Table F.1 as stated in the Tender Data.

Table F.1: Formulae for calculating the value of A

| Formula | Comparison aimed at achieving | Option 1a | Option 2 a |
| --- | --- | --- | --- |
| 1 | Highest price or discount | A = (1 +( P - Pm)) Pm | A = P / Pm |
| 2 | Lowest price or percentage commission / fee | A = (1 - (P - Pm)) Pm | A = Pm / P |
| a Pm is the comparative offer of the most favourable comparative offer. P is the comparative offer of the tender offer under consideration. |  |  |  |

F.3.11.8	Scoring preferences

Confirm that tenderers are eligible for the preferences claimed in accordance with the provisions of the tender data and reject all claims for preferences where tenderers are not eligible for such preferences. Calculate the total number of tender evaluation points for preferences claimed in accordance with the provisions of the tender data.

F.3.11.9	Scoring functionality

Score each of the criteria and sub-criteria for quality in accordance with the provisions of the Tender Data.

Calculate the total number of tender evaluation points for quality using the following formula:

NQ = W2 x SO / MS

Where:

SO is the score for quality allocated to the submission under consideration;

MS is the maximum possible score for quality in respect of a submission; and

W2 is the maximum possible number of tender evaluation points awarded for the quality as stated in the tender data

F.3.12	Insurance provided by the employer

If requested by the proposed successful tenderer, submit for the tenderer's information the policies and / or certificates of insurance which the conditions of contract identified in the contract data, require the employer to provide.

F.3.13	Acceptance of tender offer

Accept the tender offer, if in the opinion of the employer, it does not present any risk and only if the tenderer:

- is  not  under  restrictions,  or  has  principals  who  are  under  restrictions,  preventing participating in the employer’s procurement,

- can, as necessary and in relation to the proposed contract, demonstrate that he or she possesses the professional and technical qualifications, professional and technical competence, financial resources, equipment and other physical facilities, managerial capability,  reliability,  experience  and  reputation,  expertise  and  the  personnel,  to perform the contract,

- has the legal capacity to enter into the contract,

- is not insolvent, in receivership, under Business Rescue as provided for in chapter 6 of the Companies Act, 2008, bankrupt or being wound up, has his affairs administered by a court or a judicial officer, has suspended his business activities, or is subject to legal proceedings in respect of any of the foregoing,

- complies with the legal requirements, if any, stated in the tender data, and

- is able, in the opinion of the employer, to perform the contract free of conflicts of interest.

F.3.14	Prepare contract documents

F.3.14.1	If necessary, revise documents that shall form part of the contract and that were issued by the employer as part of the tender documents to take account of:

- addenda issued during the tender period,

- inclusion of some of the returnable documents, and

- other revisions agreed between the employer and the successful tenderer.

F.3.14.2	Complete the schedule of deviations attached to the form of offer and acceptance, if any.

F.3.15	Complete adjudicator's contract

Unless alternative arrangements have been agreed or otherwise provided for in the contract, arrange for both parties to complete formalities for appointing the selected adjudicator at the same time as the main contract is signed.

F.3.16	Notice to unsuccessful tenderers

F.3.16.1	Notify the successful tenderer of the employer's acceptance of his tender offer by completing and returning one copy of the form of offer and acceptance before the expiry of the validity period stated in the tender data, or agreed additional period.

F.3.16.2	After the successful tenderer has been notified of the employer’s acceptance of the tender, notify other tenderers that their tender offers have not been accepted.

F.3.17	Provide copies of the contracts

Provide to the successful tenderer the number of copies stated in the Tender Data of the signed copy of the contract as soon as possible after completion and signing of the form of offer and acceptance.

F.3.18	Provide written reasons for actions taken

Provide upon request written reasons to tenderers for any action that is taken in applying these conditions of tender, but withhold information which is not in the public interest to be divulged, which is considered to prejudice the legitimate commercial interests of tenderers or might prejudice fair competition between tenderers.

F3.19	Transparency in the procurement process

F3.19.1	The CIDB prescripts require that tenders must be advertised and be registered on the cidb i.Tender system.

F3.19.2	The employer must adopt a transparency model that incorporates the disclosure and accountability as transparency requirements in the procurement process.

F3.19.3	The transparency model must identify the criteria for selection of projects, project information template and the threshold value of the projects to be disclosed in the public domain at various intervals of delivery of infrastructure projects.

F3.19.4	The client must publish the information on a quarterly basis which contains the following information:

- Procurement planning process

- Procurement method and evaluation process

- Contract type

- Contract status

- Number of firms tendering

- Cost estimate

- Contract title

- Contract firm(s)

- Contract price

- Contract scope of work

- Contract start date and duration

- Contract evaluation reports

F3.19.5	The employer must establish a Consultative Forum which will conduct a random audit in the implementation of the transparency requirements in the procurement process.

F3.19.6	Consultative Forum must be an independent structure from the bid committees. F3.19.7 The information must be published on the employer’s website.

F 3.19.8	Records of such disclosed information must be retained for audit purposes.

MOGALE CITY LOCAL MUNICIPALITY

THE TENDER:

PART T2: RETURNABLE DOCUMENTS

# PART T2: RETURNABLE DOCUMENTS

## T2.1 List of Returnable Documents

The Tenderer must complete the following returnable documents:

T2.2.1	Record of Addenda to Tender Documents

T2.2.2	Compulsory Enterprise Questionnaire

T2.2.3	Authority of Signatory

T2.2.4	MCLM Corporate Social Responsibility

T2.2.5	Proposed Amendments and Qualifications

T2.2.6	Declaration of Interest

T2.2.7	T2.2.8	Preference Points Claim Form

T2.2.9	Declaration of Tenderer’s Past Supply Chain Management Practices

T2.2.10	Certificate of Independent Bid Determination

T2.2.11	Capacity to Execute Work

T2.2.12	Key Personnel/Project Team

T2.2.13	Previous Experience

T2.2.14	Financial Capacity

T2.2.15	Schedule of Proposed Subcontractors

T2.2.16 Rates for Special Materials

T2.2.17	Certificate of Tenderers Attendance at the Clarification Meeting

T2.2.18	Tax Clearance Certificate

T2.2.19 Declaration of Good Standing Regarding Income Tax

T2.2.20 B-BBEE Certification

T2.2.21 Certificate of Contractors Registration issued by the Construction Industry Development Board

T2.2.22 Declaration of bidder’s Municipal Accounts

T2.2.23 Occupational Health and Safety Questionnaire

A check list has been provided to ensure the necessary documents have been submitted. All returnable schedules must be submitted in a separately bound document together with the tender document in 1 envelope.

### T2.1.1 Check List for Tender Submission

The Tenderer is to indicate in the check-boxes provided that he has completed the required section of the tender document. Completion of this check-list will assist the Tenderer in ensuring that he has attended to all the required items for submission with this tender.

| SECTION | DESCRIPTION | COMPLETED |  | FOR OFFICE USE |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | YES | NO | YES | NO | COMMENT |
| Cover | Cover page completed with Tenderer’s details |  |  |  |  |  |
| T2.2.1 | Record of Addenda to Tender Documents |  |  |  |  |  |
| T2.2.2 | Compulsory Enterprise Questionnaire |  |  |  |  |  |
| T2.2.3 | Authority of Signatory |  |  |  |  |  |
|  | Attached certified copy of resolution |  |  |  |  |  |
| T2.2.4 | MCLM Corporate Social Responsibility |  |  |  |  |  |
|  | Attached CM29 |  |  |  |  |  |
| T2.2.5 | Proposed Amendments and Qualifications |  |  |  |  |  |
| T2.2.6 | Declaration of Interest |  |  |  |  |  |
|  | Attach proof of authority if required |  |  |  |  |  |
| T2.2.8 | Preference Points Claim Form |  |  |  |  |  |
| T2.2.9 | Declaration of Bidders Past Supply Chain Management Practices |  |  |  |  |  |
| T2.2.10 | Certificate of Independent Bid Determination |  |  |  |  |  |
| T2.2.11 | Capacity to Execute Work |  |  |  |  |  |
|  | Letter of intent/agreement from hiring company |  |  |  |  |  |
| T2.2.12 | Key Personnel/Project Team |  |  |  |  |  |
|  | CV’s and qualifications attached |  |  |  |  |  |
| T2.2.13 | Previous Experience |  |  |  |  |  |
|  | Completion certificates/verification letter of successful completion by client attached |  |  |  |  |  |
| T2.2.14 | Financial Capacity |  |  |  |  |  |
|  | Bank rating certificate attached in separate bound document |  |  |  |  |  |
| T2.2.15 | Schedule of Proposed Sub-Contractors |  |  |  |  |  |
| T2.2.16 | Rates for Special Materials |  |  |  |  |  |
| T2.2.17 | Certificate of Tenderers Attendance at the Clarification Meeting |  |  |  |  |  |
| T2.2.18 | Tax Clearance Certificate |  |  |  |  |  |
|  | Original tax clearance certificate attached in separate bound document or Tax compliance Pin number |  |  |  |  |  |
| T2.2.19 | Declaration of Good Standing Regarding Tax Income |  |  |  |  |  |
| T2.2.20 | B-BBEE Certificate |  |  |  |  |  |
|  | Sworn Affidavit |  |  |  |  |  |
| T2.2.21 | Certificate of Contractors Registration issued by the Construction Industry Development Board |  |  |  |  |  |
|  | CIDB certificate attached |  |  |  |  |  |
| T2.2.22 | Declaration of bidder’s Municipal Accounts |  |  |  |  |  |
|  | Accounts attached |  |  |  |  |  |
| T2.2.23 | Occupational Health and Safety Questionnaire |  |  |  |  |  |
|  | Attach: Management structure & organogram Human resource plan Letter of good standing COID Insurance |  |  |  |  |  |

# PART T2: RETURNABLE DOCUMENTS

## T2.2 Returnable Schedules

### T2.2.1 Record of Addenda to Tender Documents

Any Addenda received by the tenderer should be indicated in this schedule (and attached to this page).

| We confirm that the following communications received from the Employer before the submission of this tender offer, amending the tender documents, have been taken into account in this tender offer: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Date |  | Title or Details |  |  |
| Attach additional pages if more space is required. |  |  |  |  |  |
| Signed |  |  |  | Date |  |
| Name |  |  |  | Position |  |
| Tenderer |  |  |  |  |  |

### T2.2.2 Compulsory Enterprise Questionnaire

The validity of the information supplied in this document will be verified before the contract is awarded to the selected Contractor. The Contractor must supply the following information.

The following particulars must be furnished. In the case of a joint venture, separate enterprise questionnaires in respect of each partner must be completed and submitted.

Section 1: Name of enterprise: . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Section 2: VAT registration number, if any: . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Section 3: CIDB registration number, if any: . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Section 4: Particulars of sole proprietors and partners in partnerships Name*; Identity number*; Personal income tax number*. * Complete only if sole proprietor or partnership and attach separate page if more than 3 partners

Section 5: Particulars of companies and close corporations Company registration number . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Close corporation number . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Tax reference number . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Section 6: Turnover – Approximate turnover for each of the past three years Year 2019 R. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Year 2020 R. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Year 2021 R. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Anticipated turnover for 2022R. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Section 7: Management and manpower resources Number of Supervisors . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Number of Labourers . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Number of Operators . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Other Personnel (Specify) . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Total number permanent employees . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Total number contract employees . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

| Signed |  | Date |  |
| --- | --- | --- | --- |
| Name |  | Position |  |
| Tenderer |  |  |  |

### T2.2.3 AUTHORITY FOR SIGNATORY

All signatories, excluding sole proprietors, shall confirm their authority by attaching to the separate bound document of returnable schedules a duly signed and dated original or certified copy of the relevant resolution of their meeting of members or their board of directors, as the case may be, or by completing one of the following:

### T2.2.3.1 Companies / Close Corporations

FORM TO BE COMPLETED:

"By resolution of the board of directors or meeting of members passed on . . . . . . . . . . . . . . . . . . . . . . . . . . . ,

(Mr/Me.).. . . . . . . . . . . . . . . . . . . . . . . . . . . . . .  has been duly authorised to sign all documents in connection

with the Bid for Contract  number. . . . . . . . . . . . . . . . . . . . . . .  and any Contract, which may arise there from

on behalf of the Bidding Entity, namely,. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

SIGNED ON BEHALF OF THE BIDDING ENTITY:	NAME: . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

SIGNATURE: . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

IN HIS/HERS CAPACITY AS: . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

DATE: . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

AUTHORISED PERSON’S SPECIMEN SIGNATURE: . . . . . . . . . . . . . . . . . . . . . . . . . . .

AUTHORISED PERSON’S SPECIMEN INITIAL: . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

*AND/OR . . . . . . . . . . . . . . . .  (SIGNATURE). . . . . . . . . . . (INITIAL)

*AND/OR . . . . . . . . . . . . . . . .  (SIGNATURE). . . . . . . . . . . (INITIAL)

*AND/OR . . . . . . . . . . . . . . . .

*AND/OR . . . . . . . . . . . . . . . .

* DELETE WHICH IS NOT APPLICABLE

AS WITNESS:	1. . . . . . . . . . . . . . . . . . . .

### T2.2.3.2 CERTIFICATE OF AUTHORITY FOR JOINT VENTURES

FORM TO BE COMPLETED:

This Returnable Schedule is to be completed by joint ventures.

We, the undersigned, are submitting this tender offer in Joint Venture and hereby authorise Mr/Ms . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . , authorised signatory of the company . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .  , acting in the capacity of lead partner, to sign all documents in connection with the tender offer and any contract resulting from it on our behalf.

| NAME OF FIRM | ADDRESS | DULY AUTHORISED SIGNATORY |
| --- | --- | --- |
| Lead partner CIDB registration no ………………………………. |  | Signature. . . . . . . . . . . . . . . . . . . . Name …………………………………. Designation…………………………… |
| CIDB registration no ………………………………. |  | Signature. . . . . . . . . . . . . . . . . . . . Name …………………………………. Designation…………………………… |
| CIDB registration no ………………………………. |  | Signature. . . . . . . . . . . . . . . . . . . . Name …………………………………. Designation…………………………… |
| CIDB registration no ………………………………. |  | Signature. . . . . . . . . . . . . . . . . . . . Name …………………………………. Designation…………………………… |

| Signed |  | Date |  |  |
| --- | --- | --- | --- | --- |
| Name |  | Position |  |  |
| As Witness |  |  |  |  |

### T2.2.3.3 JOINT VENTURE INFORMATION

(COMPLETE ONLY IF APPLICABLE)

The parties hereto form a Joint Venture for the purpose of jointly bidding and obtaining the award of contract for “SUPPLY, INSTALLATION, MAINTENANCE AND REPAIRS OF AIR CONDITIONING, AIR COOLING, REFRIGERATION AND MECHANICAL VENTILATION IN MOGALE CITY LOCAL MUNICIPAL OWNED BUILDINGS AND FACILITIES FOR A PERIOD OF THREE (3) YEARS ON AS AND WHEN” (hereinafter called the “Project”) and of jointly performing such contract under joint and several responsibility.

The share of the partners in the Joint Venture shall be:

Full Name and address of Lead enterprise

……………………………………………………………..       ………..%

………………………………………………………………

Full Name and address of 2nd enterprise

…………………………………………………………….       ………..%

……………………………………………………………..

Full Name and address of 3rd enterprise

…………………………………………………………….       ………..%

……………………………………………………………..

The Lead Partner is hereby authorised to incur liabilities, receive instructions, payments, sign all documents in connection with the bid, and to be responsible for the entire execution and administration of the contract for and on behalf of the partners.

The parties hereto shall make available to the Joint Venture the technical advice and benefit of their individual experience and shall, in all other respects, endeavour to share the responsibility and burden of the performance of the Joint Venture.

To this end the parties hereto shall share, in the above proportions, in all risks and obligations arising out of or in connection with the Contract, especially in the provisions of all necessary working capital and guarantees, in profit and loss and personnel.

The Lead Partners shall supply, in its name, Professional Liability Insurance for the amount and period as stated in the Contract Data.

The Joint Venture may not be terminated by any of the parties hereto until either:

The contract has been awarded to another bidder

or

The work undertaken by the Joint Venture under the contract has been completed and all liabilities and claims incurred by and made by the Joint Venture have been settled, the bid is cancelled or the period of validity of bid extended.

No party to the Agreement shall be entitled to sell, assign or in any manner encumber or transfer its interest or any part thereof in the Joint Venture without obtaining the prior written consent of the other party hereto.

The Parties of the Joint Venture shall cooperate on an exclusive basis. No Party shall during the validity period of the bid submit a bid to or enter into a Contract with the MCLM or any other party for the Project, either alone or in collaboration with a third party.

Authorised Signature Lead Partner…………………………………………….

Name                                              ……………………………………………..

Designation                                     …………………………………………….

Signed at……………………………………… on ………………………………………..

Authorised Signature of 2nd Partner…………………………………………….

Name                                              ……………………………………………..

Designation                                     …………………………………………….

Signed at……………………………………… on ………………………………………..

Authorised Signature of 3rd Partner…………………………………………….

Name                                              ……………………………………………..

Designation                                     …………………………………………….

Signed at……………………………………… on ………………………………………..

(ALL SIGNATORIES SHALL CONFIRM THEIR AUTHORITY BY ATTACHING TO THE LAST PAGE OF THE BID, ORIGINAL OR CERTIFIED COPIES OF DATED AND SIGNED RESOLUTIONS OF THE MEMBERS/DIRECTORS/PARTNERS AS THE CASE MAY BE.)

### T2.2.4 MCLM CORPORATE SOCIAL RESPONSIBILITY

Mogale City Corporate Social Responsibility

In terms of Mogale City Corporate Responsibility, non Mogale City based Services Providers will contribute two (2) percent of the Contract value to Mogale City.

Please provide your registered address: ………………………………………………………………

……………………………………………………………..

……………………………………………………………..

……………………………………………………………..

| YES | NO |
| --- | --- |

Please indicate if you are a Mogale based:

If not Mogale City based, a person duly authorized by the tenderer must complete and sign the declaration herewith in detail.

Declaration by Tenderer

I, the undersigned hereby declare and confirm that we accept the contribution towards the Mogale City Corporate Social Responsibility, by the deduction of two percent (2%) on all payment made.

| Signed |  | Date |  |
| --- | --- | --- | --- |
| Name |  | Position |  |
| Tenderer |  |  |  |

### T2.2.5 Proposed Amendments and Qualifications

| The Tenderer should record any deviations or qualifications he may wish to make to the tender documents in this Returnable Schedule. Alternatively, a Tenderer may state such deviations and qualifications in a covering letter to his tender and reference such letter in this schedule. Any and each qualification, which entails an omission from, or alternative to the works shall have the value of such omission or alternative clearly priced. The Engineer may, at his discretion, direct that the works shall be performed as specified, in which case the contract amount shall be adjusted according to the value declared in the associated qualification. The Tenderer’s attention is drawn to clause F.3.8 of the Standard Conditions of Tender referenced in the Tender Data regarding the employer’s handling of material deviations and qualifications. Page; Clause or item; Proposal. |
| --- |
| Signed |  | Date |  |
| Name |  | Position |  |
| Tenderer |  |  |  |

### T2.2.6

MBD 4

DECLARATION OF INTEREST

1.	No bid will be accepted from persons in the service of the state¹.

- Any person, having a kinship with persons in the service of the state, including a blood relationship, may make an offer or offers in terms of this invitation to bid.  In view of possible allegations of favouritism, should the resulting bid, or part thereof, be awarded to persons connected with or related to persons in service of the state, it is required that the bidder or their authorised representative declare their position in relation to the evaluating/adjudicating authority.

3	In order to give effect to the above, the following questionnaire must be completed and submitted with the bid.

3.1  Full Name of bidder or his or her representative:……………………………………………..

3.2  Identity Number: ………………………………………………………………………………….

3.3  Position occupied in the Company (director, trustee, hareholder²):………………………..

3.4  Company Registration Number: ……………………………………………………………….

3.5  Tax Reference Number:…………………………………………………………………………

3.6  VAT Registration Number:   ……………………………………………………………………

3.7  The names of all directors / trustees / shareholders members, their individual identity

numbers and state employee numbers must be indicated in paragraph 4 below.

3.8   Are you presently in the service of the state?                                                     YES / NO

3.8.1  If yes, furnish particulars. ….……………………………………………………………

……………………………………………………………………………………………..

¹MSCM Regulations: “in the service of the state” means to be –

- a member of –

  - any municipal council;

  - any provincial legislature; or

  - the national Assembly or the national Council of provinces;

- a member of the board of directors of any municipal entity;

- an official of any municipality or municipal entity;

- an employee of any national or provincial department, national or provincial public entity or constitutional institution within the meaning of the Public Finance Management Act, 1999 (Act No.1 of 1999);

- a member of the accounting authority of any national or provincial public entity; or

- an employee of Parliament or a provincial legislature.

² Shareholder” means a person who owns shares in the company and is actively involved in the management of the company or business and exercises control over the company.

3.9     Have you been in the service of the state for the past twelve months? ………YES / NO

3.9.1  If yes, furnish particulars.………………………...……………………………………..

…………………………………………………………………………………………….

3.10   Do you have any relationship (family, friend, other) with persons

in the service of the state and who may be involved with

the evaluation and or adjudication of this bid? …………………………………  YES / NO

3.10.1  If yes, furnish particulars.

………………………………………………………………………………

………………………………………………………………………………

3.11    Are you, aware of any relationship (family, friend, other) between

any other bidder and any persons in the service of the state who

may be involved with the evaluation and or adjudication of this bid?                YES / NO

3.11.1  If yes, furnish particulars

…………………………………………………………………………………

……………………………….……............................................................

3.12   Are any of the company’s directors, trustees, managers,

principle shareholders or stakeholders in service of the state?                        YES / NO

3.12.1  If yes, furnish particulars.

……………………………………………………………………………….

……………………………………………………………………………….

3.13   Are any spouse, child or parent of the company’s directors

trustees, managers, principle shareholders or stakeholders

in service of the state?                                                                                        YES / NO

3.13.1  If yes, furnish particulars.

……………………………………………………………………………….

……………………………………………………………………………….

3.14   Do you or any of the directors, trustees, managers,

principle shareholders, or stakeholders of this company

have any interest in any other related companies or

business whether or not they are bidding for this contract.                                 YES / NO

3.14.1  If yes, furnish particulars:

……………………………………………………………………………..

……………………………………………………………………………..

# 4.	Full details of directors / trustees / members / shareholders.

| Full Name | Identity Number | State Employee Number |
| --- | --- | --- |

…………………………………..	                          ……………………………………..

Signature                                                                    Date

………………………………….	                        ………………………………………

Capacity                                                               Name of Bidder

# MBD 6.1

# MOGALE CITY LOCAL MUNICIPALITY

# PREFERENCE POINTS CLAIM FORM IN TERMS OF THE PREFERENTIAL PROCUREMENT REGULATIONS 2017

This preference form must form part of all bids invited.  It contains general information and serves as a claim form for preference points for Broad-Based Black Economic Empowerment (B-BBEE) Status Level of Contribution

NB:	BEFORE COMPLETING THIS FORM, BIDDERS MUST STUDY THE GENERAL CONDITIONS, DEFINITIONS AND DIRECTIVES APPLICABLE IN RESPECT OF B-BBEE, AS PRESCRIBED IN THE PREFERENTIAL PROCUREMENT REGULATIONS, 2017.

- GENERAL CONDITIONS

  - The following preference point systems are applicable to all bids:

- 80/20 PREFERENCE POINT SYSTEM FOR ACQUISION OF GOODS, SERVICES AND WORKS SERVICES FOR RAND VALUE EQUAL TO AND ABOVE R30 000 AND UPTO TO 50 MILLION (all applicable taxes included); and

- 90/10 PREFERENCE POINT SYSTEM FOR ACQUISITION OF GOODS, SERVICES AND WORKS WITH RAND VALUE ABOVE R50 MILLION (all applicable taxes included).

  - The value of this bid is estimated not to exceed R50Million (all applicable taxes included) and therefore the……80/20… preference point system shall be applicable.

  - Preference points for this bid shall be awarded for:

  - (a) PRICE

(b)B-BBEE Status Level of Contribution.

  - The maximum points for this bid are allocated as follows:

|  | POINTS |
| --- | --- |
| PRICE | 80 |
| B-BBEE STATUS LEVEL OF CONTRIBUTION | 20 |

  - Failure on the part of a bidder to submit a B-BBEE Verification Certificate from a Verification Agency accredited by the South African Accreditation System (SANAS), or a Registered Auditor approved by the Independent Regulatory Board of Auditors (IRBA) or a sworn affidavit confirming annual turnover and level of black ownership in case of an EME and QSE together with the bid, will be interpreted to mean that preference points for B-BBEE status level of contribution are not claimed.

  - The purchaser reserves the right to require of a bidder, either before a bid is adjudicated or at any time subsequently, to substantiate any claim in regard to preferences, in any manner required by the purchaser.

- DEFINITIONS

- “all applicable taxes” includes value-added tax, pay as you earn, income tax, unemployment insurance fund contributions and skills development levies;

- “B-BBEE” means broad-based black economic empowerment as defined in section 1 of the Broad-Based Black Economic Empowerment Act;

- “B-BBEE status level of contributor” means the B-BBEE status received by a measured entity based on its overall performance using the relevant scorecard contained in the Codes of Good Practice on Black Economic Empowerment, issued in terms of section 9(1) of the Broad-Based Black Economic Empowerment Act;

- “bid” means a written offer in a prescribed or stipulated form in response to an invitation by an organ of state for the provision of services, works or goods, through price quotations, advertised competitive bidding processes or proposals;

- “Broad-Based Black Economic Empowerment Act” means the Broad-Based Black Economic Empowerment Act, 2003 (Act No. 53 of 2003) as amended by Act No 46 of 2013;

- “comparative price” means the price after the factors of a non-firm price and all unconditional discounts that can be utilized have been taken into consideration;

- “consortium or joint venture” means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract;

- “contract” means the agreement that results from the acceptance of a bid by an organ of state;

- “EME” means an Exempted Micro Enterprise as defines by Codes of Good Practice issued in terms of section 9 (1) of the Broad-Based Black Economic Empowerment Act, 2003 (Act No. 53 of 2003);

- “Firm price” means the price that is only subject to adjustments in accordance with the actual increase or decrease resulting from the change, imposition, or abolition of customs or excise duty and any other duty, levy, or tax, which, in terms of the law or regulation, is binding on the contractor and demonstrably has an influence on the price of any supplies, or the rendering costs of any service, for the execution of the contract;

- “functionality” means the measurement according to predetermined norms, as set out in the bid documents, of a service or commodity that is designed to be practical and useful, working or operating, taking into account, among other factors, the quality, reliability, viability and durability of a service and the technical capacity and ability of a bidder;

- “non-firm prices” means all prices other than “firm” prices;

- “person” includes a juristic person;

- “QSE” means a Qualifying Small Enterprise as defines by Codes of Good Practice issued in terms of section 9 (1) of the Broad-Based Black Economic Empowerment Act, 2003 ( Act No. 53 of 2003);

- “rand value” means the total estimated value of a contract in South African currency, calculated at the time of bid invitations, and includes all applicable taxes and excise duties;

- “sub-contract” means the primary contractor’s assigning, leasing, making out work to, or employing, another person to support such primary contractor in the execution of part of a project in terms of the contract;

- “total revenue” bears the same meaning assigned to this expression in the Codes of Good Practice on Black Economic Empowerment, issued in terms of section 9(1) of the Broad-Based Black Economic Empowerment Act and promulgated in the Government Gazette on 9 February 2007;

- “trust” means the arrangement through which the property of one person is made over or bequeathed to a trustee to administer such property for the benefit of another person; and

- “trustee” means any person, including the founder of a trust, to whom property is bequeathed in order for such property to be administered for the benefit of another person.

- ADJUDICATION USING A POINT SYSTEM

  - The bidder obtaining the highest number of total points will be awarded the contract.

  - Preference points shall be calculated after prices have been brought to a comparative basis taking into account all factors of non-firm prices and all unconditional discounts;.

  - Points scored must be rounded off to the nearest 2 decimal places.

  - In the event that two or more bids have scored equal total points, the successful bid must be the one scoring the highest number of preference points for B-BBEE.

  - However, when functionality is part of the evaluation process and two or more bids have scored equal points including equal preference points for B-BBEE, the successful bid must be the one scoring the highest score for functionality.

  - Should two or more bids be equal in all respects, the award shall be decided by the drawing of lots.

- POINTS AWARDED FOR PRICE

  - THE 80/20 OR 90/10 PREFERENCE POINT SYSTEMS

80/20 PREFERENCE POINT SYSTEM FOR ACQUISION OF GOODS, SERVICES AND WORKS SERVICES FOR RAND VALUE EQUAL TO AND ABOVE R30 000 AND UPTO TO 50MILLION

- (a)(i) The following formula must be used to calculate the points for price in respect of tenders( including price quotation) with a rand value equal to, or above R 30 000 and up to Rand value of R50 MILLION (inclusive of  all applicable taxes included):

A maximum of 80 or 90 points is allocated for price on the following basis:

# 80/20	or	90/10

or

Where

Ps	=	Points scored for comparative price of bid under consideration

Pt	=	Comparative price of bid under consideration

Pmin	=	Comparative price of lowest acceptable bid

- POINTS AWARDED FOR B-BBEE STATUS LEVEL OF CONTRIBUTION

  - In terms of Regulation 5 (2) and 6 (2) of the Preferential Procurement Regulations, preference points must be awarded to a bidder for attaining the B-BBEE status level of contribution in accordance with the table below:

| B-BBEE Status Level of Contributor | Number of points (90/10 system) | Number of points (80/20 system) |
| --- | --- | --- |
| 1 | 10 | 20 |
| 2 | 9 | 18 |
| 3 | 6 | 14 |
| 4 | 5 | 12 |
| 5 | 4 | 8 |
| 6 | 3 | 6 |
| 7 | 2 | 4 |
| 8 | 1 | 2 |
| Non-compliant contributor | 0 | 0 |

  - A bidder who qualifies as an EME in terms of the B-BBEE Act must submit a sworn affidavit confirming Annual Total Revenue and Level of Black Ownership.

  - A Bidder other than EME or QSE must submit their original and valid B-BBEE status level verification certificate or a certified copy thereof, substantiating their B-BBEE rating issued by a Registered Auditor approved by IRBA or a Verification Agency accredited by SANAS.

  - A trust, consortium or joint venture, will qualify for points for their B-BBEE status level as a legal entity, provided that the entity submits their B-BBEE status level certificate.

  - A trust, consortium or joint venture will qualify for points for their B-BBEE status level as an unincorporated entity, provided that the entity submits their consolidated B-BBEE scorecard as if they were a group structure and that such a consolidated B-BBEE scorecard is prepared for every separate bid.

  - Tertiary Institutions and Public Entities will be required to submit their B-BBEE status level certificates in terms of the specialized scorecard contained in the B-BBEE Codes of Good Practice.

  - A person will not be awarded points for B-BBEE status level if it is indicated in the bid documents that such a bidder intends sub-contracting more than 25% of the value of the contract to any other enterprise that does not qualify for at least the points that such a bidder qualifies for, unless the intended sub-contractor is an EME that has the capability and ability to execute the sub-contract.

  - A person awarded a contract may not sub-contract more than 25% of the value of the contract to any other enterprise that does not have an equal or higher B-BBEE status level than the person concerned, unless the contract is sub-contracted to an EME that has the capability and ability to execute the sub-contract.

- BID DECLARATION

  - Bidders who claim points in respect of B-BBEE Status Level of Contribution must complete the following:

- B-BBEE STATUS LEVEL OF CONTRIBUTION CLAIMED IN TERMS OF PARAGRAPHS 1.4 AND 5.1

  - B-BBEE Status Level of Contribution:	   =      (maximum of 10 or 20 points)

(Points claimed in respect of paragraph 7.1 must be in accordance with the table reflected in paragraph  5.1 and must be substantiated by means of a B-BBEE certificate issued by a Verification Agency accredited by SANAS or a Registered Auditor approved by IRBA or a sworn affidavit.

- SUB-CONTRACTING

  - Will any portion of the contract be sub-contracted?

(Tick applicable box)

| YES |  | NO |  |
| --- | --- | --- | --- |

    - If yes, indicate:

- What percentage of the contract will be subcontracted............…………….…….…%

- The name of the sub-contractor…………………………………………………………..

- The B-BBEE status level of the sub-contractor......................................……………..

- Whether the sub-contractor is an EME.

(Tick applicable box)

| YES |  | NO |  |
| --- | --- | --- | --- |

- Specify, by ticking the appropriate box, if subcontracting with an enterprise in terms of Preferential Procurement Regulations,2017:

| Designated Group: An EME or QSE which is at last 51% owned by: | EME √ | QSE √ |
| --- | --- | --- |
| Black people |  |  |
| Black people who are youth |  |  |
| Black people who are women |  |  |
| Black people with disabilities |  |  |
| Black people living in rural or underdeveloped areas or townships |  |  |
| Cooperative owned by black people |  |  |

SUBCONTRACTING AS CONDITION OF TENDER

9.(1) If feasible to subcontract for a contract above R30 million, an organ of state

must apply subcontracting to advance designated groups.

(2) If an organ of state applies subcontracting as contemplated in subregulation

(1), the organ of state must advertise the tender with a specific tendering condition that the successful tenderer must subcontract a minimum of 30% of the value of the contract to-

(a) an EME or QSE;

(b) an EME or QSE which is at least 51% owned by black people;

(c) an EME or QSE which is at least 51% owned by black people who are youth;

(d) an EME or QSE which is at least 51% owned by black people who are women;

(e) an EME or QSE which is at least 51% owned by black people with disabilities;

(f) an EME or QSE which is 51% owned by black people living in rural or

underdeveloped areas or townships;

(g) a cooperative which is at least 51% owned by black people;

(h) an EME or QSE which is at least 51% owned by black people who are military

veterans; or

(i) more than one of the categories referred to in paragraphs (a) to (h).

(3) The organ of state must make available the list of all suppliers registered on

a database approved by the National Treasury to provide the required goods or services in respect of the applicable designated groups mentioned in subregulation (2) from which the tenderer must select a supplier.

- DECLARATION WITH REGARD TO COMPANY/FIRM

  - Name of company/firm:…………………………………………………………………….

  - VAT registration number:………………………………. .…………………………………

  - Company registration number:…………….……………………….……………………….

  - TYPE OF COMPANY/ FIRM

Partnership/Joint Venture / Consortium

One person business/sole propriety

Close corporation

Company

(Pty) Limited

[Tick applicable box]

  - DESCRIBE PRINCIPAL BUSINESS ACTIVITIES

……………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………….

  - COMPANY CLASSIFICATION

Manufacturer

Supplier

Professional service provider

Other service providers, e.g. transporter, etc.

[Tick applicable box]

  - MUNICIPAL INFORMATION

Municipality where business is situated: ….……………………………………….

Registered Account Number: ………………………….

Stand Number:……………………………………………….

  - Total number of years the company/firm has been in business:………………………

  - I/we, the undersigned, who is / are duly authorised to do so on behalf of the company/firm, certify that the points claimed, based on the B-BBE status level of contribution indicated in paragraph 7 of the foregoing certificate, qualifies the company/ firm for the preference(s) shown and I / we acknowledge that:

- The information furnished is true and correct;

- The preference points claimed are in accordance with the General Conditions as indicated in paragraph 1 of this form;

- In the event of a contract being awarded as a result of points claimed as shown in paragraph 7, the contractor may be required to furnish documentary proof to the satisfaction of the purchaser that the claims are correct;

- If the B-BBEE status level of contribution has been claimed or obtained on a fraudulent basis or any of the conditions of contract have not been fulfilled, the purchaser may, in addition to any other remedy it may have –

  - disqualify the person from the bidding process;

  - recover costs, losses or damages it has incurred or suffered as a result of that person’s conduct;

  - cancel the contract and claim any damages which it has suffered as a result of having to make less favourable arrangements due to such cancellation;

  - restrict the bidder or contractor, its shareholders and directors, or only the shareholders and directors who acted on a fraudulent basis, from obtaining business from any organ of state for a period not exceeding 10 years, after the audi alteram partem (hear the other side) rule has been applied; and

  - forward the matter for criminal prosecution.

| 10. | Previous experience |
| --- | --- |
| Provide the following information on relevant previous experience (indicate specifically projects of similar or larger size and/or which is similar with regard to type of work). |  |

| Description | Value (R, VAT excluded) | Year(s) executed | Reference |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Name | Organization | Tel no |

| 10.1 | Staffing Profile |
| --- | --- |
| Provide information on key staff you intend utilizing on this contract, should it be awarded to you. |  |

| Name | Position in your organization | Qualifications | Experience |
| --- | --- | --- | --- |

| 10.2 | Infrastructure and resources available to execute this contract |
| --- | --- |

10.2.1 Physical facilities

| Description | Address | Area (m²) |
| --- | --- | --- |

| 10.3 | Plant and equipment |  |
| --- | --- | --- |
| Description : Plant and equipment owned (or to be rented) |  | Number of units |

10.4 List of shareholders by Name, Position, Identity number, Citizenship, HDI status and ownership as relevant.

| Name | Date/Position Occupied in Enterprise | ID Number (please attach certified copies of ID’s | Date RSA Citizenship obtained | HDI | Women | Disabled | Youth (person not older than 35 years of age) | % of business/ enterprise owned |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | Total | 100% |

8.5 List of shareholders by Name, percentage (%) of business/enterprise owned, residential address.

| Full Name | Identity (ID) Number (please attached certified copies of ID’s) | % of business/ enterprise owned | Residential address |
| --- | --- | --- | --- |

### T2.2.9 DECLARATION OF TENDERER’S PAST SUPPLY CHAIN MANAGEMENT PRACTICES                                                MBD 8

- This Municipal Bidding Document must form part of all bids invited.

- It serves as a declaration to be used by municipalities and municipal entities in ensuring that when goods and services are being procured, all reasonable steps are taken to combat the abuse of the supply chain management system.

- The bid of any bidder may be rejected if that bidder, or any of its directors have:

- abused the municipality’s / municipal entity’s supply chain management system or committed any improper conduct in relation to such system;

- been convicted for fraud or corruption during the past five years;

- wilfully neglected, reneged on or failed to comply with any government, municipal or other public sector contract during the past five years; or

- been listed in the Register for Tender Defaulters in terms of section 29 of the Prevention and Combating of Corrupt Activities Act (No 12 of 2004).

- In order to give effect to the above, the following questionnaire must be completed and submitted with the bid.

| Item | Question | Yes | No |
| --- | --- | --- | --- |
| 4.1 | Is the bidder or any of its directors listed on the National Treasury’s database as a company or person prohibited from doing business with the public sector? (Companies or persons who are listed on this database were informed in writing of this restriction by the National Treasury after the audi alteram partem rule was applied). | Yes | No |
| 4.1.1 | If so, furnish particulars: |  |  |
| 4.2 | Is the bidder or any of its directors listed on the Register for Tender Defaulters in terms of section 29 of the Prevention and Combating of Corrupt Activities Act (No 12 of 2004)? (To access this Register enter the National Treasury’s website, www.treasury.gov.za, click on the icon “Register for Tender Defaulters” or submit your written request for a hard copy of the Register to facsimile number (012) 3265445). | Yes | No |
| 4.2.1 | If so, furnish particulars: |  |  |
| 4.3 | Was the bidder or any of its directors convicted by a court of law (including a court of law outside the Republic of South Africa) for fraud or corruption during the past five years? | Yes | No |
| 4.3.1 | If so, furnish particulars: |  |  |
| Item | Question | Yes | No |
| 4.4 | Does the bidder or any of its directors owe any municipal rates and taxes or municipal charges to the municipality / municipal entity, or to any other municipality / municipal entity, that is in arrears for more than three months? | Yes | No |
| 4.4.1 | If so, furnish particulars: |  |  |
| 4.5 | Was any contract between the bidder and the municipality / municipal entity or any other organ of state terminated during the past five years on account of failure to perform on or comply with the contract? | Yes | No |
| 4.7.1 | If so, furnish particulars: |  |  |

Certification:

I, the undersigned (full name)  …………..……………………………..…………………………   certify  that the information furnished on this declaration form true and correct.

I accept that, in addition to cancellation of a contract, action may be taken against me should this declaration prove to be false.

| Signed |  | Date |  |
| --- | --- | --- | --- |
| Name |  | Position |  |
| Tenderer |  |  |  |

### T2.2.10

MBD 9

CERTIFICATE OF INDEPENDENT BID DETERMINATION

1	This Municipal Bidding Document (MBD) must form part of all bids¹ invited.

2	Section 4 (1) (b) (iii) of the Competition Act No. 89 of 1998, as amended, prohibits an agreement between, or concerted practice by, firms, or a decision by an association of firms, if it is between parties in a horizontal relationship and if it involves collusive bidding (or bid rigging).² Collusive bidding is a pe se prohibition meaning that it cannot be justified under any grounds.

3	Municipal Supply Regulation 38 (1) prescribes that a supply chain management policy must provide measures for the combating of abuse of the supply chain management system, and must enable the accounting officer, among others, to:

a.	take all reasonable steps to prevent such abuse;

b.	reject the bid of any bidder if that bidder or any of its directors has abused the supply chain management system of the municipality or municipal entity or has committed any improper conduct in relation to such system; and

c.	cancel a contract awarded to a person if the person committed any corrupt or fraudulent act during the bidding process or the execution of the contract.

- This MBD serves as a certificate of declaration that would be used by institutions to ensure that, when bids are considered, reasonable steps are taken to prevent any form of bid-rigging.

- In order to give effect to the above, the attached Certificate of Bid Determination (MBD 9) must be completed and submitted with the bid:

¹ Includes price quotations, advertised competitive bids, limited bids and proposals.

² Bid rigging (or collusive bidding) occurs when businesses, that would otherwise be expected to compete, secretly conspire to raise prices or lower the quality of goods and / or services for purchasers who wish to acquire goods and / or services through a bidding process.  Bid rigging is, therefore, an agreement between competitors not to compete.

MBD 9

CERTIFICATE OF INDEPENDENT BID DETERMINATION

I, the undersigned, in submitting the accompanying bid:

________________________________________________________________________

(Bid Number and Description)

in response to the invitation for the bid made by:

______________________________________________________________________________

(Name of Municipality / Municipal Entity)

do hereby make the following statements that I certify to be true and complete in every respect:

I certify, on behalf of:_______________________________________________________that:

(Name of Bidder)

- I have read and I understand the contents of this Certificate;

- I understand that the accompanying bid will be disqualified if this Certificate is found not to be true and complete in every respect;

- I am authorized by the bidder to sign this Certificate, and to submit the accompanying bid, on behalf of the bidder;

- Each person whose signature appears on the accompanying bid has been authorized by the bidder to determine the terms of, and to sign, the bid, on behalf of the bidder;

- For the purposes of this Certificate and the accompanying bid, I understand that the word “competitor” shall include any individual or organization, other than the bidder, whether or not affiliated with the bidder, who:

(a) 	has been requested to submit a bid in response to this bid invitation;

(b) 	could potentially submit a bid in response to this bid invitation, based on their qualifications, abilities or experience; and

(c)	provides the same goods and services as the bidder and/or is in the same line of business as the bidder

MBD 9

- The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement or arrangement with any competitor. However communication between partners in a joint venture or consortium³ will not be construed as collusive bidding.

- In particular, without limiting the generality of paragraphs 6 above, there has been no consultation, communication, agreement or arrangement with any competitor regarding:

- prices;

- geographical area where product or service will be rendered (market allocation)

(c) 	methods, factors or formulas used to calculate prices;

(d)	 the intention or decision to submit or not to submit, a bid;

(e)	 the submission of a bid which does not meet the specifications and conditions of the bid; or

(f)        bidding with the intention not to win the bid.

- In addition, there have been no consultations, communications, agreements or arrangements with any competitor regarding the quality, quantity, specifications and conditions or delivery particulars of the products or services to which this bid invitation relates.

- The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

³ Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.

MBD 9

- I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act  No 12 of 2004 or any other applicable legislation.

…………………………………………………			…………………………………

Signature								Date

………………………………………………….			…………………………………

Position 								Name of Bidder

### T2.2.11 Capacity to Execute Work

The Tenderer shall state below what Constructional Plant will be available for the work should he be awarded the Contract.

- Details of major equipment that is owned by and immediately available for this contract.

| DESCRIPTION, SIZE, CAPACITY | NUMBER |
| --- | --- |

Attach additional pages if more space is required.

- Details of major equipment that will be hired, or acquired for this contract if my/our tender is acceptable. Letter of intent/agreement from hiring company must be attached in the separately bound document with all the returnable schedules.

| DESCRIPTION, SIZE, CAPACITY | NUMBER |
| --- | --- |

Attach additional pages if more space is required.

| Signed |  | Date |  |
| --- | --- | --- | --- |
| Name |  | Position |  |
| Tenderer |  |  |  |

### T2.2.12 Key Personnel/Project Team

The Tenderer shall list below the key personnel, whom he proposes to employ on the project should his Bid be accepted, both at his headquarters and on the Site, to direct and for the execution of the work, together with their qualifications, experience, positions held and their nationalities.

A CV for each of the key personnel indicated and a certified copy of their qualification certificates must be attached in the separately bound document with all the returnable schedules.

| Designation | Name of Nominee | Nationality | Summary of |  | HDI Status Yes/No | NQF Certified Yes/No |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Qualifications | Experience and Present Occupation |  |  |
| Site Agent |  |  |  |  |  |  |
| Artisan Plumber |  |  |  |  |  |  |
| Artisan Plumber |  |  |  |  |  |  |
| Assistant Plumber |  |  |  |  |  |  |
| Assistant Plumber |  |  |  |  |  |  |

| Signed |  | Date |  |
| --- | --- | --- | --- |
| Name |  | Position |  |
| Tenderer |  |  |  |

### CV Template

Provide separate CV’s for each personnel listed in schedule: T2.2.12 Key Personnel/Project Team. The

The CV’s must be attached in the separately bound document with all the returnable schedules.

### Site Agent

| Name: | Date of Birth: |
| --- | --- |
| Profession: | Nationality: |
| Qualifications: |  |
| Professional Registration Number: |  |
| Name of Employer (firm): |  |
| Current Position: | Years with Firm: |
| Employment Record: |  |
| Experience Record Pertinent to Required Service: |  |
| Related Project: |  |
| Related Project: |  |
| Related Project: |  |

Certification:

I, the undersigned, certify that, to the best of my knowledge and belief, this data correctly describes me, my qualifications and my experience.

………………………………………..						………..……………………..

Signature of person named in the schedule						Date

### CV Template

Provide separate CV’s for each personnel listed in schedule: T2.2.12 Key Personnel/Project Team. The

The CV’s must be attached in the separately bound document with all the returnable schedules.

### Artisan Plumber

| Name: | Date of Birth: |
| --- | --- |
| Profession: | Nationality: |
| Qualifications: |  |
| Professional Registration Number: |  |
| Name of Employer (firm): |  |
| Current Position: | Years with Firm: |
| Employment Record: |  |
| Experience Record Pertinent to Required Service: |  |
| Related Project: |  |
| Related Project: |  |
| Related Project: |  |

Certification:

I, the undersigned, certify that, to the best of my knowledge and belief, this data correctly describes me, my qualifications and my experience.

………………………………………..						………..……………………..

Signature of person named in the schedule						Date

### CV Template

Provide separate CV’s for each personnel listed in schedule: T2.2.12 Key Personnel/Project Team. The

The CV’s must be attached in the separately bound document with all the returnable schedules.

### Artisan Plumber

| Name: | Date of Birth: |
| --- | --- |
| Profession: | Nationality: |
| Qualifications: |  |
| Professional Registration Number: |  |
| Name of Employer (firm): |  |
| Current Position: | Years with Firm: |
| Employment Record: |  |
| Experience Record Pertinent to Required Service: |  |
| Related Project: |  |
| Related Project: |  |
| Related Project: |  |

Certification:

I, the undersigned, certify that, to the best of my knowledge and belief, this data correctly describes me, my qualifications and my experience.

……………………………………..						………..……………………..

Signature of person named in the schedule						Date

### CV Template

Provide separate CV’s for each personnel listed in schedule: T2.2.12 Key Personnel/Project Team. The

The CV’s must be attached in the separately bound document with all the returnable schedules.

Assistant Artisan Plumber

| Name: | Date of Birth: |
| --- | --- |
| Profession: | Nationality: |
| Qualifications: |  |
| Professional Registration Number: |  |
| Name of Employer (firm): |  |
| Current Position: | Years with Firm: |
| Employment Record: |  |
| Experience Record Pertinent to Required Service: |  |
| Related Project: |  |
| Related Project: |  |
| Related Project: |  |

Certification:

I, the undersigned, certify that, to the best of my knowledge and belief, this data correctly describes me, my qualifications and my experience.

………………………………………..						………..……………………..

Signature of person named in the schedule						Date

### CV Template

Provide separate CV’s for each personnel listed in schedule: T2.2.12 Key Personnel/Project Team. The

The CV’s must be attached in the separately bound document with all the returnable schedules.

Assistant Artisan Plumber

| Name: | Date of Birth: |
| --- | --- |
| Profession: | Nationality: |
| Qualifications: |  |
| Professional Registration Number: |  |
| Name of Employer (firm): |  |
| Current Position: | Years with Firm: |
| Employment Record: |  |
| Experience Record Pertinent to Required Service: |  |
| Related Project: |  |
| Related Project: |  |
| Related Project: |  |

Certification:

I, the undersigned, certify that, to the best of my knowledge and belief, this data correctly describes me, my qualifications and my experience.

………………………………………..						………..……………………..

Signature of person named in the schedule						Date

### T2.2.13 Previous Experience

Provide the following information on relevant previous experience.  Indicate comparable projects of the construction in Civil works in the past 2 years. This information is material to the award of the Contract.

No points will be awarded if reference cannot be reached or if it refuses to supply information.  Give at least two (2) names and telephone numbers and e-mail address per reference.

Completion certificates or a verification letter of successful completion by the client must be attached in the separately bound document with all the returnable schedules.

THE FOLLOWING TABLE MUST BE COMPLETED

| EMPLOYER (Name and tel no and email | NATURE OF WORK CARRIED OUT PREVIOUSLY | VALUE OF WORK | YEAR OF COMPLETION | COMPLETION CERTIFICATE |
| --- | --- | --- | --- | --- |
| PROJECT 1: |  |  |  |  |
| Name 1: | Related Works: |  |  |  |
| Tel: | Description: |  |  |  |
| Email: |  |  |  |  |
| Name 2: |  |  |  |  |
| Tel: |  |  |  |  |
| Email: |  |  |  |  |
| PROJECT 2: |  |  |  |  |
| Name 1: | Related Works |  |  |  |
| Tel: | Description: |  |  |  |
| Email: |  |  |  |  |
| Name 2: |  |  |  |  |
| Tel: |  |  |  |  |
| Email: |  |  |  |  |
| PROJECT 3 |  |  |  |  |
| Name 1: | Related Works: |  |  |  |
| Tel: | Description: |  |  |  |
| Email: |  |  |  |  |
| Name 2: |  |  |  |  |
| Tel: |  |  |  |  |
| Email: |  |  |  |  |
| PROJECT 4 |  |  |  |  |
| Name 1: | Related Works: |  |  |  |
| Tel: | Description |  |  |  |
| Email: |  |  |  |  |
| Name 2: |  |  |  |  |
| Tel: |  |  |  |  |
| Email: |  |  |  |  |
| PROJECT 5 | Related Works: |  |  |  |
| Name 1: | Description: |  |  |  |
| Tel: |  |  |  |  |
| Email: |  |  |  |  |
| Name 2: |  |  |  |  |
| Tel: |  |  |  |  |
| Email: |  |  |  |  |

### T2.2.14 Financial Capacity

The Tenderer must provide with his tender a bank rating certified by his banker, to the effect that he will be able to successfully complete the contract at the tendered amount within the specified time for completion. The Tenderers bank rating must be attached in the separately bound document with all the returnable schedules. The tenderer and/or attach a Letter of Intent of Accredited Financial Institution if they can provide a construction guarantee for 10% of the contract value.

The following form must be completed by the tenderers bank and an original bank stamp must be affixed to this page. Non-compliance may disqualify the tender

(Note:  Each member of a Joint Venture (JV) must complete a Bank Detail form)

BANK DETAILS

I/we hereby request and authorize my/our Banker as detailed below to verify and supply a bank code for my/our account.  A bank rating certificate is required to evaluate the Tenderers financial stability.

I/we also hereby acknowledge that the bank details as given can be verified independently by Mogale City Local Municipality’s appointed Consultant on the Project:

_________________________		_________________________		__________________

Initials & Surname			Authorized Signatory			Date  (yyyy/mm/dd)

| Account Holder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Bank |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Confidential |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Branch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Branch code |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Account Number |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Type of Account: Cheque Account	Transmission Account      Saving Account 	  Other _________

Tender Amount   R__________________________	Construction Period:  ________________ (months)

Confidential

To be completed by the Bank

____________________________	___________________________	_____________________

Initials & Surname (Bank Official)	Signature (Bank Official)		Date

Date Stamp of Bank Certified as Correct

_____________________________

Telephone Number (Bank Official)

Bank Code based on Tender Amount &

Construction Period

__________________________

### T2.2.15 SUBCONTRACTING AS CONDITION OF TENDER

9. (1) If feasible to subcontract for a contract above R30 million, an organ of state

must apply subcontracting to advance designated groups.

(2) If an organ of state applies subcontracting as contemplated in subregulation

(1), the organ of state must advertise the tender with a specific tendering condition that the

successful tenderer must subcontract a minimum of 30% of the value of the contract to-

  - an EME or QSE;

  - (b) an EME or QSE which is at least 51% owned by black people;

  - (c) an EME or QSE which is at least 51% owned by black people who are youth;

  - (d) an EME or QSE which is at least 51% owned by black people who are women;

  - (e) an EME or QSE which is at least 51% owned by black people with disabilities;

  - (f) an EME or QSE which is 51% owned by black people living in rural or underdeveloped areas or townships;

  - (g) a cooperative which is at least 51% owned by black people;

  - (h) an EME or QSE which is at least 51% owned by black people who are military veterans; or

  - (i) more than one of the categories referred to in paragraphs (a) to (h).

(3) The organ of state must make available the list of all suppliers registered on

a database approved by the National Treasury to provide the required goods or services in

respect of the applicable designated groups mentioned in subregulation (2) from which the

tenderer must select a supplier.

### Schedule of Proposed Sub-Contractors

Provide details on all sub-contractors you intend utilising for this contract:

| Type of Work to be used for | % of contract | Name of Sub-Contractor | Previous Experience with Sub-Contractor | CIDB Grading |
| --- | --- | --- | --- | --- |
| Total % of contract sub-contracted |  | Total contribution of HDI ownership |  |  |

| Signed |  | Date |  |
| --- | --- | --- | --- |
| Name |  | Position |  |
| Tenderer |  |  |  |

SUBCONTRACTING AFTER AWARD OF TENDER

12. (1) A person awarded a contract may only enter into a subcontracting

arrangement with the approval of the organ of state.

(2) A person awarded a contract in relation to a designated sector, may not

subcontract in such a manner that the local production and content of the overall

value of the contract is reduced to below the stipulated minimum threshold.

(3) A person awarded a contract may not subcontract more than 25% of the value

of the contract to any other enterprise that does not have an equal or higher B-BBEE

status level of contributor than the person concerned, unless the contract is

subcontracted to an EME that has the capability and ability to execute the

subcontract.

### T2.2.16 Rates for Special Materials

Tenderer to Specify

| SPECIAL MATERIAL | UNIT* | RATE OR PRICE FOR THE BASE MONTH |
| --- | --- | --- |

*Indicate whether the material will be delivered in bulk or in containers.

When called upon to do so, the tenderer shall substantiate the above rates or prices with acceptable documentary evidence.

| Signed |  | Date |  |
| --- | --- | --- | --- |
| Name |  | Position |  |
| Tenderer |  |  |  |

### T2.2.17 Certificate of Tenderers Attendance at the Clarification Meeting

This is to certify that I, (name in print)…………………………………………………………………………….......,

representative of (Tenderer)……………………………………………………………………………………………..

………………………………………………………………………………………………………………………………

of (address)………………………………………………………………………………………………………………...

………………………………………………………………………………………………………………………………

………………………………………………………………………………………………………………………………

Telephone number ……………………………………………………………………………………………………….

Fax number ………………………………………………………………………………………………………………..

visited and inspected the Site / Attended Clarification Meeting on (date) ………………………………………….

in the company of (Engineer/Engineer's Representative) 	…………………………………………………………...

SIGNATURE OF TENDERER'S REPRESENTATIVE: ……………………………………………………………

ATTACH TAX CLEARENCE CERTIFICATE / TAX COMPLIANCE STATUS (TCS) DOCUMENT.

### T2.2.19 Declaration of Good Standing Regarding Income Tax

The validity of this document will be verified with the relevant office of the South African Revenue Service before the contract is awarded to the selected Contractor.

SOUTH AFRICAN REVENUE SERVICE

| PARTICULARS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Tender No: |  |  |  |  |  | Closing Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Name of Tax Payer/Contractor: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Trade Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - ID Number |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Company/CC Reg. No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Attach original Tax Clearance Certificate to this page |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Income Tax Ref. No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - VAT Reg. No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| DECLARATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| It is hereby declared that the Income Tax and VAT obligations of the abovementioned, which includes the rendition of returns and payment of the relevant taxes: - have been satisfied in terms of the relevant Acts; or - that suitable arrangements have been made with the South African Revenue Services in this regard |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | SARS Date Stamp |  |  |  |  |  |  |
| Signature |  |  | Capacity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SWORN AFFIDAVIT – B-BBEE EXEMPTED MICRO ENTERPRISE

I, the undersigned,

| Full name and surname |  |
| --- | --- |
| Identity number |  |

Hereby declare under oath as follows:

- The contents of this statement are to the best of my knowledge a true reflection of the facts.

- I am a member / director / owner of the following enterprise and I am duly authorised to act on its behalf:

| Enterprise Name |  |
| --- | --- |
| Trading Name |  |
| Registration number |  |
| Enterprise Address |  |

- I hereby declare under oath that:

- The enterprise is __________% black owned;

- The enterprise is __________% black women owned;

- Based on the management accounts and other information available for the ______

Financial year, the income did not exceed R 10 000 000.00 (ten million rands);

- Please confirm in the table below the B-BBEE level of contributor, by ticking the applicable box:

| 100% Black owned | Level One (135% B-BBEE procurement recognition) |  |
| --- | --- | --- |
| More than 51% black owned | Level Two (125% B-BBEE procurement recognition) |  |
| Less than 51% black owned | Level Four (100% B-BBEE procurement recognition) |  |

- The entity is an empowering supplier in terms of the dti Codes of Good Practice.

- I know and understand the contents of the affidavit and I have no objection to take the prescribed oath and consider the oath binding on my conscience and on the owners of the enterprise which I represent in this matter.

- The sworn affidavit will be valid for a period of 12 months from the date signed by the commissioner.

Deponent Signature__________________________

Date: ____________________

_______________________________

Commissioner of Oaths

Signature and Stamp

SWORN AFFIDAVIT – B-BBEE QUALIFYING SMALL ENTERPRISE

I, the undersigned,

| Full name and surname |  |
| --- | --- |
| Identity number |  |

Hereby declare under oath as follows:

- The contents of this statement are to the best of my knowledge a true reflection of the facts.

2. I am a member / director / owner of the following enterprise and I am duly authorised to act on its behalf:

| Enterprise Name |  |
| --- | --- |
| Trading Name |  |
| Registration number |  |
| Enterprise Address |  |

3.  I hereby declare under oath that:

- The enterprise is ______________% black owned;

- The enterprise is ______________% black woman owned;

- Based on the management accounts and other information available on the _______ financial year, the income did not exceed R50,000,000.00 (fifty million rands);

- he entity is an Empowering Supplier in terms of Clause 3.3 (a) or (b) or (c) or (d) or as amended 3.3 (e) (select one)__________ of the dti Codes of Good Practice.

- Please confirm on the table below the B-BBEE level of contributor, by ticking the applicable box:

| 100% Black owned | Level One (135% B-BBEE procurement recognition) |  |
| --- | --- | --- |
| More than 51% black owned | Level Two (125% B-BBEE procurement recognition) |  |
| Less than 51% black owned | Level Four (100% B-BBEE procurement recognition) |  |

| (a) At least 25% of cost of sales, (excluding labour costs and depreciation)must be procurement from local producers or suppliers in South Africa; for the services industry include labour costs but capped at 15%,. |  | (b) Job Creation – 50% of jobs created are for black people, provided that the number of black employees in the immediate prior verified B-BBEE measurement is maintained. |  |
| --- | --- | --- | --- |
| (c) At least 25% transformation of raw material / beneficiation which include local manufacturing, production and /or assembly, and/ or packaging. |  | (d) At least 12 days per annum of productivity deployed in assisting QSE and EME beneficiaries to increase their operation or financial capacity. |  |
| (e) At least 85% of labour costs should be paid to South African employees by service industry entities.. |  |  |  |

- I know and understand the contents of the affidavit and I have no objection to take the prescribed oath and consider the oath binding on my conscience and on the owners of the enterprise which I represent in this matter.

- The sworn affidavit will be valid for a period of 12 months from the date signed by the commissioner.

Deponent Signature__________________________

Date:____________________

_______________________________

Commissioner of Oaths

Signature and Stamp

### T2.2.20 B-BBEE Certification

| Tenderers Company Name |  |
| --- | --- |
| B-BBEE Level |  |
| Expiry Date |  |

A copy of the B-BBEE Certificate must be attached in the separately bound document with all the returnable schedules.

| Signed |  | Date |  |
| --- | --- | --- | --- |
| Name |  | Position |  |
| Tenderer |  |  |  |

### T2.2.21 Certificate of Contractors Registration Issued by the Construction Industry Development Board

The Tenderer shall attach in the separately bound document with all the returnable schedules, the Contract’s Certificate of Registration with CIDB. Failure to submit the certificate with the tender document will lead to the conclusion that the Tenderer is not registered with the CIDB and therefore not eligible to tender.

Tenderers who have made application to CIDB for registration and are capable of being so registered prior to the evaluation of submission must attach a notification from CIDB that their application is being considered.

| Tenderers Company Name |  |
| --- | --- |
| CIDB Registration Number |  |
| Contractors Grading |  |

| Signed |  | Date |  |
| --- | --- | --- | --- |
| Name |  | Position |  |
| Tenderer |  |  |  |

### T2.2.22 MUNICIPAL ACCOUNTS

- THE BIDDING ENTITY AS WELL AS ALL ITS DIRECTORS MUST SUBMIT MUNICIPAL ACCOUNT WHICH IS NOT MORE THAN THREE (3) MONTHS IN ARREARS OR VALID LEASE AGREEMENT WHICH IS IN THE NAME OF THE BUSINESS AND OR THE DIRECTORS, WHICH MUST STIPULATE THE RESPONSIBILITY OF PAYMENT OF MUNICIPAL SERVICES.

- IF THE RESPONSIBILITY OF PAYMENT OF MUNICIPAL SERVICES IS THAT OF THE TENANT/LESSEE, PLEASE PROVIDE PROOF OF PAYMENT OF THOSE SERVICES.

- IF THE BUSINESS OPERATES FROM THE DIFFERENT ADDRESS AS PER CIPC DOCUMENT, AFFIDAVIT MUST BE PROVIDED

The tenderer must attach in the separately bound document with all the returnable schedules, a copy of the latest Municipal Account in the name of the business. The municipal account must not be more than 3 months old

| Tenderers Company Name |  |
| --- | --- |
| Municipal Account Holder |  |
| Account Holders Position in Company |  |
| Municipal Account Number |  |
| Stand number |  |

| Signed |  | Date |  |
| --- | --- | --- | --- |
| Name |  | Position |  |
| Tenderer |  |  |  |

DECLARATION OF BIDDER/S MUNICIPAL ACCOUNT(S)

NAME OF BIDDING ENTITY………………………………………………….

Declaration in terms of paragraph 38(1)(d)(i) of the Supply Chain Management Policy of the MCLM irrespective of the contract value of the bid:

NB: Please not that this declaration must be completed by all bidders

- I, the undersigned hereby declare that the signatory to this tender document; is duly authorised and further declare:

- That the bidding entity as well as all its directors /shareholders must submit Municipal account which is not more than three (3) months in arrears or valid lease agreement which is in the name of the business and or the directors, which must stipulate who is responsible for payment of municipal services.

- That the copy of the lease agreement/municipal account in the name of the bidding entity and Lessee will only be accepted if water and lights are part of lease payment.

- I acknowledge that should it be found that any Municipal Rates and Taxes or Municipal charges as set out in (ii) above are in arrears for more than three (3) months, the bid will be rejected and MCLM may take such remedial action as is required, including the rejection of the bid and/or termination of the contract. (Unless if the bidder has attached proof of the payment arrangement of the arrears to the bid document as at the closing date of the submission of bids)

- The following account/s of the bidding entity has reference:

Municipality					Account number

…………………………………………………………………………………..

…………………………………………………………………………………..

…………………………………………………………………………………..

(NB: if insufficient space above, please submit on a separate page)

- If the Bidding Entity operates from home/ family place and is not responsible for Municipal account, the bidder must submit Sworn Affidavit.

|  |  | Yes | No |
| --- | --- | --- | --- |
| Bidding entity who operate from informal settlement |  |  |  |
| Bidding entity who operate from a property owned by a director / member / partner |  |  |  |
| Bidding entity who operates from somebody else’s property |  |  |  |
| Bidding entity who rent premises from a landlord |  |  |  |
| Other (Please specify) |  |  |  |

Sworn Affidavit Stamp

- If the Bidding Entity operates from home/ family place and is not responsible for municipal account, the bidder must submit Sworn Affidavit. (Applicable to Joint Venture / Consortium only)

|  |  | Yes | No |
| --- | --- | --- | --- |
| Bidding entity who operate from informal settlement |  |  |  |
| 1. |  |  |  |
| 2. |  |  |  |
| Bidding entity who operate from a property owned by a director / member / partner |  |  |  |
| 1. |  |  |  |
| 2. |  |  |  |
| Bidding entity who operates from somebody else’s property |  |  |  |
| 1. |  |  |  |
| 2. |  |  |  |
| Bidding entity who rent premises from a landlord |  |  |  |
| 1. |  |  |  |
| 2. |  |  |  |
| Other (Please specify) |  |  |  |

Signed at …………………………….. this ……………… day ……………………… 20…….

Name of Duly Authorised Signatory (Please print) …………………………………………

Authorised Signature: …………………………………………………

As witness: 1 ………………………………………….

2 ………………………

Sworn Affidavit Stamp

ATTACH THE CENTRAL SUPPLIER DATABASE (CSD) REGISTRATION SUMMARY REPORT

### T2.2.23 Occupational Health and Safety Questionnaire

| 1. | SHE POLICY, ORGANIZATION AND MANAGEMENT INVOLVEMENT |  |  |
| --- | --- | --- | --- |
|  |  | YES | NO |
| 1.1 | Do you have a SHE Policy? |  |  |
|  | Is this signed by the senior executive? |  |  |
|  | Please supply copy of this policy. |  |  |
| 1.2 | Does a SHE structure exist in your company? |  |  |
|  | Please provide details |  |  |
| 1.3 | Are senior and middle management actively involved in the promotions of SHE? |  |  |
|  | - Periodical work area inspection |  |  |
|  | - Regular Health and Safety meetings with personnel |  |  |
| 1.4 | Are the SHE responsibilities of managers clearly defined? |  |  |
|  | Please provide details |  |  |
| 1.5 | Are annual SHE objectives included in your business plan? |  |  |
|  | Please provide example. |  |  |
| 1.6 | Is your company registered with the Compensation Commissioner? (COID Act)? |  |  |
|  | If so, please provide registration number |  |  |
| 1.7 | Do you have a copy of good standing certificate, confirming that your registration is paid up? |  |  |
|  | If so, please provide copy thereof. |  |  |
| 2. | SHE TRAINING | YES | NO |
| 2.1 | Is training provided to employees at the following Phases? |  |  |
|  | - When joining the company |  |  |
|  | - When changing jobs within the company |  |  |
|  | - When new plant or equipment needs to be operated |  |  |
|  | As a result of experience of and feedback from an accident/incident reports |  |  |
|  | Are you able to provide proof of specialist training provided? |  |  |
|  | Please state how this can be achieved. |  |  |
| 2.2 | What formal SHE training is provided specifically to: |  |  |
|  | - First line supervisors |  |  |
|  | Middle and top management. |  |  |
|  | Please describe. |  |  |

| 2.3 | Are all employees (including sub-contractors) instructed as to the application of rules and regulations? |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2.4 | Does this training include the selection, use and care of personal protective equipment? |  |  |  |  |  |  |  |
| 2.5 | What refresher training is provided and at what intervals? |  |  |  |  |  |  |  |
|  | Please list examples. |  |  |  |  |  |  |  |
|  | Course Title | Target audience |  |  | Interval |  |  |  |
| 2.6 | Has the person(s) allocated as your SHE advisor followed specific SHE training? |  |  |  |  |  |  |  |
|  | Please list most recent courses. |  |  |  |  |  |  |  |
|  | Does this include refresher training? |  |  |  |  |  |  |  |
| 3. | PURCHASE OF GOODS, MATERIALS AND SERVICES |  |  |  |  |  | YES | NO |
| 3.1 | Do you have a system for establishing SHE specifications as part of the assessment of goods, materials and services? |  |  |  |  |  |  |  |
|  | Please describe. |  |  |  |  |  |  |  |
| 3.2 | Do you have a system, which ensures that all statutory inspection of plant and equipment are carried out? |  |  |  |  |  |  |  |
|  | Please give examples of plant/equipment covered. |  |  |  |  |  |  |  |
| 3.3 | Is there record of inspection? |  |  |  |  |  |  |  |
|  | Where is it kept? |  |  |  |  |  |  |  |
|  | Are you able to supply copies of these inspection records if required? |  |  |  |  |  |  |  |
| 3.4 | Is plant and equipment, which has been inspected, identified as being safe to use? |  |  |  |  |  |  |  |
| 3.5 | Do you evaluate the SHE competence of all sub-contractors? |  |  |  |  |  |  |  |
|  | Please describe how this is achieved and how the results are monitored. |  |  |  |  |  |  |  |
| 4. | SHE INSPECTIONS |  |  |  |  |  | YES | NO |
| 4.1 | Are periodic work inspections carried out by first line supervisors or your General Safety Regulation 11(1) appointee? |  |  |  |  |  |  |  |
| 4.2 | Are records of these inspections kept and available? |  |  |  |  |  |  |  |
| 4.3 | During the inspections, are supervisors required to check that safety rules and regulations (including personal protective equipment) are adhered to? |  |  |  |  |  |  |  |
| 4.4 | Are unsafe acts and conditions reported and remedial actions formally monitored? |  |  |  |  |  |  |  |
|  | Please provide examples of the above. |  |  |  |  |  |  |  |
| 5. | RULES AND REGULATIONS |  |  |  |  |  | YES | NO |
| 5.1 | Do health and safety rules and regulations exist for personnel and sub-contractors? |  |  |  |  |  |  |  |
|  | Do these cover: |  |  |  |  |  |  |  |
|  | - General rules |  |  |  |  |  |  |  |
|  | - Project rules |  |  |  |  |  |  |  |
|  | - Specific task rules |  |  |  |  |  |  |  |
| 5.2 | Do these rules include permit to work system (as applicable) |  |  |  |  |  |  |  |
| 5.3 | Do you have experience of project SHE plans? |  |  |  |  |  |  |  |
|  | Please give examples of where these have been used. |  |  |  |  |  |  |  |
| 5.4 | Do you have a formal company guideline for holding pre-contract health and safety meetings with the client? |  |  |  |  |  |  |  |
| 6 | RISK MANAGEMENT |  |  |  |  |  | YES | NO |
| 6.1 | Have the following, involved in the execution of your work, been identified? |  |  |  |  |  |  |  |
|  | - Hazards affecting health and safety? |  |  |  |  |  |  |  |
|  | - The groups of people who might be affected? |  |  |  |  |  |  |  |
|  | - End evaluation of the risk from each significant hazard? |  |  |  |  |  |  |  |
|  | - Whether the risks arising are adequately controlled? |  |  |  |  |  |  |  |
| 6.2 | Are these findings and assessments recorded? |  |  |  |  |  |  |  |
| 6.3 | How often are they reviewed? |  |  |  |  |  |  |  |
|  | Please list the time frame, eg. Years |  |  |  |  |  |  |  |
| 6.4 | For what processes/risk is personal protective equipment issued? |  |  |  |  |  |  |  |
|  | Process/Risk |  |  | Type of PPE |  |  |  |  |
| 6.5 | Do you have a copy of the issue lists for PPE available on request? |  |  |  |  |  |  |  |
| 7 | EMERGENCY ARRANGEMENTS |  |  |  |  |  | YES | NO |
| 7.1 | How do you manage your arrangements for dealing with emergencies? |  |  |  |  |  |  |  |
|  | Are these communicated to your sub-contractors? |  |  |  |  |  |  |  |
| 7.2 | What provision have you made for first aid? E.g. Trained First Aiders |  |  |  |  |  |  |  |
| 7.3 | What training do you provide to employees in Safety/Fire Fighting? |  |  |  |  |  |  |  |
|  | Please list institutions used for this training. |  |  |  |  |  |  |  |
| 8 | RECRUITMENT OF PERSONNEL |  |  |  |  |  | YES | NO |
| 8.1 | Are health and safety factors considered when hiring personnel? |  |  |  |  |  |  |  |
| 8.2 | Are medical examinations carried prior to employment? |  |  |  |  |  |  |  |
|  | In all cases. |  |  |  |  |  |  |  |
|  | Where type of work requires medical examination. |  |  |  |  |  |  |  |
| 8.3 | Do you cover exit medical examination? |  |  |  |  |  |  |  |
| 8.4 | How do you assess the competence of staff before an appointment is made? |  |  |  |  |  |  |  |
|  | Eg. Via trade testing, reference checks. |  |  |  |  |  |  |  |
| 9. | REPORTING AND INVESTIGATION OF ACCIDENTS, INCIDENTS AND DANGEROUS CONDITIONS |  |  |  |  |  | YES | NO |
| 9.1 | Do you have a procedure for reporting, investigating and recording accidents and incidents? |  |  |  |  |  |  |  |
|  | Please supply a copy. |  |  |  |  |  |  |  |
| 9.2 | Is there a standard report/investigation form used? |  |  |  |  |  |  |  |
|  | Please supply copy. |  |  |  |  |  |  |  |
| 9.3 | Do you have a formal system for reporting situations/close accidents etc.? |  |  |  |  |  |  |  |
|  | Please provide a copy |  |  |  |  |  |  |  |
| 9.4 | Please provide the following statistics for the last five years |  |  |  |  |  |  |  |

MOGALE CITY LOCAL MUNICIPALITY

THE CONTRACT:

PART C1: AGREEMENTS AND CONTRACT DATA

# PART C1: AGREEMENTS AND CONTRACT DATA

## C1.1 FORM OF OFFER AND ACCEPTANCE

### C1.1.1 FORM OF OFFER

(Note: The Appendix, Annexures & Reports Form Part of the Tender)

THIS FORM MUST BE FILLED IN BY THE TENDERER AND MUST BE SIGNED AT TIME OF SUBMISSION OF THE TENDER

The Employer identified in the Acceptance signature block has solicited offers to enter into a contract for:

Tender No		: PWRT (B&F) 08/2023

Description of Works	:  FOR SUPPLY, INSTALLATION, MAINTENANCE AND REPAIRS OF AIR CONDITIONING, AIR COOLING, REFRIGERATION AND MECHANICAL VENTILATION IN MOGALE CITY LOCAL MUNICIPAL OWNED BUILDINGS AND FACILITIES ON AS AND WHEN REQUIRED BASIS FOR A PERIOD OF THREE (3) YEARS.

The Tenderer, identified in the Offer signature block, has examined the General and the Special Conditions of Contract, Specifications, Drawings, and Schedule of Quantities for the works: FOR SUPPLY, INSTALLATION, MAINTENANCE AND REPAIRS OF AIR CONDITIONING, AIR COOLING, REFRIGERATION AND MECHANICAL VENTILATION IN MOGALE CITY LOCAL MUNICIPAL OWNED BUILDINGS AND FACILITIES ON AS AND WHEN REQUIRED BASIS FOR THE PERIOD OF THREE (3) YEARS. I/We offer to construct, complete and remedy any defects in the said Works in conformity with the General and the Special Conditions of Contract, Specifications, Drawings and Schedule of Quantities, save as amended by Alterations by Tenderer (if any) attached hereto, for the sum of:

| Description | Tendered Amount (Rates) | VAT @ 15% | Amount (Incl. VAT) |
| --- | --- | --- | --- |
| FOR SUPPLY, INSTALLATION, MAINTENANCE AND REPAIRS OF AIR CONDITIONING, AIR COOLING, REFRIGERATION AND MECHANICAL VENTILATION IN MOGALE CITY LOCAL MUNICIPAL OWNED BUILDINGS AND FACILITIES ON AS AND WHEN REQUIRED BASIC FOR A PERIOD OF THREE (3) YEARS. |  |  |  |

In words R…………………………………………………………………………………………………………………

………………………………………………………………………………………………………………………………

or such other sum as may be ascertained in accordance with the terms of the contract.

Our proposed construction period as from site handover:

### C1.1.1 Form of Offer (Continued)

| Description | Construction Period (36 months) |
| --- | --- |
| FOR SUPPLY, INSTALLATION, MAINTENANCE AND REPAIRS OF AIR CONDITIONING, AIR COOLING, REFRIGERATION AND MECHANICAL VENTILATION IN MOGALE CITY LOCAL MUNICIPAL OWNED BUILDINGS AND FACILITIES ON AS AND WHEN REQUIRED BASIS FOR A PERIOD OF THREE (3) YEARS |  |

My/Our offer/s remains binding upon me and open for acceptance by the purchaser/client during the validity period of one hundred and eighty (180 days) indicated and calculated from the closing time of tender.

- The following documents shall be deemed to form and be read and construed as part of this agreement:

- Tender documents, viz

- Invitation to tender

- Tender Data

- Returnable Schedules (Schedule D)

- Technical Data Sheets

- Preference claims in terms of the Preferential Procurement Regulations 2001

- Declaration of interest

- Contract Data

- Special Conditions of Contract;

- Pricing schedule(s)

- Scope of Works

- Site Information

- General Conditions of Contract; (GCC 2015) and

- Drawings

- Annexures

- Addendums

- Other …………………………………………….......

- Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto as listed in the Tender Schedules as well as any changes to the terms of the Offer agreed by the Tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Agreement.  No amendments to or deviations from said documents are valid unless contained in this Schedule, which must be duly signed by the authorized representative (s) of both parties.

- I/We confirm that we have satisfied ourselves as to the correctness and validity of my tender; that the price(s) and rate(s) quoted cover all the goods and/or works specified in the bidding documents; that the price(s) and rate(s) cover all my obligations and I/We accept that any mistakes regarding price(s) and rate(s) and calculations will be at my/our own risk.

In the event of there being any errors of extension or addition in the priced Schedule of Quantities, I/We/we agree to their being corrected by you or by the Engineer acting on your behalf, the rates being taken as correct and the tender amount be adjusted accordingly.

- I/We confirm that Escalation will be applicable on Special Materials on this contract and will calculated as per Contract Data & General Conditions of Contract 2015 (GCC 2015)

- I/We accept full responsibility for the proper execution and fulfilment of all obligations and conditions devolving on me under this agreement as the principal liable for the due fulfilment of this contract.  I/We undertake to complete and deliver the whole of the Works comprised in the Contract within the time stated in the Appendix adjusted in terms of the Contract.

- The Tenderer shall within two weeks after receiving a completed copy of this Agreement, including the Schedule of Deviations (if any), contact the Employer’s Agent (whose details are given in the Contract Data) to arrange the delivery of any bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the Conditions of Contract identified in the Contract Data.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this Agreement.

The Construction /Performance Guarantee that I/We propose is: ……………………………………………..

From (Insurer Name)*1 ………………………………………………………………………………………………

*1 – Letter of Intent to be provided

- Unless and until a formal agreement is prepared and executed, this Tender, together with the written acceptance thereof by yourselves or the Engineer acting on your behalf, shall constitute a binding Contract between us.

- I/We* understand that you are not bound to accept the lowest or any tender you may receive.

- I/We* confirms that he/she is aware of the suspense condition that the tender amount as mentioned in the tender document is subject to availability of funds to cover the total envisaged expenditure for the tender in question and

- I/We* further confirms that Mogale City Local Municipality has the right to cancel the tender prior to award if the funds necessary to cover the total envisaged expenditure of the tender are not available for the current financial year; Mogale City Municipality has the right to reduce the Scope of Work after award and prior to commencement to comply with the available budget

- I/We declare that I/We have no participation in any collusive practices with any tenderer or any other person regarding this or any other tender.

- I/We, declare that we fully and unconditionally accept the full authority of the engineer as the representative of the client on site and understand that any communications to the Municipality can only be done through the engineer, unless, otherwise instructed / authorized by the engineer.  Any disputes between myself, the contractor, and the engineer will be dealt with by the project manager of the municipality working on the particular project.

- I/We confirm that I/We am duly authorized to sign this contract.

WITNESSES

1. …….………………………………

- ……………….………………….

Date: ……………………………….

Name (Print) .…………………………………………………………..

Capacity ………………………………………………………………..

Signature …………………...………………………………………….

Name of Company ………………………………………………..….

Date …………………………………...……………………………….

### C1.1.2 Annex 1

|  | Clause in GCC 2015 |  |
| --- | --- | --- |
| Special Conditions | 1.1 | See Special Conditions of Contract of this document |
| Address of Employer | 1.1.1.15 | Mogale City Local Municipality, Department of Public Works, Roads and Transport P O Box 94 KRUGERSDORP 1740 |
| Address of Engineer/Appointed Consultant | 1.11.16 | N/A |
| Address of Contractor | 1.1.19 | * ……………………………………………………………… ………………………………………………………………... |
| Amount of Suretyship/ Construction Guarantee | 8.6 |  |
| Time within Construction Guarantee to be provided | 5.3.2 |  |
| Duration of Guarantee | 8.2.1 |  |
| Time within which Works to be Commenced | 5.3 |  |
| Programme to be furnished within | 5.6 |  |
| Special Risks Insurance& SASRIA | 8.6.1.2 |  |
| Amount of Special Risks Insurance | 8.6.1.2 |  |
| Minimum Amount of Liability Insurance | 8.6.1.3 | * ..……….. per cent on the gross remuneration of the workmen and foreman actually engaged. * ............... per cent on nett cost of materials actually used. |
| Daywork allowances | 6.5.1.2.3 |  |
| Special non-working days | 5.8.1 | The period 16 December to 5 January inclusive, plus Good Friday, Human Rights Day, Freedom Day, Workers Day and Youth Day |
| Estimated Construction Period | 5.1 |  |
| Amount of penalty | 5.13 | R 1 500-00 per calendar day to a max of 10% of the certified value of work. |
| Percentage advance on material not yet built into the Permanent Works | 6.10.1.5 | 80 percent |
| Percentage retention | 6.10.3 | 0% percent |
| Limit of retention money | 6.10.3 | 0% percent of tender amount (excl VAT & contingencies & escalation if applicable) to be deducted from each payment certificate |
| Retention Money Guarantee | 8.6.1.5 | Not permitted |
|  | Clause in GCC 2015 |  |
| Delivery of Contractor's final Statement | 6.10.8 |  |
| Defects Liability Period | 7.8 | 12 (twelve) months |
| Settlement of disputes to be by reference | 10.7 | Arbitration - Refer to clause Special Conditions of Contract |
| Contract Price Adjustment Schedule (only applicable to contracts of 12 months and longer) | 6.8.2 | Contract Price Adjustment Schedule (SAFCEC) MCLMfficients for calculating Contract Price Adjustment Factor: (Refer to Contract Data) x = 0,10 (General Engineering Works Routine) aLt (Labour)= 0,35 bPt (Plant) = 0,05 cMt (Material) = 0,55 dFt (Fuel) = 0,05 (Civil Engineering as per SEIFSA indices) |
| Price variation of Special Materials | 6.8.3 | As per Schedule |

I/we declare that I/we completely waiver our right of Lien and that no property what so ever will be taken ownership off.  The site and all applicable materials paid for in full, remain unconditionally the property of the municipality and I/we have at no Phase took ownership of such site and materials

*If the time of completion is not stated the Contractor should fill in.

### C1.1.3 FORM OF ACCEPTANCE

(To be completed by the Client – Mogale City Local Municipality on Tender Award)

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the Tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the Conditions of Contract identified in the Contract Data.  Acceptance of the Tenderer’s Offer shall form an agreement between the Employer and the Tenderer upon the terms and conditions contained in this Agreement and in the Contract that is the subject of this Agreement.

- We in our capacities as:

Department			Name					Signature

Executive Manager:

Public Works,		 ………………………………………         ………………………………………

Roads and Transport

Accept your tender under reference number: PWRT (B&F) 08/2023:

FOR SUPPLY, INSTALLATION, MAINTENANCE AND REPAIRS OF AIR CONDITIONING, AIR COOLING, REFRIGERATION AND MECHANICAL VENTILATION IN MOGALE CITY LOCAL MUNICIPAL OWNED BUILDINGS AND FACILITIES ON AS AND WHEN REQUIRED BASIS  FOR A PERIOD OF THREE (3) YEARS indicated hereunder and/or further specified in the SCHEDULE(s).

- An official order/ Letter of Appointment indicating delivery instructions are forthcoming.

- I undertake to make payment for the goods/works delivered/constructed in accordance with the terms and conditions of the contract, within 30 (thirty) days after receipt of an invoice accompanied by the Payment Certificate.

| Description | Contract Value (Incl. VAT) (Arithmetically Correct Tender Amount) | Construction Period 36 Months |
| --- | --- | --- |
| FOR SUPPLY, INSTALLATION, MAINTENANCE AND REPAIRS OF AIR CONDITIONING, AIR COOLING, REFRIGERATION AND MECHANICAL VENTILATION IN MOGALE CITY LOCAL MUNICIPAL OWNED BUILDINGS AND FACILITIES ON AS AND WHEN REQUIRED BASIS FOR A PERIOD OF THREE (3) YEARS. |  |  |

- I confirm that I am duly authorized to sign this contract.

SIGNED AT ……………………………………………………………….……………ON……………………………

WITNESSES

- ……………………………….………….

- …………………………………………..

DATE	   …………….……….

NAME (PRINT)	…………………………………….

SIGNATURE	…………………………………….

OFFICIAL STAMP

The tenderer shall within two weeks after receiving a completed copy of this agreement, including the schedule of deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the Conditions of Contract identified in the Contract Data. Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed copy of this document, including the schedule of deviations (if any).  Unless the tenderer (now contractor) within five working days of the date of such receipt notifies the Employer in writing of any reason why he cannot accept the contents of this agreement, this agreement shall constitute a binding contract between the parties.

### C1.1.3 Schedule of Deviations

Notes:

- The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender,

- A Tenderer’s covering letter shall not be included in the final contract document.  Should any matter in such, letter, which constitutes a deviation as aforesaid become the subjects of agreements reached during the process of, offer and acceptance, the outcome of such agreement shall be recorded here,

- Any other matter arising from the process from offer and acceptance either as a confirmation, clarification or change to the tender documents and which it is agreed by the Parties becomes an obligation of the contract shall also be recorded here,

- Any change of addition to the tender documents arising from the above agreements and recorded here, shall also be incorporated into the final draft of the contract.

1 Subject . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Details  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

2 Subject . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Details  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

3 Subject . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Details  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

4 Subject . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Details  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

5 Subject . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Details  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

By the duly authorised representatives signing this agreement, the Employer and the Tenderer agree to and accept the foregoing schedule of deviations as the only deviations from and amendments to the documents listed in the Tender Data and addenda thereto as listed in the returnable schedules, as well as any confirmation, clarification or changes to the terms of the offer agreed by the Tenderer and the Employer during this process of offer and acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Agreement shall have any meaning or effect in the contract between the parties arising from this agreement.

| For the Tenderer: |  |  |  |
| --- | --- | --- | --- |
| Signature(s) | ………………………….............................. |  | ………………………………………………… |
| Name(s) | ………………………………………………... |  | ………………………………………………… |
| Capacity | ………………………………………………... |  | ………………………………………………… |
|  | ………………………………………………………………………………………………………… |  |  |
|  | ………………………………………………………………………………………………………... |  |  |
| Name and Signature of Witness | (name and address of organisation) ……………………………………………………... |  | Date:………………………………………………… |
| For the Employer: |  |  |  |
| Signature(s) | ………………………………………………... |  | ………………………………………………… |
| Name(s) | ………………………………………………... |  | ……………………………………………....... |
| Capacity | ………………………………………………... |  | ………………………………………………… |
|  | ………………………………………………………………………………………………………… |  |  |
|  | ………………………………………………………………………………………………………… |  |  |
| Name and Signature of Witness | (name and address of organisation) ………………………………………………... |  | Date:…………………………………………… |

# PART C1: AGREEMENTS AND CONTRACT DATA

## C1.2 Contract Data

### C1.2.1 Part 1: Data Provided by the Employer

The Conditions of Contract are the General Conditions of Contract for Construction Works (2015) published by the South African Institution of Civil Engineering. Copies of these conditions of contract may be obtained from the South African Institution of Civil Engineering (tel 011-805 5947). Each item of data given below is cross-referenced to the clause in the Conditions of Contract to which it mainly applies.

| REFERENCE TO: | CLAUSE | DATA |  |
| --- | --- | --- | --- |
| Contractor | 1.1.1.9 | Name: |  |
|  |  | Address: |  |
|  |  | Contact: |  |
| Contract Sum | 1.1.1.10 | Contract Sum” means the Price tendered by the Contractor and accepted by Mogale City Local Municipality |  |
| Employer | 1.1.15 1.2.1 | The name of the Employer is Mogale City Local Municipality The address of the Employer is: |  |
|  |  | Address (physical): Address (postal): Telephone: Facsimile: e-mail: | Corner Commissioner and Market Street Krugersdorp P.O. Box 94 Krugersdorp 1740 (011) 951 2014/2177/2541 (011) 660 9672 Maropeng.mokhatla@mogalecity.gov.za |
| Project Manager | 1.1.16 1.2.1 | The name of the Department is Public Works, Roads and Transport. |  |
|  |  | Address (physical): Address (postal): Telephone: Facsimile: e-mail: | President Building 38 President Street Krugersdorp P.O. Box 94 Krugersdorp 1740 (011) 951 2048 / 011 668 0733 henk.spamer@mogalecity.gov.za ronald.mangope@mogalecity.gov.za |

| REFERENCE TO: | CLAUSE | DATA |
| --- | --- | --- |
| Functions of the Engineer | 3.1 | If the Engineers is not the Mogale City Local Municipality, he is in terms of his appointment by the Employer, required to obtain the specific approval of the Employer for the execution of the following duties: - The issuing of an order to suspend the progress of the Works, the extra cost resulting from which order is to be borne by the Employer in terms of Clause 5.10, or the effect of which is liable to give rise to a claim by the Contractor for an extension of time under Clause 10 - The issuing of an order to vary the Works in terms of Clause 6.3, the estimated effect of which will be to increase the Contract Price by an amount exceeding R50 000, the valuation of a variation order in terms of Clause 37 and the adjustment of the Preliminary and General allowances in terms of Clause 6.4 - The approval of any claim by the Contractor. |
| Contractor’s General Obligations | 4 | Add to the clause: “All costs in complying with the provisions of complying with Clauses 4.8; 4.9; 4.10 and 4.11 shall be allowed for in the rates tendered” |
| Workmen’s Compensation | 4.3 | The Contractor shall also provide proof, that he has paid al contributions required in terms of the provisions of the Act. |
| Subcontracting | 4.4 | Add the following: The Employer may, in order to avoid seizure by the owner, material supplier, subcontractor, at the Employer’s option, pay to such owner, material supplier, subcontractor, the amount of any overdue instalment, or any other sum payable under the agreement for purchase or services, and, in the event of so doing, any amount so paid by the Employer shall be a debt due from the Contractor to the Employer, and may be deducted by the Employer from any money due, or that may become due, to the Contractor in terms of the Contract, or may be recovered by the Employer from the Contractor by law. The Retention money due to the Contractor will not be payable to the Contractor until all works are completed as per GCC 2015 and will only be paid to the Contractor once all cession, suppliers and subcontractors and any other payments due has been paid in full |
| Patent Rights | 4.6 | The following Sub-clause is added to Clause 4.6: “The copyright in all documents, drawings and records related to the purpose and scope of the Works or related in any other manner to the Works, shall vest in the Employer and the Contractor shall not furnish any information in connection with the Works to anybody without the approval of the Employer.” |

| REFERENCE TO: | CLAUSE | DATA |
| --- | --- | --- |
| Contractor’s Superintendence | 4.12 | Add the following new clause: The Contractor or his representative shall attend all site meetings with the Employer and / or Engineer on the dates as nominated by the Engineer. The purpose of the meetings shall be to evaluate the progress of work and to discuss the matters relevant to the contract as required by the parties concerned. Unless specifically invited by the Engineer, the Sub-contractors of the Contractor may not attend these site meetings. Add the following additional Clause 22.2 “The Tenderer is to fill in the names of the site agent and foreman in the space provided in Schedule E1.” |
| Commencement of the contract | 5.2 | “Commencement Date” means the date of receipt by the Contractor of the following: - Handover of Site |

| REFERENCE TO: | CLAUSE | DATA |
| --- | --- | --- |
| Commencement of Works | 5.3 | Within 14 days of Commencement Date On the commencement of Work (Site Handover) the Engineer shall deliver to the contractor 3 copies of the drawings. One copy of the signed contract document will be prepared after signing of the contract and delivered to the contractor to be kept on site at all times and be available to the Engineer or any person authorized by him. Additional copies of Drawings and Contract document will be for the cost of the Contractor. The Contractor shall, in accordance with the Engineer’s instructions, maintain a register on the site of all Drawings and revisions thereof in the chronological order in which they are delivered to him. Add to the Clause Commencement of Work will only take place once the following documentation were submitted to the office of the Consulting Engineer: Letter of Acceptance Construction/Performance Guarantee Health & Safety File Letter of Appointment of OHS Rep or Officer Letter of Good Standing Workman’s Compensation Prove of submission of Registration of Project at Department of Labour If active construction has not started within 14 days of site handover the Client, Mogale City Local Municipality reserves the right in terms of Clause 9.2.1.3.2 to terminate the contract and MCLM shall not be held liable for any loss or damages resulting from such a termination |
| Access to the Site | 5.4 | Site Handover Certificate to be given at Time of Site Handover. Add the following: The Contractor shall as far as possible, confine his operations to the limits of the areas made available to him by the Engineer, but if the land is insufficient for the needs of the work, the Contractor shall make his own arrangements with the owners or tenants concerned for whatever additional land he may require and pay all rent and other charges in connection therewith. The Contractor shall be responsible for all damages and shall indemnify the Employer against all claims which may arise. Add to the clause: The Engineer shall establish the basic reference pegs and benchmarks on the Site and give to the Contractor the particulars thereof in sufficient time to enable the Contractor to meet his approved programme. |
| Programme | 5.6 | Within 7 days from date of Site Handover. |
| Special non-working days | 5.8.1 | The period 16 December to 5 January inclusive, plus Good Friday, Human Rights Day, Freedom Day, Workers Day and Youth Day |

| REFERENCE TO: | CLAUSE | DATA |
| --- | --- | --- |
| Extension of time for completion | 5.12 | In general, extension of time for the completion of Works will, in terms of the General conditions of Contract, be granted only for additional work and for circumstances which could not have been foreseen, and are beyond the control of the Contractor. No extension of time for completion will be granted on account of normal inclement weather, but extension of time shall be determined for abnormal rainfall or wet conditions in accordance with the formula given below, separately for each calendar month or part thereof. It shall be calculated for the full period for the completion of the Contract including any extension thereof by the formula: V = (Nw – Nn} + The symbols shall have the following meanings: V = Extension of time in calendar days in respect of the calendar month under consideration Nw = Actual number of days during the calendar month on which a rainfall of Ymm or more has been recorded. Nn = Average number of days, as derived from existing rainfall records provided in the table below on which a rainfall of Ymm or more has been recorded for the calendar month Rn = Average rainfall in mm for the calendar month, as derived from the rainfall records supplied in the table below. Rw = Actual rainfall in mm for the calendar month under consideration. X = 10 Y = 10 If V is negative and its absolute value exceeds Nn, then V shall be taken as equal to minus Nn. The total extension of time shall be the algebraic sum of the monthly totals for the period of construction, but if the grand total is negative the time for completion shall not be reduced due to abnormal low rainfall. Extensions of time for part of a month shall be calculated using pro rata values of Nn and Rn. The factor (Nw – Nn) shall be considered to represent a fair allowance for variations from the average number of days during which rainfall exceeds Ymm. The factor shall be considered to represent a fair allowance for variations from the average in the number of days during which rainfall had not exceeded Ymm, but wet conditions had prevented or had disrupted work. The formula does not take into account flood damage which could cause further or concurrent delays, and which should be treated separately as far as extension of time is concerned. Accurate rain gauging shall be taken at a suitable point on Site. This information shall be regarded as the actual rainfall for this contract. The readings will be done by the Engineer and the Contractor may attend these readings and shall at his own expense take all necessary precautions to ensure that the rain gauge cannot be interfered with by unauthorized persons. |
| REFERENCE TO: | CLAUSE | DATA |
| Penalty for Delay | 5.13 | To a maximum of R1500-00 per calendar day to a max of 10% of the certified value of work. |
| Completion | 5.14 | 36 Months |
| Completion, Approval Certificates and Defects Liability Period | 5.14 | Add the following to this Clause: “… and a land surveyor’s certificate has been submitted certifying the presence and correctness of all erf and boundary pegs, where applicable.” Add the following: However, a Certificate of Completion will not be issued before the contractor hands over a consolidated Health and Safety file that shall include all the specified information. |
| Defects liability period | 5.14.5.2 6.10.5.1 | Add to Sub-Clause 5.14.5.2 “In the event of the Contractor not completing all the outstanding work within the period specified by the Project Manager and/or Engineer in terms of Clause 7.8, the Project Manager and/or Engineer shall have the right to extend the Period of Maintenance by the additional time taken by the Contractor to complete such outstanding work to the satisfaction of the Project Manager and/or Engineer. The full retention applicable to the Period of Maintenance shall apply to such extension.” |
| Security | 6.2 | Within 14 days of Letter of Appointment Add the following to the Clause: “The contract may be awarded to a Subsidiary Company on the condition that the Holding Company shall in addition to the Surety specified, assume responsibility for the due and proper performance of the Works and the fulfilment of the contract, should the Subsidiary Company be unable to do so.” |
| Performance Guarantee Sum | 6.2 | 10 % of total contract amount excluding Contingencies, VAT for the full construction period. |
| Amendments to Schedule of Quantities and Scope Reduction | 6.3 | The extent of the Works that will be included under this contract will be determined by the availability of funds. Should the tender amounts exceed the available funds, the amounts will be adjusted and the extent of the works decreased. It is therefore emphasized that the tendered unit rates must be realistic and will not be affected should the quantities be adjusted. The rates under “Preliminary and General” will be adjusted proportionally with respect to tender and contract amounts. The tendered unit rates will remain applicable. The right to adjust the extent of the contract is, therefore, reserved by the Employer, but approval will be sought from the successful Tenderer before the contract is awarded. |
| Value of Variations | 6.4 | The cost of any Variations ordered in writing by the Engineer and the applicable rates must be accepted by the Engineer in writing prior to execution, in order to be accepted. Special reference will be given to the tendered rates and the wide interpretation of the term “similar conditions” in determining rates. |
| Daywork percentages | 6.5.1.1 | As tendered in Schedule of Quantities |
| Schedule of Quantities – Estimated quantities | 6.7 | Tenderer to note that all quantities supplied in Schedule of Quantities are estimated quantities and all items will be re-measured on site. Add to the clause: “An allowance equal to 100% of the task rate or daily rate shall be paid by the contractor to workers who attend formal training.” |
| Special Materials | 6.8.3 | As per Schedule of Special Materials |

| REFERENCE TO: | CLAUSE | DATA |
| --- | --- | --- |
| Vesting of Materials | 6.9 | Add to Sub-Clause 6.9.1.2 “The Contractor shall where practicable before delivery and, in any event not later than 24 hours after delivery to the site, inform the Project Manager and/or Engineer Engineer of any materials which are not his sole property.” |
| Valuation of material brought onto site | 6.9 | Add to Clause 6.10.1.5 “Payment for materials on site will only be considered for those materials which are physically on site. Any statement in which a claim for materials on site is included, shall have attached a declaration that the materials listed I the statement are owned by the Contractor, accompanied by proof of ownership. The ownership of materials shall be transferred to the Employer in accordance with the pro forma “Transfer of Rights” bound in as an annexure to these Special Conditions of Contract”. |
| Contract Price Adjustment (Only applicable to contracts of 12 months and longer) | 6.8.2 | The following values for the different factors are to be used as per SAFCEC guidelines: x = 0,10 (General Engineering Works) aLt (Labour)= 0,35 bPt (Plant) = 0,05 cMt (Material) = 0,55 dFt (Fuel) = 0,05 (Civil Engineering as per SETFSA) |
| Materials on Site | 6.10.1.5 | 80% (Delivery Notes and Tax Invoices to be provided) |
| Claims Procedure | 6.10.4 | A strict interpretation is given to the time limits and procedures given in these clauses and any claim, which does not strictly comply with these requirements, will not be considered. |
| Retention Money | 6.10.3 | No interest will be paid on retention money |
| Retention Guarantee | 6.10.3 | A Retention Guarantee is not acceptable Add to the clause: 0% Retention will be deducted from each payment certificate. Retention will be reduced to 0% once Practical Completion Certificate is issued for the work. |
| Quality of Construction Equipment | 7.1 | Add to Sub-Clause 7.1.1 - Details in writing of all Constructional Plant and Temporary Works which is brought onto site by, or on behalf of, the Contractor for the purpose of the Works, and which is hired, leased or the subject of hire-purchase agreements, together with the names of the hirers, lessors or owners thereof, shall be supplied to the Engineer by the Contractor. - The Employer may, in order to avoid seizure by the hirer, owner or lessor, at the Employer’s option, pay to such hirer, owner or lessor the amount of any overdue instalment, or any other sum payable under the agreement for hire, lease or hire purchase, and, in the event of so doing, any amount so paid by the Employer shall be a debt due from the Contractor to the Employer, and may become due, to the Contractor in terms of the Contract, or may be recovered by the Employer from the Contractor by law. - Possession of all Constructional Plant and Temporary Works provided by sub-contractors shall be deemed to vest in the Employer immediately the same is brought onto site, and shall mutatis mutandes be subject to the provisions of the Clause hereinbefore contained. The Contractor shall ensure that the foregoing provision will be inserted in all sub-contractors. |

| REFERENCE TO: | CLAUSE | DATA |
| --- | --- | --- |
| Quality of materials and workmanship | 7.2 | Add to the Clause: “The source of supply of all materials including all stone, sand, gravel or soil or any other natural material required in the execution of the Works shall be located by the Contractor. No material shall be used until it has been approved by the Engineer.” |
| Defects liability period | 7.8 | 12 Months |
| Insurances | 8.6 | Special consideration should be given to damage to existing infrastructure. |
| Other Insurances | 8.6.1.2 | Special Risk Insurance – SASRIA (coupon to be provided) |
| Limit of indemnity | 8.6.1.3 | R2 000 000 per claim, claims unlimited |
| Termination of Contract | 9.1 | In addition if the contractor fails to adequately protect the existing works / infrastructure against damage and thereby unduly endanger the Works – the employer may cancel the contract and recover damages and losses. |
| Dispute Resolution | 10 | Adjudication, Arbitration and the Court will be acceptable dispute resolution mechanisms |

Table 1: Expected Number of Working Days Lost per Month Due to Normal Rainfall

(The Project Manager and/or Engineer Engineer reserves the right to update Table 1 with the latest data from the Weather Bureau from a weather station close to the Site of Works)

| Month | Expected number of working days lost as result of normal rainfall | Average monthly rainfall (mm) |
| --- | --- | --- |
| January February March April May June July August September October November December | 4 4 3 1 1 0 0 0 1 2 3 5 | 111.3 122.9 70.8 28.3 23.4 5.6 0.2 2.1 18.5 48.7 100.98 122.10 |
| Total | 24 days | 654.9 mm |

### C1.2.2 Part 2: Data Provided by the Contractor

The Contractor is advised to read the General Conditions of Contract for Construction Works (2015), published by the South African Institution of Civil Engineering, in order to understand the implications of this Data which is required to be completed. Copies of these conditions of contract may be obtained from the South African Institution of Civil Engineering (tel 011-805 5947). Each item of data given below is cross-referenced to the clause in the Conditions of Contract to which it mainly applies.

| CLAUSE | DATA |
| --- | --- |
| 1.1.9 | The Contractor is. Name: . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 1.2.1 | The address of the Contractor is: Address (physical): . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Address (postal): . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Telephone: . . . . . . . . . . . . . . . . . . . . . . . . . . . . Facsimile: . . . . . . . . . . . . . . . . . . . . e-mail: . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 6.8.3 | The variations in the price of special materials: Type of special material; Unit; Rate or price. |

# PART C1: AGREEMENTS AND CONTRACT DATA

## C1.3 Forms of Securities

Forms for completion by the contractor

The following forms are to be completed by the Contractor after the tender has been awarded to the successful tenderer.

C1.3.1 Form of Guarantee

C1.3.2 Written Agreement on Occupational Health and Safety

C1.3.3 Written Agreement on Environmental Management

C1.3.4 Bond for Material on Site

C1.3.5 Ownership of Materials

The forms will be completed by the Contractor who will be instructed to do so in the Form of Acceptance. The completed forms will become part of the Contract.

The Form of Guarantee is a pro forma document. The Contractor will provide an original document, from a financial institution, with the same text within the same time stated in the Contract Data. Only a bank or approved insurance company or guarantee corporation is acceptable as guarantor.

### C1.3.1 Form of Guarantee

Pro-Forma Performance Guarantee

For use with the General Condition of Contract for Construction Works, Second Edition, 2015.

Guarantee Details and Definitions

“Guarantor” means: ............................................................................................................................................

Physical address: ................................................................................................................................................

“Employer” means: MOGALE CITY LOCAL MUNICIPALITY

“Contractor” means: ............................................................................................................................................

“Works” means: ...................................................................................................................................................

“Site” means: .......................................................................................................................................................

“Contract means:	The Agreement made in terms of the Form of Offer and Acceptance and such amendments or additions to the Contract as may be agreed in writing between the parties.

“Contract Sum” means:  The accepted amount inclusive of tax of R...................................................................

Amount in words: ................................................................................................................................................

“Guaranteed Sum” means:  The maximum aggregate amount of R....................................................................

Amount in words: ................................................................................................................................................

“Expiry Date” means: ..........................................................................................................................................

Contract Details

Project Manager

and/or Engineer

issues:	Interim Payment Certificates, Final Payment Certificate and the Certificate Completion of the Works as defined in the Contract.

Performance Guarantee

- The Guarantor’s liability shall be limited to the amount of the Guaranteed Sum.

- The Guarantor’s period of liability shall be from and including the date of issue of this Performance Guarantee and up to and including the Expiry Date or the Date of issue by the Engineer of the Certificate of Completion of the Works or the date of payment in full of the Guaranteed Sum, whichever occurs first.  The Engineer and/or the Employer shall advise the Guarantor in writing of the date on which the Certificate of Completion of the Works has been issued.

- The Guarantor hereby acknowledges that:

  - any reference in this Performance Guarantee to the Contract is made for the purpose of convenience and shall not be construed as any intention whatsoever to create an accessory obligation or any intention whatsoever to create a Surety ship;

  - its obligation under this Performance Guarantee is restricted to the payment of money.

- Subject to the Guarantor’s maximum liability referred to in 1, the Guarantor hereby undertakes to pay the Employer the sum certified upon receipt of the documents identified in 4.1 to 4.3:

  - A copy of a first written demand issued by the Employer to the Contractor stating that payment of a sum certified by the Engineer in an Interim or Final Payment Certificate has not been made in terms of the Contract and failing such payment within seven (7) calendar days, the Employer intends to call upon the Guarantor to make payment in terms of 4.2;

  - A first written demand issued by the Employer to the Guarantor’s physical address with a copy to the Contractor stating that a period of seven (7) days has elapsed since the first written demand in terms of 4.1 and the sum certified has still not been paid;

  - A copy of the aforesaid payment certificate which entitles the Employer to receive payment in terms of the Contract of the sum certified in 4.

- Subject to the Guarantor’s maximum liability referred to in 1, the Guarantor undertakes to pay to the Employer the Guaranteed Sum or the full outstanding balance upon receipt of a first written demand from the Employer to the Guarantor at the Guarantor’s physical address calling up this Performance Guarantee, such demand stating that:

  - the Contract has been terminated due to the Contractor’s default and that this Performance Guarantee is called up in terms of 5; or

  - a provisional or final sequestration or liquidation court order has been granted against the Contractor and that the Performance Guarantee is called up in terms of 5; and

  - the aforesaid written demand is accompanied by a copy of the notice of termination and/or the provisional/final sequestration and/or the provisional liquidation court order.

- It is recorded that the aggregate amount of payments required to be made by the Guarantor in terms of 4 and 5 shall not exceed the Guarantor’s maximum liability in terms of 1.

- Where the Guarantor has made payment in terms of 5, the Employer shall upon the date of issue of the Final Payment Certificate submit an expense account to the Guarantor showing how all monies received in terms of this Performance Guarantee have been expended and shall refund this Guarantor any resulting surplus.  All monies refunded to the Guarantor in terms of this Performance Guarantee shall interest at the prime overdraft of the Employer’s back compounded monthly calculated from the date payment was made by the Guarantor to the Employer until the date of refund.

- Payment by the Guarantor in terms of 4 or 5 shall be made within seven (7) calendar days upon receipt of the first demand to the Guarantor.

- Payment by the Guarantor in terms of 5 will only be made against the return of the original Performance Guarantee by the Employer.

- The Employer shall have the absolute right to arrange his affairs with the Contractor in any manner which the Employer may deem fit and the Guarantee shall not have the right to claim his release from the Performance Guarantee on account of any conduct alleged to be prejudicial to the Guarantor.

- The Guarantor chooses the physical address as stated above for the service of all notices for all purposes in the connection herewith.

- This performance Guarantee is neither negotiable nor transferable and shall expire in terms of 2, where after no claims will be considered by the Guarantor.  The original of this Guarantee shall be returned to the Guarantor after it has expired.

- This Performance Guarantee, with the required demand notices in terms of 4 or 5, shall be regarding as a liquid document for the purposes of obtaining a court order.

- Where this Performance Guarantee is issued in the republic of South Africa the Guarantor herby consents in terms of Section 45 of the Magistrate’s Courts Act no 32 of 1944, as amended, to the jurisdiction of the Magistrate’s court of any district having jurisdiction in terms of Section 28 of the said Act, notwithstanding that the amount of the claim may exceed the jurisdiction of the Magistrate’s Court.

- Our total liability hereunder shall not exceed the sum of ………………………………………………………..

………………………………………………………………………(R…………………………………………….……).

- We hereby choose domicilium citandi et executandi for all purposes arising hereof at ……………………..

………………………………………………………………………………………………………………………….

IN WITNESS WHEREOF this guarantee has been executed by us at ………………………………. on this

……………………………………………… day of …………………………………………………… 20………..

Signed at: ………………………………………………   Date: ……………………………………………………

Guarantor’s Signatory (1): …………………………………………………………………..

Capacity: ………………………………………………………………………………………

Guarantor’s Signatory (2): …………………………………………………………………..

### Capacity: ………………………………………………………………………………………

### C1.3.2 Written Agreement on Occupational Health and Safety

Gauteng Provincial Government, Mogale City LM and the Contractor hereby agree, in terms of the provisions of Section 37(2) of the Occupational Health and Safety Act 1993 (Act 85 of 1992, hereinafter referred to as the Act), that the following arrangements and procedures shall apply between them to ensure compliance by the Contractor with the provisions of the Act, namely:

- The Contractor undertakes to acquaint the appropriate officials and employees of the Contractor with all the relevant provisions of the Act and the regulations promulgated in terms of the Act and Gauteng Provincial Government, Mogale City LM Safety Precautions and Health and Safety Instructions included in the contract documents.

- The Contractor undertakes that all relevant duties, obligations and prohibitions imposed in terms of the Act and Regulations and Gauteng Provincial Government, Mogale City LM safety Precautions and Health and Safety Instructions included in the contract documents will be fully complied with.

- In relation to any work or activity performed by the Contractor, his workmen or any other person for whose acts or omissions the Contractor is responsible in terms of the Contract, the Contractor hereby accepts sole liability for such due compliance with the relevant duties, obligations and prohibitions imposed by the Act and Regulations and expressly absolves Gauteng Provincial Government, Mogale City LM from itself being obliged to comply with any of the foresaid duties, obligations and prohibitions.

- The Contractor agrees that any duly authorized officials of the council shall be entitled, although not obliged, to take such steps as may be necessary to ensure that the Contractor has complied with his undertakings as set out more fully in paragraphs (a) and (b) above, which steps may include, but will not be limited to, the right to inspect any appropriate site or premises occupied by the Contractor, or to inspect any appropriate records held by the Contractor.

- The Contractor shall be obliged to report forthwith in writing to the Engineer/Architect full details of any investigation, complaint or criminal charge which may arise as a consequence of the provisions of the Act and Regulations, pursuant to work performed in terms of this Contract.

The Employer and Contractor hereby agree, in terms of the provisions of Section 37(2) of the Occupational Health and Safety Act No.85 of 1993, hereinafter referred to as “the Act”, that the contractor as an employer in its own right and in its capacity as contractor for the execution of the works, shall have certain obligations and that the following arrangement shall apply between them to ensure compliance by the contractor with provisions of the Act, namely:

- The contractor undertakes to acquaint the appropriate officials and the employees of the contractor with all relevant provisions of the Act, and the regulation promulgated in terms of the Act, and

- The contractor undertakes that all relevant duties, obligations and prohibitions imposed in terms of the Act and regulations will be fully complied with, and

- The contractor hereby accepts sole responsibility for such due compliance with the relevant duties, obligations and prohibitions imposed by the Act and regulations and expressly absolves the employer and the employer’s consulting engineers from being obliged to comply with any of the aforesaid duties, obligations and prohibitions in respect of the work included in the contract.

- The contractor shall be obliged to report forthwith to the employer any investigation, compliant or criminal charge which may arise as a consequence of the provisions of the Act and regulations pursuant to work performed on behalf of the employer, and shall, on written demand, provide full details in writing of such investigation, complaint or criminal charges.

- The Employer recognizes the right of each employee to work safely in a healthy environment under decent human conditions.  Each employee has the right to return home safely and healthy to his home and family after each day’s work.

- Work should not be done at the expense of human safety or health.

- Work shall be executed under humane conditions, especially with reference to hours and H&S issues in mind.

- The PC shall appoint a fulltime H&S Manager should he have more than 50 employees on site.  A fulltime Safety Representative shall be present on site for 50 employees or less

………………………………………………………….	            …………………………………………………..

On Behalf of Mogale City Municipality				Date

Witnesses	   1. …………………………………… 	            2.………………………………………………

………………………………………………………….	            …………………………………………………..

For The Contractor						Date

Witnesses	   1. …………………………………… 	            2.………………………………………………

OCCUPATIONAL HEALTH AND SAFETY ACT, 1993

Regulation 3 of the Construction Regulations, 2003

NOTIFICATION OF CONSTRUCTION WORK

1.(a)	Name and postal address of principal contractor: …………………………………………………………..

……………………………………………………………………………………………………………………..

(b)  	Name and tel. no of principal contractor’s contact person: …………………………………………………

……………………………………………………………………………………………………………………..

(c)	Principal contractor’s compensation registration number: ………………………………………………….

2.(a) 	Name and postal address of client: …………………………………………………………………………...

……………………………………………………………………………………………………………………..

(b)    Name and tel no of client’s contact person or agent: …………………………………………………….....

……………………………………………………………………………………………………………………..

3.(a)     Name and postal address of designer(s) for the project: ……………………………………………………

……………………………………………………………………………………………………………………..

(b)	Name and tel. no of designer(s) contact person: …………………………………………………………..

……………………………………………………………………………………………………………………..

4.(a)	Name and telephone number of principal contractor’s construction supervisor on site appointed in terms of regulation 6.(1).

……………………………………………………………………………………………………………………..

(b)	Name/s of principal contractor’s sub-ordinate supervisors on site appointed in terms of regulation 6.(2).

……………………………………………………………………………………………………………………..

5.	Exact physical address of the construction site or site office:

……………………………………………………………………………………………………………………..

6.	Nature of the construction work:

……………………………………………………………………………………………………………………..

7.	Expected commencement date: ………………………………………………………………………………

8.	Expected completion date: …………………………………………………………………………………….

9.	Estimated maximum number of persons on the construction site. ………………………………………..

10.	Planned number of contractors on the construction site accountable to principal contractor:

……………………………………………………………………………………………………………………..

11.	Name(s) of contractors already chosen.

……………………………………………………………………………………………………………………..

……………………………………………………………………………………………………………………..

……………………………………………………………………………………………………………………..

…………………………………………………………	………………………………………………….

Principal Contractor	Date

…………………………………………………………	………………………………………………….

Client		Date

THIS DOCUMENT IS TO BE FORWARDED TO THE OFFICE OF THE DEPARTMENT OF LABOUR PRIOR TO COMMENCEMENT OF WORK ON SITE.

ALL PRINCIPAL CONTRACTORS THAT QUALIFY TO NOTIFY MUST DO SO EVEN IF ANOTHER PRINCIPAL CONTRACTOR ON THE SAME SITE HAD DONE SO PRIOR TO THE COMMENCEMENT OF WORK

C1.3.3 Agreement to Accept the Conditions of the Environmental Management Plan Pertaining to This Project

Whereas ……………………………………………………………………………………………….. (the Contractor)

*Company Registration No: ……………………………………………………………………………………………..

Address: …………………………………………………………………………………………………………………...

a * Company incorporated with limited liability according to the company laws of the Republic of South Africa, *Partnership, *Close Corporation, * Public Company (hereinafter called the contractor), represented herein by ……………………………………… in his capacity as …………………………… duly authorized hereto by a articles of association, resolution, power of attorney, or otherwise as duly signed and declared in Form F.2 of this document.

Do hereby agree that the following arrangements and procedures shall apply to the abovementioned Contractor to ensure compliance with the provisions of the Environmental Management Plan (EMP), namely:

- The Contractor undertakes to acquaint the appropriate officials and employees of the Contractor with all the relevant provisions of the EMP, the regulations and conditions in terms of the EMP.

- The Contractor undertakes that all relevant duties, obligations and prohibitions imposed in terms of the EMP and the instructions of the duly authorized Environmental Officer, enforcing the conditions of the EMP, will be fully complied with.

- In relation to any work or activity performed by the Contractor, his workmen or any other person for whose acts or omissions the Contractor is responsible in terms of the Contract, the Contractor hereby accepts sole liability for such due compliance with the relevant duties, obligations and prohibitions imposed by the EMP and expressly absolves the Dept. of Housing from itself being obliged to comply with any of the foresaid duties, obligations and prohibitions.

- The Contractor shall be obliged to report forthwith in writing to the Engineer full Details of any investigation, complaint or criminal charge which may arise as a consequence of the provisions of the EMP, pursuant to work performed in terms of this Contract.

………………………………………………………….	            …………………………………………………..

For The Contractor						Date

Witnesses	   1. …………………………………… 	            2.………………………………………………

### C1.3.4 Bond for Material on Site

Contract No: ……………………………………………………………………………………………………………...

Employer: …………………………………………………………………………………………………………………

Contractor: .............................................................................................................................................

Description of Contract: ……………………………………………………………………………………………….

I/We, the undersigned, ……………………………………………………………. (Bank or Insurance Company) do hereby bind ourselves as surety and co-principal debtors in solidum for compensating the Employer where the ownership of material for some reason or other cannot pass to the Employer, or the Employer by law is expected to pay a third party to obtain ownership of material in spite of the fact that the Employer paid the Contractor as per clause 62(1)(b) of the general conditions of contract, and for all losses, damages, and expenses that may be suffered or incurred by the Employer as a result of payment for material on site, renouncing all benefits from the legal exceptions ordinis seu excussionis et divisionis "no value received" and all other exceptions which might or could be pleaded against the validity of this guarantee, with the meaning and effect of which exceptions we declare ourselves to be fully acquainted; provided that the liability of the undersigned under this guarantee is limited to (specify amount of bond)

………………………………………………………………………………………………………………………………

……………………………………………………………. (R…………………………………………………..) and will lapse on the issue of the completion certificate in terms of the Contract, unless the surety is advised in writing by the Employer before issue of the said certificate of his intention to institute claims and the particulars thereof, in which event this guarantee shall remain in force until all such claims are paid or settled.

For and on Behalf of ………………………………………………………………………………………… (Surety)

AT ……………………………………. on this ………………………… day of …………………………… 20……..

………………………………………...

Capacity

Full Address: …………………………………………………………..

…………………………………………………………

…………………………………………………………

As Witnesses:

- ……………………………………...

2. ……………………………………….

*Delete whichever is inapplicable

### C1.3.5 Ownership of Materials

Contract No: ……………………………………………………………………………………………………………...

Employer: …………………………………………………………………………………………………………………

Contractor: .............................................................................................................................................

Description of Contract: ……………………………………………………………………………………………….

In order to facilitate payment for material on site in terms of clause 6.4.1 of the general conditions of contract, it is hereby confirmed that, although materials may have been supplied on credit to the above named Contractor, ownership of such materials, when delivered will vest with the Contractor.

In the event therefore of such materials being delivered on site or any authorized extended site, ownership thereof will then vest with the Employer in terms of clause 8.6.1 of the said general conditions of contract.

For and on Behalf of ………………………………………………………………………………………… (Surety)

AT ……………………………………. on this ………………………… day of …………………………… 20……..

………………………………………...

Capacity

Full Address: …………………………………………………………..

…………………………………………………………

…………………………………………………………

As Witnesses:

- ……………………………………...

2. ……………………………………….

…………………………………………

Signature

Signatories for companies must establish their authority by attaching a copy of the relevant resolution of the board of directors, duly signed and dated, to this form.

MOGALE CITY LOCAL MUNICIPALITY

THE CONTRACT:

PART C2: PRICING DATA

# PART C2: PRICING DATA

## C2.1 Pricing Instructions

Note: Only firm prices will be accepted. Non-firm prices (including prices subject to rates of exchange variations) will not be considered

Name of tenderer…………………………………………………Tender number: _______________

Offer to be valid for…120……days from the closing date of tender.

- Supply, Delivery & Construction/Installation and/or Commissioning of:

Works as detailed in the Scope of Work and priced in the Schedule of Quantities included hereafter for the “ FOR SUPPLY, INSTALLATION, MAINTENANCE AND REPAIRS OF AIR CONDITIONING, AIR COOLING, REFRIGERATION AND MECHANICAL VENTILATION IN MOGALE CITY LOCAL MUNICIPAL OWNED BUILDINGS AND FACILITIES FOR A PERIOD OF THREE (3) YEARS ON AS AND WHEN REQUIRED”

Required by:					Mogale City Local Municipality

At:							Krugersdorp

Does offer comply with specification?		YES/NO

If not to specification, indicate deviation(s) in: 	Schedule A

Any enquiries regarding the tendering procedure may only be directed to:

Ofentse Matsose

Tel: (011) 951 2177/2541

Mrs. Maropeng Mokhatla

Supply Chain Management

KRUGERSDORP

Tel:  011 951 2541

Or

For Technical Information:

Ronnie Mangope or Henk Spamer

Tel:  011 668 0733 or 011 951 2048

### Preamble to Schedule of Quantities

- The general conditions of contract, the special conditions of contract (if any), the specifications (including the project specification) and the drawings (if any) are to be read in conjunction with the schedule of quantities.

  - Those parts of the contract to be constructed using labour-intensive methods have been marked in the Schedule of Quantities (SQ) with the letters LI in a separate column filled in against every item so designated. The works, or part of works so designated are to be constructed using labour-intensive methods only.  The use of plant to provide such works, other than plant specifically provided for in the Scope of Works, is a variation to the contract. The items marked with the letters LI are not an exhaustive list of all the activities which must be done by hand and those clauses do not over-ride any of the requirements in the SANS 1921: 2005.

  - Payment for items which are designated to be constructed labour-intensively (either in the SQ or in the Scope of Works or Project Specifications) will not be made unless they are constructed using labour-intensive methods. Any unauthorized use of plant to carry out work which was to be done labour-intensively will not be condoned and any works so constructed will not be certified for payment.

- For the purposes of this schedule of quantities, the following words shall have the meaning hereby assigned to them:

Unit:	The unit of measurement for each item of work as defined in the specifications.

Quantity:	The number of units of work for each item.

Rate:	The payment per unit of work for which the tenderer tenders to do the work.

Amount:	An amount tendered for an item, the extent of which is described in the schedule of quantities, the specification or elsewhere, but of which the quantity of work is not measured in units.

“LI”	Labour Intensive methods to be used in accordance with Project Specifications

- The quantities set out in the schedule of quantities are only approximate quantities.  The quantities of work finally accepted and certified for payment, and not the quantities given in the schedule of quantities, will be used to determine payments to the contractor.

The validity of the contract shall in no way be affected by differences between the quantities in the schedule of quantities and the quantities finally certified for payment.  Work shall be valued at the rates or lump sums tendered, subject only to the provisions of the general conditions of contract.

- Rates and lump sums shall include full compensation for overheads, profits, incidentals, tax (except for Value Added Tax), etc. and for the completed items of work as specified.  Full compensation for completing and maintaining, during the maintenance period, all work shown on the drawings and specified in the specifications, and for all the risk, obligations and responsibilities specified in the general conditions of contract, special conditions of contract and the project specifications shall be considered as provided for collectively in the items of payment given in the schedule of quantities, except in so far as the quantities given in the schedule of quantities are only approximate.

- The tenderer shall fill in a rate or a lump sum for each item where provision is made for it, - this includes rate only items.  Items against which no rate or lump sum has been entered in the tender will not be paid for when the work is executed, as payment for such work will be regarded as being covered by other rates or lump sums in the schedule of quantities.

Please only complete rates and totals for those items that have entries in the quantity column – this include “rate only” items

The tenderer shall fill in a rate against all items where the words "rate only" appears in the amount column. Although no work is foreseen under such item and no quantities are consequently given in the quantity column, the tendered rate shall apply should work under this item actually be required.  Tenderers should note the provisions of paragraph 12 of this preamble.

If the tenderer should group a number of items together and tender one lump sum for such group of items and not to each individual item, or should he indicate that full compensation for any item has been included in the rate for another item, the rate for the item included in another item shall be deemed to be nil.

The tendered lump sum and rates shall be valid irrespective of any change in the quantities during the execution of the contract.

Preliminary & General Section may not be tendered as a lump sum.  A tender may be disqualified if the P&G Section is tendered as a lump sum.

- The works executed are measured for payment in accordance with the methods described in the contract documents under the various payment items.

- The amount of work or the quantities of material stated in the schedule of quantities shall not be considered as restricting or extending the amount of work to be done or the quantity of material to be supplied by the contractor.

- The statement of quantities of material or amount of work in the schedule of quantities shall not be regarded as authorization for the contractor to order material or to execute the work.  The contractor shall obtain the engineer's detailed instructions for all work before ordering any materials or executing work or making arrangements in this regard.

- The short description of the payment items in the schedule of quantities is only given to identify the items and to provide specific details.  Reference shall inter alia be made to the drawings, project specifications, general conditions of contract and special conditions of contract for more detailed information regarding the extent of work entitled under each item.

- The provisions of Clause 48 of the general conditions of contract shall apply to provisional sums and prime cost sums.

- Subject to the conditions stated in paragraph 12 below, the rates and lump sums filled in by the tenderer in the schedule of quantities shall be final and binding, and may not be adjusted should there be any mistakes in the extensions thereof and in the amounts, appearing in the tender.  Should there be any discrepancies between the tender sum and the correctly extended and totalled schedule of quantities, the rates will be regarded as being correct, and the employer shall have the right to make adjustments to the tender sum to reconcile the tender sum with the total of the schedule of quantities.  Under no circumstances will tendered rates be adjusted when such errors are corrected.  In such an event the contractor will be consulted but, failing agreement between the parties, the decision of the employer shall be final and binding.  Adjustment of the tender sum will take place only after acceptance of the tender, but prior to the signing of the contract.  In their own interest tenderers must make doubly sure of the correctness of their tendered rates, the extensions and the tender sum.

- A tender may be rejected if the unit rates or lump sums for some of the items in the schedule of quantities are, in the opinion of the employer, unreasonable or out of proportion, and if the tenderer fails, within a period of seven (7) days of having been notified in writing by the employer to adjust the unit rates or lump sums for such items, to make such adjustments.

- The units of measurement indicated in the schedule of quantities are metric units. The following abbreviations are used in the schedule of quantities:

| mm = millimetre | kl = kiloliter |
| --- | --- |
| m = meter | kg = kilogram |
| km = kilometre | t = ton (1 000 kg) |
| m² = square meter | No = number |
| ha = hectare | % = per cent |
| m³ = cubic meter | P C sum = prime cost sum |
| l = litre | prov sum = provisional sum |
| mm = millimetre | kl = kiloliter |

- All rates and sums of money quoted in the schedule of quantities shall be in Rands and whole cents.  Fractions of a cent shall be discarded.

- The schedule of quantities shall be completed in BLACK INK. Tenders where the Schedule of Quantities is completed in pencil, WILL be disqualified.

- All prices and rates shall exclude value added tax (VAT). The Tenderer shall calculate VAT and enter it as the end of the Summary of the Schedule of Quantities

An electronic copy of the Schedule of Quantities will be made available by contacting Mogale City Supply Chain Management. It is a requirement that the original yellow pages contained in the tender document must still be completed in black ink. A tender will be disqualified if only a printed copy of the Schedule of Quantities is submitted

The quantities in the Bill of Quantities are estimates only (Provisional and Re-measureable) and will only be used as a guide by MCLM. The actual quantities will be determined by the works required by MCLM to be performed as instructed to the contractor by means of a Work Order.

Once the works order is approved, the contractor has 24 hours for PLANNED and/or UNPLANNED maintenance work, and for EMERGENCY maintenance work has 1 hour(s) to commence the work.

Written quote(s) will be provided for all unscheduled/unspecified work prior to the commencement of that work and will include (if appropriate) costs of materials, costs of labour and any other considerations on the Bills of Quantities (Contingencies, Provisional Sum, etc) and Mogale City’s Project Manager approves such quotation(s).

# PART C2: PRICING DATA

## C2.2 Bill of Quantities

### C2.2.1 Bill of Quantities Contents

1	 PRELIMINARY & GENERAL - SANS 1200A

2	EXISTING A/C UNITS

3	UNIT COMPONENTS

4	NEW A/C UNITS

| Item | Description | Uom | Quantity | Rate Excl. Vat ( R ) |
| --- | --- | --- | --- | --- |
|  | BILL No 1 : |  |  |  |
| 1 | SECTION 1: PRELIMINARY & GENERAL - SANS 1200A |  |  |  |
|  | Contractual requirement (As described in section C3) |  |  |  |
|  | General items |  |  |  |
| 1,1 | Budgetary Allowance: For unscheduled or non-schedule items which are not specified in the Bills of Quantities (Determined by the Mogale City Local Municipality), | Psum | 1,00 | R 1 000 000,00 |
| 1,2 | Health & safety requirements which includes all personal protective equipment (PPE) and clothing as required by OHS Act No.85 of 1993 (Determined by the Mogale City Local Municipality), | Psum | 1,00 | R 200 000,00 |
| 1,3 | Site Establishment: includes but not limited to Office and storage; Ablution and toilet facilities on site and elsewhere; Water supplies, electric power and communication; Tools and equipment; Dealing with water; Plant for clearing site and excavations in all materials; Plant for transportation of plant; Other Fixed Charge Obligations; Removal of Site Establishment; ETC...(Determined by the Mogale City Local Municipality), | Psum | 1,00 | R 500 000,00 |
| 1,4 | Administrative Tools, Equipment, Resources, etc. for MCLM employees ONLY. | Psum | 1,00 | R 200 000,00 |
| 1,5 | Kilometer rate for LDV | km | 1,00 | R 6,00 |
| 1,6 | Training: Accredited and approved training courses to be determined by Mogale City Local Municipality | Psum | 1,00 | R 300 000,00 |
|  | Work done between Monday and Friday from 7:30am to 4pm shall be paid as per qouted rate for that particular item. |  |  |  |
|  | Overtime after normal working hours during weekdays and Saturdays |  |  |  |
| 1,7 | Technician | Hour | 1,00 | Rate Only |
| 1,8 | Assistant Technician | Hour | 1,00 | Rate Only |
|  | Overtime during Sundays and public holidays |  |  |  |
| 1,9 | Technician | Hour | 1,00 | Rate Only |
| 1,10 | Assistant Technician | Hour | 1,00 | Rate Only |
|  | Call out rates will apply as follows:- |  |  |  |
|  | Call out fee will be forfeited when the quote/order is approved.Call out rates will not apply to requests for quotations as part of planned works. Normal call out rates will apply for emergencies and unplanned/scheduled work. After hour call out and labour rates will only apply after 16:00 |  |  | Rate Only |
| 1,11 | Call out fee | No | 1,00 | R |
| 1,12 | Specialised Machinery, Plant and Equipment etc | Psum | 1,00 | R 120 000,00 |
| 1,13 | CoC Certificate: | Item | 1,00 | R |
|  | TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (BILL NO. 1 - P&G's ONLY) |  |  | R |

| Item | Description | Uom | Quantity | Amount Excl. Vat ( R ) |
| --- | --- | --- | --- | --- |
| 2 | SECTION 2: EXISTING A/C UNITS |  |  |  |
|  | All rates tendered are to be fully inclusive of consumables (ie. cleaning liquids like thinners and turpentine, masking tape, sanding paper and clothes and materials touch up paint, piping, clamps etc.). These rates to include labour and the installation there-off complete. |  |  |  |
|  | SERVICING: |  |  |  |
| 2.1 | Air Curtains Unit:- |  |  |  |
| 2.1.1 | Air Curtain unit – 900 mm | Each | 1 | R |
| 2.1.2 | Air Curtain unit – 1200 mm | Each | 1 | R |
| 2.1.3 | Air Curtain unit – 1500 mm | Each | 1 | R |
| 2.2 | Compact Floor Unit:- |  |  |  |
| 2.2.1 | Compact floor unit | Each | 1 | R |
| 2.3 | Cassette Split Unit:- |  |  |  |
| 2.3.1 | Cassette split unit - 12,000 BTU | Each | 1 | R |
| 2.3.2 | Cassette split unit - 18,000 BTU | Each | 1 | R |
| 2.3.3 | Cassette split unit - 24,000 BTU | Each | 1 | R |
| 2.3.4 | Cassette split unit - 36,000 BTU | Each | 1 | R |
| 2.3.5 | Cassette split unit - 60,000 BTU | Each | 1 | R |
| 2.4 | Ducted Split Unit:- |  |  |  |
| 2.4.1 | Ducted split unit – 18,000 BTU | Each | 1 | R |
| 2.4.2 | Ducted split unit – 24,000 BTU | Each | 1 | R |
| 2.4.3 | Ducted split unit – 30,000 BTU | Each | 1 | R |
| 2.4.4 | Ducted split unit – 36,000 BTU | Each | 1 | R |
| 2.4.5 | Ducted split unit – 42,000 BTU | Each | 1 | R |
| 2.4.6 | Ducted split unit – 48,000 BTU | Each | 1 | R |
| 2.4.7 | Ducted split unit – 60,000 BTU | Each | 1 | R |
| 2.5 | Inverter Unit:- |  |  |  |
| 2.5.1 | Inverter unit – 9,000 BTU | Each | 1 | R |
| 2.5.2 | Inverter unit – 12,000 BTU | Each | 1 | R |
| 2.5.3 | Inverter unit – 18,000 BTU | Each | 1 | R |
| 2.5.4 | Inverter unit – 24,000 BTU | Each | 1 | R |
| 2.5.5 | Inverter unit – 30,000 BTU | Each | 1 | R |
| 2.5.6 | Inverter unit – 36,000 BTU | Each | 1 | R |
| 2.5.7 | Inverter unit – 42,000 BTU | Each | 1 | R |
| 2.5.8 | Invertert unit – 48,000 BTU | Each | 1 | R |
| 2.5.9 | Inverter unit – 60,000 BTU | Each | 1 | R |
| 2.6 | Under Ceiling Split Unit:- |  |  |  |
| 2.6.1 | Under ceiling split unit - 18,000 BTU | Each | 1 | R |
| 2.6.2 | Under ceiling split unit - 24,000 BTU | Each | 1 | R |
| 2.6.3 | Under ceiling split unit - 36,000 BTU | Each | 1 | R |
| 2.6.4 | Under ceiling split unit - 48,000 BTU | Each | 1 | R |
| 2.6.5 | Under ceiling split unit - 60,000 BTU | Each | 1 | R |
| 2.7 | Wall Mounted Split Unit:- |  |  |  |
| 2.7.1 | Wall mounted split unit - 9,000 BTU | Each | 1 | R |
| 2.7.2 | Wall mounted split unit - 12,000 BTU | Each | 1 | R |
| 2.7.3 | Wall mounted split unit - 18,000 BTU | Each | 1 | R |
| 2.7.4 | Wall mounted split unit - 24,000 BTU | Each | 1 | R |
| 2.7.5 | Wall mounted split unit - 30,000 BTU | Each | 1 | R |
| 2.8 | Window Unit: |  |  |  |
| 2.8.1 | Window Unit | Each | 1 | R |
|  | TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (SECTION 2: EXISTING A/C UNITS) |  |  | R |

| Item | Description | Uom | Quantity | Amount Excl. Vat ( R ) |  |
| --- | --- | --- | --- | --- | --- |
| 3 | SECTION 3: UNIT COMPONENTS |  |  |  |  |
|  | All rates tendered are to be fully inclusive of consumables (ie. cleaning liquids like thinners and turpentine, masking tape, sanding paper and clothes and materials touch up paint, piping, clamps etc.). These rates to include labour and the installation there-off complete. |  |  |  |  |
|  | Supply and installation of components for A/C Split Units |  |  |  |  |
|  | Rate to include for the cost of the component and the installation there-off complete. |  |  |  |  |
|  | Compressor for a R22 Gas AC Units: |  |  |  |  |
| 3.1 | Cassette Split Unit:- |  |  |  |  |
| 3.1.1 | Cassette split unit - 12,000 BTU | Each | 1 | R |  |
| 3.1.2 | Cassette split unit - 18,000 BTU | Each | 1 | R |  |
| 3.1.3 | Cassette split unit - 24,000 BTU | Each | 1 | R |  |
| 3.1.4 | Cassette split unit - 36,000 BTU | Each | 1 | R |  |
| 3.1.5 | Cassette split unit - 60,000 BTU | Each | 1 | R |  |
| 3.2 | Ducted Split Unit:- |  |  |  |  |
| 3.2.1 | Ducted split unit – 18,000 BTU | Each | 1 | R |  |
| 3.2.2 | Ducted split unit – 24,000 BTU | Each | 1 | R |  |
| 3.2.3 | Ducted split unit – 30,000 BTU | Each | 1 | R |  |
| 3.2.4 | Ducted split unit – 36,000 BTU | Each | 1 | R |  |
| 3.2.5 | Ducted split unit – 42,000 BTU | Each | 1 | R |  |
| 3.2.6 | Ducted split unit – 48,000 BTU | Each | 1 | R |  |
| 3.2.7 | Ducted split unit – 60,000 BTU | Each | 1 | R |  |
| 3.3 | Inverter Unit:- |  |  |  |  |
| 3.3.1 | Inverter unit – 9,000 BTU | Each | 1 | R |  |
| 3.3.2 | Inverter unit – 12,000 BTU | Each | 1 | R |  |
| 3.3.3 | Inverter unit – 18,000 BTU | Each | 1 | R |  |
| 3.3.4 | Inverter unit – 24,000 BTU | Each | 1 | R |  |
| 3.3.5 | Inverter unit – 30,000 BTU | Each | 1 | R |  |
| 3.3.6 | Inverter unit – 36,000 BTU | Each | 1 | R |  |
| 3.3.7 | Inverter unit – 42,000 BTU | Each | 1 | R |  |
| 3.3.8 | Invertert unit – 48,000 BTU | Each | 1 | R |  |
| 3.3.9 | Inverter unit – 60,000 BTU | Each | 1 | R |  |
| 3.4 | Under Ceiling Split Unit:- |  |  |  |  |
| 3.4.1 | Under ceiling split unit - 18,000 BTU | Each | 1 | R |  |
| 3.4.2 | Under ceiling split unit - 24,000 BTU | Each | 1 | R |  |
| 3.4.3 | Under ceiling split unit - 36,000 BTU | Each | 1 | R |  |
| 3.4.4 | Under ceiling split unit - 48,000 BTU | Each | 1 | R |  |
| 3.4.5 | Under ceiling split unit - 60,000 BTU | Each | 1 | R |  |
| 3.5 | Wall Mounted Split Unit:- |  |  |  |  |
| 3.5.1 | Wall mounted split unit - 9,000 BTU | Each | 1 | R |  |
| 3.5.2 | Wall mounted split unit - 12,000 BTU | Each | 1 | R |  |
| 3.5.3 | Wall mounted split unit - 18,000 BTU | Each | 1 | R |  |
| 3.5.4 | Wall mounted split unit - 24,000 BTU | Each | 1 | R |  |
| 3.5.5 | Wall mounted split unit - 30,000 BTU | Each | 1 | R |  |
|  | Compressor for a R410 Gas AC Units: |  |  |  |  |
| 3.6 | Cassette Split Unit:- |  |  |  |  |
| 3.6.1 | Cassette split unit - 12,000 BTU | Each | 1 | R |  |
| 3.6.2 | Cassette split unit - 18,000 BTU | Each | 1 | R |  |
| 3.6.3 | Cassette split unit - 24,000 BTU | Each | 1 | R |  |
| 3.6.4 | Cassette split unit - 36,000 BTU | Each | 1 | R |  |
| 3.6.5 | Cassette split unit - 60,000 BTU | Each | 1 | R |  |
| 3.7 | Ducted Split Unit:- |  |  |  |  |
| 3.7.1 | Ducted split unit – 18,000 BTU | Each | 1 | R |  |
| 3.7.2 | Ducted split unit – 24,000 BTU | Each | 1 | R |  |
| 3.7.3 | Ducted split unit – 30,000 BTU | Each | 1 | R |  |
| 3.7.4 | Ducted split unit – 36,000 BTU | Each | 1 | R |  |
| 3.7.5 | Ducted split unit – 42,000 BTU | Each | 1 | R |  |
| 3.7.6 | Ducted split unit – 48,000 BTU | Each | 1 | R |  |
| 3.7.7 | Ducted split unit – 60,000 BTU | Each | 1 | R |  |
| 3.8 | Inverter Unit:- |  |  |  |  |
| 3.8.1 | Inverter unit – 9,000 BTU | Each | 1 | R |  |
| 3.8.2 | Inverter unit – 12,000 BTU | Each | 1 | R |  |
| 3.8.3 | Inverter unit – 18,000 BTU | Each | 1 | R |  |
| 3.8.4 | Inverter unit – 24,000 BTU | Each | 1 | R |  |
| 3.8.5 | Inverter unit – 30,000 BTU | Each | 1 | R |  |
| 3.8.6 | Inverter unit – 36,000 BTU | Each | 1 | R |  |
| 3.8.7 | Inverter unit – 42,000 BTU | Each | 1 | R |  |
| 3.8.8 | Invertert unit – 48,000 BTU | Each | 1 | R |  |
| 3.8.9 | Inverter unit – 60,000 BTU | Each | 1 | R |  |
| 3.9 | Under Ceiling Split Unit:- |  |  |  |  |
| 3.9.1 | Under ceiling split unit - 18,000 BTU | Each | 1 | R |  |
| 3.9.2 | Under ceiling split unit - 24,000 BTU | Each | 1 | R |  |
| 3.9.3 | Under ceiling split unit - 36,000 BTU | Each | 1 | R |  |
| 3.9.4 | Under ceiling split unit - 48,000 BTU | Each | 1 | R |  |
| 3.9.5 | Under ceiling split unit - 60,000 BTU | Each | 1 | R |  |
| 3.10 | Wall Mounted Split Unit:- |  |  |  |  |
| 3.10.1 | Wall mounted split unit - 9,000 BTU | Each | 1 | R |  |
| 3.10.2 | Wall mounted split unit - 12,000 BTU | Each | 1 | R |  |
| 3.10.3 | Wall mounted split unit - 18,000 BTU | Each | 1 | R |  |
| 3.10.4 | Wall mounted split unit - 24,000 BTU | Each | 1 | R |  |
| 3.10.5 | Wall mounted split unit - 30,000 BTU | Each | 1 | R |  |
|  | Fan Motor - Indoor for a: |  |  |  |  |
| 3.11 | Air Curtains Unit:- |  |  |  |  |
| 3.11.1 | Air Curtain unit – 900 mm | Each | 1 | R |  |
| 3.11.2 | Air Curtain unit – 1200 mm | Each | 1 | R |  |
| 3.11.3 | Air Curtain unit – 1500 mm | Each | 1 | R |  |
| 3.12 | Cassette Split Unit:- |  |  |  |  |
| 3.12.1 | Cassette split unit - 12,000 BTU | Each | 1 | R |  |
| 3.12.2 | Cassette split unit - 18,000 BTU | Each | 1 | R |  |
| 3.12.3 | Cassette split unit - 24,000 BTU | Each | 1 | R |  |
| 3.12.4 | Cassette split unit - 36,000 BTU | Each | 1 | R |  |
| 3.12.5 | Cassette split unit - 60,000 BTU | Each | 1 | R |  |
| 3.13 | Ducted Split Unit:- |  |  |  |  |
| 3.13.1 | Ducted split unit – 18,000 BTU | Each | 1 | R |  |
| 3.13.2 | Ducted split unit – 24,000 BTU | Each | 1 | R |  |
| 3.13.3 | Ducted split unit – 30,000 BTU | Each | 1 | R |  |
| 3.13.4 | Ducted split unit – 36,000 BTU | Each | 1 | R |  |
| 3.13.5 | Ducted split unit – 42,000 BTU | Each | 1 | R |  |
| 3.13.6 | Ducted split unit – 48,000 BTU | Each | 1 | R |  |
| 3.13.7 | Ducted split unit – 60,000 BTU | Each | 1 | R |  |
| 3.14 | Inverter Unit:- |  |  |  |  |
| 3.14.1 | Inverter unit – 9,000 BTU | Each | 1 | R |  |
| 3.14.2 | Inverter unit – 12,000 BTU | Each | 1 | R |  |
| 3.14.3 | Inverter unit – 18,000 BTU | Each | 1 | R |  |
| 3.14.4 | Inverter unit – 24,000 BTU | Each | 1 | R |  |
| 3.14.5 | Inverter unit – 30,000 BTU | Each | 1 | R |  |
| 3.14.6 | Inverter unit – 36,000 BTU | Each | 1 | R |  |
| 3.14.7 | Inverter unit – 42,000 BTU | Each | 1 | R |  |
| 3.14.8 | Invertert unit – 48,000 BTU | Each | 1 | R |  |
| 3.14.9 | Inverter unit – 60,000 BTU | Each | 1 | R |  |
| 3.15 | Under Ceiling Split Unit:- |  |  |  |  |
| 3.15.1 | Under ceiling split unit - 18,000 BTU | Each | 1 | R |  |
| 3.15.2 | Under ceiling split unit - 24,000 BTU | Each | 1 | R |  |
| 3.15.3 | Under ceiling split unit - 36,000 BTU | Each | 1 | R |  |
| 3.15.4 | Under ceiling split unit - 48,000 BTU | Each | 1 | R |  |
| 3.15.5 | Under ceiling split unit - 60,000 BTU | Each | 1 | R |  |
| 3.16 | Wall Mounted Split Unit:- |  |  |  |  |
| 3.16.1 | Wall mounted split unit - 9,000 BTU | Each | 1 | R |  |
| 3.16.2 | Wall mounted split unit - 12,000 BTU | Each | 1 | R |  |
| 3.16.3 | Wall mounted split unit - 18,000 BTU | Each | 1 | R |  |
| 3.16.4 | Wall mounted split unit - 24,000 BTU | Each | 1 | R |  |
| 3.16.5 | Wall mounted split unit - 30,000 BTU | Each | 1 | R |  |
|  | Fan Motor - Outdoor for a: |  |  |  |  |
| 3.17 | Cassette Split Unit:- |  |  |  |  |
| 3.17.1 | Cassette split unit - 12,000 BTU | Each | 1 | R |  |
| 3.17.2 | Cassette split unit - 18,000 BTU | Each | 1 | R |  |
| 3.17.3 | Cassette split unit - 24,000 BTU | Each | 1 | R |  |
| 3.17.4 | Cassette split unit - 36,000 BTU | Each | 1 | R |  |
| 3.17.5 | Cassette split unit - 60,000 BTU | Each | 1 | R |  |
| 3.18 | Ducted Split Unit:- |  |  |  |  |
| 3.18.1 | Ducted split unit – 18,000 BTU | Each | 1 | R |  |
| 3.18.2 | Ducted split unit – 24,000 BTU | Each | 1 | R |  |
| 3.18.3 | Ducted split unit – 30,000 BTU | Each | 1 | R |  |
| 3.18.4 | Ducted split unit – 36,000 BTU | Each | 1 | R |  |
| 3.18.5 | Ducted split unit – 42,000 BTU | Each | 1 | R |  |
| 3.18.6 | Ducted split unit – 48,000 BTU | Each | 1 | R |  |
| 3.18.7 | Ducted split unit – 60,000 BTU | Each | 1 | R |  |
| 3.19 | Inverter Unit:- |  |  |  |  |
| 3.19.1 | Inverter unit – 9,000 BTU | Each | 1 | R |  |
| 3.19.2 | Inverter unit – 12,000 BTU | Each | 1 | R |  |
| 3.19.3 | Inverter unit – 18,000 BTU | Each | 1 | R |  |
| 3.19.4 | Inverter unit – 24,000 BTU | Each | 1 | R |  |
| 3.19.5 | Inverter unit – 30,000 BTU | Each | 1 | R |  |
| 3.19.6 | Inverter unit – 36,000 BTU | Each | 1 | R |  |
| 3.19.7 | Inverter unit – 42,000 BTU | Each | 1 | R |  |
| 3.19.8 | Invertert unit – 48,000 BTU | Each | 1 | R |  |
| 3.19.9 | Inverter unit – 60,000 BTU | Each | 1 | R |  |
| 3.20 | Under Ceiling Split Unit:- |  |  |  |  |
| 3.20.1 | Under ceiling split unit - 18,000 BTU | Each | 1 | R |  |
| 3.20.2 | Under ceiling split unit - 24,000 BTU | Each | 1 | R |  |
| 3.20.3 | Under ceiling split unit - 36,000 BTU | Each | 1 | R |  |
| 3.20.4 | Under ceiling split unit - 48,000 BTU | Each | 1 | R |  |
| 3.20.5 | Under ceiling split unit - 60,000 BTU | Each | 1 | R |  |
| 3.21 | Wall Mounted Split Unit:- |  |  |  |  |
| 3.21.1 | Wall mounted split unit - 9,000 BTU | Each | 1 | R |  |
| 3.21.2 | Wall mounted split unit - 12,000 BTU | Each | 1 | R |  |
| 3.21.3 | Wall mounted split unit - 18,000 BTU | Each | 1 | R |  |
| 3.21.4 | Wall mounted split unit - 24,000 BTU | Each | 1 | R |  |
| 3.21.5 | Wall mounted split unit - 30,000 BTU | Each | 1 | R |  |
|  | Sensor - Indoor for a: |  |  |  |  |
| 3.22 | Cassette Split Unit:- |  |  |  |  |
| 3.22.1 | Cassette split unit - 12,000 BTU | Each | 1 | R |  |
| 3.22.2 | Cassette split unit - 18,000 BTU | Each | 1 | R |  |
| 3.22.3 | Cassette split unit - 24,000 BTU | Each | 1 | R |  |
| 3.22.4 | Cassette split unit - 36,000 BTU | Each | 1 | R |  |
| 3.22.5 | Cassette split unit - 60,000 BTU | Each | 1 | R |  |
| 3.23 | Ducted Split Unit:- |  |  |  |  |
| 3.23.1 | Ducted split unit – 18,000 BTU | Each | 1 | R |  |
| 3.23.2 | Ducted split unit – 24,000 BTU | Each | 1 | R |  |
| 3.23.3 | Ducted split unit – 30,000 BTU | Each | 1 | R |  |
| 3.23.4 | Ducted split unit – 36,000 BTU | Each | 1 | R |  |
| 3.23.5 | Ducted split unit – 42,000 BTU | Each | 1 | R |  |
| 3.23.6 | Ducted split unit – 48,000 BTU | Each | 1 | R |  |
| 3.23.7 | Ducted split unit – 60,000 BTU | Each | 1 | R |  |
| 3.24 | Inverter Unit:- |  |  |  |  |
| 3.24.1 | Inverter unit – 9,000 BTU | Each | 1 | R |  |
| 3.24.2 | Inverter unit – 12,000 BTU | Each | 1 | R |  |
| 3.24.3 | Inverter unit – 18,000 BTU | Each | 1 | R |  |
| 3.24.4 | Inverter unit – 24,000 BTU | Each | 1 | R |  |
| 3.24.5 | Inverter unit – 30,000 BTU | Each | 1 | R |  |
| 3.24.6 | Inverter unit – 36,000 BTU | Each | 1 | R |  |
| 3.24.7 | Inverter unit – 42,000 BTU | Each | 1 | R |  |
| 3.24.8 | Invertert unit – 48,000 BTU | Each | 1 | R |  |
| 3.24.9 | Inverter unit – 60,000 BTU | Each | 1 | R |  |
| 3.25 | Under Ceiling Split Unit:- |  |  |  |  |
| 3.25.1 | Under ceiling split unit - 18,000 BTU | Each | 1 | R |  |
| 3.25.2 | Under ceiling split unit - 24,000 BTU | Each | 1 | R |  |
| 3.25.3 | Under ceiling split unit - 36,000 BTU | Each | 1 | R |  |
| 3.25.4 | Under ceiling split unit - 48,000 BTU | Each | 1 | R |  |
| 3.25.5 | Under ceiling split unit - 60,000 BTU | Each | 1 | R |  |
| 3.26 | Wall Mounted Split Unit:- |  |  |  |  |
| 3.26.1 | Wall mounted split unit - 9,000 BTU | Each | 1 | R |  |
| 3.26.2 | Wall mounted split unit - 12,000 BTU | Each | 1 | R |  |
| 3.26.3 | Wall mounted split unit - 18,000 BTU | Each | 1 | R |  |
| 3.26.4 | Wall mounted split unit - 24,000 BTU | Each | 1 | R |  |
| 3.26.5 | Wall mounted split unit - 30,000 BTU | Each | 1 | R |  |
|  | Sensor - Outdoor for a: |  |  |  |  |
| 3.27 | Cassette Split Unit:- |  |  |  |  |
| 3.27.1 | Cassette split unit - 12,000 BTU | Each | 1 | R |  |
| 3.27.2 | Cassette split unit - 18,000 BTU | Each | 1 | R |  |
| 3.27.3 | Cassette split unit - 24,000 BTU | Each | 1 | R |  |
| 3.27.4 | Cassette split unit - 36,000 BTU | Each | 1 | R |  |
| 3.27.5 | Cassette split unit - 60,000 BTU | Each | 1 | R |  |
| 3.28 | Ducted Split Unit:- |  |  |  |  |
| 3.28.1 | Ducted split unit – 18,000 BTU | Each | 1 | R |  |
| 3.28.2 | Ducted split unit – 24,000 BTU | Each | 1 | R |  |
| 3.28.3 | Ducted split unit – 30,000 BTU | Each | 1 | R |  |
| 3.28.4 | Ducted split unit – 36,000 BTU | Each | 1 | R |  |
| 3.28.5 | Ducted split unit – 42,000 BTU | Each | 1 | R |  |
| 3.28.6 | Ducted split unit – 48,000 BTU | Each | 1 | R |  |
| 3.28.7 | Ducted split unit – 60,000 BTU | Each | 1 | R |  |
| 3.29 | Inverter Unit:- |  |  |  |  |
| 3.29.1 | Inverter unit – 9,000 BTU | Each | 1 | R |  |
| 3.29.2 | Inverter unit – 12,000 BTU | Each | 1 | R |  |
| 3.29.3 | Inverter unit – 18,000 BTU | Each | 1 | R |  |
| 3.29.4 | Inverter unit – 24,000 BTU | Each | 1 | R |  |
| 3.29.5 | Inverter unit – 30,000 BTU | Each | 1 | R |  |
| 3.29.6 | Inverter unit – 36,000 BTU | Each | 1 | R |  |
| 3.29.7 | Inverter unit – 42,000 BTU | Each | 1 | R |  |
| 3.29.8 | Invertert unit – 48,000 BTU | Each | 1 | R |  |
| 3.29.9 | Inverter unit – 60,000 BTU | Each | 1 | R |  |
| 3.30 | Under Ceiling Split Unit:- |  |  |  |  |
| 3.30.1 | Under ceiling split unit - 18,000 BTU | Each | 1 | R |  |
| 3.30.2 | Under ceiling split unit - 24,000 BTU | Each | 1 | R |  |
| 3.30.3 | Under ceiling split unit - 36,000 BTU | Each | 1 | R |  |
| 3.30.4 | Under ceiling split unit - 48,000 BTU | Each | 1 | R |  |
| 3.30.5 | Under ceiling split unit - 60,000 BTU | Each | 1 | R |  |
| 3.31 | Wall Mounted Split Unit:- |  |  |  |  |
| 3.31.1 | Wall mounted split unit - 9,000 BTU | Each | 1 | R |  |
| 3.31.2 | Wall mounted split unit - 12,000 BTU | Each | 1 | R |  |
| 3.31.3 | Wall mounted split unit - 18,000 BTU | Each | 1 | R |  |
| 3.31.4 | Wall mounted split unit - 24,000 BTU | Each | 1 | R |  |
| 3.31.5 | Wall mounted split unit - 30,000 BTU | Each | 1 | R |  |
|  | Capacitor for a: |  |  |  |  |
| 3.32 | Cassette Split Unit:- |  |  |  |  |
| 3.32.1 | Cassette split unit - 12,000 BTU | Each | 1 | R |  |
| 3.32.2 | Cassette split unit - 18,000 BTU | Each | 1 | R |  |
| 3.32.3 | Cassette split unit - 24,000 BTU | Each | 1 | R |  |
| 3.32.4 | Cassette split unit - 36,000 BTU | Each | 1 | R |  |
| 3.32.5 | Cassette split unit - 60,000 BTU | Each | 1 | R |  |
| 3.33 | Ducted Split Unit:- |  |  |  |  |
| 3.33.1 | Ducted split unit – 18,000 BTU | Each | 1 | R |  |
| 3.33.2 | Ducted split unit – 24,000 BTU | Each | 1 | R |  |
| 3.33.3 | Ducted split unit – 30,000 BTU | Each | 1 | R |  |
| 3.33.4 | Ducted split unit – 36,000 BTU | Each | 1 | R |  |
| 3.33.5 | Ducted split unit – 42,000 BTU | Each | 1 | R |  |
| 3.33.6 | Ducted split unit – 48,000 BTU | Each | 1 | R |  |
| 3.33.7 | Ducted split unit – 60,000 BTU | Each | 1 | R |  |
| 3.34 | Inverter Unit:- |  |  |  |  |
| 3.34.1 | Inverter unit – 9,000 BTU | Each | 1 | R |  |
| 3.34.2 | Inverter unit – 12,000 BTU | Each | 1 | R |  |
| 3.34.3 | Inverter unit – 18,000 BTU | Each | 1 | R |  |
| 3.34.4 | Inverter unit – 24,000 BTU | Each | 1 | R |  |
| 3.34.5 | Inverter unit – 30,000 BTU | Each | 1 | R |  |
| 3.34.6 | Inverter unit – 36,000 BTU | Each | 1 | R |  |
| 3.34.7 | Inverter unit – 42,000 BTU | Each | 1 | R |  |
| 3.34.8 | Invertert unit – 48,000 BTU | Each | 1 | R |  |
| 3.34.9 | Inverter unit – 60,000 BTU | Each | 1 | R |  |
| 3.35 | Under Ceiling Split Unit:- |  |  |  |  |
| 3.35.1 | Under ceiling split unit - 18,000 BTU | Each | 1 | R |  |
| 3.35.2 | Under ceiling split unit - 24,000 BTU | Each | 1 | R |  |
| 3.35.3 | Under ceiling split unit - 36,000 BTU | Each | 1 | R |  |
| 3.35.4 | Under ceiling split unit - 48,000 BTU | Each | 1 | R |  |
| 3.35.5 | Under ceiling split unit - 60,000 BTU | Each | 1 | R |  |
| 3.36 | Wall Mounted Split Unit:- |  |  |  |  |
| 3.36.1 | Wall mounted split unit - 9,000 BTU | Each | 1 | R |  |
| 3.36.2 | Wall mounted split unit - 12,000 BTU | Each | 1 | R |  |
| 3.36.3 | Wall mounted split unit - 18,000 BTU | Each | 1 | R |  |
| 3.36.4 | Wall mounted split unit - 24,000 BTU | Each | 1 | R |  |
| 3.36.5 | Wall mounted split unit - 30,000 BTU | Each | 1 | R |  |
| 3.37 | Coil for a: |  |  |  |  |
|  | Cassette Split Unit:- |  |  |  |  |
| 3.37.1 | Cassette split unit - 12,000 BTU | Each | 1 | R |  |
| 3.37.2 | Cassette split unit - 18,000 BTU | Each | 1 | R |  |
| 3.37.3 | Cassette split unit - 24,000 BTU | Each | 1 | R |  |
| 3.37.4 | Cassette split unit - 36,000 BTU | Each | 1 | R |  |
| 3.37.5 | Cassette split unit - 60,000 BTU | Each | 1 | R |  |
| 3.38 | Ducted Split Unit:- |  |  |  |  |
| 3.38.1 | Ducted split unit – 18,000 BTU | Each | 1 | R |  |
| 3.38.2 | Ducted split unit – 24,000 BTU | Each | 1 | R |  |
| 3.38.3 | Ducted split unit – 30,000 BTU | Each | 1 | R |  |
| 3.38.4 | Ducted split unit – 36,000 BTU | Each | 1 | R |  |
| 3.38.5 | Ducted split unit – 42,000 BTU | Each | 1 | R |  |
| 3.38.6 | Ducted split unit – 48,000 BTU | Each | 1 | R |  |
| 3.38.7 | Ducted split unit – 60,000 BTU | Each | 1 | R |  |
| 3.39 | Inverter Unit:- |  |  |  |  |
| 3.39.1 | Inverter unit – 9,000 BTU | Each | 1 | R |  |
| 3.39.2 | Inverter unit – 12,000 BTU | Each | 1 | R |  |
| 3.39.3 | Inverter unit – 18,000 BTU | Each | 1 | R |  |
| 3.39.4 | Inverter unit – 24,000 BTU | Each | 1 | R |  |
| 3.39.5 | Inverter unit – 30,000 BTU | Each | 1 | R |  |
| 3.39.6 | Inverter unit – 36,000 BTU | Each | 1 | R |  |
| 3.39.7 | Inverter unit – 42,000 BTU | Each | 1 | R |  |
| 3.39.8 | Invertert unit – 48,000 BTU | Each | 1 | R |  |
| 3.39.9 | Inverter unit – 60,000 BTU | Each | 1 | R |  |
| 3.40 | Under Ceiling Split Unit:- |  |  |  |  |
| 3.40.1 | Under ceiling split unit - 18,000 BTU | Each | 1 | R |  |
| 3.40.2 | Under ceiling split unit - 24,000 BTU | Each | 1 | R |  |
| 3.40.3 | Under ceiling split unit - 36,000 BTU | Each | 1 | R |  |
| 3.40.4 | Under ceiling split unit - 48,000 BTU | Each | 1 | R |  |
| 3.40.5 | Under ceiling split unit - 60,000 BTU | Each | 1 | R |  |
| 3.41 | Wall Mounted Split Unit:- |  |  |  |  |
| 3.41.1 | Wall mounted split unit - 9,000 BTU | Each | 1 | R |  |
| 3.41.2 | Wall mounted split unit - 12,000 BTU | Each | 1 | R |  |
| 3.41.3 | Wall mounted split unit - 18,000 BTU | Each | 1 | R |  |
| 3.41.4 | Wall mounted split unit - 24,000 BTU | Each | 1 | R |  |
| 3.41.5 | Wall mounted split unit - 30,000 BTU | Each | 1 | R |  |
|  | Relay for a: |  |  |  |  |
| 3.42 | Cassette Split Unit:- |  |  |  |  |
| 3.42.1 | Cassette split unit - 12,000 BTU | Each | 1 | R |  |
| 3.42.2 | Cassette split unit - 18,000 BTU | Each | 1 | R |  |
| 3.42.3 | Cassette split unit - 24,000 BTU | Each | 1 | R |  |
| 3.42.4 | Cassette split unit - 36,000 BTU | Each | 1 | R |  |
| 3.42.5 | Cassette split unit - 60,000 BTU | Each | 1 | R |  |
| 3.43 | Ducted Split Unit:- |  |  |  |  |
| 3.43.1 | Ducted split unit – 18,000 BTU | Each | 1 | R |  |
| 3.43.2 | Ducted split unit – 24,000 BTU | Each | 1 | R |  |
| 3.43.3 | Ducted split unit – 30,000 BTU | Each | 1 | R |  |
| 3.43.4 | Ducted split unit – 36,000 BTU | Each | 1 | R |  |
| 3.43.5 | Ducted split unit – 42,000 BTU | Each | 1 | R |  |
| 3.43.6 | Ducted split unit – 48,000 BTU | Each | 1 | R |  |
| 3.43.7 | Ducted split unit – 60,000 BTU | Each | 1 | R |  |
| 3.44 | Inverter Unit:- |  |  |  |  |
| 3.44.1 | Inverter unit – 9,000 BTU | Each | 1 | R |  |
| 3.44.2 | Inverter unit – 12,000 BTU | Each | 1 | R |  |
| 3.44.3 | Inverter unit – 18,000 BTU | Each | 1 | R |  |
| 3.44.4 | Inverter unit – 24,000 BTU | Each | 1 | R |  |
| 3.44.5 | Inverter unit – 30,000 BTU | Each | 1 | R |  |
| 3.44.6 | Inverter unit – 36,000 BTU | Each | 1 | R |  |
| 3.44.7 | Inverter unit – 42,000 BTU | Each | 1 | R |  |
| 3.44.8 | Invertert unit – 48,000 BTU | Each | 1 | R |  |
| 3.44.9 | Inverter unit – 60,000 BTU | Each | 1 | R |  |
| 3.45 | Under Ceiling Split Unit:- |  |  |  |  |
| 3.45.1 | Under ceiling split unit - 18,000 BTU | Each | 1 | R |  |
| 3.45.2 | Under ceiling split unit - 24,000 BTU | Each | 1 | R |  |
| 3.45.3 | Under ceiling split unit - 36,000 BTU | Each | 1 | R |  |
| 3.45.4 | Under ceiling split unit - 48,000 BTU | Each | 1 | R |  |
| 3.45.5 | Under ceiling split unit - 60,000 BTU | Each | 1 | R |  |
| 3.46 | Wall Mounted Split Unit:- |  |  |  |  |
| 3.46.1 | Wall mounted split unit - 9,000 BTU | Each | 1 | R |  |
| 3.46.2 | Wall mounted split unit - 12,000 BTU | Each | 1 | R |  |
| 3.46.3 | Wall mounted split unit - 18,000 BTU | Each | 1 | R |  |
| 3.46.4 | Wall mounted split unit - 24,000 BTU | Each | 1 | R |  |
| 3.46.5 | Wall mounted split unit - 30,000 BTU | Each | 1 | R |  |
| 3.47 | Refrigerant recharge (Regas) for a: |  |  |  |  |
| 3.47.1 | R22 - Gas | Kg | 1 | R |  |
| 3.47.2 | R410a - Gas | Kg | 1 | R |  |
| 3.48 | Vacuum Flush for AC units: |  |  |  |  |
| 3.48.1 | Vacuum Flush | Kg | 1 | R |  |
| 3.49 | Universal Remote Control for a: |  |  |  |  |
| 3.49.1 | Universal Remote Control: | Each | 1 | R |  |
| 3.50 | Batteries for Remote Control: |  |  |  |  |
| 3.50.1 | AA Power Plus Alkaline - Pack of 2 | Each | 1 | R |  |
| 3.50.2 | AAA Power Plus Alkaline - Pack of 2 | Each | 1 | R |  |
| 3.51 | PC Board for a: |  |  |  |  |
|  | Air Curtains Unit |  |  |  |  |
|  | Compact Floor Unit |  |  |  |  |
|  | Cassette Split Unit |  |  |  |  |
|  | Ducted Split Unit |  |  |  |  |
|  | Inverter Unit |  |  |  |  |
|  | Under Ceiling Split Unit |  |  |  |  |
|  | Wall Mounted Split Unit |  |  |  |  |
|  | Window Unit |  |  |  |  |
| 3.51.1 | PC Boards: | Psum | 1 | R350 000,00 |  |
| 3.52 | Piping for All AC Units: |  |  |  |  |
| 3.52.1 | Pipe | Psum | 1 | R200 000,00 |  |
|  | TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (SECTION 3: UNIT COMPONENTS) |  |  | R |  |

| Item | Description | Uom | Quantity | Amount Excl. Vat ( R ) |  |
| --- | --- | --- | --- | --- | --- |
| 4 | SECTION 4: NEW A/C UNITS |  |  |  |  |
|  | All rates tendered are to be fully inclusive of consumables (ie. cleaning liquids like thinners and turpentine, masking tape, sanding paper and clothes and materials touch up paint, piping, clamps etc.). These rates to include labour and the installation there-off complete. |  |  |  |  |
|  | R410A - Supply and installation of A/C split units complete with supports, drain piping, refrigeration piping, and condenser unit, and controls, surface mounted on wall & commissioned. Include for the electrical connection. (Weather proof isolator) |  |  |  |  |
| 4.1 | Air Curtains Unit:- |  |  |  |  |
| 4.1.1 | Air Curtain unit – 900 mm | Each | 1 | R |  |
| 4.1.2 | Air Curtain unit – 1200 mm | Each | 1 | R |  |
| 4.1.3 | Air Curtain unit – 1500 mm | Each | 1 | R |  |
| 4.2 | Cassette Split Unit:- |  |  |  |  |
| 4.2.1 | Cassette split unit - 12,000 BTU | Each | 1 | R |  |
| 4.2.2 | Cassette split unit - 18,000 BTU | Each | 1 | R |  |
| 4.2.3 | Cassette split unit - 24,000 BTU | Each | 1 | R |  |
| 4.2.4 | Cassette split unit - 36,000 BTU | Each | 1 | R |  |
| 4.2.5 | Cassette split unit - 60,000 BTU | Each | 1 | R |  |
| 4.3 | Ducted Split Unit:- |  |  |  |  |
| 4.3.1 | Ducted split unit – 18,000 BTU | Each | 1 | R |  |
| 4.3.2 | Ducted split unit – 24,000 BTU | Each | 1 | R |  |
| 4.3.3 | Ducted split unit – 30,000 BTU | Each | 1 | R |  |
| 4.3.4 | Ducted split unit – 36,000 BTU | Each | 1 | R |  |
| 4.3.5 | Ducted split unit – 42,000 BTU | Each | 1 | R |  |
| 4.3.6 | Ducted split unit – 48,000 BTU | Each | 1 | R |  |
| 4.3.7 | Ducted split unit – 60,000 BTU | Each | 1 | R |  |
| 4.4 | Inverter Unit:- |  |  |  |  |
| 4.4.1 | Inverter unit – 9,000 BTU | Each | 1 | R |  |
| 4.4.2 | Inverter unit – 12,000 BTU | Each | 1 | R |  |
| 4.4.3 | Inverter unit – 18,000 BTU | Each | 1 | R |  |
| 4.4.4 | Inverter unit – 24,000 BTU | Each | 1 | R |  |
| 4.4.5 | Inverter unit – 30,000 BTU | Each | 1 | R |  |
| 4.4.6 | Inverter unit – 36,000 BTU | Each | 1 | R |  |
| 4.4.7 | Inverter unit – 42,000 BTU | Each | 1 | R |  |
| 4.4.8 | Invertert unit – 48,000 BTU | Each | 1 | R |  |
| 4.4.9 | Inverter unit – 60,000 BTU | Each | 1 | R |  |
| 4.5 | Under Ceiling Split Unit:- |  |  |  |  |
| 4.5.1 | Under ceiling split unit - 18,000 BTU | Each | 1 | R |  |
| 4.5.2 | Under ceiling split unit - 24,000 BTU | Each | 1 | R |  |
| 4.5.3 | Under ceiling split unit - 36,000 BTU | Each | 1 | R |  |
| 4.5.4 | Under ceiling split unit - 48,000 BTU | Each | 1 | R |  |
| 4.5.5 | Under ceiling split unit - 60,000 BTU | Each | 1 | R |  |
| 4.6 | Wall Mounted Split Unit:- |  |  |  |  |
| 4.6.1 | Wall mounted split unit - 9,000 BTU | Each | 1 | R |  |
| 4.6.2 | Wall mounted split unit - 12,000 BTU | Each | 1 | R |  |
| 4.6.3 | Wall mounted split unit - 18,000 BTU | Each | 1 | R |  |
| 4.6.4 | Wall mounted split unit - 24,000 BTU | Each | 1 | R |  |
| 4.6.5 | Wall mounted split unit - 30,000 BTU | Each | 1 | R |  |
| 4.7 | Portable Air Conditioner: |  |  |  |  |
| 4.7.1 | Portable Air Conditioner Unit - 9,000 BTU | Each | 1 | R |  |
| 4.7.2 | Portable Air Conditioner Unit - 12,000 BTU | Each | 1 | R |  |
| 4.8 | Air Cooler Unit: |  |  |  |  |
| 4.8.1 | 7,5 Litre Air Cooler | Each | 1 | R |  |
| 4.8.2 | 28 Litre Air Cooler | Each | 1 | R |  |
| 4.8.3 | 45 Litre Air Cooler | Each | 1 | R |  |
| 4.8.4 | 65 Litre Air Cooler | Each | 1 | R |  |
|  | TOTAL CARRIED TO FINAL SUMMARY - YEAR 01 (SECTION 4: NEW A/C UNITS) |  |  | R |  |

FINAL SUMMARY:-

The bidder shall indicate if the escalation percentage applicable to pricing on the 2nd and 3rd year of the contract shall either be linked to CIPX or Industry Fluctuations Rate or Exchange Rate.

……………………………………………………………………………………………………………..

No bidder shall indicate escalation percentage without specifying any linkage with any of the above.

………………………………………………………                                            ……………………

Person authorized to sign tender documents                                                  Date

MOGALE CITY LOCAL MUNICIPALITY

THE CONTRACT:

PART C3: SCOPE OF WORK

# PART C3: SCOPE OF WORK

## C3.1	Description of the Works

### C3.1.1   General

The Standardized Specifications applicable to these contract are listed in the Project Specification i.e., SUPPLY, INSTALLATION, MAINTENANCE AND REPAIRS OF AIR CONDITIONING, AIR COOLING, REFRIGERATION AND MECHANICAL VENTILATION IN MOGALE CITY LOCAL MUNICIPAL OWNED BUILDINGS AND FACILITIES FOR A PERIOD OF THREE (3) YEARS ON AS AND WHEN REQUIRED

The description of the Works given above is not necessarily complete and shall not limit the work to be carried out by the Contractor under this Contract.

Approximate quantities of each type of work are given in the Schedules of Quantities.

### C3.1.2   Status

Should any requirement of the Project Specification conflict with any requirement of the standardized or particular specifications, the requirements of the Project Specifications shall prevail.

### C3.1.3   Employers Objectives

The objective of the Employer is to appoint a maintenance Contractor/s for the execution of the identified work within time, cost, and performance and quality standards for Mogale City’s building portfolio as listed in Part C4 – Site information

### C3.1.4   Overview of the Works

The description listed hereunder is merely an outline of the works to be done in terms of the Contract, and shall not limit the work to be carried out by the Contractor.

Contractors may make use of sub-contractors for a specialized service where the required skills are not available. Sub-contractors shall be based within the boundaries of Mogale City. A SLA (Service Level Agreement) must be signed by the Contractor as well as any other sub-contractor involved in the maintenance.

MCLM has a wide and diverse range of properties in its portfolio.  This ranges from residential units to office accommodation, sport and recreation facilities to the civic centre.  The applicable maintenance items are as far as possible captured in the Schedule of Quantities and the related specifications.  This tender is, however,

not limited to the listed items and the price and specifications for items not listed will be negotiated with the contractor but as far as possible be paid by the tendered rates for materials and consumables.

C3.1.5	DILIGENCE

Termination

If it is found that;

a)	The  contractor  does  not  install  the  correct  material  and  work  not  according  to  the  relevant specification and/or the instructions of the supplier of the equipment, material and/or system;

b)	The contractor and/or his/her workmen are found to dump rubble and/or waste illegally on any other place than legal dumping facilities;

c)	If the contractors response time and work completion period are not within the specified quoted time frame;

d)         The Contractor will be given 7 (seven) calendar days written notice to rectify the situation;

e)	If the Contractor does not respond positively to the satisfaction of the responsible Municipal   Official and/or Project Manager;

This will result in the termination of the contract.

### C3.1.6   Management Meetings and Progress report

The following meetings and progress report will be required as minimum for the management of the contract.

- Monthly client site meeting (using standard agenda for management control) and progress report.

- Technical meetings and progress report as required for each phase of the work.

- Monthly safety meetings and progress report in terms of the OHS requirements.

# PART C3: SCOPE OF WORK

## C3.2.1    Project Specifications

## C3.2.1.1 General Description

Each building with its finishes and furnishings may require work that may include any one or more of the following activities as set out in clause C3.2.3 below: repair, servicing, testing and maintenance during the term of the Contract.

## C3.2.2    Description of site

The locations of the works are in Mogale City as shown in Part C4 – Site information.

## C3.2.3    Details of contract

The contract consists of repair and maintenance services to buildings in each area. The following is included:

- Planned or Preventive maintenance of heating, ventilation, air-conditioning and refrigeration equipment .

- Ad hoc or Break down Maintenance of heating, ventilation, air-conditioning and refrigeration equipment.

- Supply, install and commissioning of new heating, ventilation, air-conditioning and refrigeration equipment.

- Inspecting and recording all existing air conditioning equipment. Equipment consists of window units, wall mounted split units, under ceiling split units, compact floor units and chiller plants.

- Compile asset register per site for all air conditioning equipment.

- Service, repair and commissioning of existing equipment.

- Installing and commissioning new a/c units and systems.

- Periodical maintenance service on all air conditioning equipment.

- A one year maintenance and guarantee contract for all new installed equipment.

The description of the Works given above is not necessarily complete and shall not limit the work to be carried out by the Contractor under this Contract.

Approximate quantities of each type of work are given in the Schedules of Quantities.

The contract also consists of making provision for provisional sums and prime cost amounts for all kinds of specialist work, etc.:

Heating Ventilation and Air-Conditioning (HVAC) contractor:

Over and above the requirements listed above, the Contractor shall provide the items listed below and the rates quoted shall be inclusive of the following:

    - One qualified Air Conditioning technician and assistant on an as and when basis (the number of technicians and assistant technicians will be determined by workload and to be pre-approved by the project manager);

    - A fully equipped toolbox including special tools suitable for Air Conditioning maintenance and repair work including at least the following:

- Set of insulated screw drivers (8 different sizes)

- Electrical pliers

- Long nose pliers

- Crimping pliers

- Hacksaw

- Cable stripper

- Earthing leads

- Set of spanners (6 mm, 8 mm, 10 mm, 11 mm, 12 mm, 13 mm)

- Standard wrench

- Drill

- Ratchet box

- T-handle hex key set (12 sizes of two-turn hexagonal-headed screws)

- Sheet metal snips

- Tube cutters

- Inner-outer reamers, punch types and tube brushes

- Leak Detector

- Vacuum Gauge

- Manifold Gauge

- Vacuum Pump

- Electronic Sight Glass

- Flush Tool Kit

- Charging Scale

- Sealant Remover

- Tachometer

- Refrigerant Identifier

## C3.2.4   Contract Management

C2.2.4.1   Assistance by Contractor

The Contractor shall at all times assist the Project Manager/s to carry out his/her/their duties according to the applicable clauses of the SLA, General Conditions of Contract entered into amongst Mogale City Local Municipality, and the appointed service provider(s).

## C3.2.5    Features requiring special attention

C3.2.5.1   Repairs

The Contractor shall have enough staff, equipment and materials to attend to various repairs simultaneously.

(a)  Breakdown Repairs

Breakdown repairs refer to repairing defects (including malfunctions) which are carried out on an ad - hoc basis when a defect occurs.

The Contractor will be paid for repairing breakdowns using the items listed in the Schedules of Quantities for breakdown maintenance, but should such an item not exist for the work that has to be carried out he/she will be paid in accordance with the rates tendered for labour and material in the Schedules of Quantities.

3.2.5.2   Replacement of items

Where it is necessary to replace any existing item with a new item under this Contract, the new item shall be of at least the same quality as the existing item. The municipality shall have the right to reject the item if it is of inferior quality. Material removed shall remain the property of the municipality until such time, it is communicated to the contractor for disposal.

MANUFACTURERS’ SPECIFICATIONS, CODES OF PRACTICE AND INSTALLATION INSTRUCTIONS

All equipment and materials shall be installed, serviced and repaired strictly by the manufacturers’ specifications, instructions and codes of practice

## C3.2.6 Site to be kept clean

During progress of the works and upon completion thereof, the Site of the Works shall be kept and left in a clean and orderly condition. The  Contractor  shall  store  materials  and  equipment  for  which  he/she  is responsible in an orderly and safe manner and shall keep the site free from debris and obstructions inter alia in compliance with Construction Regulations, 2014, as promulgated in Government Gazette No: 37307 and Regulation Gazette No: 10113 of 07 February 2014, in the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (OHS), as amended.

All redundant materials, rubbish and waste arising from the work must be regularly removed from the Site at the Contractor’s cost and the Site and buildings left clean and tidy

## C3.2.7   SANS specifications and codes of practice

All reference in this document to South African National Standards (SANS) specifications and codes of practice, or any other standard specifications or codes of practice, including National Building Regulations and Standards Act (Act 103 of 1973) (NBRs), and Regulations as amended, shall be deemed references to the latest issues of such specifications and codes.

CKS 332 			- 	Specifications for industrial V-belts

SANS 10400 			- 	The application of the building regulations

SANS 10142 			- 	Code of practice for the wiring of premises

SANS 10140 			- 	Identification colour marking

SANS 1044 Parts I to IV 	- 	Welding

SANS 10103 			- 	The measurement and rating of environmental noise

with respect to annoyance and speech communications

SANS 10147 			- 	Refrigeration systems including plants

associated with air-conditioning systems.

SANS 10173 		- 	The installation, testing and balancing of air conditioning duct work

SANS 11238 			- 	Air-conditioning duct work

SANS 11287 			- 	Ventilation brattices and ducting

SANS 11424 			- 	Filters for use in air-conditioning and

general ventilation

SABS 1530 Part 1, 1991 	- 	Panels with two impervious facing sheets

## C3.2.8   Materials

The Contractor shall attach to his/her accounts original supplier’s tax invoices for new parts, components and materials to be used or that were used for repair work requiring non-scheduled items The full description similar to that required to order an item from a supplier, i.e. Make: model, serial number, size, capacity, etc. shall be listed on the account.

The Project Manager reserves the right to:

a)  	Supply to the Contractor new parts, components and materials required to undertake repairs, or

b)	If the price submitted by the Contractor is unacceptably high, obtain quotations for such new parts, components and materials from other independent sources, and after making reasonable allowance for Contractor’s mark-up, adjust the Contractor’s price accordingly.

The above applies to new parts, components and materials that are to be used for both maintenance and repair.

Where no rate is tendered in the Schedule of Quantities for new items the prices for new items given by the Contractor shall be in line with prices of similar items in the Schedule of Quantities or reasonable prices in the industry, and paid the mark up in the schedule of quantities.

Unless stated otherwise in writing by the Project  Manager, all proprietary materials are to be used, mixed, applied, fixed, etc., strictly in accordance with the manufacturer’s recommendations.

## C3.2.9 Protection of furniture and equipment

Most of the work to be done inside buildings and residential accommodation will be carried out where there is furniture and other equipment.

The Contractor shall be responsible for moving the furniture and equipment in order to provide working space for his/her personnel. The movement of furniture and equipment shall be kept to the very minimum and the Contractor shall be solely responsible for any damage to furniture or equipment arising from its removal and/or replacement.

## C3.2.10 Quality Control

The Contractor shall at all times ensure that his/her work complies with Specifications.

The onus to produce work that conforms in quality and accuracy of detail to the requirements of the Specifications and Drawings rests with the Contractor, and the Contractor shall, at his/her own expense, institute  a  quality-control  system  and  provide  experienced  Project  Manager(s),  foremen,  materials technicians, other technicians and technical staff, together with all transport, instruments and equipment to ensure adequate supervision and positive control of the Works at all times.

The cost of supervision and process control, including testing carded out by the Contractor, will be deemed included in the rates tendered for the related items of work.

The Contractor’s attention is drawn to the provisions of the various Specifications regarding the implementation of a quality assurance system and the minimum frequency of checking required. The Contractor shall, at his/her own discretion, increase this frequency where necessary to ensure adequate control.

## C3.2.11   Additional Work

The Contractor shall have enough staff, equipment and materials to cope with additional repair work as determined by the Project Manager. The additional work shall be carried out at tendered rates.

Should the Employer decide during the Contract period to add to the scope of the repair work under his/her Contract, such additional work shall be carried out without in any way detrimentally affecting repair and maintenance work already in progress. To achieve this, the Contractor shall employ enough additional staff and bring onto the Site such extra equipment as may be necessary. Payment for such additional work will be at negotiated rates only if the work is different to that already in progress.

## C3.2.12 Applicable Standardized Specifications

For the purposes of this Contract, the following SANS 1200 Standardized Specifications shall apply:

- SANS 1200 A: General

## C3.2.13   Operational costs

The bid is for the operational costs incurred by contractors only. All operational costs, including transport costs to be incurred by the contractor to render the service must be calculated and expressed in a rate per hour worked in the Schedule of Quantities in the Bid Document:

a)	Should it be required of a contractor to work outside normal office hours (7H30 to 16H00) the after hourly rates as tendered will be applicable.

b)	Contractor to provide monthly reports per building and/or work assigned; and not limited to: response time, types of repairs required and cost, at no extra cost, guarantees, provision to be made for in the Schedule of Quantities, maintenance manual, conclusion, and recommendation.

## C3.2.14   Cost of materials and installation

The specified material items listed in the Schedule of Quantities to be used shall be priced complete with all installation material required to complete the installation of each item, complete with supply and delivery of different equipment – installation are covered by labour rates separately.

## C3.2.15   Consumables

Consumables are material and/or specialised equipment to be hired for use on a specific job not covered in the specified Schedule of Quantities, with prior approval from the Project Manager (s).

The consumable cost to be paid by Council will be subject to a certified copy of invoice from the supplier plus percentage mark-up as tendered by the contractor in the schedule of rates.

The contractor must ensure the material obtained is SANS approved or complies with the relevant SANS specification and is the most cost effective cheapest available. Council reserves the right to check prices and to demand a change of material supplier to curb costs.

Material prices may be audited and amended on MCLM’s discretion based on average material prices from known suppliers in the Mogale area.

Costs for hiring specialized equipment must be specified under cost of consumables on estimates and invoices.

Contractors are warned not to “load” Estimates and quotations as this will lead to the services of another contractor being utilized if a compromise cannot be reached.

## C3.2.16   Call outs, estimates and works orders

Contractors will be called out by telephone or cell phone to give an estimate on the repairs to be affected at a specific building in accordance with a works order issued by the Council Official concerned as and when required.

Estimates must be submitted showing the description of work to be carried out as per the works order and the specified items rates for supply and install as tendered and must be shown in Schedule format as per payment reference.

The estimate will be evaluated by the Council Official concerned and if satisfied that the costs and time frames are reasonable an approved WO will be faxed and/or emailed to the number and/or E-address provided by the contractor for this purpose.

No work, except in emergencies, may be carried out and/or will be paid for if no approved WO has been issued beforehand.

## C3.2.17   Invoicing

Invoices must correspond with Estimates and must be in accordance with the following format:

a)         Itemised Cost

Invoices must show the description of work carried out as per the estimate and shall reflect the items in the tender document. As far as practically possible, the bulk of the work shall be priced and claimed from the itemised Schedule of Quantities on prices tendered. This will apply for material supplied and installation and labour cost as priced and invoiced accordingly.

b)         Operational Costs

Invoices must show operational costs separately from costs of Itemised items and Consumables.

Operational cost shall comprise of the following:

    - Transport cost will be as per the rate tendered for different vehicles required to complete the repair and correction of the installation.

    - Labour cost claimed shall be for work required to be done during normal hours, after hours, weekend, and/or on public holidays.  It must be invoiced as the number of hours worked as the rate tendered for different personnel utilised.

c)         Cost of Consumables

Cost of Consumables used shall only apply to special items not covered under the Itemised cost and with prior approval of the Project Mnager concerned, as per the WO. The invoices must show it separately from the Itemised and Operational costs.

All Consumables must be specified on a separate list to be attached to the invoice for verification purposes accompanied by certified copy invoices from the supplier plus the percentage (%) mark-up as tendered.

The separate list must also give a breakdown of the exacta places the material and/or items were used, i.e. Building and room numbers.

## C3.2.18   Signing-off of WO’s

a)	After  completion of  work  as  specified  in  WO  the  relevant  Inspector  within the Facilities and Buildings Management Division: Building Maintenance section will inspect the work and if satisfied, sign off the WO and hand the original back to the contractor.

b)	A copy of the signed–off WO must be attached to invoices submitted by the contractor as not to delay payment.

c)         A Certificate of Compliance for the specific work must be attached to the Contractor’s invoice.

## C3.2.19   Performance Management

a)	Contractors must at all times have due regard for the safety of people on sites, according to the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (OHS) and its Regulations as amended. All onsite incidences shall be reported to the MCLM safety officers, with the relevant procedures shall be at-hear-to.

b)    Contractor’s personnel shall wear safety clothes branded with the contractor company name and carry approved company ID cards with their picture.

c)	All work to be performed shall comply with SANS 10142-1 and SANS 10142-2 and the standard specification of Mogale City.

d)	Work to be done professionally with due regard not to damage household goods wilfully; all damaged items shall be recovered from the contractor.

e)	No work may be initiated by the contractor without having been expressly instructed to do so by the responsible Council Official.

f)	Invoices will only be processed for payment after the responsible Council Official has inspected the work, is satisfied with its execution, and signed-off the works order.

g)	The Mogale City reserves the right to obtain the services of other contractors, in writing, should, in the opinion of the relevant Project Manager, the prices quoted by a contractor be considered too high for the job at hand and/or the standard of work is unacceptable,

h)	In cases where poor workmanship is identified, the Mogale City reserves the right to recover costs incurred in correcting the poor workmanship.

## C3.2.20   Special conditions

a)	OHS: In terms of section, 37(2) of the Act a valid contractual agreement must be in place between the Employer (MCLM) and the contractor before the contractor can go on site.

b)       Council’s OHS Practitioner-Contracts will be of assistance to finalise the contract.

c)	All the work shall carry an unconditional guarantee of 12 months, calculated from the date of completion.

## C3.2.21   Extent of works

The Works will be carried out by the Contractors under this Contract in the whole area of jurisdiction of the MCLM as indicated in Section C4 of these contract

The quantities in the Schedule of Quantities are estimates only and will only be used as a guide by MCLM.  The actual quantities will be determined by the works required by MCLM to be performed as instructed to the contractor by means of a Work Order.

It is possible that the MCLM may award the contract to more than one contractor, and the intention is to appoint at least 2 contractors, which will consequently mean that these contractors will, depending on the number appointed, indiscriminately be dispatched to all areas without being specifically dedicated a specific area. Prospective contractors will have to keep this in mind when preparing their bid because the scale of operations will be affected by the number of contractors appointed as well as areas where work is to be executed.  The MCLM furthermore reserves the right to not appoint a Contractor for more than one area.

## C3.2.22   Ordering of Materials

The quantities set out in the Schedule of Quantities have been carefully determined from calculations based on data available at the time and should therefore be approximate quantities only. Before ordering materials of any kind, the Contractor shall check with the Project Manager whether the scope of the work for which the materials are required is likely to change substantially. No liability or responsibility whatsoever shall be attached to the Employer for materials ordered by the Contractor except when ordered in accordance with written confirmation issued by the Project Manager.

## C3.2.23  Plant

General

Except where the contrary is specified or when clearly not applicable, all quantities for measurement and payment shall be determined from the ‘authorised’ dimensions. These are specified dimensions or those shown on the Drawings or, if changed, as finally prescribed by the Project Manager, without any allowance for the specified tolerances. Except if otherwise specified, all measurements for determining quantities for payment will be based on the ‘authorised’ dimensions.

If the work is therefore constructed in accordance with the ‘authorised’ dimensions plus or minus the tolerances allowed, quantities will be based on the ‘authorised’ dimensions regardless of the actual dimensions to which the work has been constructed.

When  the  work  is  not  constructed in  accordance with  the  ‘authorised’ dimensions plus  or  minus  the tolerances allowed, the Project Manager may nevertheless, at his sole discretion, accept the work for payment. In such cases no payment shall be made for quantities of work or material more than those calculated for the ‘authorised’ dimensions, and where the actual dimensions are less than the ‘authorised’ dimensions minus the tolerance allowed, quantities for payment shall be based on the actual dimensions as constructed.”

## C3.3 Health and Safety

C3.3.1     HEALTH AND SAFETY REQUIREMENTS AND PROCEDURES

(a)    Construction Regulations, 2014

The Contractor shall be required to comply with the Occupational Health and Safety Act, 1993:   Construction Regulations, 2014 (the regulations) as promulgated in Government Gazette No 37307 and Regulation Gazette No 10113 of 7 February 2014. Non-compliance  with  these  regulations,  in  any  way  whatsoever,  will  be  adequate reason for suspending the Works.

The proposed type of work, materials to be used and potential hazards likely to be encountered on this Contract are detailed in the Project Specifications, Schedule of Quantity and Drawings, as well as in the Employers' health and safety specifications (regulation 4(1)) of the Construction Regulations 2014

The Contractor shall in terms of regulation 5(1) provide a comprehensive health and safety plan detailing his proposed compliance with the regulations, for approval by the Employer.

The Contractor shall always be responsible for full compliance with the approved plan as well as the Construction Regulations and no extension of time will be considered for delays due to non-compliance with the abovementioned plan or regulations.

Payment items are included in the Schedule of Quantities to cover the Contractor's cost for compliance with the OHS Act and the abovementioned regulations.

## C3.4 Technical Specifications

GENERAL STANDARD SPECIFICATIONS, REGULATIONS AND CODES

The latest edition, including all amendments up to date of tender, of the following specifications, publications and codes of practice shall be read in conjunction with this specification and shall deemed to form part thereof:

All materials and equipment supplied and installed shall be new and of high quality and manufactured to the relevant specifications, suitable for providing efficient, reliable and trouble-free service.

All work shall be executed in a first-class workmanlike manner by qualified tradesmen.

All equipment, components, parts, fittings and materials supplied and installed, shall conform in respect of quality, manufacture, test and performance to the requirements of the applicable current SABS specifications and codes

All materials and workmanship which is inferior to that specified for the work will be condemned. All condemned material and workmanship shall be replaced or rectified as directed and approved by the User Client.

The service provider shall submit a detailed list of the equipment and materials to be used to the User Client for approval before placing orders or commencing installation.

All new equipment, materials, and systems shall be installed and positioned such as not to impede on access routes, entrances, and other services. The service provider shall coordinate these items taking other services and equipment into account.

All control equipment and serviceable items shall be installed and positioned such that they will be accessible and maintainable.

The service provider shall make sure that all safety regulations and measures are applied and enforced during the repair and construction periods to ensure the safety of the public and User Client.

C3.4.1 TESTING OF REFRIGERATION PIPING AND EQUIPMENT

All new refrigerant pipe installations and equipment under the maintenance contract shall be vacuum pumped until dry before taken into use. The system shall be vacuum pumped using a suitable vacuum pump. The dryness of the refrigeration system shall be indicated by an approved moisture indicator.

Should moisture be present, the system shall be leak tested and the leak repaired. Should no leak be present, the system shall be flushed with dry nitrogen, vacuum pumped again and rechecked for dryness.

If the completed system complies with all specifications and passes the tests and inspection, it can be approved, and the service provider may be instructed to recharge the system with the correct refrigerant and refrigerant charge.

Under no circumstances shall refrigerant piping/installation be purged.

C3.4.2 REFRIGERANTS

Note: This section does not apply to systems that use water as a coolant.

No chlorofluorocarbon (CFC) refrigerant shall be used in installations.

Equipment still running on CFC’s shall be maintained with the CFC until such time that a leak occurs, or the refrigerant has to be discharged. The system shall then be converted to an HFFC or compatible refrigerant as prescribed in the Montreal Protocol.

Any CFC refrigerant that has to be discharged shall be decanted using an approved reclaiming system and not discharged to the atmosphere. Should the SP not comply with this requirement, full action against him shall be taken contractually and statutory.

Any refrigerant system not supplied with three-way servicing valves shall be provided with Schreuder type service valves. These valves shall be installed on both the suction and discharge valves of the compressors. Tap-o-line valves shall not be fitted or used on the systems.

In the event of an electrical motor burn-out in a hermetic or semi- hermetic compressor, a burn-out dryer shall be used. Purging only is prohibited. The burn-out dryer shall be installed and removed in accordance with the manufacturer’s instructions.

No synthetic components or solutions shall be used to repair leaks in refrigeration piping, on coils or evaporators. Only approved gas welding shall be used.

C3.4.3 SITE WIRING

GENERAL

The wiring of the plant shall be carried out by the SP in surface work in the plantrooms and concealed work in all finished spaces. Wiring shall be done by means of solid drawn or lap-welded screwed tubing and PVC insulated copper conductors, or in multicore PVC/SWA/PVC cable. The main runs of conduit or cable shall preferably be carried out at high level (if possible in false ceiling spaces). Distribution shall be vertically down to the required points. All electric conduit and conduit fittings must be thoroughly inspected for defects before installation, and all sharp edges and burrs removed. Bushes and locknuts are to be used where conduit enters switch boxes.

Conduit to be installed under plaster finish shall be installed in good time so as not to delay the Building Contractor or cause finished plaster to be chased.

All electrical cables shall be fastened to cable racks or shall be laid in cable ducts. Cables carried in racks shall as far as possible be laid parallel and shall be neatly installed. Descents shall be firmly secured with provision for the swinging of flexible tubing or cables where attached to moving machines and electrical motors.

Sizes of conduit, conductors and cables shall be at least equal to those laid down in the relevant tables of the Code of Practice.

Flexible conduit and cables shall be provided wherever it is necessary to avoid transmission of vibration. No joints in cables or wires will be permitted in a conduit. The ends of cables shall be properly made off. Terminal lugs shall be used wherever special clamp-washers or sleeve terminals are not provided on equipment. Conductor strands may not be cut away or reduced in size, and care must be taken to select switchgear, etc., with terminals of adequate size for looping, etc., where necessary.

No open wiring will be permitted at any point in the system, with the exception of the copper bus-bars in the switchgear boards. These shall be taped up with PVC tape with the relevant phase colours.

C3.4.4 WIRING IN CONDUIT

No joints shall be allowed and all looping must be done through approved connectors at fitting points.

The live phase shall be connected at the switching point. All wiring in conduit shall conform to the requirements of table 4 of SANS 10142-1 as amended. Not more than one circuit shall be accommodated in one circuit unless special permission is obtained from the Engineer. Before any wires are drawn into the conduit, a swab is to be drawn through to clear any water, dirt etc.

C3.4.5 FUSES

Where circuits are scheduled to be fed through fuses, these shall be mounted directly on the panel. All rewireable fuses shall be of the porcelain bridge type, of approved manufacture, connected through bushed insulated holes in the panel. An I.C. fuseboard unit may be used instead of separate fuses. Connections shall be made through the back of the panel so that no surface wiring results. Tinned copper fuse wire shall be fitted to suit the loading indicated in the schedules, where rewireable fuses are used, and cartridge fuses shall be fitted with the appropriate cartridges.

C3.4.6 EARTHING

The whole installation shall be efficiently earthed to the satisfaction of the Engineer, the Inspector of Factories, the Supply Authority, and strictly in accordance with the Code of Practice for the Wiring of premises. Any points proposed as earthing points by the service provider shall first be approved by the MCLM before connection.

C3.4.7 BOXES

Where boxes are used in concrete or masonry, approved removable cover plates shall be supplied. For 100 mm x 100 mm boxes, standard blank metal switch-type cover plates may used, but for larger boxes, removable cover plates of metal or other approved material must be supplied with bevelled edges and must be neatly painted.

Cover plates shall be large enough to overlap and cover any gaps between the draw box and the masonry or concrete, and must be finished off to match the surroundings so as not to mar the architectural appearance of the building.

C3.4.8 DRAIN PIPING

Provision shall be made for the drainage of condensate to the outside by means of insulated diameter 25mm plastic uPVC 6 piping.

Piping shall run above ceilings and vertical down in the positions indicated on the drawings. All piping shall terminate at ground level where it shall be routed to the nearest drain point.

Drain piping shall be installed without any loops in the piping where condensate can accumulate. The pipes shall have a uniform slope of 1 in a 100 from the unit to the outside and shall be tested.

C3.4.9 REFRIGERANT PIPING

All piping for the system shall be 0.9mm wall thickness suitable for high gas pressure.

All piping and fittings shall be of the best quality seamless, dehydrated, de-oxidised refrigeration class copper tubing, suitably sized for the unit installed and in accordance with SANS 460 as amended.

All refrigerant piping shall be “Maksal” Type RL hard drawn refrigeration copper tubing in accordance with ASTM B280-88.

Only jointing by means of capillary fittings will be allowed except in cases where equipment needs to be removed from the piping system for regular maintenance or replacement. In such cases joints between the equipment and piping shall be with DZR brass compression fittings.

Capillary type fittings shall comply with SANS 1067 - Part 2 or any of the related ISO 2016, DIN 2856 and BSS 864 - Part 2 specifications.

Refrigerant tubing shall generally be in accordance with SANS 1453 : 1988: Copper tubes for medical gas and vacuum services with preferred sizes in accordance with SANS : 460 Class 2 and shall be de-oxidised and dehydrated.

Pipe line joints shall be silver soldered with any approved hard solder. All soldered joints, on factory supplied equipment, shall be carefully checked before commissioning and remade if found damaged in transit. Silver solders shall be in accordance with SANS 24 : 1994.

Refrigerant piping shall be arranged so that normal inspection and servicing of the compressor and other equipment is not hindered. Locations where copper tubing will be exposed to mechanical damage shall be avoided.

Compressor and other equipment is not hindered. Locations where copper tubing will be exposed to mechanical damage shall be avoided.

Hangers and supports where piping penetrates through walls shall be designed to prevent transmission of vibration to the building.

Solenoid valves shall be normally opened to continue operation of the system in case of solenoid coil failure.

All pipes, vessels, etc. operating below ambient dew point shall be insulated and a vapour barrier provided.

An isolating valve shall be installed in the liquid line where connected to the chiller.

Where these pipes are run in areas exposed to sunlight or mechanical damage, they shall be installed inside suitable galvanised mild steel or PVC trunking or other equal approved method of covering.

When completed the installation shall ensure a complete vapour barrier and any signs of sweating or dripping shall cause the installation to be rejected. The system shall be equipped with automatic anti freeze-up protection to prevent icing up of the condensing coil in winter.

Soldering flux shall be used to remove residual traces of oxides, to promote wetting and to protect the surface to be soldered from oxidation during heating.

The flux shall be applied to clean surfaces and only enough should be used to lightly coat the areas to be joined and should be applied as soon as possible after cleaning.

Only the following solders shall be allowed to be used on capillary joints:-

| Only the following solders shall be allowed to be used on capillary joints:- COMPOSITION | SPECIFICATION |
| --- | --- |
| 97/3 (97% tin and 3% copper) | SANS 24 – DIN 1707 |
| 96/4 (96% tin and 4% silver) | SANS 24 – DIN 1707 |
| 75/25 (75% tin and 25% zinc) |  |

Resin core and acid core solder shall not be used at all.

No welding of refrigeration systems will be allowed unless the pipe system is continuously filled and under pressure using oxygen free nitrous gas.

All soldered joints, on factory supplied equipment, shall be carefully checked before commissioning and remade if found damaged in transit.

Refrigerant piping shall be arranged so that normal inspection and servicing of the compressor and other equipment is not hindered. Locations where copper tubing will be exposed to mechanical damage shall be avoided.

Before charging the system with refrigerant the circuit shall be leak tested and dehydrated.

All pipes, vessels, etc. operating below ambient dew point shall be insulated and a vapour barrier provided.

An isolating valve shall be installed in both the liquid and gas lines where connected to the evaporator unit. Valves shall be of the bronze body, ball type. (R410a compliant)

When completed, the installation shall maintain a complete vapour barrier and any signs of sweating or dripping shall cause the installation to be rejected.

All piping shall be rigidly supported, both vertically and horizontally.

Inside the building (ceiling voids) piping shall be installed on “Cabstrut” or other equal approved medium-duty galvanised welded wire mesh cable tray wide enough to accommodate both refrigerant pipes and the drain piping. The mesh pitch shall not exceed 100x50mm with longitudinal side-wall wires spaced at intervals of not more than 25mm.

Outside the building piping shall be installed on “Cabstrut PW100” or other equal approved heavy-duty welded galvanised cable ladder wide enough to accommodate both refrigerant pipes and the drain piping, including galvanised sheet metal covers painted to colour match the walls. Rung spacing shall be at 300mm intervals.

All wire mesh cable trays shall be supported on “Unistrut P2000” or other equal approved 41x41x1.5mm galvanised channels including galvanised hold down saddles, bolts, nuts, washers and screws. The channel shall be supported from 8mm diameter hanger rods including washers and nuts. Channels to be spaced at intervals not exceeding 1500mm. Cable trays are to be installed to a fall of 1 in 100.

All cable ladders shall be supported on “Unistrut P1000” or other equal approved 41x41x2.5mm galvanised channels including galvanised hold down cup, bolts, nuts, washers and screws. The channel shall be “Rawl” bolted directly to external walls or slabs. Channels to be spaced at intervals not exceeding 1500mm. Cable ladders to be installed to a fall of 1 in 100.

All piping shall be secured to cable trays and ladders with “Cabstrut K-series” or other equal approved adjustable type galvanised cross rung clamps only. Care shall be taken not to pinch, compress or damage the pipe insulation when securing piping to cable trays and ladders. Any damaged insulation shall be completely removed and replaced to the satisfaction of the MCLM.

Strappings and cable ties will not be permitted.

Hangers and supports where piping penetrates through walls shall be designed to prevent transmission of vibration to the building.

Supports must be installed near to joints and fittings. Pipe clamps shall be installed at the following centre to centre distances:

Extra support must be supplied at T-offs, valves and other heavy fittings.

C3.4.10  PIPE INSULATION (SANS 1445 & SANS 1508 AS APPLICABLE)

The copper piping installed inside the building shall all be insulated with Armaflex or other equal approved insulation. Vapour barrier integrity will be critical to prevent dripping. No zip type insulation will be allowed. Liquid and gas lines shall be insulated separately.

The insulation material shall meet the following minimum requirements:

Temperature range			:  -80°C + 120°C

Thermal conductivity 			:  0,038 W/m K at 0°C

Thickness 				: 15 mm

Density 				: 35kg/m3

Odour Properties 			: Neutral

Cellular Structure 			: Totally closed

Fire Properties 				: Self-extinguishing

The insulation shall be applied to form a continuous and homogenous vapour barrier over bends, supports, etc. All joints and seams shall be glued. Non-drip tape shall not be used for assembling seams and joints.

All fittings and valves shall be wrapped with black non-drip tape.

When completed, the installation shall ensure a complete vapour barrier and any signs of sweating or dripping shall cause the installation to be rejected.

C3.4.11 PRESSURE TESTING ON PIPING

All new copper refrigerant piping shall be hydraulically pressure tested as follow:

a) Strength Test at 4250kPa

b) Leakage Test at 3300kPa over 24hr period.

RECOMMISSIONING OF PLANT AND INSTALLATION AFTER REPAIR WORK

C3.4.12  GENERAL

On completion of the maintenance work, the plant and equipment shall be put into operation after all tests and adjustments have been carried out to the satisfaction of the User Client.

Logging of the operation of the installation shall commence immediately upon start-up. The service provider shall submit a full commissioning report.

C3.4.13 RECOMMISSIONING OF PLANT AND ANCILLARY EQUIPMENT

On completion of maintenance, the SP shall recommission the plant and its ancillary equipment. This operation shall be done strictly by the manufacturer’s specification and shall be witnessed by the User Client. The operation shall include, but not be limited to the following:

ALL REQUIRED PRE-COMMISSIONING MECHANICAL CHECKS

a. Check all pipe couplings.

b. Check system for leaks.

c. Check rotation of all fans.

d. Check mountings of all equipment.

ALL REQUIRED PRE-COMMISSIONING ELECTRICAL CHECKS

a. Check all wiring connections for tightness and repair any hot connections.

b. Check that all electrical equipment has been properly reconnected in accordance with the manufacturer’s specification.

PERFORM AND RECORD ALL REQUIRED ELECTRICAL INSULATION TESTS ON EQUIPMENT.

a. Check and test all controls with main circuits isolated.

b. Check all motor-driven equipment for correct rotational directions.

c. Check and test the operation of all indication and warning lights.

d. Check, set, record and readjust all equipment control and set points in accordance with manufacturer’s specification.

e. Run all motor-driven equipment for a period to ensure free movement and correct operation; feed pumps only to be operated for a short interval to check rotation.

C3.4.14 COMMISSIONING

On completion of the pre-commissioning checks, the service provider shall proceed with the commissioning. This shall be done strictly in accordance with the manufacturer’s specifications and shall include, but not be limited to the following:

a. Start the plant and check the suction and discharge pressures.

b. Check the running amps of the compressor(s) and fan(s).

c. Check operation of all fans.

d. After one hour, recheck the suction and discharge pressures and running amps.

e. Check the inlet and outlet temperatures and blower unit.

f. In freezer room, check the sequence of operation in the defrost cycle.

g. Reset the defrost timer.

h. Complete the commissioning data sheets.

The service provider shall visit, inspect, test and readjust the plant over the 30-day period following the recommissioning to ensure the correct functioning of the plant and its associated equipment.

C3.4.14 GUARANTEE OF INSTALLATION AND EQUIPMENT

The service provider shall provide guarantees obtained from the manufacturer(s) and supplier(s) to the effect that each piece of new equipment, supplied and installed under the repair contract, complies with the required performance and will function as part of the complete system.

COMPLETION

When all work detailed has been completed, clear the area by removing all the rubble related to the given project from the site and dump at a legal dumping site identified by the contractor. Leave the site in a good and perfect condition to the approval of the officer in charge of the service and the Council representatives.

The contractor is advised that all the buildings on the site will be occupied during the process of the service and that she/he is to arrange with the authorities concerned so that the work may be carried out with the least possible inconvenience.

The Contractor must provide for all the equipment, special equipment, safety equipment, generators, tools etc.

NOTE: No equipment and/or tools will be provided by MCLM

MOGALE CITY LOCAL MUNICIPALITY

THE CONTRACT:

# PART C4: SITE INFORMATION

- SECTION C4.1 – MAPS OF MOGALE CITY LOCAL MUNICIPALITY

- SECTION C4.2 – MOGALE CITY AREA BREAK DOWN

- SECTION C4.3 – LIST OF FACILITIES AND BUILDINGS

- SECTION C4.4 – FACILITY INSPECTION CHECKLIST

- SECTION C4.5 – BID CHECKLIST

C4.2 MOGALE CITY AREA BREAKDOWN.

| Area Number | Area | Buildings |
| --- | --- | --- |
| 1 | Krugersdorp CBD | Civic Center Ellerines Building President IEC building Krugersdorp Library |
| 2 | Krugersdorp CBD | Museum President Flats Jack Cotton Flats Van Riebeeck Flats Traffic Department Jack Smiedt Building |
| 3 | Krugersdorp (surrounding areas) - Krugersdorp West - Krugersdorp North - Noordheuwel - Delporten - Chamdor | Municipal Stores Paul Kruger Hall Library Sakkie Nel Swimming Pool Delporten Testing station Chamdor Yard Boiketlo Hostel Scout Hall |
| 4 | Munsieville | Desmond Tutu Library Hostel Clinic School Board Multi Purpose Center Sinqobile Community Center |
| 5 | Tarlton | Library Nelson Mandela Hall |
| 6 | Magaliesburg | Taxi Rank Public Facility (Toilet Multi Purpose Center Creche Flats |
| 7 | Hekpoort/Mulderdrift | Hekpoort Multi Purpose Center Ward office 32 Library and Craft Center 2 x Dwellings 2 x semi detached dwelling Outbuildings Mulderdrift Houses |

| Area Number | Area | Buildings |
| --- | --- | --- |
| 8 | Luipardvlei/ Lewisham/kenmare | Jublieum Hall Library Parks Department Bowling club Tennis court |
| 9 | Kagiso | Ward office 4 Ward office 6 Ward office 12 Ward office 10 Ward office 13 Joshua Doore Hostels Hall Library |
| 10 | Kagiso | Library Multi Purpose Center Taxi Rank Kagiso Stadium Kagiso Swimming Pool |
| 11 | Burgershoop | Creche Hall Social Services Stores and staff rooms |
| 12 | Rietvallei/ Azaadville | Rietvallei Creche Rietvallei Community Center Rietvallei Library Rietvallei Social Works and Pay point Rietvallei Ward office 2 Rietvallei Ext 2 & 3 Clinic Ward office 3 Azaadville Municipal Store Azaadville Civic Center Azaadville Sports Complex |

NOTE:

THE BUILDINGS INDICATED ABOVE ARE NOT NECESSARILY ALL THE BUILDINGS INCLUDED IN THE CONTRACT. THE LIST IS ONLY AN INDICATION OF THE SERVICE AREAS.

C4.3 – LIST OF FACILITIES AND BUILDINGS

| MBL No | Building type | Func Description |
| --- | --- | --- |
| MBL 13501 | APPELPARK HOSUNG | Adiministration Support Buildings |
| MBL 13503 | BOXING GYM AVANTE (KRUGERSDORP) | Administration of Sports Facilities |
| MBL 13504 | CIVIC CENTRE AZAADVILLE | Adiministration Support Buildings |
| MBL 13505 | LIBRARY/AZAADVILLE | Administration of Libraries |
| MBL 13506 | AZAADVILLE PUTT-PUTT COUR | Adiministration Support Buildings |
| MBL 13507 | SPORT COMPLEX AZAADVILLE | Administration of Sports Facilities |
| MBL 13508 | SWIMMING POOL AZAADVILLE | Administration of Sports Facilities |
| MBL 13510 | HOSTEL BOIKETLO | Adiministration Support Buildings |
| MBL 13511 | BOWLING GREENS STAN FRIED | Administration of Sports Facilities |
| MBL 13512 | COMMUNITY CENTRE BURGERSHOOP | Community Facility Management |
| MBL 13524 | CLUBHOUSE BOWLING KRUGERSDORP | Administration of Sports Facilities |
| MBL 13525 | CLUBHOUSE BOWLING STAND FR | Administration of Sports Facilities |
| MBL 13526 | CLUBHOUSE FISHING (CORONATION) | Administration of Sports Facilities |
| MBL 13527 | CLUBHOUSE GOLFCOURSE | Administration of Sports Facilities |
| MBL 13528 | CLUBHOUSE JUKSKEI PRETORI | Administration of Sports Facilities |
| MBL 13529 | CLUBHOUSE NOORDHEUWEL | Administration of Sports Facilities |
| MBL 13530 | CLUBHOUSE KADIMA LAPA | Administration of Sports Facilities |
| MBL 13531 | CLUBHOUSE MUNICIPAL SPORT | Administration of Sports Facilities |
| MBL 13533 | CLUBHOUSE SOCCER AZAADVILLE | Administration of Sports Facilities |
| MBL 13534 | CLUBHOUSE TENNIS LEWISHAM | Administration of Sports Facilities |
| MBL 13535 | CLUBHOUSE TENNIS AZAADVILLE | Administration of Sports Facilities |
| MBL 13536 | CLUBHOUSE TENNIS KRUGERSDORP | Administration of Sports Facilities |
| MBL 13537 | CLUBHOUSE TENNIS MINDALORE | Administration of Sports Facilities |
| MBL 13540 | CENTENARYDAM KIOSK AND SC | Administration of Sports Facilities |
| MBL 13541 | DAM LAYOUT PRETORIUSPARK | Building Maintenance |
| MBL 13542 | TRAFFIC DEPARTMENT DELPOR | Adiministration Support Buildings |
| MBL 13543 | DELPORTEN LICENCE DEPT | Adiministration Support Buildings |
| MBL 13544 | DELPORTEN TESTING GROUNDS | Adiministration Support Buildings |
| MBL 13545 | EARLY CHILDHOOD CENTRE | Community Facility Management |
| MBL 13548 | FLIP HUMAN SEWER WORKS HOUSING | Adiministration Support Buildings |
| MBL 13549 | FLOOD LIGHTS | Adiministration Support Buildings |
| MBL 13555 | JACK SCHMIEDT BUILDING | Adiministration Support Buildings |
| MBL 13556 | LIBRARY & CRAFT CENTRE | Administration of Libraries |
| MBL 13557 | RECREATION CENTRE HEKPOORT | Administration of Sports Facilities |
| MBL 13559 | HOCKEYFIELDS (KHOSA CLUB) | Administration of Sports Facilities |
| MBL 13560 | HOUSE ADOLF SCHNEIDER AVE | Administration of Sports Facilities |
| MBL 13561 | HOUSE CARETAKER CLEANSING | Administration of Sports Facilities |
| MBL 13562 | HOUSE COMPOUND MANAGER MUN | Adiministration Support Buildings |
| MBL 13563 | HOUSE CONDALEROAD 6 (BY S | Adiministration Support Buildings |
| MBL 13564 | HOUSE GOULDSTREET 61 KRUGERDORP | Adiministration Support Buildings |
| MBL 13565 | HOUSE REM OF PORT 1/VLE | Adiministration Support Buildings |
| MBL 13566 | HOUSE SWIMMING POOL CORONATION | Building Maintenance |
| MBL 13568 | HOUSING | Adiministration Support Buildings |
| MBL 13569 | HOUSING | Adiministration Support Buildings |
| MBL 13570 | HUGENOTE PARK | Building Maintenance |
| MBL 13572 | FLATS JACK COTTON | Adiministration Support Buildings |
| MBL 13574 | HALL JUBILEUM | Community Facility Management |
| MBL 13575 | JUKSKEI COURT | Adiministration Support Buildings |
| MBL 13576 | MULTI PURPOSE CC KAGISO | Community Facility Management |
| MBL 13577 | HALL KAGISO | Community Facility Management |
| MBL 13578 | HOSTEL KAGISO | Adiministration Support Buildings |
| MBL 13579 | LIBRARY KAGISO | Administration of Libraries |
| MBL 13580 | KAGISO PARKS | Building Maintenance |
| MBL 13581 | SPORT COMPLEX KAGISO | Administration of Sports Facilities |
| MBL 13582 | SWIMMING POOL KAGISO | Building Maintenance |
| MBL 13583 | KAGISO TIPSITE | Adiministration Support Buildings |
| MBL 13584 | CEMETARY KAGISO | Adiministration Support Buildings |
| MBL 13585 | KENNELS (MUNSIEVILLE HOST | Adiministration Support Buildings |
| MBL 13587 | CLUBHOUSE: KHOSA CLUB | Administration of Sports Facilities |
| MBL 13588 | KOEDOE STREET PARK (RANT-EN-DAL) | Building Maintenance |
| MBL 13589 | KRONNINGS PARK LAPA (CORO | Building Maintenance |
| MBL 13590 | KRUGERDORP BOXING GYM | Administration of Sports Facilities |
| MBL 13591 | KRUGERSDORP CEMETERY CH | Adiministration Support Buildings |
| MBL 13592 | HOUSE KRUGERSDORP CEMETARY | Adiministration Support Buildings |
| MBL 13593 | KRUGERSDORP CEMETERY & BU | Adiministration Support Buildings |
| MBL 13594 | CIVIC CENTRE CENTRAL | Adiministration Support Buildings |
| MBL 13595 | BUILDINGS ( CIVIC CENTRE) | Adiministration Support Buildings |
| MBL 13596 | BUILDINGS (LIBRARIES) | Administration of Libraries |
| MBL 13597 | KRUGERSDORP MARATHON CLUB | Administration of Sports Facilities |
| MBL 13598 | SWIMMING POOL KRUGERSDORP | Administration of Sports Facilities |
| MBL 13609 | LIBRARY LEWISHAM | Administration of Libraries |
| MBL 13611 | LANDFILL SITE LUIPAARDSVLEI | Adiministration Support Buildings |
| MBL 13612 | COMMUNITY CENTRE LUSAKA | Community Facility Management |
| MBL 13613 | CRECHE/ LUSAKA | Administration of Libraries |
| MBL 13614 | LIBRARY LUSAKA | Administration of Libraries |
| MBL 13615 | LUSAKA PAKRS | Building Maintenance |
| MBL 13616 | SPORT COMPLEX LUSAKA | Administration of Sports Facilities |
| MBL 13617 | CEMETARY MAGALIESBERG | Adiministration Support Buildings |
| MBL 13618 | CIVIC CENTRE MAGALIESBERG | Adiministration Support Buildings |
| MBL 13619 | MULTI PURPOSE CC (UBUNTU) | Community Facility Management |
| MBL 13620 | LANDFILL SITE MAGALIESBERG | Adiministration Support Buildings |
| MBL 13621 | MAGALIESBERG RECREATION C | Administration of Sports Facilities |
| MBL 13623 | MAGISTRATE BUILDING (MUS | Adiministration Support Buildings |
| MBL 13624 | MARKET BUILDING (CIVIC CENTRE) | Adiministration Support Buildings |
| MBL 13625 | MC LEAN PARK | Building Maintenance |
| MBL 13626 | CHAMDOR YARD | Adiministration Support Buildings |
| MBL 13627 | FLATS( MAGALIESBERG) | Adiministration Support Buildings |
| MBL 13628 | MINDALORE LAPA | Building Maintenance |
| MBL 13629 | MINDALORE PARK | Building Maintenance |
| MBL 13630 | MULDERSDRIFT MPCC | Community Facility Management |
| MBL 13631 | LIBRARY MULDERSDRIFT | Administration of Libraries |
| MBL 13632 | SPORT COMPLEX MULDERSDRIFT | Administration of Sports Facilities |
| MBL 13633 | MUNICIPAL YARD & BUILDING | Adiministration Support Buildings |
| MBL 13634 | MUNISIVIELLE MPCC | Community Facility Management |
| MBL 13635 | HOSTEL MUNSIEVILLE | Adiministration Support Buildings |
| MBL 13636 | MUNSIEVILLE PARKS | Building Maintenance |
| MBL 13637 | SPORTS COMPLEX MUNSIEVILLE | Administration of Sports Facilities |
| MBL 13638 | MUNSIEVILLE COMMUNITY CENTRE | Community Facility Management |
| MBL 13639 | LIBRARY MUNSIEVILLE | Administration of Libraries |
| MBL 13640 | N/R/M COMMUNITY CENTRE | Community Facility Management |
| MBL 13641 | HALL NELSON MANDELA | Community Facility Management |
| MBL 13642 | NETBALL COURTS | Administration of Sports Facilities |
| MBL 13643 | HEKPOORT MPCC | Community Facility Management |
| MBL 13644 | NURSARY & BUILDINGS (GREE | Building Maintenance |
| MBL 13649 | PARKS | Building Maintenance |
| MBL 13650 | PARKS HOUSE: OFFICE CORO | Building Maintenance |
| MBL 13651 | PAKRS HOUSING WORKERS | Building Maintenance |
| MBL 13652 | PARK OFFICES ( CORONATION | Building Maintenance |
| MBL 13653 | HALL PAUL KRUGER | Community Facility Management |
| MBL 13654 | HOUSE: 61 GOLD STREET | Adiministration Support Buildings |
| MBL 13657 | PERCY STEWART WCW HOSTEL | Adiministration Support Buildings |
| MBL 13658 | PERCY STEWART WCW WORKSHOP | Adiministration Support Buildings |
| MBL 13659 | PERCY STEWART WCW SEWER WORKS | Adiministration Support Buildings |
| MBL 13660 | FLATS PIONEER | Adiministration Support Buildings |
| MBL 13663 | BUILDINGS ( OFFICES) | Adiministration Support Buildings |
| MBL 13664 | FLATS PRESIDENT | Adiministration Support Buildings |
| MBL 13665 | PRETORIUS PARKS KIOSK | Adiministration Support Buildings |
| MBL 13666 | PUBLIC FACILITIES AUCTION | Adiministration Support Buildings |
| MBL 13667 | PUBLIC FACILITIES AZAADVILLE | Adiministration Support Buildings |
| MBL 13668 | PUBLIC FACILITIES BURGESHOOP | Adiministration Support Buildings |
| MBL 13670 | PUBLIC FACILITIES KAGISO | Adiministration Support Buildings |
| MBL 13671 | PUBLIC FACILITIES KRONINGSP | Adiministration Support Buildings |
| MBL 13672 | PUBLIC FACILITIES KRUGERSDORP | Adiministration Support Buildings |
| MBL 13673 | PUBLIC FACILITIES LEWISHAM | Adiministration Support Buildings |
| MBL 13674 | PUBLIC FACILITIES LIBRARY | Adiministration Support Buildings |
| MBL 13675 | PUBLIC FACILITIES LUIPAARDSVLEI | Adiministration Support Buildings |
| MBL 13676 | PUBLIC FACILITIES MUNSIEVILLE | Adiministration Support Buildings |
| MBL 13677 | PUBLIC FACILITIES PARKS | Adiministration Support Buildings |
| MBL 13678 | PUBLIC FACILITY PRETORIUS | Adiministration Support Buildings |
| MBL 13679 | TAXIRANK PRETORIUS STREET | Adiministration Support Buildings |
| MBL 13680 | PUBLIC FACILITY WARDERERS | Adiministration Support Buildings |
| MBL 13681 | PUBLIC FACILITY WISHARTST | Adiministration Support Buildings |
| MBL 13685 | PURCHASE OF LAND: LANWEN | Adiministration Support Buildings |
| MBL 13687 | PURCHASE OF LAND: HEKPOORT | Adiministration Support Buildings |
| MBL 13689 | PURCHASE OF LAND: PERCY STEWART | Adiministration Support Buildings |
| MBL 13694 | SPORT FACILITIES (OUTDOOR | Administration of Sports Facilities |
| MBL 13695 | MPCC RIETVALLEI | Community Facility Management |
| MBL 13696 | SPORT COMPLEX RIETVALLEI | Administration of Sports Facilities |
| MBL 13698 | RUGBYFIELDS ( BOB VAN REENEN) | Administration of Sports Facilities |
| MBL 13699 | IEC BUILDINGS | Adiministration Support Buildings |
| MBL 13706 | SHOOTING RANGE ( MUNSIEVILLE | Adiministration Support Buildings |
| MBL 13707 | SINQOBILE COMMUNITY CENTRE | Community Facility Management |
| MBL 13708 | SKATEBOARD COURSE (CORON | Adiministration Support Buildings |
| MBL 13711 | SPORTGROUNDS | Building Maintenance |
| MBL 13714 | CEMETERY STERKFONTEIN | Adiministration Support Buildings |
| MBL 13727 | MPSS SWANIEVILLE | Community Facility Management |
| MBL 13728 | CEMETERY TARLTON | Adiministration Support Buildings |
| MBL 13731 | TRAFFIC DEPARTMENT (CENTRE | Adiministration Support Buildings |
| MBL 13733 | FLAT VAN RIEBEECK | Adiministration Support Buildings |
| MBL 13736 | WARD OFFICES | Ward Committees |
| MBL 13737 | WASH BAY ( CHAMDOR) | Adiministration Support Buildings |
| MBL 13741 | WEB OFFICES | Adiministration Support Buildings |
| MBL 13742 | WEB OFFICES CARPORT | Adiministration Support Buildings |
| MBL 13743 | WORKSHOP/ OFFICES: TEST & | Adiministration Support Buildings |
| MBL 13744 | HOSTEL JOSHUA DOORE (GREE | Adiministration Support Buildings |
| MBL 13745 | TAXI RANK KAGISO DRIVE | Adiministration Support Buildings |
| MBL 13746 | TAXI RANK LUIPAARD STREET | Adiministration Support Buildings |
| MBL 13747 | TAXI RANK MAGALIESBURG | Adiministration Support Buildings |
| MBL 13748 | CEMETERY AZAADVILLE | Adiministration Support Buildings |
| MBL 13752 | BUILDINGS OLD COMMANDO | Adiministration Support Buildings |
| MBL 13753 | RESIDENCE MAYOR | Adiministration Support Buildings |
| MBL 13754 | ECDC SINQOBILE | Community Facility Management |
| MBL 13755 | CEMETERY ELANDSDRIFT | Adiministration Support Buildings |

NOTE: THE BUILDINGS INDICATED ABOVE ARE NOT NECESSARILY ALL THE BUILDINGS INCLUDED IN THE CONTRACT. THE LIST IS ONLY AN INDICATION OF THE SERVICE AREAS.

C4.4 FACILITY INSPECTION CHECKLIST

| BUILDING NAME | BUILDING ID NUMBER | ASSET NUMBER | MBL NUMBER |
| --- | --- | --- | --- |

1. Safe and Orderly Operating Conditions of Building

| No. | Check list item | Yes | No | Comment/Area |
| --- | --- | --- | --- | --- |
| 1.1 | Are all areas clean and orderly? |  |  |  |
| 1.2 | There are tripping hazards, wet spots, grease/oils, protruding objects, miscellaneous debris? |  |  |  |
| 1.3 | Are permanent aisles/passageways clean? |  |  |  |
| 1.4 | Are open pits, tank ditches, etc., covered or provided with standard guard rail protection? |  |  |  |
| 1.5 | Is unused equipment kept in a safe and orderly manner? |  |  |  |
| 1.6 | Are warning and hazard signs posted where they are required? |  |  |  |
| 1.7 | Are emergency exits correctly marked, visible, accessible, |  |  |  |
| 1.8 | Are doors that are not exits but could be mistaken for exits clearly marked “NOT AN EXIT?” |  |  |  |
| 1.9 | Is there sufficient lighting? |  |  |  |
| 1.10 | Is there sufficient ventilation? |  |  |  |
| 1.11 | Are unguarded holes or openings in floors properly covered? |  |  |  |
| 1.12 | Do elevated platforms and working areas have standard rails? |  |  |  |
| 1.13 | Do elevated platforms and working areas have toe boards? |  |  |  |
| 1.14 | Are fixed industrial stairs in good repair? |  |  |  |

2. External Area Fences & Gates

| No. | Check list item | Yes | No | Comment/Area |
| --- | --- | --- | --- | --- |
| 2.1 | Check the condition of fences and gates. Examine the base of gate posts and fence posts, the bottom, and at the junction of rails and posts for rust. |  |  |  |
| 2.2 | Make sure the water run-off from the walkways, roads garden doeSO’t flow, or pond, against the building, causing excessive damp conditions. |  |  |  |
| 2.3 | Check condition of paint on gates, posts and palisade fences |  |  |  |
| 2.4 | Has vegetation been cut back from the building? |  |  |  |
| 2.5 | Check the condition of playground equipment and structures for safety and soundness, repair or remove as necessary. |  |  |  |

3. Building External Structure

| No. | Check list item | Yes | No | Comment/Area |
| --- | --- | --- | --- | --- |
| 3.1 | Does the building appear to be in good repair? |  |  |  |
| 3.2 | Check the structural condition and water- tightness of rooms and walls. Look for rising damp |  |  |  |
| 3.3 | Look for water stains on timbers and metal sheeting. |  |  |  |
| 3.4 | Is building free from signs of vandalism? |  |  |  |
| 3.5 | Are exterior walls free from cracks or other damages? |  |  |  |
| 3.6 | Are windows free from cracks or broken panes? |  |  |  |
| 3.7 | Is the building free from signs of exterior damage? |  |  |  |
| 3.8 | Are stairs, landings and handrails in good repair and painted |  |  |  |
| 3.9 | Look for buckled, badly fitted or water stained eaves, which may be an indication of roof or gutter problems. |  |  |  |
| 3.10 | Check the condition of paint; ensure it is in good condition. Paint that is flaking, cracked, chipped or has a powdery look or feel indicatesit is breaking down |  |  |  |
| 3.11 | Check for rotten weatherboards, windows, doors and veranda posts |  |  |  |
| 3.12 | Check that corrugated iron sheets are in good. Check there is no rust evident. If there is rust evident this will need to be neutralised and spot painted |  |  |  |
| 3.13 | Ensure that valley and eaves guttering are free from holes and rust |  |  |  |

4. Floors

| No. | Check list item | Yes | No | Comment/Area |
| --- | --- | --- | --- | --- |
| 4.1 | Inspect timber framing and floors generally for rot, mould and evidence of borers |  |  |  |
| 4.2 | Look for signs of dampness, such as lifting or buckling floor tiles and rotten carpet. |  |  |  |

5. Internal walls

| No. | Check list item | Yes | No | Comment/Area |
| --- | --- | --- | --- | --- |
| 5.1 | Look for cracks and general movement. |  |  |  |
| 5.2 | Carefully inspect brick walls for signs of dampness. This may be evident through the presence of white or brownish deposits. Rising dampness may also cause skirting and architraves to rot, and paint and wallpaper to lift. |  |  |  |
| 5.3 | Lightly tap walls and tiled surfaces with the handle of your screwdriver. A hollow sound could mean loose plaster or tiles |  |  |  |
| 5.4 | Check the condition of wall paper or paint. Both serve to protect the surface and if in poor condition need to be replaced or new paint applied. |  |  |  |

6. Internal Ceilings

| No. | Check list item | Yes | No | Comment/Area |
| --- | --- | --- | --- | --- |
| 6.1 | Look for water stains and mould growth which could indicate excessive condensation or roof leaks |  |  |  |
| 6.2 | General condition of ceiling |  |  |  |

7. Internal Doors

| No. | Check list item | Yes | No | Comment/Area |
| --- | --- | --- | --- | --- |
| 7.1 | General condition of door and frame |  |  |  |

8. Inspection Items Unique to Building

8.1  ____________________________________________________________________________

8.2  ____________________________________________________________________________

8.3  ____________________________________________________________________________

8.4  ____________________________________________________________________________

8.5  ____________________________________________________________________________

8.6  ____________________________________________________________________________

8.7  ____________________________________________________________________________

8.8  ____________________________________________________________________________

8.9  ____________________________________________________________________________

8.10 ____________________________________________________________________________

C4.5 BID CHECKLIST

This list is aimed at assisting all bidders to submit complete bid documents.

Bidders are to check the following points before the submission of their tender document and to complete YES/NO next to each item as an indication that the bidder has complied with the provision of the item concerned. If any of the items are marked as NO – it might lead to the disqualification of your bid.

| ITEM | DESCRIPTION | YES | NO |
| --- | --- | --- | --- |
| 1. | Provide copy of your CSD registration summary report |  |  |
| 2. | Provide copy of your company VAT registration Certificate |  |  |
| 3. | Tax clearance certificate and copy of tax compliance status (TCS) document has been submitted – in the name of the bidding entity |  |  |
| 4. | The bidding entity as well as all its directors/shareholders must submit Municipal account not more than three (03) months / ninety (90) days plus in arrears at the time of the closing date. No bid will be awarded to a company and its directors that owe more than three (3) months charges to any municipality or metro. |  |  |
| 5. | A valid lease agreement which is in the name of the business and or directors /shareholders, which must stipulate who is responsible for payment of Municipal services; or If the Bidding Entity operates from informal settlement and is not responsible for Municipal account, the bidder must submit a Sworn Affidavit with and original stamp from the Commissioner of Oaths. If the Bidding Entity operates from parents’ place and is not responsible for Municipal account, the bidder must submit the owner’s Municipal account and a Sworn Affidavit with and original stamp from the Commissioner of Oaths; (Copy of the lease agreement will only be accepted if water and lights are part of lease payment). |  |  |
| 6. | - Valid B-BBEE Rating Certificate or letter from registered auditor or Sworn Affidavit - Consolidated B-BBEE certificate / letter in case of a trust, consortium or joint venture. |  |  |
| 7. | All pages of the bid document have been read by the bidder and the returnable schedules and MBD ‘s forms duly completed and signed. e.g. MBD1, MBD 4 , MBD 6.1,MBD 8 AND MBD 9. |  |  |
| 8. | All pages requiring information have been completed in full and in black ink. |  |  |
| 09. | No pages removed from the tender document |  |  |
| 10. | A copy of the resolution of your Board of Directors, similar to the attached specimen, authorizing the signatory to sign the tender and the subsequent contracts, has been attached and signed. |  |  |
| 11. | JV agreement has been attached and signed (if applicable) |  |  |
| 12. | Bidder must attach the Central Supplier Database (CSD) registration summary report. |  |  |
| 13. | Copies of ID’s of members / directors and shareholders |  |  |
| 14 | Completed Bills of Quantities in blank ink and signed (No Tipex) |  |  |
| 15. | Pricing Schedule must be signed |  |  |
| 16. | In case of any amendments made, was it signed in full by the authorized signatory? Please note that the use of tipp-ex will lead to immediate disqualification. |  |  |
| 17. | Please declare any interest as required in terms of MBD - 4 truthfully and correctly as incorrect declarations are considered a criminal offence. - Personal Tax Numbers included - State Employee Number / Persal Number - Identity number - Name |  |  |
| 18. | Please take note of the functionality evaluation criteria that will be applied to your submission in order to ensure that your company has the necessary capacity and capability to successfully execute this tender, if appointed. Ensure that sufficient information is included in your submission to ensure successful evaluation of your bid. |  |  |

PLEASE NOTE:

- No contract will be awarded to a service provider, if the service provider or its directors are in arrears with their municipal accounts for more than three (3) months.

- In case of a Joint Venture, please note that individual documents have to be submitted for all parties in the JV, like tax clearance certificates, municipal accounts, etc.

- No communication with Mogale City Municipal officials are allowed after the closing date of the tender.  The only authorised form of communication will be through the Supply Chain Management Office.

- No bids will be accepted if not submitted on the correct closing date and time. No late bids will be considered, even if only late by a minute.