NEC3 Term Service Contract (TSC3)

| Between | ESKOM HOLDINGS SOC Ltd (Reg No. 2002/015527/30) |  |
| --- | --- | --- |
| and |  |  |
| PROVISION OF | The Design, Supply, Installation and Commissioning, of an Integrated Physical Security System at Eskom Academy of Learning. (EAL Smart Integrated Physical Security) |  |
| Contents: |  |  |
| Part C1 | Agreements & Contract Data |  |
| Part C2 | Pricing Data |  |
| Part C3 | Scope of Work |  |
| PR No. TENDER NO. CONTRACT NO.46000……… |  |  |

# PART C1:	AGREEMENTS & CONTRACT DATA

| Contents: |  | No of pages |
| --- | --- | --- |
| C1.1 | Form of Offer and Acceptance | [3] |
| C1.2a | Contract Data provided by the Employer | [9] |
| C1.2b | Contract Data provided by the Contractor | [1] |

C1.1 Form of Offer & Acceptance

# C1.1 Form of Offer and Acceptance

## Offer

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

The Design, Supply, Installation and Commissioning, of an Integrated Physical Security System at Eskom Academy of Learning.   (EAL Smart Integrated Physical Security)

The contractor, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the contractor, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the contractor offers to perform all of the obligations and liabilities of the Contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

| The offered total of the Prices exclusive of VAT is | R |
| --- | --- |
| Value Added Tax @ 15% is | R |
| The offered total of the Prices inclusive of VAT is | R |
| (in words) |  |

This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the contractor before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the contractor becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| For the tenderer: |  |  |  |  |
| Name & signature of witness |  |  | Date |  |
| Tenderer’s CIDB registration number: |  |  |  |  |

## Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the contractor’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the contractor’s Offer shall form an agreement between the Employer and the contractor upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1		Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2		Pricing Data

Part C3		Scope of Work: Service Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the contractor and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The contractor shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the contractor receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) | Amos Mboweni |  |  |  |
| Capacity | General Manager: Eskom Real Estate |  |  |  |
| for the Employer | Eskom Holding SOC Megawatt Park, Maxwell Drive, Suninghill, Johannesburg |  |  |  |
| Name & signature of witness |  |  | Date |  |

## Schedule of Deviations to be completed by the Employer prior to contract award

Note:

- This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

- The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

- A contractor’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

| No. | Subject | Details |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |
| 5 |  |  |
| 6 |  |  |
| 7 |  |  |

By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the contractor agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the contractor and the Employer during this process of Offer and Acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the contractor of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement.

|  | #### For the contractor: |  | #### For the Employer |
| --- | --- | --- | --- |
| Signature |  |  |  |
| Name |  |  | Amos Mboweni |
| Capacity |  |  | General Manager: Eskom Real Estate |
| On behalf of |  |  | Eskom Holding SOC Megawatt Park, Maxwell Drive, Suninghill, Johannesburg |
| Name & signature of witness |  |  |  |
| Date |  |  |  |

C1.2 TSC3 Contract Data

# Part one - Data provided by the Employer

| Clause |  | ## Statement | ## Data |  |
| --- | --- | --- | --- | --- |
| 1 |  | ## General |  |  |
|  |  | The conditions of contract are the core clauses and the clauses for main Option: |  |  |
|  |  |  | A: Priced contract with price list |  |
|  |  | dispute resolution Option | W1: Dispute resolution procedure |  |
|  |  | and secondary Options |  |  |
|  |  |  | X2 Changes in the law X17 Low service damages |  |
|  |  |  | X18: Limitation of liability X19: Task Order |  |
|  |  |  | Z: Additional conditions of contract |  |
|  |  | of the NEC3 Term Service Contract April 2013 (TSC3) | If 2005 Edition is to be used delete “April 2013” and replace with “June 2005 with amendments June 2006”. Always delete this note before finalising this Data |  |
| 10.1 |  | The Employer is (name): | Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa |  |
|  |  | Address | Registered office at Megawatt Park, Maxwell Drive, Suninghill, Johannesburg |  |
| 10.1 |  | The Service Manager is (name): | CELUMUSA ZULU |  |
|  |  | Address | Eskom Research and Innovation Centre, Lower Germiston Road |  |
|  |  | Tel | 011 629 5752 |  |
|  |  | e-mail | Zulucc@eskom.co.za |  |
| 11.2(2) |  | The Affected Property is | Eskom Academy of Learning (EAL) |  |
| 11.2(13) |  | The service is | The Design, Supply, Installation and Commissioning, of an Integrated Physical Security System at Eskom Academy of Learning. (EAL Smart Integrated Physical Security) |  |
| 11.2(14) |  | The following matters will be included in the Risk Register | N/A |  |
| 11.2(15) |  | The Service Information is in | Part 3: Scope of Work and all documents and drawings to which it makes reference. |  |
| 12.2 |  | The law of the contract is the law of | the Republic of South Africa |  |
| 13.1 |  | The language of this contract is | English |  |
| 13.3 |  | The period for reply is | 3 working days |  |
| ## 2 |  | ## The Contractor’s main responsibilities | Data required by this section of the core clauses is also provided by the Contractor in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data |  |
| 21.1 |  | The Contractor submits a first plan for acceptance within | One (1) weeks of the Contract Date |  |
| ## 3 |  | ## Time |  |  |
| 30.1 |  | The starting date is. | 24/04/2026 |  |
| 30.1 |  | The service period is | - 5 years (60 months) Outcome Based model including installation, commissioning, maintenance and support service, the contract will be as Technology as a service (TaaS) model. or - 8 months contract plan, the supplier will be paid after installation and commissioning (without maintenance service) |  |
| ## 4 |  | ## Testing and defects | ## There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data |  |
| ## 5 |  | ## Payment |  |  |
| 50.1 |  | The assessment interval is | between the 25th day of each successive month. |  |
| 51.1 |  | The currency of this contract is the | South African Rand |  |
| 51.2 |  | The period within which payments are made is | 4 weeks. |  |
| 51.4 |  | The interest rate is | the publicly quoted prime rate of interest (calculated on a 365 day year) charged by from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and (ii) the LIBOR rate applicable at the time for amounts due in other currencies. LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter (and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove. |  |
| ## 6 |  | ## Compensation events | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data |  |
| ## 7 |  | ## Use of Equipment Plant and Materials | ## There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data |  |
| ## 8 |  | ## Risks and insurance |  |  |
| 80.1 |  | These are additional Employer's risks | N/A |  |
| 83.1 |  | The Employer provides these insurances from the Insurance Table | as stated for “Format TSC3” available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_ From_1_April_2014_To_31_March_2015.aspx (See Annexure A for basic guidance). |  |
| 83.1 |  | The Employer provides these additional insurances | as stated for “Format TSC3” available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_ From_1_April_2014_To_31_March_2015.aspx (See Annexure A for basic guidance) |  |
| 83.1 |  | The minimum amount of cover for insurance against loss and damage caused by the Contractor to the Employer’s property is | the amount of the deductibles relevant to the event described in the “Format TSC3” insurance policy available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_ From_1_April_2014_To_31_March_2015.aspx |  |
| 83.1 |  | The minimum amount of cover for insurance in respect of loss of or damage to property (except the Employer’s property, Plant and Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) arising from or in connection with the Contractor’s Providing the Service for any one event is: | whatever the Contractor deems necessary in addition to that provided by the Employer. |  |
| 83.1 |  | The minimum limit of indemnity for insurance in respect of death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract for any one event is: | As prescribed by the Compensation for Occupational Injuries and Diseases Act No. 130 of 1993 and the Contractor’s common law liability for people falling outside the scope of the Act with a limit of Indemnity of not less than R500 000 (Five hundred thousand Rands). |  |
| ## 9 |  | ## Termination | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |
| ## 10 |  | ## Data for main Option clause |  |  |
| A |  | Priced contract with price list |  |  |
| 20.5 |  | The Contractor prepares forecasts of the final total of the Prices for the whole of the service at intervals no longer than | Three (3) weeks. |  |
| ## 11 |  | ## Data for Option W1 |  |  |
| W1.1 |  | The Adjudicator | the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him. (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA). |
| W1.2(3) |  | The Adjudicator nominating body is: | the Chairman of ICE-SA a joint Division of the South African Institution of Civil Engineering and the Institution of Civil Engineers (London) (see www.ice-sa.org.za ) or its successor body. |  |
| W1.4(2) |  | The tribunal is: | arbitration |  |
| W1.4(5) |  | The arbitration procedure is | the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body. |  |
|  |  | The place where arbitration is to be held is | South Africa |  |
|  |  | The person or organisation who will choose an arbitrator - if the Parties cannot agree a choice or - if the arbitration procedure does not state who selects an arbitrator, is | the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body. |  |
| ## 12 |  | ## Data for secondary Option clauses |  |  |
| X2 |  | Changes in the law | There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data. |  |
| X17 |  | Low service damages |  |  |
| X17.1 |  | The service level table is in | Contract Data Consequence management framework: Compliance with Regulatory and Legislative Requirements: - First Breach: Formal written warning, immediate corrective action, and recovery of losses. The main supplier must ensure the service partner complies. - Second Breach: Financial penalty (5% of contract value), independent audit, and recovery of losses. The main supplier must replace the non-compliant service partner. - Third Breach: Termination of contract and recovery of all losses. Mandatory Technology Availability and Equipment Compliance (98% availability, ≤ two hours downtime): - First Breach: Verbal warning, corrective action within 24 hours, and recovery of losses (if any). If applicable, the main supplier must ensure the service partner rectifies the issue. - Second Breach: Written warning, additional training, and recovery of losses. The main supplier must review the service partner’s performance. - Third Breach: Financial penalty (5% of contract value), performance review, and recovery of losses. The main supplier must replace the non-performing service partner. Customer Satisfaction: - First Breach: Verbal warning, improvement plan, and recovery of losses. The main supplier must ensure the service partner implements the plan. - Second Breach: Written warning, additional training, and recovery of losses. The main supplier must review the service partner’s performance. - Third Breach: Financial penalty (5% of contract value), performance review, and recovery of losses. The main supplier must replace the non-performing service partner. Any financial penalty deductions applied must first be authorized by Procurement, ensuring alignment with Eskom and National Treasury guidelines. |  |
| X18.1 |  | The Contractor’s liability to the Employer for indirect or consequential loss is limited to | R0.0 (zero Rand) |  |
| X18.2 |  | For any one event, the Contractor’s liability to the Employer for loss of or damage to the Employer’s property is limited to | the amount of the deductibles relevant to the event described in the “Format TSC3” insurance policy available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_ From_1_April_2014_To_31_March_2015.aspx |  |
| X18.3 |  | The Contractor’s liability for Defects due to his design of an item of Equipment is limited to | The greater of - the total of the Prices at the Contract Date and - the amounts excluded and unrecoverable from the Employer’s insurance (other than the resulting physical damage to the Employer’s property which is not excluded) plus the applicable deductibles in the Employer’s assets and works / maintenance policies available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_ From_1_April_2014_To_31_March_2015.aspx |  |
| X18.4 |  | The Contractor’s total liability to the Employer, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to | the total of the Prices other than for the additional excluded matters. The Contractor’s total liability for the additional excluded matters is not limited. The additional excluded matters are amounts for which the Contractor is liable under this contract for - Defects due to his design, plan and specification, - Defects due to manufacture and fabrication outside the Affected Property, - loss of or damage to property (other than the Employer’s property, Plant and Materials), - death of or injury to a person and - infringement of an intellectual property right. |  |
| X18.5 |  | The end of liability date is | 1 (One) month after the end of the service period. |  |
| X19 |  | Task Order |  |  |
| X19.5 |  | The Contractor submits a Task Order programme to the Service Manager within | Two working days of receiving the Task Order |  |
| Z |  | The additional conditions of contract are | Z1 to Z11 always apply. |  |
| Z1 | Cession delegation and assignment |  |  |
| Z1.1 | The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer. |  |  |
| Z1.2 | Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. |  |  |
| Z2 | Joint ventures |  |  |
| Z2.1 | If the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Employer for the performance of this contract. |  |  |
| Z2.2 | Unless already notified to the Employer, the persons or organisations notify the Service Manager within two weeks of the Contract Date of the key person who has the authority to bind the Contractor on their behalf. |  |  |
| Z2.3 | The Contractor does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Employer having been given to the Contractor in writing. |  |  |
| Z3 |  | Change of Broad Based Black Economic Empowerment (B-BBEE) status |  |
| Z3.1 |  | Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change. |  |
| Z3.2 |  | The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Service Manager within thirty days of the notification or as otherwise instructed by the Service Manager. |  |
| Z3.3 |  | Where, as a result, the Contractor’s B-BBEE status has decreased since the Contract Date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Service. |  |
| Z3.4 |  | Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are P1, P2 and P4 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93. |  |
| Z4 | Ethics |  |  |
| Z4.1 | Any offer, payment, consideration, or benefit of any kind made by the Contractor, which constitutes or could be construed either directly or indirectly as an illegal or corrupt practice, as an inducement or reward for the award or in execution of this contract constitutes grounds for terminating the Contractor’s obligation to Provide the Service or taking any other action as appropriate against the Contractor (including civil or criminal action). |  |  |
| Z4.2 | The Employer may terminate the Contractor’s obligation to Provide the Service if the Contractor (or any member of the Contractor where the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations) is found guilty by a competent court, administrative or regulatory body of participating in illegal or corrupt practices. Such practices include making of offers, payments, considerations, or benefits of any kind or otherwise, whether in connection with any procurement process or contract with the Employer or other people or organisations and including in circumstances where the Contractor or any such member is removed from the an approved vendor data base of the Employer as a consequence of such practice. |  |  |
| Z4.3 | Notwithstanding the provisions of core clause 90.2, the procedures on termination in terms of this clause are P1, P2 and P4 as stated in the core clause 92 and the amount due is A1 and A3 as stated in core clause 93. |  |  |
| Z5 | Confidentiality |  |  |
| Z5.1 | The Contractor does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time). Should the Contractor disclose information to Others in terms of clause 25.1, the Contractor ensures that the provisions of this clause are complied with by the recipient. |  |  |
| Z5.2 | If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Service Manager. |  |  |
| Z5.3 | In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure. In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed. |  |  |
| Z5.4 | The taking of images (whether photographs, video footage or otherwise) of the Affected Property or any portion thereof, in the course of Providing the Service and after the end of the service period, requires the prior written consent of the Service Manager. All rights in and to all such images vests exclusively in the Employer. |  |  |
| Z5.5 | The Contractor ensures that all his subcontractors abide by the undertakings in this clause. |  |  |
| Z6 | Waiver and estoppel: Add to core clause 12.3: |  |  |
| Z6.1 | Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Service Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing. |  |  |
| Z7 |  | Health, safety and the environment: Add to core clause 27.4 |  |
| Z7.1 |  | The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the service. Without limitation the Contractor: - accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Affected Property; - warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of the service; and - undertakes, in and about the execution of the service, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |
| Z7.2 |  | The Contractor, in and about the execution of the service, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |
| Z8 | Provision of a Tax Invoice and interest. Add to core clause 51 |  |  |
| Z8.1 | Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Service Information, showing the amount due for payment equal to that stated in the payment certificate. |  |  |
| Z8.2 | If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice. Interest due by the Employer in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made. |  |  |
| Z8.3 | The Contractor (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment. |  |  |
| Z9 | Notifying compensation events |  |  |
| Z9.1 | Delete the last paragraph of core clause 61.3 and replace with: If the Contractor does not notify a compensation event within eight weeks of becoming aware of the event, he is not entitled to a change in the Prices. |  |  |
| Z10 | Employer’s limitation of liability |  |  |
| Z10.1 | The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand) |  |  |
| Z10.2 | The Contractor’s entitlement under the indemnity in 82.1 is provided for in 60.1(12) and the Employer’s liability under the indemnity is limited to compensation as provided for in core clause 63 and X19.11 if Option X19 Task Order applies to this contract. |  |  |
| Z11 | Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it": |  |  |
| Z11.1 | or had a business rescue order granted against it. |  |  |

# Annexure A:	Insurance provided by the Employer

These notes are provided as guidance to tendering contractors and the Contractor about the insurance provided by the Employer. The Contractor must obtain its own advice. Details of the insurance itself are available from the internet web link given below.

- Services provided in a TSC3 contract could include some element of construction or refurbishment as well as a continuous maintenance or operational service activity.  If an event occurs which causes loss or damage, a claim could be made either against the Employer’s “works” type policy which may be in place for the Employer’s portion of the Affected Property concerned or against the Employer’s assets policy which may be in place for the Employer’s portion of the Affected Property concerned, or both.

- The cover provided and the deductibles under the works policy are different to those under the assets policy.   Each policy has a range of applicable deductibles depending on the location of the Affected Property and the nature of the insurable event.

- The Contractor is required in terms of Contract Data for clause 83 to provide cover for the deductibles in the insurance provided by the Employer.  This can be provided from his own resources on a ‘self insured’ basis or obtained by him from his own insurers.   In order to assess the extent of this cover, tendering contractors and their brokers should consult the internet web link given below and scroll to ‘Format TSC3’ to establish both the cover and the deductibles in relation to the service provided in terms of this contract.

- Tendering contractors should note that cover provided by the Employer is only per the policies available on the internet web link listed below and may not be the cover required by the tendering contractor or as intended by each of the listed insurances in the left hand column of the Insurance Table in clause 83.2.  In terms of clause 83.1 “the Contractor provides the insurances stated in the Insurance Table except any insurance which the Employer is to provide”.  Hence the Contractor provides insurance which the Employer does not provide and in cases where the Employer does provide insurance the Contractor insures for the difference between what the Insurance Table requires and what the Employer provides.

- If Marine Insurance is required the Contractor needs to obtain a copy of the latest edition of Eskom’s Marine Policies Procedures found at internet website given below.

- Further information and full details of all Eskom provided policies and procedures may be obtained from:

http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_

From_1_April_2014_To_31_March_2015.aspx

C1.2 Contract Data

# Part two - Data provided by the Contractor

| ## Clause | ## Statement | ## Data |
| --- | --- | --- |
| 10.1 | The Contractor is (Name): |  |
|  | Address |  |
|  | Tel No. |  |
|  | Fax No. |  |
| 11.2(8) | The direct fee percentage is | 100% |
|  | The subcontracted fee percentage is | 0% |
| 11.2(14) | The following matters will be included in the Risk Register | Strike and Industrial Action, Incliment Weather |
| 11.2(15) | The Service Information for the Contractor’s plan is in: | To be submitted to the Service Manager |
| 24.1 | The key people are: |  |
|  | 1 Name: |  |
|  | Job: |  |
|  | Responsibilities: |  |
|  | Qualifications: |  |
|  | Experience: |  |
|  | 2 Name: |  |
|  | Job |  |
|  | Responsibilities: |  |
|  | Qualifications: |  |
|  | Experience: |  |
|  |  | CV's (and further key person's data including CVs) are in the tender submission. |
| A | Priced contract with price list |  |
| 11.2(12) | The price list is in | PART 2: PRICING DATA |
| 11.2(19) | The tendered total of the Prices is |  |

# Part 2: Pricing Data

TSC3 Option A

| Document reference | Title | No of pages |
| --- | --- | --- |
| C2.1 | Pricing assumptions: Option A | 2 |
| C2.2 | The price list | 4 |

C2.1 Pricing assumptions: Option A

# How work is priced and assessed for payment

Clause 11 in NEC3 Term Service Contract (TSC3) core clauses and Option A states:

| Identified and defined terms | 11 11.2 | (12) The Price List is the price list unless later changed in accordance with this contract. |
| --- | --- | --- |
|  |  | (17) The Price for Services Provided to Date is the total of - the Price for each lump sum item in the Price List which the Contractor has completed and - where a quantity is stated for an item in the Price List, an amount calculated by multiplying the quantity which the Contractor has completed by the rate. |
|  |  | (19) The Prices are the amounts stated in the Price column of the Price List. Where a quantity is stated for an item in the Price List, the Price is calculated by multiplying the quantity by the rate. |

This confirms that Option A is a priced contract where the Prices are derived from a list of items of service which can be priced as lump sums or as expected quantities of service multiplied by a rate or a mix of both.

# Function of the Price List

Clause 54.1 in Option A states: “Information in the Price List is not Service Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price List but in the Service Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Service in accordance with the Service Information”. Hence the Contractor does not Provide the Service in accordance with the Price List.   The Price List is only a pricing document.

# Link to the Contractor’s plan

Clause 21.4 states “The Contractor provides information which shows how each item description on the Price List relates to the operations on each plan which he submits for acceptance”.  Hence when compiling the price list, the tendering contractor needs to develop his first clause 21.2 plan in such a way that operations shown on it can be priced in the price list  and result in a satisfactory cash flow in terms of clause 11.2(17).

# Preparing the price list

Before preparing the price list, both the Employer and tendering contractors should read the TSC3 Guidance Notes pages 14 and 15.  In an Option A contract, either Party may have entered items into the price list either as a process of offer and acceptance (tendering) or by negotiation depending on the nature of the service to be provided.  Alternatively the Employer, in his Instructions to Contractors or in a Tender Schedule, may have listed some items that he requires the Contractor to include in the price list to be prepared and priced by him.

It is assumed that in preparing or finalising the price list the Contractor:

- Has taken account of the guidance given in the TSC3 Guidance Notes relevant to Option A;

- Understands the function of the Price List and how work is priced and paid for;

- Is aware of the need to link operations shown in his plan to items shown in the Price List;

- Has listed and priced items in the price list which are inclusive of everything necessary and incidental to Providing the Service in accordance with the Service Information, as it was at the time of tender, as well as correct any Defects not caused by an Employer’s risk;

- Has priced work he decides not to show as a separate item within the Prices or rates of other listed items in order to fulfil the obligation to complete the service for the tendered total of the Prices.

- Understands there is no adjustment to items priced as lump sums if the amount, or quantity, of work within that item later turns out to be different to that which the Contractor estimated at time of tender. The only basis for a change to the (lump sum) Prices is as a result of a compensation event.

  - Format of the price list

(From the example given in an Appendix within the TSC3 Guidance Notes)

Entries in the first four columns in the price list in section C2.2 are made either by the Employer or the tendering contractor.

If the Contractor is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering contractor enters the amount in the Price column only, the Unit, Expected Quantity and Rate columns being left blank.

If the Contractor is to be paid an amount for an item of work which is the rate for the work multiplied by the quantity completed, the tendering contractor enters the rate which is then multiplied by the Expected Quantity to produce the Price, which is also entered.

If the Contractor is to be paid a Price for an item proportional to the length of time for which a service is provided, a unit of time is stated in the Unit column and the expected length of time (as a quantity of the stated units of time) is stated in the Expected Quantity column.

C2.2 the price list

The rates and Prices entered for each item includes for all work and other things necessary to complete the items.

Part 3: Scope of Work

The Design, Supply, Installation and Commissioning, of an Integrated Physical Security System at Eskom Academy of Learning.   (EAL Smart Integrated Physical Security)

DESCRIPTION OF THE ITEMS FOR SECURITY EQUIPMENT

Background Information

Eskom owns a large Corporate Property (Eskom Academy of Learning, EAL) in the Gauteng region, this asset is currently occupied by Eskom employees in order to provide functionality to the organisation’s operations. The property is managed by Eskom Real Estate. This property needs to have security protocols in place, one of the key aspects of the protection protocols, is the use of smart technology to manage, monitor and control of access/egress to the property.

Furthermore, the organisation’s assets, employees, visitors, their vehicles and all other equipment associated with, need to be protected against elements of crime and vandalism. An advanced technology within the security systems is needed to ensure that the organization, can effectively prevent losses, due to crime or nefarious behaviour. Such incidents need to be monitored, and the information has to be recorded as an audit trail for reference and legal requirements. In some instances, the Security Systems are mandatory to comply with National Treasury’s SCM policy.

EAL Smart Campus is equipped with digital IPHD CCTV PTZ (Pan Tilt Zoom), static cameras, Licence plate recognition cameras, face recognition cameras, energised non-lethal fences, booms, turnstiles, and gates etc. At parking areas, exits/ entrances, offices spaces and other restricted areas have all equipped with complete integrated access control system.

The CCTV cameras are mainly installed to detect criminal, irregular activities and to offer material of documentary evidential value in disputed incidents involving Eskom critical assets and processes.

A combination of Physical Access Control systems (Gates, booms, turnstiles, access control controllers, visitor management software and licence plate recognition cameras, fences, etc) are integrated by means of ICT software and other electrical automation platforms to ensure that they are synchronised to operate efficiently.

Physical access control systems are systems deployed to physically prevent unauthorised access, direct persons and vehicles to designated access/ exit points and to define specific boundaries for the specified sites.

As part of the Eskom emergency management system and to comply with the Occupational Health and safety Law, ERE has installed Public Address systems to efficiently co-ordinate evacuations during emergencies. These systems also need to be maintained to ensure that they work effectively during the time of need.

The incumbent supplier must be an industry systems integration specialist in the area of IP HD CCTV IoT AI technology and other platforms and must possess extensive accreditations and training from established suppliers and Original Equipment Manufacturers (OEM’s) locally and internationally. The supplier must also be experienced in the installation and integration of Physical Access Control Security Systems (Booms, gates, Fences, turnstiles etc.) from various manufacturers and access control software security technologies.

Description of Service/ product that needs to be provided (Use high level and short text format), and if necessary, add a spreadsheet.

Eskom Academy of Learning needs to establish a comprehensive contract for the installation of advanced Security Systems infrastructure, for both software and hardware. The contract shall ensure that installation shall be aligned to the site current infrastructure, as well as improvements as listed under the scope. The specification shall ensure that redundancy for future development must be built into the design for any technological advancements or storage requirements for data integrity during audit purposes.

There shall be very stringent gate-keepers for this contract to go out tender, this to ensure that we have made the best selection for an accredited service provider with a reputable track record. The tenderer shall be expected to have verifiable POCs of major security systems solutions for corporate buildings that their organizations have successfully completed.

The service provider shall have valid accreditation with mandatory bodies, in the security and engineering industry, specifically for the technical experience. Furthermore, we shall be pursuing certification of their key personnel, for compliance to the industry’s mandatory requirements, as well as Eskom’s best interests for our system’s integrity. It would be prudent to pursue a NDA between Eskom and the successful bidder.

- Motivation

Eskom Real Estate needs to comply with the National Building Regulations & standards, and shall include all critical aspects of the Occupational Health & Safety as well as Security requirements both physical and technical. The Security Systems Contract shall ensure the protection of the occupants, visitors, assets and all associated equipment, as well as all processes.

- Benefits to Eskom

This contract shall enable Eskom Academy of Learning to provide a safe, professional and functional work environment for office occupants, visitors and contractors in the Corporate Property. Furthermore, the contract shall enable the organization to manage and maintain the functionality of the technical security systems infrastructure which will aid in limiting losses from criminal elements or vandalism.

- Sound equipment database management.

- The integration of operations at all ERE Sites in the near future.

- The equipment will operate optimally thereby increasing availability and limiting system downtime.

- Reduction of reactive maintenance.

- Reliability data: MTBF, MTTB (mean time to breakdown), MTBR (mean time between removals),

- Warranty/ guarantee documents.

- Scope of work/ supply

The new concept of having the smart systems at EAL corporate site shall be the key to the objective of this contract. The contract shall ensure that the following security systems infrastructure, shall be installed for optimal functionality.

The Eskom Real Estate mandate shall be to protect and safeguard all the business operations within Eskom Academy of Learning.

- Produce basic and detailed designs for the Integrated Security System. The detailed design must include detailed designs for the Access Control System, CCTV System, Intruder Detection System, Alarm System, Public Address System and PSIM System (including IT Infrastructure). The design must also cover the integration of these different systems and the NLEPDS (existing) into an Integrated Security System.

2.	Present the designs to the Security Team for acceptance.

3.	Installation and configuration of EAL security LAN Infrastructure.

4.	Installation, configuration and commissioning of the CCTV System in totality 
            on site as per Eskom Standard (240-91190304).

5.	Installation, configuration and commissioning of the Integrated Access Control 
            System (IACS) in totality on site as per Eskom Standard (240-102220945).

6.	Installation, configuration and commissioning of an Intruder Detection System 
            in totality on site as per Eskom Standard (240-91190304,240-86738968 & 240-
            170000096).

7.	Installation, configuration and commissioning of an alarm system on site as 
            per Eskom Standard (240-86738968).

8.	Installation, configuration and commissioning of Public Address System in 
            totality on site as per Eskom Standard (240-170000098).

9.	Installation, configuration and commissioning of intrusion pre-detection 
            system in totality on site as per Eskom Standard (240-170000691.

10.	Integration of the Access Control System (ACS), CCTV System, Intruder 
            Detection System, Alarm System, and Public Address System into an 
            Integrated Security System (240-170000096) to interface with the PSIM system.

11.	Provide services as per 240-170000723.

12.	Standard For Non-Lethal Energised Perimeter Detection System (NLEPDS) 
            Electrical Components 240-78980848.

13. Ensure full compliance with Eskom’s Cyber Security Standard for Operational Technology (OT) Standard 240 55410927 in the design, installation, configuration, and commissioning of all security-related systems, networks, and infrastructure. This shall include the implementation of cybersecurity controls, hardening of devices, secure configurations, network zoning, access management, firewall rules, system monitoring, encryption requirements, patching, and vulnerability mitigation in accordance with the standard. All systems integrated into the security environment shall be secured and validated for cyber compliance prior to commissioning.

- Access Control

  - Boom gates, spikes, security booths.

  - Touchless access control.

  - Emergency exits.

  - Emergency evacuation systems.

  - Visitor management systems functionality availability.

  - Software Licences to be owned by Eskom (Pass keys)

  - Recording of access control data storage for 72 months minimum.

  - Lifecycle refurbishment/ upgrade for hardware.

- Electric Fence

  - Solar back-up

  - Battery replacements

  - Lifecycle refurbishment/ upgrade

  - Warning devices, sounders, detection

- CCTV

  - System integrity with tiered access for operating system i.e. Management, Supervisor and Operator levels.

  - Recording devices and data storage for footage for 13 months.

  - Eskom shall own software licenses and pass keys.

  - Lifecycle refurbishment/ upgrade for hardware.

  - Night detection with early warning capabilities as an improvement.

- Video Wall

- Display live CCTV feeds, alarms, and operational dashboards from VMS, PSIM, access control, intrusion, and sensor systems.

- Support automated camera and layout call‑ups triggered by alarms and security events.

- Must operate on a 24/7/365 basis with redundant controllers, network paths, and backup power (UPS and generator integration).

- Provide real-time visual and audible alerts and shared situational awareness across the control centre.

- Alarm or Panic Systems

  - Emergency system for response, any threats, medical incidents assistance.

  - Alert system for First Aider responses, Fire and Evacuation Wardens

- Contractual Obligations:

  - SLA shall be in place to ensure that we have weekly system inspection and reports for all of the above security systems.

  - System’s integrity to be intact, the system shall operate on a stand-alone basis, but on an upgradable system to integrate to other sites.

  - Systems training on operations at different levels for Management, Supervisory and Operator levels.

  - Response time in case of breakdown to be quoted within 2hrs during working hours as well as outside normal office hours.

  - 24hrs emergency or breakdown service.

  - Spare parts for replacement kept in stock as specified in the bill of quantities.

  - Method statement and risk assessments for regular work activities performed at site.

  - Adherence to Eskom’s Safety and Quality Audits.

  - SLA time line requirements in terms of agreed time lines and emergency callouts need to be met or penalty clauses of 10% to monthly contract values apply if scope or conditions of contract are not met (instituted by non-conformance notice, or early warning notice).

- Any work performed should provide a warranty and support of:

- 12 months for workmanship or repairs

- 60 months for new installations

- The warranty must include labour and traveling for the full period of 60 months

- Payment certificates for completed work can only be accepted against a registered and traceable asset with relevant certificate and warranty in place.

- The SLA time frames for repairs must not exceed 4hrs or meet agreed time frames indicated in task/ work orders issued.

- Penalties will be applied as stipulated in the NEC3 terms services contract.

- Eskom reserves the right to obtain or request any other supplier quotes to secure a competitive or market related pricing.

  - Systems Performance Matrices

- Alarm Systems Specification:

- Integration with motion detection systems for early threat detection.

- Must include tamper-proof mechanisms and backup power supply (e.g., UPS or solar).

- Real-time alerts to a centralised monitoring system.

Targets:

- False alarm rate: ≤ 5%.

- Uptime: 98% over 60 months.

- Motion Sensors Specification:

- Strategically placed to cover all critical areas, including perimeters, entry points, and high-value assets.

- Must include advanced features such as thermal imaging and pet immunity to reduce false alarms.

- Integration with alarm systems and CCTV for real-time intrusion detection.

Targets:

- Detection accuracy: ≥ 95%.

- Response time: ≤ 5 seconds from detection to alert.

- CCTV Cameras Specification:

- High-resolution cameras (minimum 4mp) with night vision and wide dynamic range (WDR) for low-light conditions.

- AI-based analytics for real-time threat detection (e.g., loitering, perimeter breaches).

- Active monitoring 24/7 with footage stored for a minimum of 90 days.

- Integration with alarm systems and motion sensors.

Targets:

- Coverage of critical areas: 100%.

- Uptime: 98% over 60 months.

- License Plate Recognition (LPR) Cameras Specification:

- High-resolution cameras capable of capturing license plates in various lighting and weather conditions.

- Integration with access control systems to automate vehicle entry/exit.

- Real-time alerts for unauthorised or flagged vehicles.

Targets:

- Recognition accuracy: ≥ 95%.

- Response time: ≤ 10 seconds from detection to alert.

- Access Control Systems Specification:

- Biometric scanners (fingerprint or facial recognition) for personnel access.

- Integration with LPR cameras for vehicle access.

- Real-time monitoring and logging of all access events.

Targets:

- System uptime: 98% over 60 months.

- False acceptance rate: ≤ 0.1%.

- Video Wall Systems Specification:

•	Display live CCTV feeds, alarms, and operational dashboards from VMS, PSIM, access control, intrusion, and sensor systems.

•	Support automated camera and layout call‑ups triggered by alarms and security events.

•	Must operate on a 24/7/365 basis with redundant controllers, network paths, and backup power (UPS and generator integration).

•	Provide real-time visual and audible alerts and shared situational awareness across the control centre.

Targets:
• 	System availability (uptime): ≥ 99.95% measured monthly over the contract term.
• 	Alarm/event visualisation success rate: ≥ 99.5%.
• 	Critical incident restoration time (MTTR): ≤ 60 minutes.

- Public Address Systems Specification:

- Clear and audible announcements for emergency notifications.

- Integration with alarm systems for automated alerts.

Targets:

- Coverage of critical areas: 100%.

- Uptime: 98% over 60 months.

- Intrusion Detection Systems Specification:

- Combination of motion sensors, thermal imaging, and perimeter detection systems.

- Real-time alerts to a centralised monitoring system.

Targets:

- Detection accuracy: ≥ 95%.

- Response time: ≤ five seconds from detection to alert.

NB: A comprehensive scope of all equipment will be attached and should be followed.

- Specification of Product or Goods

Provision of comprehensive IP CCTV (Closed Circuit Television) cameras and the Physical Access Control Systems (PACS), Access control software and visitor management systems non-lethal energised fencing, PA systems at Eskom Academy of Learning.

The specified items are listed as follows:

New system to be installed as per Eskom standard.

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C3.1 | Employer’s Service Information | 2 |
|  | Total number of pages | 3 |

C3.1: Employer’s service Information

- Description of the service

  - Executive overview

The works amongst others consist of supervision, labour, plant and equipment necessary to carry out security equipment installation services.

  - Employer’s requirements for the service

# Project scope - OPTION 1: NEC Outcome Based Model

The project includes requirements for an Integrated Physical Security System comprising a perimeter fence, non-lethal fence on top, Access Control Systems, CCTV System, Intrusion Pre-detection System, Alarm System, public address (PA) and interfaces to the Security management System including IT infrastructure and relocate the current control room. The engagement will be structured through an outcome-based contract, ensuring accountability and performance.

The contractor shall design, supply, develop user documentation, perform testing, and deliver, install and commission including maintenance and support of the Integrated Physical Security System for the duration of the contract (60 months) and associated equipment (hardware/software etc.) at EAL according to the approved Eskom technical specifications. The solution shall be provided as a Technology-as-a-Service (TaaS) model, whereby all hardware, software, licensing, maintenance, support, upgrades, and associated services are included, and Eskom shall pay a fixed monthly service fee for the duration of the five-year contract.

The scope of work for the contractor for the Integrated Security System will include the following:

- Produce designs for the Integrated Security System. The designs must include details for the Access Control System, CCTV System, Intruder Detection System, Alarm System, Public Address System and PSIM System (including IT Infrastructure). The design must also cover the integration of these different systems into an Integrated Security System.

- Present the proposed designs to the Security Team for acceptance.

- Installation and configuration of EAL security LAN Infrastructure.

- Installation, configuration and commissioning of the CCTV System in totality on site as per Eskom Standard (240-91190304).

- Installation, configuration and commissioning of the Integrated Access Control System (IACS) in totality on site as per Eskom Standard (240-102220945).

- Installation, configuration and commissioning of an Intruder Detection System in totality on site as per Eskom Standard (240-91190304,240-86738968 & 240-170000096).

- Installation, configuration and commissioning of an alarm system on site as per Eskom Standard (240-86738968).

- Installation, configuration and commissioning of Public Address System in totality on site as per Eskom Standard (240-170000098).

- Installation, configuration and commissioning of intrusion pre-detection system in totality on site as per Eskom Standard (240-170000691.

- Integration of the Access Control System (ACS), CCTV System, Intruder Detection System, Alarm System, and Public Address System into an Integrated Security System (240-170000096) to interface with the PSIM system.

- Provide services as per 240-170000723.

- Standard For Non-Lethal Energised Perimeter Detection System (NLEPDS) Electrical Components 240-78980848.

- Ensure full compliance with Eskom’s Cyber Security Standard for Operational Technology (OT) Standard 240-55410927 in the design, installation, configuration, and commissioning of all security-related systems, networks, and infrastructure. This shall include the implementation of cybersecurity controls, hardening of devices, secure configurations, network zoning, access management, firewall rules, system monitoring, encryption requirements, patching, and vulnerability mitigation in accordance with the standard. All systems integrated into the security environment shall be secured and validated for cyber compliance prior to commissioning.

- Installation, configuration and commissioning of interfaces to the Physical Security Information Management (PSIM), including firewall configuration and Telecoms circuit commissioning, for data collection, incidents management, data correlation, controlling functionality (CCTVs, IACS systems, PA Systems, etc.) and provision of real-time dashboards and reports (refer to DEM2412993 & 2425114).

- Conduct FAT and SAT tests before commissioning the complete integrated system.

- Compile site as-built drawings with electrical and engineering details.

- Create a graphical user interface (GUI) and behaviour models for the site.

N.B. The systems specified represent baseline technology and do not preclude the tenderer from proposing more advanced alternative solutions.

## Integrated Access Control System (IACS)

- The Integrated Access Control System will be used to manage the access rights of Eskom Academy of Learning employees, visitors and contractors in and out of different areas at all the sites.

- The system will also be used to grant and limit access permissions in and out of secure and non-secure areas.

- The offered system shall comply with the requirements of the Specification for Integrated Access Control System (IACS) for Eskom sites (240-102220945).

- The system should support a tiered architecture, which will allow monitoring of the sites both locally and remotely. This architecture comprises field devices (biometric, QR codes and card readers) at the site level and system management servers at the remote security nerve centre.

- The system should integrate with other subsystems like Visitor management system, Surveillance system, etc. The system should be modern and fit for a smart campus initiative. The supplier can propose the latest technology to be deployed in a smart campus environment.

### Biometrics, QR codes and card reader

The main access to the premises should be the use of either a fingerprint or a card.

- Biometrics and card reader shall comply with SANS 2220-2-5 and SANS 2220-2-3, respectively.

- Card and biometric reader should be installed at every point of entry.

### License plate recognition (LPR) cameras:

- High-resolution cameras capable of capturing license plates in various lighting and weather conditions.

- Integration with access control systems to automate vehicle entry/exit.

- Integrate with eNatis for real-time alerts for unauthorised or flagged vehicles. Maintain necessary licenses.

### Metal Detectors and X-Ray machines

The bidder is required to provide screening equipment at designated main access points to support the detection and prevention of unauthorised items entering the premises. The solution should include personnel and baggage screening technologies that are suitable for high-traffic environments and aligned with recognised safety and performance standards. The equipment must be capable of detecting a wide range of prohibited items and should support rapid processing without compromising accuracy or safety.

It is expected that the proposed systems will integrate seamlessly with existing security infrastructure, including access control and centralised security management platforms. Compliance with applicable local regulatory requirements, including radiation safety regulations enforced by the South African Health Products Regulatory Authority (SAHPRA). Equipment must include shielding to prevent radiation leakage and emergency stop features for operator safety.

### IACS device layout

The examples of access control devices for the sites and their locations are shown in Table 1 below:

| Area | Point | Device | Status Contact | Lock | Evacuation Device | Bypass |
| --- | --- | --- | --- | --- | --- | --- |
| Main Access | Boom Gate | Card or Fingerprint Reader | Boom Status Contact | Electro-mechanical Lock | None | Mechanical Switch |
| Security Office | Entrance Door | Card or Fingerprint Reader | Door Status Contact | Magnetic Lock | Emergency Exit Button | Mechanical Switch |
| Control Room | Entrance Door | Card +Face recognition Reader | Door Status Contact | Magnetic Lock | Emergency Exit Button | Mechanical Switch |
|  | Emergency Exit Door | Emergency Exit Button | Door Status Contact | Magnetic Lock | Emergency Exit Button | Mechanical Switch |
|  | Server Room Entrance | Card +Face recognition Reader | Door Status Contact | Magnetic Lock | Emergency Exit Button | Mechanical Switch |
| Offices, boardrooms, residences, classrooms and Canteens | Entrances | Card or Fingerprint (In) & Card (Out) | Door Status Contact | Magnetic Lock | Emergency Exit Button | Mechanical Switch |

Table 1: IACS devices positioning

### IACS high-level devices positioning and architecture philosophy

- The contractor is required to submit a detailed design depicting the proposed architecture and narratives of how the IACS functional requirements will be achieved. The implemented architecture for IACS should comply with the principles outlined in the technical standards for IACS.

- In addition to ensuring that the installed system operates as required on-site, the contractor must also ensure that the system enables remote monitoring and control through Eskom WAN.

## Intruder Detection Systems

Intrusion pre-detection units shall be installed in all areas of the Working Environments, including buildings, rooms and the perimeter area which need to be protected.

The proposed solution must include hardening of the existing perimeter fence with an energised non-lethal fence on top. The fence lining must be integrated with the Security Management System to enhance the required detection capability. Proposed Intruder detection systems may be perimeter thermal cameras with three layered virtual fencing.

The sensors shall be placed to effectively detect intrusion into the protected (secured) areas.

The intruder detection should have protection from vibrations caused by digging underneath, breaking through and climbing over the barrier fences/walls. The contractor can propose a suitable device for this protection.

The buildings inside should be protected by a PIR sensors or cameras that are capable of this function and the scope should add the devices where they are missing.

- The Intrusion Pre-detection System installed shall comply with the requirements of the Standard for Intrusion Pre-detection Systems used at Eskom sites (240-170000691).

### Security Lighting

The perimeter shall be equipped with security lighting that activates automatically in the event of an intrusion or alarm condition. The solution must include the following:

- Intelligent perimeter lighting that automatically switches on when an intrusion, alarm, or pre-warning signal is received from any perimeter detection device, thermal camera, fence alarm, or access control alert.

- Lighting systems shall be integrated into the Security Management System (SMS) to ensure real-time activation, event correlation, and operator visibility.

- The lighting must provide sufficient illumination for CCTV verification, guard response, and deterrence without compromising safety or revealing covert systems.

- Lighting units must be placed to:

  - Eliminate dark spots along the fence line

  - Support visual tracking along patrol routes

  - Enhance facial and vehicle identification during alarm-triggered events

- Lighting infrastructure shall support low-power standby mode and switch to full output when triggered.

- The system must fail-safe to ensure minimum security illumination during power or network disruptions, with backup power integrated into the lighting circuit design.

- The contractor shall propose lighting technology suitable for the environment (e.g., LED floodlights, pole-mounted lights, integrated smart security lighting).

The perimeter lighting solution must be designed to support detection, verification, response, and deterrence, functioning as a visual extension of the intrusion detection system.

## Visitor Management System

- Complete installation and setup of the system to facilitate visitor management. Visitors can pre-register through an online portal or a mobile app before their visit. For permission, the system gathers identity documents, pictures, personal information, and the reason for the visit.

- Set up a self-service kiosk or tablets at the appropriate location. Visitors can use the self-service kiosk or tablet at the facility entry to check in when they arrive. The visitor can look up the host by name using the system. For security reasons, guests will need to take a picture, digitally sign in, or scan their identification card.

- The ability to give and deny access to authorised areas based on visitor data is one of the features of integration with the present access control system that ensures compatibility.

- Identification and verification: Several identity verification techniques, including QR code scanning, ID scanning, driver's license verification, and biometric choices (such as fingerprint or face recognition).

- Following a successful check-in, visitors are given a physical or digital badge that contains their name, photo, the locations they are permitted to enter, and the host's information.

- Host notification: setting up to notify hosts in real-time when guests arrive (visitors can only proceed when the host collects them from reception).

- Integration with access control systems, including key cards and biometric readers, is made possible. Depending on their authorisation, visitors can enter secure areas using their badges, and security staff can monitor them in real-time.

- Compliance and audit trails keep a thorough record of every visitor's activity, including the precise times of check-in and check-out, the locations visited, and any incidents.

## CCTV Systems

A CCTV System shall be installed and the proposed system for the Working Environments is intended to provide the guards/control room operators with a single point from where they can view and verify alarm events from the Intrusion Detection System and energised fence triggers without having to physically respond to the alarm event in the case of a false/nuisance alarm and correctly assess and verify positive alarm events in the event of an attempted or successful intrusion attempt.

Implement AI video analytics software that integrates with the existing CCTV cameras. Use AI-driven intrusion detection systems that can analyse patterns and detect unusual activities.

Integrate AI with the existing access control systems to add features like biometric authentication and predictive analytics for identifying potential security breaches.

The offered system shall comply with the requirements of the Eskom Standard for CCTV System (240-91190304).

The CCTV System shall be integrated with video analytics and automatically record any alarm event using the 30-second pre-event buffer, the actual event (for however long motion is detected by the camera) and at least a 30-second post-event period. The system shall utilise a Video Analytics System as pre-detection to automatically generate alarms and perform event recording.

It is proposed that static thermal cameras with video motion detection be installed along the perimeter of the Working Environments to provide both surveillance and detection functionality. In addition, it is proposed that PTZ cameras be installed strategically for zooming and recognition functionality.

The CCTV System shall be connected to the security LAN to enable event-driven video streaming to the local security control room and a nerve centre.

A video intercom system must be installed at the main gate entrance, and the audio feed and camera feed from the unit must be integrated into the local NVR to ensure both visual and audio recording of events. This unit enables the Security Control Room to interact with unannounced visitors and non-EAL staff.

The contractor shall determine the required camera lens types to ensure that the positioning of the cameras results in the most optimised and economical installation of the cameras on the Working Environments. This includes ensuring that continuous visibility is created along the perimeter by eliminating blind spots with one camera having the next camera within its field of view for effective monitoring.

All steel poles and structures shall be hot-dipped galvanised.

### CCTV positioning

All CCTV (cameras) may be positioned as below, and the tenderer can propose the best solution:

| Area | Location | Device | Type |
| --- | --- | --- | --- |
| Perimeter | Perimeter fence | Static thermal camera Associated PTZ | Detection and Identification |
| Access gates | Main access gate | Static optical camera Video intercom | Identification |
| Buildings and offices | Main building entrances | Interior and exterior static cameras | Monitoring and Identification |
|  | Office and canteens entrance | Interior static dome camera | Monitoring and identification |
| Inside buildings | Building corridors, classrooms and common areas | Static dome cameras | Detection and Identification |
| Outside Working Environments | Working Environments and driveways | Motion detection cameras PTZ | Detection and Identification |
| Entrance and Exit of Parking lot | Parking Lots | Camera capable of vehicle counting | Counting |

Table 2: Camera positioning layout

## Alarm System

- The Alarm System shall be installed and will form an integral part of the other security systems installed at EAL to provide proactive coverage and monitoring of all protected areas i.e. site perimeter, entrances, buildings, server rooms and other strategic places within the campus. The following inputs shall trigger the Alarm System:

- Camera video analytics alarm detection on the zone(s).

      - Alarm inputs from the electric fence.

- Alarm inputs from intrusion pre-detection devices.

- Alarm inputs from access control points.

The installed Alarm System shall comply with the requirements of the Specification for Integrated Security Alarm System for Protection of Eskom Installations and its Subsidiaries (Identifier: 240-86738968) and alarming requirements of other integrating technologies mentioned above, forming part of the Integrated Security System at the site.

## Public Announcement System

- The installation of a PA System is required to engage potential intruders and issue warnings.

- The PA System shall be able to be remotely and locally operated when necessary.

- The system must be operable from the guard house and remotely from the responsible control rooms to warn intruders of the restriction of access to the site.

- Voice recordings shall be synchronised with the cameras and recorder on the local NVR via suitable audio input to ensure synchronisation of events.

- Linking the PA to the Fire Detection System and the closest CCTV camera. This will assist with deploying emergency response to the exact location.

- The installed PA System shall comply with the requirements of Technical Specification for Public Address Systems (240-170000098).

All speakers shall be positioned strategically along the perimeter fence and across the campus.

## Site monitoring and control

The contractor will be responsible for the relocation of the current control room at Eskom Academy of Learning. The new control room must be a state of the art and must be designed and equipped to meet modern operational and security standards, enabling effective command, control, and monitoring capabilities.

The control room must include the necessary infrastructure (like Video wall, consoles, server room, modern furniture, etc), systems, and user interfaces to support the centralised management of on-site systems as well as remote sites. The design should facilitate the integration of multiple security subsystems and allow for real-time decision-making across the broader security environment.

- There shall be a security manager workstation at the site in the security building for local allocation and revoking of access rights and control of security workflows.

- There shall be a maintenance manager workstation in the security building for controlling maintenance workflows.

- Some or all of the functions listed in Items (a) and (b) above may be combined into a single physical workstation. The workstation software GUI shall be based on the operator log-on credentials to be able to perform functions listed in Items (a) and (b) above.

- The security alarms and CCTV visuals should be routed to the remote nerve centre through the Eskom WAN or alternative network.

- The system shall allow the remote Security Control Centre to remotely control PTZ cameras at the site.

- The system shall allow the remote Security Control Centre to communicate audio (via PA system) and data with the Working Environments, including the ability to give audio warnings over the PA System to the security zone that detected an intrusion.

- Security Control shall be able to retrieve any of the stored event data or video streams in real-time, either locally or remotely.

## E-Guarding or virtual guarding

The e-guarding or virtual guarding system serves as a technology-enabled extension of physical security, leveraging surveillance infrastructure to provide remote monitoring, verification, and proactive detection of risks. Its primary role is to supplement physical patrols, enhance awareness, and ensure continuous coverage of critical areas.

- The tenderer to propose a system that can be utilised in conjunction with the cameras to conduct virtual guarding.

- The system should be integrated into the management system software.

- The system should allow guards/operators to virtually patrol the sites and tag to detect the areas where the guards have missed.

- The system must be fully integrated into the centralized Security Management System (PSIM platform) to ensure seamless monitoring, event logging, and reporting.

- All patrol activities, alarms, and operator actions must be recorded within the management platform for audit and compliance purposes.

- The system must support real-time incident escalation to the control room and trigger automated responses (e.g., PTZ camera zoom, alarms, or notifications to on-site teams).

## Video Walls

The Video Walls shall be a key tool in the Control Centres, providing a clear and shared view of security operations. The video wall shall support real-time monitoring, quick decision-making, and coordinated response across all security systems. The video walls must be modern, seamless (Ultra narrow bezel), smart, and flexible, allowing for easy integration, configuration, and display of data from multiple security platforms.

- Live Video Monitoring and Visualisation

- Display live video feeds from all local CCTV cameras, including critical infrastructure, perimeter zones, access points, and high-risk areas.

- Support simultaneous display of multiple camera streams with configurable layouts, prioritisation of critical feeds, and rapid switching during incidents.

- Enable automatic camera call-up based on alarms, access control events, or intrusion detection triggers.

- Integrated Operational Dashboards and Alerts

- Display consolidated operational data and dashboards sourced from PSIM, VMS, access control, intrusion detection, and other integrated systems.

- Provide real-time visualisation of emergency alerts, alarms, system health status, and incident escalation levels.

- Support visual and audible alerting on the video wall to draw operator attention to high-priority or critical incidents.

- Access Control, Intrusion, and Sensor Event Visualisation

- Display access control logs, including real-time and historical entry/exit events for personnel.

- Visualise intrusion detection events, motion sensor activations, thermal alerts, and perimeter breaches in real time.

- Present building layouts, floor plans, site maps, and GIS overlays with event pinpointing

to enable rapid navigation and incident localisation.

- Command, Control, and Coordination Enablement

- Support shared situational awareness among operators, supervisors, and incident commanders through a common operational picture.

- Facilitate coordination between security personnel, emergency responders, and management by displaying incident timelines, response actions, and communication status.

- Allow role-based access to content displayed on the video wall to ensure operational and information security.

- Operational Resilience and Continuity

- Operate continuously on a 24/7/365 basis with redundancy at display, controller, power, and network levels.

- Provide automated failover, system health monitoring, and proactive fault alerts to minimise downtime.

- Ensure seamless operation during power interruptions through integration with UPS and backup power systems.

- Scalability and Future Readiness

- Be modular and scalable to support future expansion in screen size, resolution, number of sources, and integrated systems without major redesign.

- Support evolving technologies, including AI-driven analytics, advanced dashboards, and additional remote site integration.

## Power supply

              - All system servers shall be housed in 19-inch equipment cabinets as specified in the Eskom Standard 240-60725641. This specification covers the earthing requirements in the cabinet as well.

              - Power shall be distributed through the panel to isolate the supply of the subsystems using appropriately sized MCBs. At a minimum, the following will be on separate supply circuits:

- Perimeter cameras

- Indoor cameras

- PA system devices

- Site controllers and server-based equipment.

              - Other security-related equipment such as gate motors and electric fence energisers.

              - The system shall have a power failure indication that shall be sent through to the remote Security Control Room should the supply be interrupted.

              - The existing power systems at the site shall be used as the primary power sources, provided that the site's standby time (autonomy) requirements are not adversely affected.

              - Tenderers are required to propose a suitable standby power system and UPS sized appropriately to handle the expected system load. Eskom Academy of Learning may, however, decide to utilise the existing standby batteries at the site.

## Earthing and Bonding

As part of the perimeter security upgrade, the contractor shall conduct a comprehensive inspection of the earthing and bonding system along the entire perimeter fence line, including all energised fence components, perimeter lighting poles, electronic devices, and security infrastructure.

The following requirements apply:

- The contractor shall inspect, test, and verify the earthing system for compliance with Eskom standards and applicable SANS electrical safety requirements.

- All fence posts, energised fence lines, electronic devices, perimeter lighting poles, and associated metal structures must be correctly earthed to ensure:

  - Personnel safety.

  - Protection of electronic equipment.

  - Compliance with electrical standards.

  - Proper operation of energised non-lethal fence systems.

- Any faulty, damaged, high-resistance, corroded, or non-compliant earthing points shall be corrected, replaced, or reinstalled to meet specification.

- Measurements of earth resistance must be performed using calibrated instruments, and all results must be recorded and submitted.

- Earthing must be coordinated with the requirements of the energised fence, perimeter detection devices, and lighting circuits to prevent electromagnetic interference, false alarms, or equipment malfunction.

- The contractor shall submit a detailed Earthing Compliance Report, including:

  - Test results

  - Corrective actions taken

  - Location maps of earth spikes and bonding points

  - Certification of compliance

- Any additional earthing points required to stabilise the perimeter system shall be supplied and installed as part of this scope.

The earthing system must support the reliable performance of the energised fence, perimeter lighting, and all intruder detection devices as part of an integrated security solution.

## Site tests and commissioning

The testing of the system shall be done in the presence and to the satisfaction of an authorised representative of Eskom Academy of Learning.

Tests shall include simulating fire conditions, testing network cabling, testing and switching audio and video signals, testing access control events, etc., to prove the efficiency of all aspects of the system to the satisfaction of Eskom Academy of Learning security team.

All equipment, material, etc., that may be necessary for these tests shall be supplied by the contractor, including a suitable smoke and heat generator.

The contractor shall do his complete commissioning tests before the actual first take-over tests are done. This is to satisfy himself that everything is working and is in accordance with the specification. Three system faults will result in Eskom Academy of Learning aborting the test, subsequent commission costs incurred by Eskom Academy of Learning shall be for the contractor’s account.

After submission of the test results, the contractor shall notify that the installation is complete, tested and in working order. Eskom Academy of Learning will witness the re-testing of the installation.

## As-Built drawings and documentations

The contractor shall prepare as-built drawings of his completed installation – including conduit, cables and fibre routes.

The Operator's Manuals must be compiled and contain enough detailed information to enable a suitably qualified Eskom Academy of Learning technician to control and operate the full installation without any training from the contractor. The Operator's Manuals must be a separate set of documents from the Maintenance Manuals.

Irrespective of the abovementioned, the Operator's Manuals must also contain short-form instructions to enable trained operators (trained by the contractor) to operate the full installation.

The contractor shall also prepare a comprehensive set of Operations Maintenance Manuals for approval by Eskom Academy of Learning.

The following shall be included as a minimum:

- Cover page

- Index

- Contractor contact details

- Call-out procedure

- Manuals and specifications of all the installed equipment

- Installed equipment warranty details, including supplier contact information.

- Commissioning data

- Photo report of installation

- Snapshots of all camera’s day and night

- Handover Certificates

- Operator Guides and Procedures.

- Maintenance schedules (weekly, monthly, quarterly, and yearly)

- As-built drawings

- Bill of quantities

- Construction monitoring

- Quality assurance about specifications

- As-built drawings and close-out

- Supply and delivery of material

- Construction, commissioning and handover of the works based on the designs.

## Training

All training aids and course notes necessary to conduct effective operational and maintenance training shall be supplied by the contractor. The training venue will be made available on-site by Eskom Academy of Learning.

The training documentation must be accredited and submitted to Eskom Academy of Learning for evaluation and approval.

Each group of trainees should receive a minimum of four hours of training. Allow to fully train three groups, each of up to four personnel. (The amount of personnel sent for training is at the full discretion of Eskom Academy of Learning).

Training shall be adequate to ensure that the groups trained are competent in the operation of systems, adequately trained to carry out ongoing training, and fully aware of the location of all equipment installed as part of this contract within their area of responsibility.

The contract shall adhere to Eskom Academy of Learning-defined security procedures for access to and during site attendance over the defect liability period.

  - Cyber Security Requirements

- Access Control: Access control, unique user IDs and passwords shall be used to access the system.

- Information Security Management System (ISMS): The Supplier or Service Provider shall have a valid Information Security Standard (ISO) 27001 certificate.

- Encryption Standard: Data at rest to be encrypted using at minimum Advanced Encryption Standard (AES)-256 and in transit (or in motion) using at minimum Transport Layer Security (TLS) 1.3 or later version.

- Audit trails, logs, user activity logs: Audit trails, logs, user activity logs shall be enabled, encrypted, and securely kept with limited access to administrators.

- Patch Management: Patch Management Process shall be defined. The software updates and patches shall be tested in a non-production environment before being deployed into the production environment.

- Role-Based Access Control (RBAC): The software shall employ Role-based access control (RBAC) mechanism.

- Input and File Handling Security: All user inputs and imported or exported files shall be validated, sanitized, and properly encoded to prevent injection attacks, block malicious content, and ensure integrity across all data and file operations.

- Data Integrity: Data shall be secured at minimum using a secure hash algorithm (SHA)-256 for data integrity, securing transactions, and messages.

- Privileged Access Management (PAM): The system shall be able to onboard privileged accounts onto PAM tools, such as CyberArk but not limited to onboard privileged accounts to securely manage, rotate passwords, monitor, record sessions, control, enforce access to privileged accounts, auditing and reporting capabilities.

- Data Masking: Sensitive information such as personal identifiable information (PII) data in non-production environments shall be masked.

- Data Back-up: A back up Restore Plan and Procedure shall be defined, annually tested, and such test results shall be shared with Eskom’s Cyber Security team.

- Daily Incremental Back Ups: Incremental daily back-ups shall be done, encrypted, and securely kept offsite only for all critical systems.

- Security Information and Event Management (SIEM) Integration: The on-premises System and Cloud Service shall be able to integrate with SIEM standard technologies such as Syslog, Windows event logging, Simple Network Management Protocol (SNMP) and Application Programming Interface (API) but not limited to these technologies listed.

- Database Security Management: Database Security Management tools shall be employed to provide regulatory compliance, encryption, key management, granular access controls, flexible data masking, comprehensive activity monitoring, and sophisticated auditing capabilities.

## Maintenance and Support

The contractor will be fully responsible for the maintenance and support of the installed systems throughout the 60-month contract period. This includes preventive maintenance, which entails scheduled inspections, system testing, and servicing to ensure optimal performance and reduce the likelihood of failures. All equipment shall carry a warranty of 5 years.

The contractor is also expected to provide corrective maintenance by addressing system faults and restoring functionality within agreed timeframes. In addition, the contractor must implement system upgrades as needed, incorporating relevant technology updates and improvements to maintain the system's effectiveness.

As part of the support scope, the contractor will also be required to provide ongoing training services, ensuring that relevant stakeholders are adequately equipped and certified to operate and manage the system by the end of the contract period, facilitating a seamless handover.

## Technology Roadmap

- Implementation Plan: Provide a phased timeline for deploying technologies, including pilot testing, full-scale implementation, and scaling across sites. The tenderer to prioritise Integrated Access Control on the rollout plan.

- Scalability: The contractor to demonstrate how the proposed solutions can be scaled to meet Eskom’s growing or changing needs.

- Innovation Strategy: The contractor must detail the approach for staying ahead of emerging security threats through the adoption of modern and advanced technologies.

| Phase | Plan | Description | Expected Outcomes |
| --- | --- | --- | --- |
| 1 | Foundational Upgrades | - Relocate and modernize the Control Room, with new video wall and upgraded Security Management System (SMS/PSIM). - Deploy Visitor Management System (VMS) at all main entrances. - Install License Plate Recognition (LPR) cameras at gates, fully integrated with eNatis for vehicle verification and automated gate control. | - Centralized, modern command centre. - Enhanced visitor accountability and compliance. - Automated, fast, and secure vehicle access. |
| 2 | Perimeter Intrusion Detection (Geo-fencing) | - Install thermal imaging cameras for 24/7 detection along the perimeter. - Configure geo-fencing zones for real-time alerts when breaches occur. - Link to associated PTZ cameras for auto-tracking, zooming, and incident verification. - Integrate with SMS for alarm escalation. | - Reliable perimeter intrusion detection (day/night, all weather). - Reduced false alarms. - Faster incident response via auto-tracking. |
| 3 | Access Control System (ACS) | - Implement/upgrade integrated access control using smart cards/biometrics at all sensitive areas. - Integrate with VMS and SMS for unified identity management. - Enable role-based access with full audit trails. | - Improved control over staff, contractors, and visitors. - Reduced risks of unauthorized entry. - Regulatory compliance on identity management. |
| 4 | Campus, workshops & Classroom Surveillance | - Deploy/upgrade IP cameras in classrooms, offices, and critical infrastructure buildings. - Enable video analytics (loitering, occupancy counting, motion detection, etc.). - Integrate with control room monitoring platform. | - Safer environment for employees and learners. - Evidence for disciplinary or criminal investigations. - Analytics-driven monitoring of critical indoor spaces. |
| 5 | System Optimization & Advanced Analytics | - Introduce AI-driven analytics (facial recognition, abnormal behaviour detection, crowd analysis). - Upgrade storage and networking for high-volume video retention. - Deploy predictive maintenance on thermal/PTZ and access devices to reduce downtime. | - Proactive threat identification. - Enhanced operational efficiency. - Sustainable, future-proofed security ecosystem. |

Table 3: Five Phase Technology Roadmap

## Deliverables

- Detailed Security System architecture and designs.

- Procurement and installation of security components.

- Security integration with Smart Working Environments infrastructure.

- Training and documentation for security personnel and relevant stakeholders.

- Final performance testing and optimisation reports.

## Implementation timelines

| Task | Duration | Milestones |
| --- | --- | --- |
| System Design and Approval |  | Blueprint Finalisation |
| Equipment Procurement |  | Vendor Selection |
| Installation and Configuration |  | Deployment and Testing |
| AI & IoT Integration |  | Data Synchronisation |
| Training and Handover |  | Project Completion |

Table 4: Implementation Timelines

## Risk management

| Risk Factor | Mitigation Strategy |
| --- | --- |
| AI algorithm accuracy | Regular AI model training and updates |
| System downtime | Redundant serves and backup power systems |
| Compliance threats | Aligning with industry standards, Eskom Academy of Learning Standards and Security Policies |
| Operational disruptions | Phased implementation and testing |

Table 5: Risk managements

# Technology and Data Ownership

- Ownership of Installed Technology: All technology (e.g., surveillance cameras, access control systems, alarms, GPS tracking devices, etc.) installed by the contractor during the contract period will remain the property of Eskom upon contract expiry or early termination.

- Data Ownership and Access: All data collected (e.g., surveillance footage, access logs, incident reports) during the contract period will be the sole property of Eskom. The contractor must provide Eskom with unrestricted access to this data.

- Data Storage and Security: The contractor must store all data securely in compliance with the Protection of Personal Information Act (POPIA) and other relevant legislation. Data must be encrypted and stored on servers located within South Africa unless otherwise approved by Eskom.

- Data Handover: Upon contract expiry or termination, the contractor must provide Eskom with all data in a usable format (e.g., digital files, cloud access) and ensure no data is retained or deleted without Eskom’s written consent.

- Monitoring Access: Eskom must be provided with a secure link to monitor all surveillance and access control systems in real time. The contractor must ensure the link is operational 24/7 and accessible to authorised Eskom personnel.

- Third-Party Control Centre access: Eskom must have the right to visit the contractor’s or third-party control centre at any time, without prior notice, to inspect operations, verify compliance, and ensure data integrity.

- Licence Fees: The contractor shall ensure that all license fees for installed systems, equipment, and technologies are paid and maintained throughout the contract period, with ownership and responsibility transferring to Eskom upon contract expiry or termination.

## Systems Performance Matrices

### Alarm Systems Specification:

- Integration with motion detection systems for early threat detection.

- Must include tamper-proof mechanisms and backup power supply (e.g., UPS or solar).

- Real-time alerts to a centralised monitoring system.

Targets:

- False alarm rate: ≤ 5%.

- Uptime: 98% over 36 months.

### Motion Sensors Specification:

- Strategically placed to cover all critical areas, including perimeters, entry points, and high-value assets.

- Must include advanced features such as thermal imaging and pet immunity to reduce false alarms.

- Integration with alarm systems and CCTV for real-time intrusion detection.

Targets:

- Detection accuracy: ≥ 95%.

- Response time: ≤ 5 seconds from detection to alert.

### CCTV Cameras Specification:

- High-resolution cameras (minimum 4mp) with night vision and wide dynamic range (WDR) for low-light conditions.

- AI-based analytics for real-time threat detection (e.g., loitering, perimeter breaches).

- Active monitoring 24/7 with footage stored for a minimum of 90 days.

- Integration with alarm systems and motion sensors.

Targets:

- Coverage of critical areas: 100%.

- Uptime: 98% over 36 months.

### License Plate Recognition (LPR) Cameras Specification:

- High-resolution cameras capable of capturing license plates in various lighting and weather conditions.

- Integration with access control systems to automate vehicle entry/exit.

- Real-time alerts for unauthorised or flagged vehicles.

Targets:

- Recognition accuracy: ≥ 95%.

- Response time: ≤ 10 seconds from detection to alert.

### Access Control Systems Specification:

- Biometric scanners (fingerprint or facial recognition) for personnel access.

- Integration with LPR cameras for vehicle access.

- Real-time monitoring and logging of all access events.

Targets:

- System uptime: 98% over 36 months.

- False acceptance rate: ≤ 0.1%.

### Public Address Systems Specification:

- Clear and audible announcements for emergency notifications.

- Integration with alarm systems for automated alerts.

Targets:

- Coverage of critical areas: 100%.

- Uptime: 98% over 36 months.

### Intrusion Detection Systems Specification:

- Combination of motion sensors, thermal imaging, and perimeter detection systems.

- Real-time alerts to a centralised monitoring system.

Targets:

- Detection accuracy: ≥ 95%.

- Response time: ≤ five seconds from detection to alert.

# OPTION 2: NEC CAPITAL PROJECTS

The project includes requirements for an Integrated Physical Security System comprising a perimeter fence, non-lethal fence on top, Access Control Systems, CCTV System, Intrusion Pre-detection System, Alarm System, public address (PA) including Fire Detection System and interfaces to the PSIM System and IT infrastructure and upgrade the current control room.

The contractor shall design, supply, develop user documentation, perform testing, and deliver, install, and commission the Integrated Physical Security System and associated equipment (hardware/software etc.) at EAL according to the associated technical specifications.

The scope of work for the contractor for the Integrated Security System will include the following:

1.Produce designs for the Integrated Security System. The designs must include details for 
             the Access Control System, CCTV System, Intruder Detection System, Alarm System, 
             Public Address System and PSIM System (including IT Infrastructure). The design must also 
             cover the integration of these different systems into an Integrated Security System.

2.Present the proposed designs to the Security Team for acceptance.

- Installation and configuration of EAL security LAN Infrastructure.

- Installation, configuration and commissioning of the CCTV System in totality on site as per Eskom Standard (240-91190304).

- Installation, configuration and commissioning of the Integrated Access Control System (IACS) in totality on site as per Eskom Standard (240-102220945).

- Installation, configuration and commissioning of an Intruder Detection System in totality on site as per Eskom Standard (240-91190304,240-86738968 & 240-170000096).

- Installation, configuration and commissioning of an alarm system on site as per Eskom Standard (240-86738968).

- Installation, configuration and commissioning of Public Address System in totality on site as per Eskom Standard (240-170000098).

- Installation, configuration and commissioning of intrusion pre-detection system in totality on site as per Eskom Standard (240-170000691.

- Integration of the Access Control System (ACS), CCTV System, Intruder Detection System, Alarm System, and Public Address System into an Integrated Security System (240-170000096) to interface with the PSIM system.

- Provide services as per 240-170000723.

- Standard For Non-Lethal Energised Perimeter Detection System (NLEPDS) Electrical Components 240-78980848.

- Installation, configuration and commissioning of interfaces to the Physical Security Information Management (PSIM), including firewall configuration and Telecoms circuit commissioning, for data collection, incidents management, data correlation, controlling functionality (CCTVs, IACS systems, PA Systems, etc.) and provision of real-time dashboards and reports (refer to DEM2412993 & 2425114).

- Conduct FAT and SAT tests before commissioning the complete integrated system.

- Compile site as-built drawings with electrical and engineering details.

- Create a graphical user interface (GUI) and behaviour models for the site.

# N.B. The systems specified represent baseline technology and do not preclude the tenderer from proposing more advanced alternative solutions.

  - Integrated Access Control System (IACS)

1.	The Integrated Access Control System will be used to manage the access rights of Eskom 
      Academy of Learning employees, visitors and contractors in and out of different areas at all the 
      sites.

2.	The system will also be used to grant and limit access permissions in and out of secure and non-
      secure areas.

3.	The offered system shall comply with the requirements of the Specification for Integrated Access
      Control System (IACS) for Eskom sites (240-102220945).

4.	The system should support a tiered architecture, which will allow monitoring of the sites both 
      locally and remotely. This architecture comprises field devices (biometric and card readers) at 
      the site level and system management servers at the remote security nerve centre.

    - Biometrics and card reader

The main access to the premises should be the use of either a fingerprint or a card.

- Biometrics and card reader shall comply with SANS 2220-2-5 and SANS 2220-2-3, respectively.

- Card and biometric reader should be installed at every point of entry.

    - License plate recognition (LPR) cameras:

- High-resolution cameras capable of capturing license plates in various lighting and weather conditions.

- Integration with access control systems to automate vehicle entry/exit.

- Real-time alerts for unauthorised or flagged vehicles.

    - Metal Detectors and X-Ray machines

The bidder is required to provide screening equipment at designated main access points to support the detection and prevention of unauthorised items entering the premises. The solution should include personnel and baggage screening technologies that are suitable for high-traffic environments and aligned with recognised safety and performance standards. The equipment must be capable of detecting a wide range of prohibited items and should support rapid processing without compromising accuracy or safety.

It is expected that the proposed systems will integrate seamlessly with existing security infrastructure, including access control and centralised security management platforms. Compliance with applicable local regulatory requirements, including radiation safety regulations enforced by the South African Health Products Regulatory Authority (SAHPRA). Equipment must include shielding to prevent radiation leakage and emergency stop features for operator safety.

    - IACS device layout

The examples of access control devices for the sites and their locations are shown in Table 1 below:

| Area | Point | Device | Status Contact | Lock | Evacuation Device | Bypass |
| --- | --- | --- | --- | --- | --- | --- |
| Main Access | Boom Gate | Card or Fingerprint Reader | Boom Status Contact | Electro-mechanical Lock | None | Mechanical Switch |
| Security Office | Entrance Door | Card or Fingerprint Reader | Door Status Contact | Magnetic Lock | Emergency Exit Button | Mechanical Switch |
| Control Room | Entrance Door | Card +Face recognition Reader | Door Status Contact | Magnetic Lock | Emergency Exit Button | Mechanical Switch |
|  | Emergency Exit Door | Emergency Exit Button | Door Status Contact | Magnetic Lock | Emergency Exit Button | Mechanical Switch |
|  | Server Room Entrance | Card +Face recognition Reader | Door Status Contact | Magnetic Lock | Emergency Exit Button | Mechanical Switch |
| Offices, classrooms and Canteens | Entrances | Card or Fingerprint (In) & Card (Out) | Door Status Contact | Magnetic Lock | Emergency Exit Button | Mechanical Switch |

Table 1: IACS devices positioning

    - IACS high-level devices positioning and architecture philosophy

              - The contractor is required to submit a detailed design depicting the proposed architecture and narratives of how the IACS functional requirements will be achieved. The implemented architecture for IACS should comply with the principles outlined in the technical standards for IACS.

              - In addition to ensuring that the installed system operates as required on-site, the contractor must also ensure that the system enables remote monitoring and control through Eskom WAN.

  - Intruder Detection Systems

Intrusion pre-detection units shall be installed in all areas of the Working Environments, including buildings, rooms and the perimeter area which need to be protected.

The proposed solution must include hardening of the existing perimeter fence with an energised non-lethal fence on top. The fence lining must be integrated with the Security Management System to enhance the required detection capability. Proposed Intruder detection systems may be perimeter thermal cameras with three layered virtual fencing.

The sensors shall be placed to effectively detect intrusion into the protected (secured) areas.

The intruder detection should have protection from vibrations caused by digging underneath, breaking through and climbing over the barrier fences/walls. The contractor can propose a suitable device for this protection.

The buildings inside should be protected by a PIR sensors or cameras that are capable of this function and the scope should add the devices where they are missing.

- The Intrusion Pre-detection System installed shall comply with the requirements of the Standard for Intrusion Pre-detection Systems used at Eskom sites (240-170000691).

### Security Lighting

The perimeter shall be equipped with security lighting that activates automatically in the event of an intrusion or alarm condition. The solution must include the following:

- Intelligent perimeter lighting that automatically switches on when an intrusion, alarm, or pre-warning signal is received from any perimeter detection device, thermal camera, fence alarm, or access control alert.

- Lighting systems shall be integrated into the Security Management System (SMS) to ensure real-time activation, event correlation, and operator visibility.

- The lighting must provide sufficient illumination for CCTV verification, guard response, and deterrence without compromising safety or revealing covert systems.

- Lighting units must be placed to:

  - Eliminate dark spots along the fence line

  - Support visual tracking along patrol routes

  - Enhance facial and vehicle identification during alarm-triggered events

- Lighting infrastructure shall support low-power standby mode and switch to full output when triggered.

- The system must fail-safe to ensure minimum security illumination during power or network disruptions, with backup power integrated into the lighting circuit design.

- The contractor shall propose lighting technology suitable for the environment (e.g., LED floodlights, pole-mounted lights, integrated smart security lighting).

The perimeter lighting solution must be designed to support detection, verification, response, and deterrence, functioning as a visual extension of the intrusion detection system.

  - Visitor Management System

- Complete installation and setup of the system to facilitate visitor management. Visitors can pre-register through an online portal or a mobile app before their visit. For permission, the system gathers identity documents, pictures, personal information, and the reason for the visit.

- Set up a self-service kiosk or tablets at the appropriate location. Visitors can use the self-service kiosk or tablet at the facility entry to check in when they arrive. The visitor can look up the host by name using the system. For security reasons, guests will need to take a picture, digitally sign in, or scan their identification card.

- The ability to give and deny access to authorised areas based on visitor data is one of the features of integration with the present access control system that ensures compatibility.

- Identification and verification: Several identity verification techniques, including QR code scanning, ID scanning, driver's license verification, and biometric choices (such as fingerprint or face recognition).

- Following a successful check-in, visitors are given a physical or digital badge that contains their name, photo, the locations they are permitted to enter, and the host's information.

- Host notification: setting up to notify hosts in real-time when guests arrive (visitors can only proceed when the host collects them from reception).

- Integration with access control systems, including key cards and biometric readers, is made possible. Depending on their authorisation, visitors can enter secure areas using their badges, and security staff can monitor them in real-time.

- Compliance and audit trails keep a thorough record of every visitor's activity, including the precise times of check-in and check-out, the locations visited, and any incidents.

  - CCTV Systems

A CCTV System shall be installed and the proposed system for the Working Environments is intended to provide the guards/control room operators with a single point from where they can view and verify alarm events from the Intrusion Detection System and energised fence triggers without having to physically respond to the alarm event in the case of a false/nuisance alarm and correctly assess and verify positive alarm events in the event of an attempted or successful intrusion attempt.

Implement AI video analytics software that integrates with the existing CCTV cameras. Use AI-driven intrusion detection systems that can analyse patterns and detect unusual activities.

Integrate AI with the existing access control systems to add features like biometric authentication and predictive analytics for identifying potential security breaches.

The offered system shall comply with the requirements of the Eskom Standard for CCTV System (240-91190304).The CCTV System shall be integrated with video analytics and automatically record any alarm event using the 30-second pre-event buffer, the actual event (for however long motion is detected by the camera) and at least a 30-second post-event period. The system shall utilise a Video Analytics System as pre-detection to automatically generate alarms and perform event recording.

It is proposed that static thermal cameras with video motion detection be installed along the perimeter of the Working Environments to provide both surveillance and detection functionality. In addition, it is proposed that PTZ cameras be installed strategically for zooming and recognition functionality.

The CCTV System shall be connected to the security LAN to enable event-driven video streaming to the local security control room and a nerve centre.

A video intercom system must be installed at the main gate entrance, and the audio feed and camera feed from the unit must be integrated into the local NVR to ensure both visual and audio recording of events. This unit enables the Security Control Room to interact with unannounced visitors and non-EAL staff.

The contractor shall determine the required camera lens types to ensure that the positioning of the cameras results in the most optimised and economical installation of the cameras on the Working Environments. This includes ensuring that continuous visibility is created along the perimeter by eliminating blind spots with one camera having the next camera within its field of view for effective monitoring.

All steel poles and structures shall be hot-dipped galvanised.

    - CCTV positioning

All CCTV (cameras) may be positioned as below, and the tenderer can propose the best solution:

| Area | Location | Device |
| --- | --- | --- |
| Perimeter | Perimeter fence | Static thermal camera Associated PTZ |
| Access gates | Main access gate | Static optical camera Video intercom |
| Buildings and offices | Main building entrances | Interior and exterior static cameras |
|  | Office and canteens entrance | Interior static dome camera |
| Inside buildings | Building corridors and common areas | Static dome cameras |
| Outside Working Environments | Working Environments | Motion detection cameras PTZ |
| Entrance and Exit of Parking lot | Parking Lots | Camera capable of vehicle counting |

Table 2: Camera positioning layout

  - Alarm System

- The Alarm System shall be installed and will form an integral part of the other security systems installed at EAL to provide proactive coverage and monitoring of all protected areas i.e. site perimeter, entrances, buildings, server rooms and other strategic places within the campus. The following inputs shall trigger the Alarm System:

- Camera video analytics alarm detection on the zone(s).

      - Alarm inputs from the electric fence.

- Alarm inputs from intrusion pre-detection devices.

      - Alarm inputs from access control points.

The installed Alarm System shall comply with the requirements of the Specification for Integrated Security Alarm System for Protection of Eskom Installations and its Subsidiaries (Identifier: 240-86738968) and alarming requirements of other integrating technologies mentioned above, forming part of the Integrated Security System at the site.

  - Public Announcement System

- The installation of a PA System is required to engage potential intruders and issue warnings.

- The PA System shall be able to be remotely and locally operated when necessary.

- The system must be operable from the guard house and remotely from the responsible control rooms to warn intruders of the restriction of access to the site.

- Voice recordings shall be synchronised with the cameras and recorder on the local NVR via suitable audio input to ensure synchronisation of events.

- Linking the PA to the Fire Detection System and the closest CCTV camera. This will assist with deploying emergency response to the exact location.

- The installed PA System shall comply with the requirements of Technical Specification for Public Address Systems (240-170000098).

All speakers shall be positioned strategically along the perimeter fence and across the campus.

  - Site monitoring and control

The contractor will be responsible for the relocation of the current control room at Eskom Academy of Learning. The new control room must be a state of the art and must be designed and equipped to meet modern operational and security standards, enabling effective command, control, and monitoring capabilities.

The control room must include the necessary infrastructure (like Video wall, consoles, server room, modern furniture, etc), systems, and user interfaces to support the centralised management of on-site systems as well as remote sites. The design should facilitate the integration of multiple security subsystems and allow for real-time decision-making across the broader security environment.

              - There shall be a security manager workstation at the site in the security building for local allocation and revoking of access rights and control of security workflows.

              - Some or all of the functions listed in Items (a) and (b) above may be combined into a single physical workstation. The workstation software GUI shall be based on the operator log-on credentials to be able to perform functions listed in Items (a) and (b) above.

              - The security alarms and CCTV visuals should be routed to the remote nerve centre through the Eskom WAN or alternative network.

              - The system shall allow the remote Security Control Centre to remotely control PTZ cameras at the site.

              - The system shall allow the remote Security Control Centre to communicate audio (via PA system) and data with the Working Environments, including the ability to give audio warnings over the PA System to the security zone that detected an intrusion.

              - Security Control shall be able to retrieve any of the stored event data or video streams in real-time, either locally or remotely.

  - E-Guarding or virtual guarding

              - The tenderer to propose a system that can be utilised in conjunction with the cameras to conduct virtual guarding.

              - The system should be integrated into the management system software.

              - The system should allow guards/operators to virtually patrol the sites and tag to detect the areas where the guards have missed.

## Video Walls

The Video Walls shall be a key tool in the Control Centres, providing a clear and shared view of security operations. The video wall shall support real-time monitoring, quick decision-making, and coordinated response across all security systems. The video walls must be modern, seamless (Ultra narrow bezel), smart, and flexible, allowing for easy integration, configuration, and display of data from multiple security platforms.

a)	Live Video Monitoring and Visualisation

- Display live video feeds from all local CCTV cameras, including critical infrastructure, perimeter zones, access points, and high-risk areas.

- Support simultaneous display of multiple camera streams with configurable layouts, prioritisation of critical feeds, and rapid switching during incidents.

- Enable automatic camera call-up based on alarms, access control events, or intrusion detection triggers.

b)	Integrated Operational Dashboards and Alerts

- Display consolidated operational data and dashboards sourced from PSIM, VMS, access control, intrusion detection, and other integrated systems.

- Provide real-time visualisation of emergency alerts, alarms, system health status, and incident escalation levels.

- Support visual and audible alerting on the video wall to draw operator attention to high-priority or critical incidents.

c)	Access Control, Intrusion, and Sensor Event Visualisation

- Display access control logs, including real-time and historical entry/exit events for personnel.

- Visualise intrusion detection events, motion sensor activations, thermal alerts, and perimeter breaches in real time.

- Present building layouts, floor plans, site maps, and GIS overlays with event pinpointing

to enable rapid navigation and incident localisation.

d)	Command, Control, and Coordination Enablement

- Support shared situational awareness among operators, supervisors, and incident commanders through a common operational picture.

- Facilitate coordination between security personnel, emergency responders, and management by displaying incident timelines, response actions, and communication status.

- Allow role-based access to content displayed on the video wall to ensure operational and information security.

e)	Operational Resilience and Continuity

- Operate continuously on a 24/7/365 basis with redundancy at display, controller, power, and network levels.

- Provide automated failover, system health monitoring, and proactive fault alerts to minimise downtime.

- Ensure seamless operation during power interruptions through integration with UPS and backup power systems.

f)	Scalability and Future Readiness

- Be modular and scalable to support future expansion in screen size, resolution, number of sources, and integrated systems without major redesign.

- Support evolving technologies, including AI-driven analytics, advanced dashboards, and additional remote site integration.

## Power supply

              - All system servers shall be housed in 19-inch equipment cabinets as specified in the Eskom Standard 240-60725641. This specification covers the earthing requirements in the cabinet as well.

              - Power shall be distributed through the panel to isolate the supply of the subsystems using appropriately sized MCBs. At a minimum, the following will be on separate supply circuits:

- Perimeter cameras

- Indoor cameras

- PA system devices

- Site controllers and server-based equipment.

              - Other security-related equipment such as gate motors and electric fence energisers.

              - The system shall have a power failure indication that shall be sent through to the remote Security Control Room should the supply be interrupted.

              - The existing power systems at the site shall be used as the primary power sources, provided that the site's standby time (autonomy) requirements are not adversely affected.

              - Tenderers are required to propose a suitable standby power system and UPS sized appropriately to handle the expected system load. Eskom Academy of Learning may, however, decide to utilise the existing standby batteries at the site.

## Earthing and Bonding

As part of the perimeter security upgrade, the contractor shall conduct a comprehensive inspection of the earthing and bonding system along the entire perimeter fence line, including all energised fence components, perimeter lighting poles, electronic devices, and security infrastructure.

The following requirements apply:

- The contractor shall inspect, test, and verify the earthing system for compliance with Eskom standards and applicable SANS electrical safety requirements.

- All fence posts, energised fence lines, electronic devices, perimeter lighting poles, and associated metal structures must be correctly earthed to ensure:

  - Personnel safety.

  - Protection of electronic equipment.

  - Compliance with electrical standards.

  - Proper operation of energised non-lethal fence systems.

- Any faulty, damaged, high-resistance, corroded, or non-compliant earthing points shall be corrected, replaced, or reinstalled to meet specification.

- Measurements of earth resistance must be performed using calibrated instruments, and all results must be recorded and submitted.

- Earthing must be coordinated with the requirements of the energised fence, perimeter detection devices, and lighting circuits to prevent electromagnetic interference, false alarms, or equipment malfunction.

- The contractor shall submit a detailed Earthing Compliance Report, including:

  - Test results

  - Corrective actions taken

  - Location maps of earth spikes and bonding points

  - Certification of compliance

- Any additional earthing points required to stabilise the perimeter system shall be supplied and installed as part of this scope.

The earthing system must support the reliable performance of the energised fence, perimeter lighting, and all intruder detection devices as part of an integrated security solution.

  - Site tests and commissioning

The testing of the system shall be done in the presence and to the satisfaction of an authorised representative of Eskom Academy of Learning.

Tests shall include simulating fire conditions, testing network cabling, testing and switching audio and video signals, testing access control events, etc., to prove the efficiency of all aspects of the system to the satisfaction of Eskom Academy of Learning security team.

All equipment, material, etc., that may be necessary for these tests shall be supplied by the contractor, including a suitable smoke and heat generator.

The contractor shall do his complete commissioning tests before the actual first take-over tests are done. This is to satisfy himself that everything is working and is in accordance with the specification. Three system faults will result in Eskom Academy of Learning aborting the test, subsequent commission costs incurred by Eskom Academy of Learning shall be for the contractor’s account.

After submission of the test results, the contractor shall notify that the installation is complete, tested and in working order. Eskom Academy of Learning will witness the re-testing of the installation.

  - As-Built drawings and documentations

The contractor shall prepare as-built drawings of his completed installation – including conduit, cables and fibre routes.

The Operator's Manuals must be compiled and contain enough detailed information to enable a suitably qualified Eskom Academy of Learning technician to control and operate the full installation without any training from the contractor.

Irrespective of the abovementioned, the Operator's Manuals must also contain short-form instructions to enable trained operators (trained by the contractor) to operate the full installation.

The contractor shall also prepare a comprehensive set of Operations Manuals for approval by Eskom Academy of Learning.

The following shall be included as a minimum:

- Cover page

- Index

- Contractor contact details

- Call-out procedure

- Manuals and specifications of all the installed equipment

- Installed equipment warranty details, including supplier contact information.

- Commissioning data

- Photo report of installation

- Snapshots of all camera’s day and night

- Handover Certificates

- Operator Guides and Procedures.

- As-built drawings

- Bill of quantities

- Construction monitoring

- Quality assurance about specifications

- As-built drawings and close-out

- Supply and delivery of material

- Construction, commissioning and handover of the works based on the designs.

  - Training

All training aids and course notes necessary to conduct effective operational training shall be supplied by the contractor. The training venue will be made available on-site by Eskom Academy of Learning.

The training documentation must be accredited and submitted to Eskom Academy of Learning for evaluation and approval.

Each group of trainees should receive a minimum of four hours of training. Allow to fully train three groups, each of up to four personnel. (The amount of personnel sent for training is at the full discretion of Eskom Academy of Learning).

Training shall be adequate to ensure that the groups trained are competent in the operation of systems, adequately trained to carry out ongoing training, and fully aware of the location of all equipment installed as part of this contract within their area of responsibility.

The contract shall adhere to Eskom Academy of Learning-defined security procedures for access to and during site attendance over the defect liability period.

  - Cyber Security Requirements

    - Access Control: Access control, unique user IDs and passwords shall be used to access the system.

    - Information Security Management System (ISMS): The Supplier or Service Provider shall have a valid Information Security Standard (ISO) 27001 certificate.

    - Encryption Standard: Data at rest to be encrypted using at minimum Advanced Encryption Standard (AES)-256 and in transit (or in motion) using at minimum Transport Layer Security (TLS) 1.3 or later version.

    - Audit trails, logs, user activity logs: Audit trails, logs, user activity logs shall be enabled, encrypted, and securely kept with limited access to administrators.

    - Patch Management: Patch Management Process shall be defined. The software updates and patches shall be tested in a non-production environment before being deployed into the production environment.

    - Role-Based Access Control (RBAC): The software shall employ Role-based access control (RBAC) mechanism.

    - Input and File Handling Security: All user inputs and imported or exported files shall be validated, sanitized, and properly encoded to prevent injection attacks, block malicious content, and ensure integrity across all data and file operations.

    - Data Integrity: Data shall be secured at minimum using a secure hash algorithm (SHA)-256 for data integrity, securing transactions, and messages.

    - Privileged Access Management (PAM): The system shall be able to onboard privileged accounts onto PAM tools, such as CyberArk but not limited to onboard privileged accounts to securely manage, rotate passwords, monitor, record sessions, control, enforce access to privileged accounts, auditing and reporting capabilities.

    - Data Masking: Sensitive information such as personal identifiable information (PII) data in non-production environments shall be masked.

    - Data Back-up: A back up Restore Plan and Procedure shall be defined, annually tested, and such test results shall be shared with Eskom’s Cyber Security team.

    - Daily Incremental Back Ups: Incremental daily back-ups shall be done, encrypted, and securely kept offsite only for all critical systems.

    - Security Information and Event Management (SIEM) Integration: The on-premises System and Cloud Service shall be able to integrate with SIEM standard technologies such as Syslog, Windows event logging, Simple Network Management Protocol (SNMP) and Application Programming Interface (API) but not limited to these technologies listed.

    - Database Security Management: Database Security Management tools shall be employed to provide regulatory compliance, encryption, key management, granular access controls, flexible data masking, comprehensive activity monitoring, and sophisticated auditing capabilities.

  - Warranty and Support

The contractor shall provide a three‑year (36‑month) warranty for all installed systems from the date of final acceptance, covering defects in materials, workmanship, installation, and system configuration.

During the warranty period, the contractor shall, at no additional cost, rectify all failures attributable to such defects within agreed response times, including repair or replacement of faulty components and limited preventive inspections solely for defect detection. Where required to maintain system operability, the contractor shall implement manufacturer‑issued patches, firmware updates, or compatibility adjustments directly related to warranty compliance.

The contractor shall also provide limited refresher training and knowledge transfer to nominated stakeholders to ensure correct system operation and a smooth transition upon expiry of the warranty period, excluding damage arising from misuse, unauthorised modifications, third‑party interference, or conditions outside specified operating parameters.

  - Technology Roadmap

- Implementation Plan: Provide a phased timeline for deploying technologies, including pilot testing, full-scale implementation, and scaling across sites. The tenderer to prioritise Integrated Access Control on the rollout plan.

- Scalability: The contractor to demonstrate how the proposed solutions can be scaled to meet Eskom’s growing or changing needs.

- Innovation Strategy: The contractor must detail the approach for staying ahead of emerging security threats through the adoption of modern and advanced technologies.

  - Deliverables

- Detailed Security System architecture and designs.

- Procurement and installation of security components.

- Security integration with Smart Working Environments infrastructure.

- Training and documentation for security personnel and relevant stakeholders.

- Final performance testing and optimisation reports.

  - Implementation timelines

| Task | Duration | Milestones |
| --- | --- | --- |
| System Design and Approval |  | Blueprint Finalisation |
| Equipment Procurement |  | Vendor Selection |
| Installation and Configuration |  | Deployment and Testing |
| AI & IoT Integration |  | Data Synchronisation |
| Training and Handover |  | Project Completion |

Table 3: Implementation Timelines

  - Risk management

| Risk Factor | Mitigation Strategy |
| --- | --- |
| AI algorithm accuracy | Regular AI model training and updates |
| System downtime | Redundant serves and backup power systems |
| Compliance threats | Aligning with industry standards, Eskom Academy of Learning Standards and Security Policies |
| Operational disruptions | Phased implementation and testing |

Table 4: Risk managements

  - Systems Performance Matrices

    - Alarm Systems Specification:

- Integration with motion detection systems for early threat detection.

- Must include tamper-proof mechanisms and backup power supply (e.g., UPS or solar).

- Real-time alerts to a centralised monitoring system.

Targets:

- False alarm rate: ≤ 5%.

- Uptime: 98% over 36 months.

    - Motion Sensors Specification:

- Strategically placed to cover all critical areas, including perimeters, entry points, and high-value assets.

- Must include advanced features such as thermal imaging and pet immunity to reduce false alarms.

- Integration with alarm systems and CCTV for real-time intrusion detection.

Targets:

- Detection accuracy: ≥ 95%.

- Response time: ≤ 5 seconds from detection to alert.

    - CCTV Cameras Specification:

- High-resolution cameras (minimum 4mp) with night vision and wide dynamic range (WDR) for low-light conditions.

- AI-based analytics for real-time threat detection (e.g., loitering, perimeter breaches).

- Active monitoring 24/7 with footage stored for a minimum of 90 days.

- Integration with alarm systems and motion sensors.

Targets:

- Coverage of critical areas: 100%.

- Uptime: 98% over 36 months.

    - License Plate Recognition (LPR) Cameras Specification:

- High-resolution cameras capable of capturing license plates in various lighting and weather conditions.

- Integration with access control systems to automate vehicle entry/exit.

- Real-time alerts for unauthorised or flagged vehicles.

Targets:

- Recognition accuracy: ≥ 95%.

- Response time: ≤ 10 seconds from detection to alert.

    - Access Control Systems Specification:

- Biometric scanners (fingerprint or facial recognition) for personnel access.

- Integration with LPR cameras for vehicle access.

- Real-time monitoring and logging of all access events.

Targets:

- System uptime: 98% over 36 months.

- False acceptance rate: ≤ 0.1%.

    - Public Address Systems Specification:

- Clear and audible announcements for emergency notifications.

- Integration with alarm systems for automated alerts.

Targets:

- Coverage of critical areas: 100%.

- Uptime: 98% over 36 months.

    - Intrusion Detection Systems Specification:

- Combination of motion sensors, thermal imaging, and perimeter detection systems.

- Real-time alerts to a centralised monitoring system.

Targets:

- Detection accuracy: ≥ 95%.

- Response time: ≤ five seconds from detection to alert.

The Contractor shall provide labour and tools to carry out the Employer’s requirements.

- SECURITY

The names and identity numbers of all workmen engaged in the work are to be submitted when the contract is awarded, and shall be amended as required. The contractor shall nominate a responsible person who will be in charge of the site, and who must be present at all times whilst work is in progress.

- OCCUPATIONAL HEALTH AND SAFETY REQUIREMENTS

Contractor must comply with the provisions of the OHS Act & it’s regulations and Eskom SHEQ requirements  and other applicable legislation.

- APPOINTMENT OF RESPONSIBLE PERSONS

The contractor shall cause all work to be carried out under general Supervision of a responsible person appointed by the Contractor in writing in accordance with the provisions of the Regulations made in terms of the Occupational Health Act  and Safety Requirements to be met be the Contractor and Sub-Contractor employed by Eskom

A copy of the letter of appointment and of the appointee’s written acceptance thereof shall be lodged with the Facilities Manager before any work on site shall commence.

In addition, the Contractor shall provide the Services Manager with the names of any safety representatives appointed in terms of Section 4.2.1.3 of the abovementioned Act and who has been given the responsibility of any site or sites falling under the terms of this contract.

CONTRACT REQUIREMENTS:

The company must ensure that workers/ employees’ salaries/ wages are according to Government Gazette for all persons employed on Eskom sites. None payment of staff salaries/ wages will be considered a serious breach in terms of this contract as it has adverse effect on the services to be rendered.

- Supplier must ensure that they have the necessary equipment to provide the services required from the start and end date of the contract.

- Supplier must ensure that only SABS approved building and electrical material/ products are being used.

- The contractor will be expected to attend monthly contract management meetings.

- In order to promote local job creation contractors will be required to source from the local communities within the area as per Eskom Zonal boarders

- Supervisors to ensure that time sheets are signed by contractor’s employees  at all times.

Non-conformance to the above will result in the following consequences:

Eskom reserves the right to cancel the contract immediately and replace with another service provider. All costs incurred as a result of such action will be recovered from the outgoing contractor.

LEADERSHIP VISIBILITY:

- Eskom will carry out random inspections at the sites and evaluation visits.

- The directors or senior managers of the company must visit sites at least once per month.

UNIFORM:

- Wearing of uniform/ PPE and pandemic PPE is compulsory;

- The following PPE must be issued to the employees where necessary

- Mask covers both nose and mouth

- Safety gloves;

- Uniform/ overalls; and

- Safety boot

- Helmet

- Hearing Aid

- Goggles

NB: All PPE must be serviced/ washed

## Interpretation and terminology

N/A

- Management strategy and start up.

## The Contractor’s plan for the service

The Contractor shall ensure that the service is supervised at all time. Wherein the Director of the Contractor is not directly managing the works, the Director is expected to visit the site once a month and complete an inspection form which will include recommendation on the improvement of the provision of service. The Service Manager reserves the right to request the aforementioned copied of inspection.

  - Management meetings

Meetings will be scheduled by the Eskom Real Estate should a need arises.

Meetings of a specialist nature may be convened as specified elsewhere in this Service Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the service.  Records of these meetings shall be submitted to the Service Manager by the person convening the meeting within five days of the meeting.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

Regular meetings of a general nature may be convened and chaired by the Service Manager as follows:

| Title and purpose | Approximate time & interval | Location | Attendance by: |
| --- | --- | --- | --- |
| Risk register and compensation events | As required | Eskom offices | Both parties |
| Overall contract progress and feedback | Monthly | Eskom offices | Both parties |

  - Contractor’s management, supervision and key people

•	The Contractor keeps up to date organogramme on site showing his people and their lines of 
      authority/ communication.

•	The Contractor keeps a daily attendance register, which must be signed off by the Contractor 
      on monthly basis and filed for audit purposes.

Annual/ Sick/ Maternity/ Family responsibility leave:

- When a staff member is off sick or on leave, Contractor must arrange for reliever, which will be paid by the Contractor and not the employee who is on leave.

- Payment for the reliever will be for the Contractor and not the employee who is on leave.

Absence:

- When a staff member is absent, Contractor must arrange for reliever, which will be paid by the Contractor and not the employee who is absent.

Employee Salaries:

- Salaries of all the contractor staff must be in their bank accounts on the last working day of the month.  Non-compliance will be considered as breach of contract.

- Salaries and bonuses paid to the workers must be in accordance with the minimum prescribed wages as per the Labour Relations Act.

- Payslips for each employee is compulsory and it must be according to the labour law standards.

Job Output:

- No alcohol, firearms, knifes and other life threatening objects are allowed on the Eskom premises/ sites.

- No sleeping on site is allowed.

Contractor’s responsibility:

- In the execution of his duties, it is expected of the supplier to comply with Eskom Distribution Standard entitles Occupational Health Contractors Reference ESKASAAP4 (Rev1) (copy available on request).

- The Contractor must comply with the Occupational Health and Safety Act and Compensation of Occupational Injuries and Safety Act and Compensation of occupational Injuries and Diseases Act.

- All the supplier’s employees must be registered for UIF, Provident Fund and Workman’s Compensation.

- Induction is compulsory and will be done yearly by Eskom, but the Contractor will be liable for transport to the venue.

- Yearly medicals are compulsory and proof must be handed in.

- All employees must be criminally cleared through police clearance certificate.

UNIFORMS AND PROTECTIVE CLOTHING

- The contractor will supply all his/ her staff with clothing of uniform colour and styles, clearly marked with the Company’s name:

- It is the Contractor’s responsibility to maintain the clothing in a neat, tidy and clean condition at all times.

- All machine operators will be equipped with safety helmets, eye and ear protectors and safety boots.

- The Contractor shall ensure that all staff members are wearing the correct uniform at all times whilst on site.

- Head gear/ hats will be standardized and shall be considered part of the staff member uniform.  However, hats are not required to be worn at all times.

All of the above must be in the correct sizes to fit the employee. Employees will not be allowed on Eskom premises without the correct PPE.

  - Provision of bonds and guarantees

N/A

  - Documentation control

All contractual Documentation must have relevant contract number and Purchase Order Number as reference as per Eskom Holdings SOC Limited Standards . Contractual communications will be in the form of properly compiled letters, letters attached to emails, emails, NEC3 template and urgent contractor meetings can be in the form of sms/ whatsapp and teams communication. The use of sms’s/ whatsapp and teams communication, emails does not override the use of applicable and relevant NEC3 standard templates, forms and Eskom Holdings SOC Limited procedures.

  - Invoicing and payment

Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Service Manager’s payment certificate.

Each invoice shall contain the following information:

Name and address of the Contractor and the Service Manager;

The contract number and title;

Purchase order number;

Contractor’s VAT registration number;

The Employer’s VAT registration number 4740101508;

Employer’s name should be stated Eskom Holdings SOC Limited

Description of service provided for each item invoiced based on the Price List;

Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

(add other as required)

Electronic submission of invoices via e-mail:

Details on how to submit invoices and additional information:

- Ensure that the Eskom order number is clearly indicated on your invoice together with the line number on the order you are billing for.

- All Electronic invoices must be sent in PDF format only.

- Each PDF file should contain one invoice; or one debit note; or one credit note only as Eskom’s SAP system does not support more than one PDF being linked into workflow at a time.

- Only one PDF file per email. (one invoice or debit note or credit note)

- Send all invoices in PDF straight from your system to an Eskom email address (see email addresses below)

- For Foreign invoices, suppliers will still be required to physically deliver hard copies of original documents to the respective documentation management centers even though you have e-mailed those invoices (Eskom is still seeking clarity from the South African Reserve Bank regarding e-invoicing for Foreign Invoices or invoices in foreign currency. Current requirements are that these manual invoices should still be submitted. You can send the invoice copy to the email addresses indicated below).

- Please ensure that you comply with the tax Requirement for submitting invoices electronically.

- Introduction of electronic invoicing does not guarantee payment but will ensure visibility of all invoices and ensure that no invoices get lost. If the goods receipt is not done the invoice will be parked and the system will automatically send an e-mail to the end user to do the goods receipt. This is also tracked by Eskom through the park invoice report.

- Your company can request a park invoice report from the Finance Shared Services (FSS) contact centre which can then be followed up and corrected. You are welcome to forward the details of invoices corrected to the FSS contact centre.

- Email address for invoice submission:

invoiceseskomlocal@eskom.co.za

  - Contract change management

No additional requirement to than what has already been specified.

  - Records of Defined Cost to be kept by the Contractor

For the purpose of Compensation Events the Contractor provide a copy of the invoice/ quotation to the Employer.

  - Insurance provided by the Employer

The insurance provided by the Employer, is addressed under the contract data.

  - Training workshops and technology transfer

The Contractor provides his employees with relevant training for them to execute the Service in accordance with the contract.

  - Design and supply of Equipment

This shall be in occordance with the specification that accompanies this document.

  - Things provided at the end of the service period for the Employer’s use

2.12.1	Equipment

Not applicable.

2.12.2	Information and other things

Not applicable.

  - Management of work done by Task Order

Not applicable.

# Health and safety, the environment and quality assurance

  - Eskom has an approved procedure which provides employees/ contractors with guidance regarding the management of incidents. This is a business procedure that requires all employees/ contractors to adhere to and comply with.

  - Any incident that occurs within the business should be communicated using the Flash report. The Flash report should be completed and reported within 24 hours to the Facilities Manager, Security Manager and SHEQ  Manager.

  - Life Saving Rules

Due to the importance to safe life’s and apparatus of Eskom it is recommended that if a contractor abuse any Life Saving Rules, all work allocated to the contractor will immediately put on hold until final outcome with investigation. Safety is the combined responsibility of the team and therefore team leader or team will be punished together. There are five Life Saving Rules rules that may not be broken by the Team Leader and his/ her team.

The five Eskom Life Saving Rules are as follows:

Rule 1:*Open, isolated, tests, earth, and bond and/or insulate before touch*

Rule 2:*Hook up at height*

Rule 3:*Buckle Up*

Rule 4*Be Sober*

Rule 5:*Ensure that you have a permit to work*

  - Specifications

The attached documents form part of this legal binding contract, the Contractor confirms that he has familiarized himself with all the embedded documents from 1 to 19 as indicated.

Do not print and send them when returning this contract

| No | Unique Identifier | Revision | Document Title |
| --- | --- | --- | --- |
| 1 | 32 - 727 | 2 | Safety, Health, Environment and Quality (SHEQ) Policy 32-727 |
| 2 | 32 - 136 | 6 | Construction Safety Health and Environmental Management |
| 3 | 32-524 | 0 | Developing a Safety, Health and Environmental Specification |
| 4 | 32 - 421 | 1 | Eskom Cardinal Rules 32-421 |
| 5 | Construction Reg 3 |  | Notification of Construction Work to Department of Labour |
| 6 | Construction Reg 4 & 5 |  | Appointment letters for Client representative, Principal Contractor & Contractor |
| 7 & 8 | OHS Act |  | Written agreement on OHS Act Section 37(2) & Standard Clause |
| 9, 10 & 11 | 34 - 1063 | 0 | Expanded Public Works Report 34-1063. |
| 12 | 32 - 95 | 6 | ENVIROMENTAL, OCCUPATIONAL HEALTH and SAFETY INCEDENT MANAGEMENT PROCEDURE |
| 13 | 32 – 520 | 2 | OCCUPATIONA HEALTH & SAFETY RISK ASSESSMENT PROCEDURE |
| 14 | 240-43848327 | 1 | EMPLOYEES’ RIGHT OF REFUSALTO WORK IN AN UNSAFE SITUATION PROCEDURE |
| 15 | 240-73419711 | 2 |  |
| 16 | DST 34-961 | 0 | Legal appointments and authorizations |
| 17 | TPC 41-55 |  | Transporting persons on back of vehicles |
| 18 | Quality requirements |  | QM 58 link |

The contractor is to supply confirmation of access to the Eskom Web in order to access standards, procedures and bulletins. The contractor must supply his access number or must supply his rervice to be done

For further details please contact, Johan Scholtz Tel: (011) 629 5624 Fax :086 662 9438 email: scholtjf@eskom.co.za

Acknowledgement by Contractor

I/We, ………………………………………… do hereby acknowledge having read and understood the above Annexed documents from 1 to 12 in Part C3 of this contract.

I/We undertake to study and abide by these requirements at all time.

Signed at: ……………………………………… on the ……………….. day of ………………………….20……

4. Constraints on how the Contractor Provides the Works

Quality Control

1. An approved NEC SOW specific Method Statement  for the contract duration is to be implemented in conjunction with, and to the approval of, the Project Manager.

2. The Contractor needs to submit a Method statement indicating how the SOW activities shall be executed quality to ensure that the works are done according to specification for each task order issued;

3.  The Contractor is required to employ a competent Supervisor or Foreman on site for the duration of the project to implement workmanship quality checks.  .

4.  Eskom will do inspections and quality checks on installations completed by the Contractor prior to hand-over of each project, but this does not relieve the contractor from doing 1st line inspections and doing quality work.

Quality Engineering

a.   All construction and installation methods are to comply with the Power Delivery Engineering standard requirements as contained in the National and Provincial Standards on the Distribution Technology websites;

b. The Contractor shall comply with the Project Specifications included in the NEC document. Any changes proposed during the contract phase shall notify the Project Manager who will        allow the Project Change Request approval process;

c. Eskom Holdings SOC Limited’s representative must be allowed access to the site at any time during the contract to carry out an inspection of the works.

d.  The contractor shall ensure the material used for cleaning is SABS approved;

General Quality requirements

1. Compliance with the provisions of this clause in no way relieves the Contractor of the final responsibility to furnish an acceptable product and/or services;

2.The Contractor agrees to control and professionally  preserve and store appropriate documents, records and recordings to guarantee the traceability of the services rendered and inspection thereof, as per the Contract.

3. The Contractor agrees to implement all necessary improvements for the installation, production and organisation deemed necessary to meet the requirements of the order.

4. The delivered product and / or service shall be uniform in Quality and condition, sound and free from defects, consistent with good industry practices and adhere to the requested Eskom requirements, without deviation.

5. Eskom shall have the right to conduct surveys and perform surveillance of the Contractor’s and Sub- Contractor’s facilities to evaluate their capability to comply with the requirements necessary to conform to contractual requirements.

6. Eskom reserves the right to review , inspect and audit , at reasonable times , any or all parts of the Contractor’s QMS as well as documents associated with the service provision of the work included in the contract , at the Contractor’s premises or elsewhere . Verification by Eskom shall not absolve the Contractor of the responsibility to provide acceptable product and / or services, nor shall it preclude subsequent rejection by Eskom.

7. The services must comply with the agreed specifications and the applicable directives and technical standards set out in the Scope of Work and Specifications. Defects notified by Eskom shall be remedied by the Contractor upon demand by Eskom without undue delay and at no extra cost. The Contractor shall continuously monitor and identify non-conformances, both internal and external, as signals of opportunities for improvement making process and other relevant changes to prevent recurrence

8. The Contractor shall further identify potential problems before they occur by identifying deviations in patterns or trends in product, service or process performance.

9. Nothing contained in the Contract shall relieve in any way the Contractor from the obligation of Quality control thereof.

10. The Contractor guarantees that the quantity and Quality of the delivered product/services comply with the requirements of the contract and/or relevant specifications.

11. The Contractor shall prove its ability to relate to the proposed scope of work which establishes the manner in which the Contractor intends to perform the Contract.

12. The Contractor shall, on request, prove its organisational, logistics and support resources to ensure the requirements of the contract can be achieved.

13. Eskom reserves the right to assess and measure , in the selection process, the qualifications , capability and competence of the key staff (assigned personnel ) in relation to the scope of work and to interview any / all Contractors to confirm the Quality evaluation.

14. The personnel of the Contractor, who will be conducting the service, will be available on a continuous basis until the conclusion of the project.

15. The Contractor shall demonstrate experience in comparable projects or specific aspects of the project and / or performance in similar projects.

16. The Quality of the service / product and the contents thereof will be in accordance with prescribed standards.

17. For the duration of the Contract , the Contractor shall  ensure that suitably experienced people are assigned to perform designated work

18. Prior to the commencement of the management of the Professional services, the Contractor must have scrutinised Eskom’s requirements with specific focus on , inter alia , its  policies and practises.

19.  It is the Contractor’s obligation to ensure that his/her operations and the products and/or services it provides to Eskom comply with any applicable statutes and or regulations. Any non-compliance by the Contractor and the resultant corrective actions shall be the responsibility of the Contractor.

20.  The Contractor shall ensure that he/she  complies with the Scope of Work and that appropriate quality requirements (as in the main contract) are included in subcontracts placed by the Contractor to ensure sub-contractor’s compliance with the Scope of Work ,if and when  applicable

21. The Contractor shall:

a) Support Eskom’s effort to monitor, verify and / or witness any activities associated with the service at any reasonable time.

b) Comply with Eskom requests for documentation, records, inspections and witnessing. Eskom participation in audits, appraisals, assessment of plan and verification shall be conducted at no extra cost to Eskom.

c) Where applicable, the Contractor shall ensure that Eskom has access to all work procedures, quality records and to all supporting documentation through provision of access to view and photocopy as required to support verification of work scope requirements. Access shall include the ability to photograph Eskom equipment, systems, system components, materials, as required.

d) Provide access to all quality related information pertaining to activities performed by the Contractor or sub-contractor(s), which Eskom might not have participated in the witnessing of quality assurance or control thereof. (This refers to inspections, audits, or any part of the Contractor’s QMS , performed by the Contractor on its own sub-contractors, if applicable ).

e) Ensure above requirements (a-d) are communicated down to and accepted by sub-contractors if and when applicable.

f) Utilise detailed review of the work scope to determine deliverables, including deliverable quality activities identified and delivery schedules.

22. The Contractor shall allow Eskom the right to:

a). Oversee Contractor audit programs by participating in selected audits as an observer and by assessing Contractor at key work stages. Eskom will coordinate with the Contractor to develop an oversight schedule aligned with Contractor audit schedule.

b) Access to any audit reports (if any)

c) Conduct independent quality audits during all phases of the contract and the Contractor shall provide all resources to support these activities.

d). Have electronic and hard copy access to all method statement; procedures, documentation other quality records relating to the service provision including but not limited to data extracts.(if applicable)

e) The Supplier shall comply with the Quality requirements as set out in the latest edition of  Eskom QM-58 document, Supplier Contract Quality Requirements Specification, as well as all applicable legislation included in or referred to in this document.

g) The supplier shall ensure that all personnel have attended necessary training for equipment to be used;

Performance Management

•	The Contractor’s Performance will be assessed in accordance with a Performance Appraisal 
      Process.

Construction Safety

•	The Contractor shall be responsible for ensuring that all equipment supplied and used and all work carried out under this contract shall be in accordance with the Occupational Health and Safety Act (Act 85 of 1993) and regulations remaining in force, as may be amended from time to time.

•	In addition, the Contractor shall comply with other Safety application provisions of Government, Provincial, Municipal Safety Laws, Building,

•	The Contractor shall accept full responsibility for the means, methods, sequence or procedures of work for safety precautions or programmes incident to the work of the contractor.

•	The Contractor is required to submit a working methodology statement with regards to the Safety Standards

•	The Contractor shall indemnify the employer  against responsibility for safety on the site of the works.

•	The Contractor shall enter into an agreement to complete the work required  in accordance with the provisions of all pertinent legislation and in particular with the provisions of the Occupational Health and Safety Act (Act 85 of 1993) and the regulations promulgated there under.

•	Reference of the Safety Methodology Statement can be found in the Government Occupational Health and Safety Act (Act 85 of 1993) and Construction Regulations Document which is available publicly.

•	The safety of the Contractors personnel and employees acquire precedence over the provision of service.

Compensation for Occupational Injury and Diseases Act

•	The Contractor shall submit with his tender proof of adherence to the above act.

General Environmental Management Requirements

•	All environmental legal Liabilities and claims arising from the negligent activities of the Contractor shall be for the Contractors expense.

Waste Disposal

The supplier shall ensure:

•	That waste is disposed of on a permitted / legal waste site, for the applicable waste type, in terms of the Environment Conservation Act, 73 of 1989 and the National Environmental Waste Management Act (Act 59 of 2008).

•	That a disposal certificate (waste manifest) is obtained, if hazardous waste was disposed-of.

•	That where appropriate, waste is recycled or re-used.

Title to site materials

The Contractor ensures that during the period of procurement and installation, all materials and part of the plant are suitably stored on site in such a manner as to prevent damage by weather, fire, manhandling, corrosion, theft and any other peril. The cost of providing necessary protection, storing, handling and security is borne by the Contractor for the duration of this contract.

The Contractor returns all un-used spares to the Employer store.

Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902 www.ecs.co.za