Specifications for servicing fire protection systems at ARC-NRE Arcadia campus:

- Fire detection/alarm system (24 zones)

- NAF/FM200 gas fire suppression systems x 6

including fault finding on one panel

- CO2 gas fire suppression system

including fault finding on panel

Onsite briefing session required

Compulsory Requirements

The supplier must provide the following requirements:

- SAQCC registration certificate

- SABS-approved Certificate