The Human Sciences Research Council situated on 134 Pretoria Street has two HVAC chillers in the basement parking using two separate condenser pumps.

Each chiller has two pumps, one for pushing room temperature water to the chillers for cooling and the other pushing up chilled (cold) water to various offices.

HSRC wishes to appoint a qualified service provider to do a once-off service and repairs on the two industrial pumps as per below service requirements

Service Requirements

Condenser Pump 1

- Repairs to HVAC Chiller Pump

- Remove Pump

- Strip and Clean Pump

- Replace 2 x Bearings and Mechanical Seal

- Assemble, Test and Spray

- Re-Install Pump

Condenser Pump 2

- Remove Motor

- Strip, Clean and Assess

- Rewind 30KW 4-Pole Stator

- Repair DE End Shield Housing

- Replace Bearing NSK 6311 DDU C3

- Replace Bearing NSK 6211 DDU C3

- Assemble Test and Spray

- Replace Motor

The mandatory requirements

•	The service provider must have an Electrical Certificate of Compliance (CoC) SANS 10142-1 Regulation.

•	A technician installing the condensers must have an electrical certification in the form of a wireman’s certificate. A valid proof of certificate must be submitted.

•	The service must provide the HSRC with a COC

•	The technician must be an electrical trade tested and provide a Valid certificate

•	The Service provider must be registered with CIDB and have a valid CIDB Level EB (Electrical Engineering Works – Building (EB)

Compulsory Site visit required

The service provider will need to grant the HSRC with warranty and guarantee for at least 1 year. The condensers must be tested by the service provider before job card is signed and invoice paid.