SPECIFICATION FOR REPAIRS
SPECIFICATION FOR GLASS/MIRRORS REPAIRS
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REQUEST FOR A QUOTATION
REFERENCE:   PAC/REPAIRS GLASS/ 2021
---------------------------------------------------------------------------------------------------------------------------
SPECIFICATION FOR REPLACEMENT OF
 BROKEN WINDOW PANELS, MIRRORS, ETC.

The Performing Arts Centre of the Free State (PACOFS) is a publ9ic entity reporting to the national Department of Sport, Arts and Culture.  It is a schedule 3A public entity that came into its existence through an amendment of the Cultural Laws Second Amendment Act 69 of 2001.

PACOFS requires the services of a supplier to provide and replace  the broken window panels, lift mirrors, glass doors and studio mirrors in the building. The mirrors have broken and are becoming dangerous to artists  and visitors using the venues.

Windows

· First floor room 1.49  -  920mm x 920mm
· First floor window next to lift  -  78mm x 93mm
· Second floor office K003 window  -  2m x 1m
· Second floor office K006 window   - 2m x 1m
· Sand du Plessis door from first floor - 1.8m x 690mm
· Sand du Plessis carpet ramp - 720mm x 970mm
· Andre theater entrance  -  2.9m x 1.4m and 2m x 300mm

Mirrors

· Studio1 -  1.41m x 1.83m
· Studio3 - 141mm x 183mm
· First floor room 1.50-2m x 1m
· Security lift (K) at entrance - 165mm x 120mm
· Smoking room male toilet - 165mm x 120mm

Please contact Mr Paul Moeketsane, Maintenance Manager, cell nr 064 755 0602, to arrange an appointment if you wish to verify the measurements of all glass and mirrors to be replaced.

1. Please provide your CSD supplier and unique registration number for verification on the CSD database.  Please attach a valid tax clearance and B-BBEE certificate. 
2. Please submit the completed SBD 4 form. 
3. Evaluation criteria 80/20 will be applicable in the case of quotations exceeding R30 000. (PPPFA). 
4. The offer scoring the highest points should win the quote.   This quotation is subject to the Preferential Procurement Policy Framework Act, 2000 and the Preferential Procurement Regulations, 2017, the Conditions of Contract  (GCC) and, if applicable, any other special conditions of contract.
CLOSING DATE & TIME FOR QUOTATION / PROPOSALS:
[bookmark: _GoBack]MONDAY,  14 JUNE 2021 at 11h00
Please submit quotation via E-mail to quotation@pacofs.co.za
No late submission will be accepted!


VERY IMPORTANT NOTICE!
1. PLEASE SUBMIT QUOTATIONS ON A COMPANY LETTERHEAD.
2. PAYMENT  WILL  BE  DONE  30  DAYS  AFTER  RECEIPT  OF THE  ORIGINAL  INVOICE. 
3. BANKING DETAILS (REMITTANCE NAME; BRANCH CODE AND ACCOUNT NUMBER)  MUST APPEAR  ON  YOUR  INVOICE AND MUST CORRESPOND WITH THE BANKING DETAILS DISPLAYED ON THE CSD REGISTRATION REPORT.
4. PLEASE REMEMBER TO SIGN YOUR QUOTATION.  UNSIGNED QUOTATIONS – INVALID.
5. THE TOTAL PRICE QUOTED MUST INCLUDE VAT  AS  WELL  AS  DELIVERY  COSTS  (THE COMPANY WHICH IS NOT VAT REGISTERED SHOULD NOT INCLUDE VAT IN THE PRICE).
6. IF VAT IS CLAIMED, VAT NUMBER SHOULD APPEAR ON THE QUOTATION.
7. NO CESSIONS  WILL BE SIGNED.
8. A VALID TAX CLEARANCE CERTIFICATE AND B-BBEE CERTIFICATE SHOULD BE SUBMITTED FOR QUOTATIONS / BIDS OVER          R30 000,00 AS WELL AS A COMPLETED SBD 4 (DECLARTION OF INTEREST).
9. QUOTATIONS SHOULD BE VALID FOR 30 DAYS.
10. PRICE QUOTED SHOULD NOT BE ON SPECIAL OR SALE.
11. PLEASE DO NOT INFLATE PRICES.
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