SPECIFICATIONS FOR CONSTRUCTION OF NCOME ACCESS GRAVEL ROAD

- BACKGROUND

The Ncome Museum seeks to appoint a suitable Contractor to construct 0.6km access gravel road for Ncome Museum in Ohaleni (Nquthu). The site is in KwaZulu-Natal within the Northern Region of the district of uMzinyathi which is administered by uMsunduzi Museum (Pietermaritzburg).

- CONDITIONS OF CONTRACT AND PRELIMINARIES

## 2.1 PERIOD OF CONTRACT

## The Contract Period for the completion of the work is two months (8 weeks) from date of site handover.

## 2.2    DEFECTIVE LAIBILITY PERIOD (DLP)

Defective liability period for construction of Ncome Access Gravel Road after the completions of the Construction, Fabrication all structural work and all materials must be a minimum of six (06) Calendar Months from the date of practical completion or sign off.

2.3 PENALTIES FOR NON-COMPLETION/DEFAULT BY CONTRACTOR

Penalties at the rate of 5% of the contract value per day shall apply. Extreme weather conditions will be considered.

2.4 SITE AND MODE OF PROCEDURE

The work contained in this contract will be carried out on the site of the existing Ncome Museum. The Contractor is advised that the existing premises will be occupied throughout the

period of the contract, and that the minimum amount of disruption to services is of utmost importance. Damage to the existing buildings - Contractor to note that any damages done or occurring to any of the buildings will be repaired at the expense of the contractor/ Bidder.

The installation must be to the satisfaction of the Ncome Museum. Contractors are advised to visit the site prior to tendering and to acquaint themselves with the nature of the work to be done and access to the site of the existing buildings etc., as no claim whatsoever will be allowed on the grounds of ignorance of the conditions under which the work will be executed.

2.5 SATISFACTORY INSTALLATION

The construction of Ncome Museum Access Road shall be carried out in accordance with Committee of Land Transport Officials (COLTO) 1998 Edition Standard Specifications for Road and Bridge Works.

2.6 GENERAL

The Bidder's / Contractors will be responsible for construction of access road, other associated works and making good of all work.

3.MANDATORY REQUIREMENTS

The following documents need to be completed in full: (Please tick on the checklist)

| Form No | Document Description |
| --- | --- |
| - SBD 1 | Invitation to Bid |
| - SBD 3.3 | Pricing Schedule |
| - SBD 4 | Declaration of Interest |
| - SBD 6.1 | Preference Point Claim Form |
| - SBD 7.2 | Contract Form: Rendering of Services |
| - SBD 8 | Declaration of Bidder’s past SCM Practices |
| - SBD 9 | Certificate of Independent Bid Determination |

The following documents to be submitted:

# A) Bidders must have a minimum CIDB contractor grading designation of 3CE or higher and must be attached with the bid.  Only contractors whose CIDB status is “active” at the time of tender closing date/ evaluation will be considered for further evaluation. Contractors whose status is “suspended” or “expired” will not be considered for evaluation and will be disqualified from the bidding process. Joint ventures are eligible to summit tenders provided that:  every member of the joint venture is registered with the CIDB grading designation of 3CE or higher.

##### b) Most recent copy of workman's compensation registration with Department of Labour (COIDA)

##### c) B-BBEE Certificate or sworn affidavit

c)  Copy of CIPC (company registration documents)

d) Copy of valid Tax Compliance certificate

e) Proof of Central Supplier Database registration (copy to be attached). In the event of a joint venture, each member of the joint venture must be registered on the CSD at the time of evaluation. Tenders received from such tenderers who do not comply with this requirement, will be considered non-responsive.

f) Quotation in a company letterhead (Breakdown of each item). All tenderers that are registered for Value Added Tax (VAT) with the South African Revenue Service (SARS) must include VAT in their tender offer.

##### g) List of three (03) contactable references on similar projects and value, completed in the CIDB Civil Engineering Works (CE) and specific reference to: Bidder to attach award letters and Completion Certificates for listed projects.

##### h) CVs with references, experience and relevant qualifications of Site Engineer/Agent involved in the project.  Site Engineer/Agent must be registered as Professional Technician or Technologist with CVs with 2 to 3 references, experience of 3 to 5 years and relevant qualifications (Civil Engineering, project management or Quantity Surveyor) of personnel involved in the project as per the Project-specific organogram (ECESA)

i) original letter of intent on a bank’s letterhead, proof from a registered financial institution, confirming that should the bidder be awarded the project, a construction guarantee of 10% of the project value including value added tax will be issued.

j) 80/20 evaluation criteria will be applicable as per specific goals attached on SBD.6.1 in accordance with the Preferential procurement Regulations, 2022.

k) In the event of a joint venture or sub-contractors are involved, a joint venture agreement must be submitted.

NB: Any service provider who is going to provide false information in reference information will be disqualified from selection. The Museum reserves the right not to award to the lowest tendered.

# 4.SCOPE OF WORK

  - The scope of works entails the construction of 0.6km gravel access road for Ncome Museum in Ohaleni) including .600mm diameter concrete pipe, head walls.

- TECHNICAL SPECIFICATIONS

  - Gravel Access Road – Schedule of Quantities and Drawings is attached.

##### 6. Validity Period: 120 days (4 months) commencing from the closing date of tender.

Tender evaluation criteria

The tender shall be evaluated on the following criteria:

| No. | Evaluation criteria | Maximum points |
| --- | --- | --- |
| 1 | CIDB grading designation of 3CE or higher | 20 points |
| 2. | Three (3) traceable written company references on similar project and value. Less than three (3) traceable company references will be allocated 0 points. | 5 points |
| 4 | Original letter of intent on a bank’s letterhead, proof from a registered financial institution, confirming that should the bidder be awarded the project, a construction guarantee of 10% of the project value including value added tax will be issued. | 10 points |
| 5 | Site Engineer/Agent | Maximum points =20 |
| 5.1 | Technical qualifications (Civil Engineering, project management or Quantity Surveyor) | 10 points |
| 5.2 | Professional registration with ECSA/ SACPCMP/SACQSP. | 10 points |
| 5.3 | 3 to 5 years relevant experience (Site Engineer/agent). Less than 3 year’s experience = 0 points 3 year’s experience =5 points 4 years experience =7 points 5 year’s experience or higher =10 points | Maximum points= 10 |
| 6. | Promotion of tenderer’s located in a specific area (valid proof of company address to be attached). | Maximum points=10 |
|  | Operating business address located within the local municipality (Nquthu) | 10 points |
|  | Operating business address located within the district municipality (uMzinyathi) | 5 points |
|  | Operating business address located within the province (KZN) | 1 points |
|  | Operating business address located outside of the province | 0 Point |
| 7. | Schedule of required plant owned/leased by the service provider- Attached proof of ownership or letter of intent to lease from plant hire | Maximum points= 15 |
|  | 1 X TLB | 5 points |
|  | 1X Grader | 5 points |
|  | 1X Excavator | 5 points |
|  | Functionality total points | 90 points |
|  | Threshold to qualify for stage 2 | 70 points |

| Tender Evaluation Criteria and Scoring Price and BBBEE |  |  |  |
| --- | --- | --- | --- |
| Evaluation criteria | Deliverables |  | Points |
| Price | The lowest responsive and responsible | 80 | Points |
| Preference Points | In terms of Regulation 4 (2) and 4 (2) of the Preferential Procurement Regulations, preference points may be awarded to a bidder for the specific goal specified for the tender in accordance with the table below. | 20 | points |
|  | Black Ownership | 12 | Points |
|  | Women Ownership | 4 | Points |
|  | Disability Ownership | 2 | Points |
|  | Youth Ownership | 2 | Points |
|  | Non-complaint | 0 | Points |

| Black Ownership | % of Preferential points |
| --- | --- |
| Bidder with 100% black ownership | 100% |
| Bidder with 51% to 99% black ownership | 50% |
| Bidder with less than 51% black ownership | 25% |
| Bidder with no black ownership | 0% |
| Woman ownership | % of Preferential points |
| Bidder with 100%-woman ownership | 100% |
| Bidder with 51%-to-99%-woman ownership | 50% |
| Bidder with less than 51%-woman ownership | 25% |
| Bidder with no woman ownership | 0% |
| Disability Ownership | % of Preferential Points |
| Bidder with 100% disability ownership | 100% |
| Bidder with 51% to 99% disability ownership | 50% |
| Bidder with less than 51% disability ownership | 25% |
| Bidder with no disability ownership | 0% |
| Youth Ownership | % of Preferential Points |
| Bidder with 100% youth ownership | 100% |
| Bidder with 51% to 99% youth ownership | 50% |
| Bidder with less than 51 % youth ownership | 25% |
| Bidder with no youth ownership | 0% |

Tender Contents/checklist

To facilitate evaluation of the tender, bidders are requested to arrange the documents in such a manner that they are divided into sections, and numbered as per the numbering below, with each schedule punched and placed in a file or bound and separated from the next schedule with a marked file divider.

Please complete the checklist below to indicate your submission of the relevant documents:

| Contents Section | Description | Tick if submitted |
| --- | --- | --- |
| 1. | Proof of registration with the National Treasury Central Supplier Database (CSD) and valid Tax status pin issued by SARS. |  |
| 2. | B-BBEE Verification Certificate or sworn affidavit |  |
| 3. | Company registration documents e.g. CIPC |  |
| 4. | Quotation in a company letterhead (Breakdown of each item). All tenderers that are registered for Value Added Tax (VAT) with the South African Revenue Service (SARS) must include VAT in their tender offer. |  |
| 5. | Proof of registration and letter of good standing from compensation Commissioner in compliance with COID Act. |  |
| 6. | Original Certified Company Resolution or Letter of authority or Letter of appointment authorizing the signatory to sign the contract with the Institution. And Certified ID copy of the authorised signatory (ID copies of all Joint Venture signatories must be provided) |  |
| 7. | SBD Forms (SBD 1,SBD 3.3,SBD 4,SBD 6.1,SBD 7.2,SBD 8, SBD 9) |  |
| 8. | Fully completed and signed tender document including appendices |  |
| 9. | Company profile and documents in support of Company’s experience as per Functionality criteria |  |
| 9. | CV of all professionals including certified copies of qualifications as per functionality requirements including CV and certified ID copy of the principal engineer (Key person) |  |
| 10. | Proof (certified copies of certificates with pr number) of the engineer’s professional registration with ECSA/ SACPCMP/SACQSP as per functionality criteria |  |
| 11. | Minimum of three (3) written references for the key person |  |
| 12. | Bidders must have a minimum CIDB contractor grading designation of 3CE or higher and must be attached with the bid. |  |