Specifications for repairs to Biosystematics fire system

Location: Biosystematics Building

Site inspection is required

Part 1

- Major service to all the sprinkler systems, electrical fire system and jockey pumps

- All values need to be checked and replaced if needed

- Services of alarm valves

- Traveling costs must be included and indicated in quotation

Part 2

- The sprinkler system needs to be pressurized in the main trunk to ensure that there is no leaking

- The first wing of the Biosystematics building will be pressurized, monitored and repairs done to any leaks

- The second wing of the Biosystematics building will be pressurized, monitored and repairs done to any leaks

- The third wing of the Biosystematics building will be pressurized, monitored and repairs done to any leaks

- Consumables to be included is included, and not limited to, bucket and drop sheets

- Traveling costs must be included and indicated in quotation