SPECIFICATION OF FOR TWO (2) Aolan Portable air-coolers,

The Human Sciences Research Council (HSRC) is a Schedule 3A national public entity in terms of the Public Finance Management Act, 1999 (Act No. 1 of 1999 as amended) and the Minister of Science and Innovation is the Executive Authority, and the HSRC Board the Accounting Authority of the HSRC. The HSRC is governed by a Board appointed by the Minister of Science and Innovation.

The HSRC was established in 1968 to undertake, promote and co-ordinate research in the human and social sciences. It operates in terms of the Human Sciences Research Council Act, 2008 (Act No. 17 of 2008) which replaces the Human Sciences Research Council Act, 1968 (Act No. 23 of 1968) and provides for the continued existence of the HSRC.

Scope of Services Needed

The HSRC has a need for a service provider to provide Supply Two (2) X Aolan Portable air-coolers, at Building at 134 Pretorius Street, Pretoria. See below picture of the Air-coolers.

Technical Specification for Aolna Portable air-coolers

•	Fan Capacity:  4500m3/h

•	Full Pressure: 60Pa

•	Voltage/Frequency : 220/50 V/Hz

•	Fan Type: Axial

•	Fan Speeds: 3-speed

•	Noise: ≤ 68dBA

•	Water Consumption: 4-6 L/h

MANDATORY REQUIREMENTS

1.	Supply and delivery

2.	Two (2) Year warranty.